## Sources
No. | System | Phrase | Ref | Usable | Reason | Data Extracted
1 | ABR | "Septic Tank" | Sharma 21 | Y |  | Y
2 | ABR | "Septic Tank" | Sharma 16 a | Y | Combine with Sharma 21
3 | ABR | "Septic Tank" | Sharma 16 b | Y |  | Y
4 | ABR | "Septic Tank" | Sharma 15 a | N | no data | Effect of physical property of supporting media and variable hydraulic loading on hydraulic characteristics of advanced onsite wastewater treatment system
5 | ABR | "Septic Tank" | Sharma 15 b | Y | Combine with Sharma 21 | Anaerobic onsite treatment of black water using filter-based packaged system as an alternative of conventional septic tank
6 | ABR | "Septic Tank" | Sharma 14 | Y |  | Y
7 | ABR | "Septic Tank" | Saeed 21 | Y |  | Y
8 | ABR | "Septic Tank" | Cruddas 21 | Y
9 | ABR | "Septic Tank" | Santiago-Diaz 21 a | N | Synthetic
10 | ABR | "Septic Tank" | Santiago-Diaz 21 b | Y |  | Needs finishing
11 | ABR | "Septic Tank" | Singh 21 | Y |  | Y
12 | ABR | "Septic Tank" | Haydar 18 | Y |  | Double Check
13 | ABR | "Septic Tank" | Santiago -Diaz 19 | Y |  | Double Check
14 | ABR | "Septic Tank" | Santiago -Diaz 17 | Y |  | Double Check
15 | ABR | "Septic Tank" | Sabry 10 | Y |  | Y
16 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Munavalli 22 | Y
17 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Nomoto 22 | Y
18 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Gholipour 21 | Y | Recharacterised to ST
19 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Saif 21 | Y
20 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Yenji 21 | Check if different from Munavalli
21 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Wu 20 | N
22 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Wang 20 | N | Not sewage
23 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Zha 19 | N | Synthetic
24 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Yulistyorini 19 | Y
25 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Sung 18 | Y
26 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Ziganshin 19 | N | Synthetic
27 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Schalk 19 | Y |  | Double Check
28 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Khalekuzzaman 18a | Y |  | Y
29 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Moges 18 | ~ | Black water very strong
30 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Pfluger 18 a
31 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Cruddas 18 | Y | Combined with 21
32 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Khalekuzzaman 18b | N | Tracer Study
33 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Fujihira 18 | N | Wrong influent
34 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Pfluger 18 b
35 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Ali 18 | Y
36 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Abassi 18 | Y |  | Double Check
37 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Aqaneghad 16 | Y |  | Y
38 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Hahn 15 | Y |  | Double Check
39 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Feng 15 | Y |  | Y
40 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Ratanatamskul 15 | N | Data for ABR only graphical, too poor quality
41 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Chen 14 | Y |  | Double Check
42 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Jamshidi 14 | N | Only SCOD analysed
43 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Wu 13 | N | wrong feed
44 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Gomec 10 | Y |  | Y
45 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Gopala Krishna 08 | N | Synthetic
46 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Bodkhe 09 | Y | other HRTs investigated but little data given, so 6h highlighted | Y
47 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Nasr 09 | Y | (confirmed different to 13) | Y
48 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Foxon 04 | Use the thesis in place of this!
49 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Dama 02 | Is part of Foxon work and poorly characterised here, use thesis
50 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Bodik 02 | N | Includes aerobic treatment
51 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Skiadas 98 | N | Synthetic
52 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Barber 98 | N | Synthetic
53 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Nachaiyasit 97 a | N | Feed unclear
54 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Nachaiyasit 97 b | N | Feed unclear
55 | ABR | "anaerobic baffled reactor" or "anaerobic baffle reactor" | Yu 96 | N | Wrong WW
56 | ABR | "anaerobic pond" or "anaerobic lagoon" | Cruddas 14 | Y |  | Double Check
57 | ABR | "anaerobic pond" or "anaerobic lagoon" | Sani 13

## Data
| Reactor | Pretreatment | Reactor Volume (m3) | Temp (oC) | Study Period | No of Baffles | Vup (m/h) | HRT (h) | OLR (kg COD m-3 d-1) | Inf TSS | Inf TCOD | Eff TSS (mg/l) | TSS R (%) | Eff VSS (mg/l) | VSS R (%) | Eff TCOD (mg/l) | TCOD R (%) | Eff PCOD (mg/l) | PCOD R (%) | EFF SCOD | SCOD % | Sludge Accumulation (m3/PE/yr) | Sludge Accumulation Ratio (gCOD / kgCODin) | Sludge Accumulation (l sludge/m3 WWT) | Sludge Accumulation (l/kg COD) | Sludge Accumulation (g accumulated TSS/kg TSS removed) | Hydrolysis Rate Constant (day-1) | Methane Generation (L/m-3WWT) | Methane Generation (gCOD CH4/gCOD in) | Methane Generation (L/gCOD in) | Methane Generation (L/gCOD removed) | Reference |  |  | Blocks | Connections | Type of connections |  | Complexity | Complexity |  |  | Inf TSS | Eff TSS (mg/l) | TSS R (%) | Complexity
ABR |  | - | 0.095 | 27.8 | 210 | 2 | 0.016289 | 72 | 0.321 | 295 | 960 | 71 | 76 | - | - | 248 | 74 | - | - |  |  |  | - | 1.4721 |  | - | 0.0081 | - | - | - | - | Nasr 13 |  |  | 5 | 2 | 1 |  | 9.7041 | 7.6903 |  |  | 295 | 71 | 76 | 7.6903
ABR |  | - | 0.095 | 24.1 | 210 | 2 | 0.024434 | 48 | 0.436 | 295 | 960 | 77 | 72 | - | - | 314 | 64 | - | - |  |  |  | - | 0.95439 |  | - | 0.0045 | - | - | - | - |  |  |  | 5 | 2 | 1 |  | 9.7041 | 7.6903 |  |  | 295 | 77 | 72 | 7.6903
ABR |  | - | 0.095 | 27.2 | 210 | 2 | 0.048868 | 24 | 0.885 | 295 | 960 | 87 | 68 |  | - | 380 | 57 |  | - |  |  |  | - | 0.8401 |  | - | 0.0025 | - | - | - | - |  |  |  | 5 | 2 | 1 |  | 9.7041 | 7.6903 |  |  | 295 | 87 | 68 | 7.6903
ABR |  | - | 6 | 19 | 120 |  |  | 24 | 0.411 | 329 | 411 |  | 84 | - | - |  | 76 | - | - |  |  |  | - | - | - | - | - | - | - | - | - | Keshtgar 19 |  |  | 8 | 2 | 1 |  | 13.8629 | 10.9861 | Lohani 15 a | https://doi.org/10.2166/wst.2015.358 | 329 |  | 84 | 10.9861
ABR |  | Screened <15mm, primary settler | 9.8 | 15.7 | 460 | 14 | - | 26 |  | 119 | 323 | 69 | 42.0168 |  |  | 250 | 22.6006 | 100 | 39.0244 | 150 | 5.6604 |  | - | - | - | 978 | - | - | - | - | - | Schalk 19 | Now the calculation here is a bit off as the assumption is the solids remain in the tank, not that there is regular disposal |  | 15 | 2 | 1 |  | 23.567 | 18.6764 |  |  | 119 | 69 | 42.0168 | 18.6764
ABR |  | Screened <15mm, primary settler | 12.5 | 14.6 | 540 | 14 | - | 28 | 0.332 | 139 | 407 | 81 | 41.7 |  | - | 306 | 24.8 | 240 | 38.5 | 167 | 10.6952 | - | - | 0.836 |  | 576 | 0.0084 | - | - | - | - |  | This paper needs a longer look it is quite a complicated set of runs that are mixed together |  | 15 | 2 | 1 |  | 23.567 | 18.6764 |  |  | 139 | 81 | 41.7 | 18.6764
ABR |  | - | 1 | 18 | 730 | 8 | 0.34475 | 12 | 1.3 | 510 | 760 |  | 83 |  |  |  | 43 | [5 empty] | - | - |  | - | - | - | - |  | 0.24 | Hahn 15 |  |  | 9 | 2 | 1 |  | 15.2492 | 12.0847 |  |  | 510 |  | 83 | 12.0847
ABR |  | - | 0.045 | 16.6 | 35 | 5 | 0.011 | 72 | 0.24667 | 310 | 740 |  | 84.5 |  | - | 241 | 69.6 | 74 | 67.7 | 167 | 48 |  | - | - | - | - | - | - | - | - | - | Santiago Diaz 19 , 17 | Use the accumulation data for discussion but not the table |  | 6 | 2 | 1 |  | 11.0904 | 8.7889 |  |  | 310 |  | 84.5 | 8.7889
ABR |  | - | 0.045 | 16.6 | 35 | 5 | 0.016 | 48 | 0.46195 | 310 | 923.9 |  | 85.7 |  | - | 241 | 70.1 | 74 | 87 | 167 | 39.4 |  | - | - | - | - | - | - | - | - | - |  |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889 |  |  | 310 |  | 85.7 | 8.7889
ABR |  | - | 0.1 | 20 | - | 9 |  | 48 | 0.1292 | 276 | 258.4 |  | - |  | - |  | 59 |  | - |  |  |  | - | - | - | - | - | - | - | - | - | Abassi 16 |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 20 | - | 9 |  | 72 | 0.086133 | 276 | 258.4 |  | - |  | - |  | 64 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 20 | - | 9 |  | 96 | 0.0646 | 276 | 258.4 |  | - |  | - |  | 67 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 20 | - | 9 |  | 120 | 0.05168 | 276 | 258.4 |  | - |  | - |  | 68 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 9 | - | 9 |  | 72 | 0.086133 | 276 | 258.4 |  | - |  | - |  | 51 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 9 | - | 9 |  | 96 | 0.0646 | 276 | 258.4 |  | - |  | - |  | 55 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 9 | - | 9 |  | 120 | 0.05168 | 276 | 258.4 |  | - |  | - |  | 61 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.1 | 9 | - | 9 |  | 144 | 0.043067 | 276 | 258.4 |  | - |  | - |  | 62 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 10 | 2 | 1 |  | 16.6355 | 13.1833
ABR |  | - | 0.009 | 15 | 16 | 8 |  | 48 | 0.1875 | 178 | 375 |  | 54 |  | - |  | 56 |  | - |  |  |  | - | - | - | - | - | - | - | - | - | Haydar 18 |  |  | 9 | 2 | 1 |  | 15.2492 | 12.0847 |  |  | 178 |  | 54 | 12.0847
ABR |  | - | 0.009 | 15 | 16 | 8 |  | 24 | 0.376 | 179 | 376 |  | 50 |  | - |  | 53 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 9 | 2 | 1 |  | 15.2492 | 12.0847 |  |  | 179 |  | 50 | 12.0847
ABR |  | - | 0.009 | 15 | 16 | 8 |  | 12 | 0.752 | 177 | 376 |  | 40 |  | - |  | 48 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 9 | 2 | 1 |  | 15.2492 | 12.0847 |  |  | 177 |  | 40 | 12.0847
ABR - Channel seperator |  | - | 0.009 | 15 | 10 | 12 |  | 48 | 0.1875 | 177 | 375 |  | 62 |  | - |  | 60 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 13 | 2 | 1 |  | 20.7944 | 16.4792 |  |  | 177 |  | 62 | 16.4792
ABR - Channel seperator |  | - | 0.009 | 15 | 10 | 12 |  | 24 | 0.378 | 177 | 378 |  | 56 |  | - |  | 56 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 13 | 2 | 1 |  | 20.7944 | 16.4792 |  |  | 177 |  | 56 | 16.4792
ABR - Channel seperator |  | - | 0.009 | 15 | 10 | 12 |  | 12 | 0.75 | 178 | 375 |  | 40 |  | - |  | 50 |  | - |  |  |  | - | - | - | - | - | - | - | - | - |  |  |  | 13 | 2 | 1 |  | 20.7944 | 16.4792 |  |  | 178 |  | 40 | 16.4792
ABR |  | Grinder pump, screened <2mm | 0.72 | 17.9 | 390 |  |  | 24 | 0.581 | 307 | 581 |  | 83 |  | 83 |  | 43 |  | 71 |  |  |  | - | - | - | - | - | - | - | 0.18 | 0.31 | Pfluger 18, 20 |  |  | - | - | - | - | - | - |  |  | 307 |  | 83 | -
ABR - Filter |  | Grinder pump, screened <2mm | 0.81 | 18.5 | 330 |  |  | 27 | 0.46044 | 311 | 518 |  | 91 |  | 86 |  | 54 |  | 76 |  |  |  | - | - | - | - | - | - | - | 0.22 | 0.4 | Pfluger 18, 20 |  |  | - | - | - | - | - | - |  |  | 311 |  | 91 | -
ABR |  | Grinder pump, screened <2mm | 0.87 | 18 | 1357 |  |  | 12 | 1.55 - 1.95 | - | 776 - 967 |  | - |  | - |  | 43 | [5 empty] | - | - | - | - | - | - | - | - | 0.31 | Pfluger 20 |  |  | - | - | - | - | - | -
ABR |  | Grinder pump, screened <2mm | 0.87 | 18 | 383 |  |  | 24 | 0.78 - 0.97 | - | 776 - 967 |  | - |  | - |  | 72 | [5 empty] | - | - | - | - | - | - | - | - | 0.34 | Pfluger 20 |  |  | - | - | - | - | - | -
ABR |  | - | 0.024 | 16 | 30 | 5 | 0.012698 | 36 | 0.212 | - | 268 |  | - |  | - | 123 | 54.1045 | -4 | 103.7383 | 127 | 19 |  | - | - | - | - | - | - | - | - | - | Chen 14 |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889
ABR |  | - | 0.024 | 16 | 30 | 5 | 0.019048 | 24 | 0.318 | - | 246 |  | - |  | - | 102 | 58.5366 | 14 | 85.4167 | 88 | 41 |  | - | - | - | - | - | - | - | - | - |  |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889
ABR |  | - | 0.024 | 16 | 30 | 5 | 0.038095 | 12 | 0.636 | - | 325 |  | - | - | - | 143 | 56 | 36 | 76.3158 | 107 | 37 |  | - | - | - | - | - | - | - | - | - |  |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889
ABR - H-V |  | - | 0.376 | 10.5 | 110 | 6 |  | 55.2 | 0.19609 | 277 | 451 | 91 | 67.148 | 72 |  | 245 | 45.6763 | 132 | 63.7363 | 114 | -31.0345 | 0.06 | - | - | - | - | 0.0087 | 5.03 | - |  |  | Cruddas 21, 18 |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889 |  |  | 277 | 91 | 67.148 | 9.8875
ABR - Filter |  | - | 0.057 | 30 | - | 2 |  | 24 | 0.58 | 303 | 580 | 30 | 90 | - | - | 70 | 90 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Singh 21 |  |  | 6 | 2 | 1 |  | 11.0904 | 8.7889 |  |  | 303 | 30 | 90 | 8.7889
ABR - Filter |  | - |  | 17-43 | 315 | 4 |  | 20 |  | - | - | - | 89 | - | - | - | 84 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Sabry 10 |  |  | 7 | 2 | 1 |  | 12.4766 | 9.8875 |  |  | - | - | 89 | 9.8875
ABR - Filter |  |  | 0.024 | 12-40 | 250 | 1 |  | 24 | 0.411 | 242 | 411 | 19.6 | 91.2 | - | - | 44.1 | 88.6 | - | - |  |  |  | 180.7095 | - | - | - | - |  | 0.587 | - | - | Sharma 14 |  |  | 6 | 3 | 1 |  | 14.4849 | 9.8875 |  |  | 242 | 19.6 | 91.2 | 9.8875
ABR - Filter |  | - | 0.0364 | 28.5 | 90 | 13 |  | 30 | 0.4368 | 325.7 | 546 | 13.3 | 90 | 8.3 | 90 | 45 | 91 | - |  |  |  |  | - | - | - | - | - |  | - | - | - | Khalekuzzamen 18 a |  |  | 16 | 3 | 1 |  | 30.5793 | 20.8736 |  |  | 325.7 | 13.3 | 90 | 20.8736
ABR - Filter |  | - | 0.0364 | 28.2 | 90 | 13 |  | 30 | 0.4712 | 498.6 | 589 | 16.7 | 95 | 10 | 93 | 75 | 88 | - |  |  |  |  | - | - | - | - | - |  | - | - | - |  | Performance |  | 16 | 3 | 1 |  | 30.5793 | 20.8736 |  |  | 498.6 | 16.7 | 95 | 20.8736
ABR |  | - | 0.0152 | 22 - 24.8 | 65 | 10 | - | 10 | 1.0656 | - | 444 | - | - | - | - | 323 | 27.2523 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Feng 16 |  |  | - | - | - | - | - | -
ABR |  | - | 0.0152 | 22 - 24.8 | 65 | 10 | - | 10 | 0.8472 | - | 353 | - | - | - | - | 165 | 53.2578 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.0152 | 30 | 90 | 10 | - | 10 | - | - | - | - | - | - | - | - | 66.4 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.1 | 13.5 | 60 | 17 | - | 17.8 | 0.38 | 279 | 187 | - | - | - | - | - | 84 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Gomec 10 |  |  | - | - | - | - | - | -
ABR |  | - | 0.1 | 19 | 120 | 17 | - | 12.8 | 0.35063 | 279 | 187 | - | - | - | - | - | 67 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.1 | 24 | 120 | 17 | - | 11.1 | 0.40432 | 279 | 187 | - | - | - | - | - | 72 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.1 | 18 | 90 | 17 | - | 9.5 | 0.31 | 279 | 187 | - | - | - | - | - | 63 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.1 | 24 | 120 | 17 | - | 8.55 | 0.49 | 279 | 187 | - | - | - | - | - | 75 | - | - |  |  |  | - | - | - | - | - |  | - | - | - |  |  |  | - | - | - | - | - | -
ABR |  | - | 0.032 | 35 | - | 17 | 0.22 | 6 | 1.6 | 285.7143 | 400 | 40 | 86 | Avialable |  | 44 | 84 | - | - |  |  |  | - | - | - | - | - |  | - | 0.5 | 0.34 | Bodkhe 09 |  |  | 8 | 2 | 1 |  | 13.8629 | 10.9861 |  |  | 285.7143 | 40 | 86 | 10.9861
ABR |  | - | 0.015 | 25.1 | 100 | 9 | - | 24 | 0.669 | 297.2222 | 586.6667 | 53.5 | 82 | - | - | 105.6 | 82 | 9.8 | 96.9492 | 72.2 | 72.8 |  | - | - |  | 467 (gTS/gTSr) | 0.0296 |  | - | - | - | Nasr 09 | The mass balance is wrong and partially ignored the TS in tank values are used |  | 10 | 3 | 1 |  | 20.9227 | 14.282 |  |  | 297.2222 | 53.5 | 82 | 14.282
ABR |  | - | 0.015 | 23.3 | 100 | 9 | - | 18 | 0.958 | 246.7681 | 657.6355 | 64.9 | 73.7 | - | - | 133.5 | 79.7 | 49 | 80.3547 | 84.5 | 79.3 |  | - | - |  | 506 (gTS/gTSr) | 0.0215 |  | - | - | - |  | They don’t seem to account for the possibility of hydrolysis |  | 10 | 3 | 1 |  | 20.9227 | 14.282 |  |  | 246.7681 | 64.9 | 73.7 | 14.282
ABR |  | - | 0.015 | 23 | 100 | 9 | - | 12 | 1.3 | 249.8305 | 633.1967 | 73.7 | 70.5 | - | - | 154.5 | 75.6 | 75.7 | 80.4366 | 78.8 | 68 |  | - | - |  | 697 (gTS/gTSr) | 0.0158 |  | - | - | - |  |  |  | 10 | 3 | 1 |  | 20.9227 | 14.282 |  |  | 249.8305 | 73.7 | 70.5 | 14.282
ABR |  | - | 0.015 | 24 | 100 | 9 | - | 8 | 2.1 | 217.3633 | 696.9231 | 67.6 | 68.9 | - | - | 226.5 | 67.5 | 116 | 74.7994 | 110.5 | 53 |  | - | - |  | 557 (gTS/gTSr) | 0.0046 |  | - | - | - |  |  |  | 10 | 3 | 1 |  | 20.9227 | 14.282 |  |  | 217.3633 | 67.6 | 68.9 | 14.282
12.0847
ABR - Filter |  | - | 1.2 | - | 530 | 1 |  | - | - | 442 | 858 | 85 | 79.4 | - | - | 208 | 69.9 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Sharma 16 b |  |  | Performance evaluation of package plant for treatment of single household domestic wastewater | [10 empty] | 9.8875
ABR |  | (Black water) | 0.0164 |  |  | 2 | - |  |  | 3000 | 5500 | [11 empty] | - | - | - | - | - |  | - | - | - | Moges 18 | [13 empty] | 15.9299
ABR - Filter |  | (Black water) | 1.2 | - | - | 1 |  | - | - | 1053 | 1712 | 225 | 83.2 | 197 | 78.1 | 460 | 72.6 | 119 | 84.8408 |  |  |  | - | - | - | - | - |  | - | - | - | Sharma 21, 16 a, 15 b |  | 16 a | On-site treatment of source separated domestic wastewater employing anaerobic package system
ABR w Zeolite filter |  | - | 0.0525 | 20 | 30 | 2 |  | 24 |  | This is in graph, difficult to read | [12 empty] | - | - | - | - | - |  |  | - | - | Santiago Diaz 21 | [13 empty] | 7.6903
ABR w Zeolite filter |  | - | 0.0525 | 20 | 30 | 2 |  | 18 | [14 empty] | - | - | - | - | - |  |  | - | - |  | Desludging every 2 two years is recommended | [12 empty] | 20.8736
ABR w Zeolite filter |  | - | 0.0525 | 20 | 30 | 2 |  | 12 | [14 empty] | - | - | - | - | - |  |  | - | -
ABR |  |  | 3.42 |  | 141 |  |  | 23 |  |  | 0 | [11 empty] | - | [8 empty] | Foxon 09
ABR |  | - | 3.42 |  | 126 |  |  | 22 | 0.737 | - | 389.136 |  | - |  | - | [7 empty] | 0 | 2.54 |  | - | - |  |  |  |  | Foxon 09
ABR |  | - | 3.42 |  | 184 |  |  | 42 | 0.408 | - | 411.264 |  | - |  | - | [7 empty] | 0 | 1.26 |  | 288 (kg TS removed) | -
ABR w Biowall |  | - | 14.4 | - | - | 6 + 2 biowalls | - | 24 | 0.2232 | 54.6 | 223.2 | 8.2 | 84.9817 | - | - | 43.7 | 80.4211 | - | - |  |  |  | - | - | - | - | - |  |  | - | - | Saeed 21
ABR w Biowall |  | - | 0.68 | - | 365 | 6 + 2 biowalls | - | 72 | 0.27463 | 203.9 | 823.9 | 7.4 | 96.3708 | - | - | 1.6 | 99.8058 | - | - |  |  |  | - | - | - | - | - |  |  | - | -
ABR |  | - | 0.037 | - | 170 | 9 | 0.0049957 | 48 | 0.28 | 258 | 588 | 20 | 92.2481 | - | - | 70 | 88.0952 | - | - |  |  |  | - | - | - | - | - |  | - | - | - | Aqaneghad 16
ABR |  | - | 0.037 | - | 60 | 9 | 0.0066609 | 36 | 0.39667 | 276 | 595 | 21 | 92.3913 | - | - | 68 | 88.5714 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR |  | - | 0.037 | - | 40 | 9 | 0.0099914 | 24 | 0.582 | 270 | 582 | 23 | 91.4815 | - | - | 95 | 83.677 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.05 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 17 | 93.633 | - | - | 68 | 87.9433 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.075 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 19 | 92.8839 | - | - | 61 | 89.1844 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.1 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 18 | 93.2584 | - | - | 53 | 90.6028 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.2 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 17 | 93.633 | - | - | 41 | 92.7305 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.2 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 18 | 93.2584 | - | - | 61 | 89.1844 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.3 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 20 | 92.5094 | - | - | 53 | 90.6028 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.4 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 20 | 92.5094 | - | - | 46 | 91.844 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - 0.5 mA cm-2 |  | - | 0.037 | - | 7 | 9 | 0.0099914 | 24 | 0.564 | 267 | 564 | 23 | 91.3858 | - | - | 35 | 93.7943 | - | - |  |  |  | - | - | - | - | - |  | - | - | -
ABR - H |  | - | 0.23 | 17.1 | 90 | 2 | - | 36 | [13 empty] | -0.02
ABR - H |  | - | 0.23 | 13.9 | 90 | 2 | - | 24 | [13 empty] | 0.04
ABR - H |  | - | 0.23 | 9.3 | 90 | 2 | - | 12 | [13 empty] | 0.06
ABR - H-V |  | - | 0.376 | 17 | 90 | 6 | - | 36 | [13 empty] | -0.02
ABR - H-V |  | - | 0.376 | 13.9 | 90 | 6 | - | 24 | [13 empty] | 0.04
ABR - H-V |  | - | 0.376 | 9.3 | 90 | 6 | - | 12 | [13 empty] | 0.06

## Analysis
Temp (oC) | No of Baffles | Vup (m/h) | HRT (h) | OLR (kg COD m-3 d-1) | TSS R (%) | TCOD R (%) | Hydrolysis Rate Constant (day-1) | Complexity |  | Temp (oC) | HRT (h) | OLR (kg COD m-3 d-1) | TCOD R (%) | Complexity |  |  | Temp (oC) | HRT (h) | OLR (kg COD m-3 d-1) | TSS R (%) |  |  | OLR (kg COD m-3 d-1) | TCOD R (%) | [5 empty] | Temp (oC) | HRT (h) | OLR (kg COD m-3 d-1) | TCOD R (%) |  | TCOD R (%) | Temp (oC) | No of Baffles | Vup (m/h) | HRT (h) | OLR (kg COD m-3 d-1) | Inf TCOD | Eff TCOD (mg/l) | TCOD R (%) | Inf TCOD | Temp (oC) | HRT (h) | Eff TCOD (mg/l) |  |  | Temp (oC) | HRT (h) | OLR (kg COD m-3 d-1) | Inf TSS | Eff TSS (mg/l) | TSS R (%) |  | Inf TSS | Temp (oC) | HRT (h) | Eff TSS (mg/l) | No of Baffles | TSS R (%) | No of Baffles | TCOD R (%)
27.8 | 2 | 0.016289 | 72 | 0.321 | 76 | 74 | 0.0081 | 7.6903 |  | 9 | 72 | 0.086133 | 51 | 13.1833 |  |  | 10.5 | 55.2 |  | 67.148 |  |  | 0.043067 | 62 | [5 empty] | 9 | 144 | 0.043067 | 62 | 55.8144 | 62 | 27.8 | 2 | 0.016289 | 72 | 0.321 | 960 | 248 | 74 | 960 | 27.8 | 72 | 248 |  |  | 27.8 | 72 | 0.321 | 295 | 71 | 76 | 70.8 | 295 | 27.8 | 72 | 71 | 2 | 68 | 2 | 57
24.1 | 2 | 0.024434 | 48 | 0.436 | 72 | 64 | 0.0045 | 7.6903 |  | 9 | 96 | 0.0646 | 55 | 13.1833 |  |  | 10.5 | 55.2 |  | 71.1191 |  |  | 0.05168 | 61 | [5 empty] | 9 | 120 | 0.05168 | 61 | 55.8144 | 61 | 24.1 | 2 | 0.024434 | 48 | 0.436 | 960 | 314 | 64 | 960 | 24.1 | 48 | 314 |  |  | 24.1 | 48 | 0.436 | 295 | 77 | 72 | 82.6 | 295 | 24.1 | 48 | 77 | 2 | 72 | 2 | 64
27.2 | 2 | 0.048868 | 24 | 0.885 | 68 | 57 | 0.0025 | 7.6903 |  | 9 | 120 | 0.05168 | 61 | 13.1833 |  |  | 14.6 | 28 | 0.332 | 41.7 |  |  | 0.05168 | 68 | [5 empty] | 20 | 120 | 0.05168 | 68 | 124.032 | 68 | 27.2 | 2 | 0.048868 | 24 | 0.885 | 960 | 380 | 57 | 960 | 27.2 | 24 | 380 |  |  | 27.2 | 24 | 0.885 | 295 | 87 | 68 | 94.4 | 295 | 27.2 | 24 | 87 | 2 | 76 | 2 | 74
19 |  |  | 24 | 0.411 | 84 | 76 | - | 10.9861 |  | 9 | 144 | 0.043067 | 62 | 13.1833 |  |  | 15 | 12 | 0.752 | 40 |  |  | 0.0646 | 55 | [5 empty] | 9 | 96 | 0.0646 | 55 | 55.8144 | 55 | 19 |  |  | 24 | 0.411 | 411 | 98.64 | 76 | 411 | 19 | 24 | 98.64 |  |  | 19 | 24 | 0.411 | 329 | 52.64 | 84 | 52.64 | 329 | 19 | 24 | 52.64 | 2 | 90 | 2 | 88.6
16.5 | 2 | - | 73.6 | 0.18 | 76.7 | 52.4 | 0.0319 | 6.5917 |  | 10.5 | 55.2 |  | 47.0067 | 5.4931 |  |  | 15 | 12 | 0.75 | 40 |  |  | 0.0646 | 67 | [5 empty] | 20 | 96 | 0.0646 | 67 | 124.032 | 67 | 16.5 | 2 | - | 73.6 | 0.18 | 317.952 | 151.3452 | 52.4 | 317.952 | 16.5 | 73.6 | 151.3452 |  |  | 16.5 | 73.6 | 0.18 | 277 | 64.541 | 76.7 | 64.541 | 277 | 16.5 | 73.6 | 64.541 | 2 | 91.2 | 2 | 90
15.7 | 14 | - | 26 |  | 42.0168 | 22.6006 | - | 18.6764 |  | 10.5 | 55.2 |  | 45.6763 | 9.8875 |  |  | 15 | 24 | 0.376 | 50 |  |  | 0.086133 | 51 | [5 empty] | 9 | 72 | 0.086133 | 51 | 55.8144 | 51 | 15.7 | 14 | - | 26 |  | 323 | 250 | 22.6006 | 323 | 15.7 | 26 | 250 |  |  | 15.7 | 26 |  | 119 | 69 | 42.0168 | 69 | 119 | 15.7 | 26 | 69 | 4 | 89 | 4 | 84
14.6 | 14 | - | 28 | 0.332 | 41.7 | 24.8 | 0.0084 | 18.6764 |  | 13.5 | 17.8 | 0.38 | 84 | - |  |  | 15 | 24 | 0.378 | 56 |  |  | 0.086133 | 64 | [5 empty] | 20 | 72 | 0.086133 | 64 | 124.032 | 64 | 14.6 | 14 | - | 28 | 0.332 | 407 | 306 | 24.8 | 407 | 14.6 | 28 | 306 |  |  | 14.6 | 28 | 0.332 | 139 | 81 | 41.7 | 81.037 | 139 | 14.6 | 28 | 81 | 5 | 84.5 | 5 | 54.1045
18 | 8 | 0.34475 | 12 | 1.3 | 83 | 43 | - | 12.0847 |  | 14.6 | 28 | 0.332 | 24.8 | 18.6764 |  |  | 15 | 48 | 0.1875 | 54 |  |  | 0.1292 | 59 | [5 empty] | 20 | 48 | 0.1292 | 59 | 124.032 | 59 | 18 | 8 | 0.34475 | 12 | 1.3 | 760 | 433.2 | 43 | 760 | 18 | 12 | 433.2 |  |  | 18 | 12 | 1.3 | 510 | 86.7 | 83 | 86.7 | 510 | 18 | 12 | 86.7 | 5 | 85.7 | 5 | 56
16.6 | 5 | 0.011 | 72 | 0.24667 | 84.5 | 69.6 | - | 8.7889 |  | 15 | 12 | 0.752 | 48 | 12.0847 |  |  | 15 | 48 | 0.1875 | 62 |  |  | 0.18 | 52.4 | [5 empty] | 16.5 | 73.6 | 0.18 | 52.4 | 218.592 | 52.4 | 16.6 | 5 | 0.011 | 72 | 0.24667 | 740 | 224.96 | 69.6 | 740 | 16.6 | 72 | 224.96 |  |  | 16.6 | 72 | 0.24667 | 310 | 48.05 | 84.5 | 48.05 | 310 | 16.6 | 72 | 48.05 | 6 | 67.148 | 5 | 58.5366
16.6 | 5 | 0.016 | 48 | 0.46195 | 85.7 | 70.1 | - | 8.7889 |  | 15 | 12 | 0.75 | 50 | 12.0847 |  |  | 15.7 | 26 |  | 42.0168 |  |  | 0.1875 | 56 | [5 empty] | 15 | 48 | 0.1875 | 56 | 135 | 56 | 16.6 | 5 | 0.016 | 48 | 0.46195 | 923.9 | 276.2461 | 70.1 | 923.9 | 16.6 | 48 | 276.2461 |  |  | 16.6 | 48 | 0.46195 | 310 | 44.33 | 85.7 | 44.33 | 310 | 16.6 | 48 | 44.33 | 7 | 84 | 5 | 69.6
20 |  |  | 48 | 0.1292 | - | 59 | - | 13.1833 |  | 15 | 24 | 0.376 | 53 | 12.0847 |  |  | 16.5 | 73.6 | 0.18 | 76.7 |  |  | 0.1875 | 60 | [5 empty] | 15 | 48 | 0.1875 | 60 | 135 | 60 | 20 |  |  | 48 | 0.1292 | 258.4 | 105.944 | 59 | 258.4 | 20 | 48 | 105.944 |  |  | 15 | 48 | 0.1875 | 178 | 81.88 | 54 | 81.88 | 178 | 15 | 48 | 81.88 | 8 | 40 | 5 | 70.1
20 |  |  | 72 | 0.086133 | - | 64 | - | 13.1833 |  | 15 | 24 | 0.378 | 56 | 16.4792 |  |  | 16.6 | 48 | 0.46195 | 85.7 |  |  | 0.212 | 54.1045 | [5 empty] | 16 | 36 | 0.212 | 54.1045 | 122.112 | 54.1045 | 20 |  |  | 72 | 0.086133 | 258.4 | 93.024 | 64 | 258.4 | 20 | 72 | 93.024 |  |  | 15 | 24 | 0.376 | 179 | 89.5 | 50 | 89.5 | 179 | 15 | 24 | 89.5 | 8 | 50 | 6 | 45.6763
20 |  |  | 96 | 0.0646 | - | 67 | - | 13.1833 |  | 15 | 48 | 0.1875 | 56 | 16.4792 |  |  | 16.6 | 72 | 0.24667 | 84.5 |  |  | 0.24667 | 69.6 | [5 empty] | 16.6 | 72 | 0.24667 | 69.6 | 294.816 | 69.6 | 20 |  |  | 96 | 0.0646 | 258.4 | 85.272 | 67 | 258.4 | 20 | 96 | 85.272 |  |  | 15 | 12 | 0.752 | 177 | 106.2 | 40 | 106.2 | 177 | 15 | 12 | 106.2 | 8 | 54 | 7 | 76
20 |  |  | 120 | 0.05168 | - | 68 | - | 13.1833 |  | 15 | 48 | 0.1875 | 60 | 16.4792 |  |  | 17.9 | 24 | 0.581 | 83 |  |  | 0.31 | 63 | [5 empty] | 18 | 9.5 | 0.31 | 63 | 53.01 | 63 | 20 |  |  | 120 | 0.05168 | 258.4 | 82.688 | 68 | 258.4 | 20 | 120 | 82.688 |  |  | 15 | 48 | 0.1875 | 177 | 67.26 | 62 | 67.26 | 177 | 15 | 48 | 67.26 | 8 | 83 | 8 | 43
9 |  |  | 72 | 0.086133 | - | 51 | - | 13.1833 |  | 15.7 | 26 |  | 22.6006 | 18.6764 |  |  | 18 | 12 | 1.3 | 83 |  |  | 0.318 | 58.5366 | [5 empty] | 16 | 24 | 0.318 | 58.5366 | 122.112 | 58.5366 | 9 |  |  | 72 | 0.086133 | 258.4 | 126.616 | 51 | 258.4 | 9 | 72 | 126.616 |  |  | 15 | 24 | 0.378 | 177 | 77.88 | 56 | 77.88 | 177 | 15 | 24 | 77.88 | 9 | 68.9 | 8 | 48
9 |  |  | 96 | 0.0646 | - | 55 | - | 13.1833 |  | 16 | 12 | 0.636 | 56 | 8.7889 |  |  | 18.5 | 27 | 0.46044 | 91 |  |  | 0.321 | 74 | [5 empty] | 27.8 | 72 | 0.321 | 74 | 642.5136 | 74 | 9 |  |  | 96 | 0.0646 | 258.4 | 116.28 | 55 | 258.4 | 9 | 96 | 116.28 |  |  | 15 | 12 | 0.75 | 178 | 106.8 | 40 | 106.8 | 178 | 15 | 12 | 106.8 | 9 | 70.5 | 8 | 53
9 |  |  | 120 | 0.05168 | - | 61 | - | 13.1833 |  | 16 | 24 | 0.318 | 58.5366 | 8.7889 |  |  | 19 | 24 | 0.411 | 84 |  |  | 0.332 | 24.8 | [5 empty] | 14.6 | 28 | 0.332 | 24.8 | 135.7216 | 24.8 | 9 |  |  | 120 | 0.05168 | 258.4 | 100.776 | 61 | 258.4 | 9 | 120 | 100.776 |  |  | 17.9 | 24 | 0.581 | 307 | 52.19 | 83 | 52.19 | 307 | 17.9 | 24 | 52.19 | 9 | 73.7 | 8 | 56
9 |  |  | 144 | 0.043067 | - | 62 | - | 13.1833 |  | 16 | 36 | 0.212 | 54.1045 | 8.7889 |  |  | 23 | 12 | 1.3 | 70.5 |  |  | 0.35063 | 67 | [5 empty] | 19 | 12.8 | 0.35063 | 67 | 85.272 | 67 | 9 |  |  | 144 | 0.043067 | 258.4 | 98.192 | 62 | 258.4 | 9 | 144 | 98.192 |  |  | 18.5 | 27 | 0.46044 | 311 | 27.99 | 91 | 27.99 | 311 | 18.5 | 27 | 27.99 | 9 | 82 | 9 | 51
15 |  |  | 48 | 0.1875 | 54 | 56 | - | 12.0847 |  | 16.5 | 73.6 | 0.18 | 52.4 | 6.5917 |  |  | 23.3 | 18 | 0.958 | 73.7 |  |  | 0.376 | 53 | [5 empty] | 15 | 24 | 0.376 | 53 | 135.36 | 53 | 15 |  |  | 48 | 0.1875 | 375 | 165 | 56 | 375 | 15 | 48 | 165 |  |  | 10.5 | 55.2 | 0.19609 | 277 | 80 | 71.1191 | 80 | 277 | 10.5 | 55.2 | 80 | 12 | 40 | 9 | 55
15 |  |  | 24 | 0.376 | 50 | 53 | - | 12.0847 |  | 16.6 | 48 | 0.46195 | 70.1 | 8.7889 |  |  | 24 | 8 | 2.1 | 68.9 |  |  | 0.378 | 56 | [5 empty] | 15 | 24 | 0.378 | 56 | 136.08 | 56 | 15 |  |  | 24 | 0.376 | 376 | 176.72 | 53 | 376 | 15 | 24 | 176.72 |  |  | 10.5 | 55.2 | 0.19609 | 277 | 91 | 67.148 | 91 | 277 | 10.5 | 55.2 | 91 | 12 | 56 | 9 | 59
15 |  |  | 12 | 0.752 | 40 | 48 | - | 12.0847 |  | 16.6 | 72 | 0.24667 | 69.6 | 8.7889 |  |  | 24.1 | 48 | 0.436 | 72 |  |  | 0.38 | 84 | [5 empty] | 13.5 | 17.8 | 0.38 | 84 | 91.314 | 84 | 15 |  |  | 12 | 0.752 | 376 | 195.52 | 48 | 376 | 15 | 12 | 195.52 |  |  | 30 | 24 | 0.58 | 303 | 30 | 90 | 30.3 | 303 | 30 | 24 | 30 | 12 | 62 | 9 | 61
15 |  |  | 48 | 0.1875 | 62 | 60 | - | 16.4792 |  | 17.9 | 24 | 0.581 | 43 | - |  |  | 25.1 | 24 | 0.669 | 82 |  |  | 0.40432 | 72 | [5 empty] | 24 | 11.1 | 0.40432 | 72 | 107.712 | 72 | 15 |  |  | 48 | 0.1875 | 375 | 150 | 60 | 375 | 15 | 48 | 150 | 12 | 40 | 26 | 24 | 0.411 | 242 | 19.6 | 91.2 | 21.296 | 242 | 26 | 24 | 19.6 | 13 | 90 | 9 | 62
15 |  |  | 24 | 0.378 | 56 | 56 | - | 16.4792 |  | 18 | 9.5 | 0.31 | 63 | 12.0847 |  |  | 26 | 24 | 0.411 | 91.2 |  |  | 0.411 | 76 | [5 empty] | 19 | 24 | 0.411 | 76 | 187.416 | 76 | 15 |  |  | 24 | 0.378 | 378 | 166.32 | 56 | 378 | 15 | 24 | 166.32 |  |  | 28.5 | 30 | 0.4368 | 325.7 | 13.3 | 90 | 32.57 | 325.7 | 28.5 | 30 | 13.3 | 13 | 95 | 9 | 64
15 |  |  | 12 | 0.75 | 40 | 50 | - | 16.4792 |  | 18 | 12 | 1.3 | 43 | - |  |  | 27.2 | 24 | 0.885 | 68 |  |  | 0.411 | 88.6 | [5 empty] | 26 | 24 | 0.411 | 88.6 | 256.464 | 88.6 | 15 |  |  | 12 | 0.75 | 375 | 187.5 | 50 | 375 | 15 | 12 | 187.5 |  |  | 28.2 | 30 | 0.4712 | 498.6 | 16.7 | 95 | 24.93 | 498.6 | 28.2 | 30 | 16.7 | 14 | 41.7 | 9 | 67
17.9 |  |  | 24 | 0.581 | 83 | 43 | - | - |  | 18 | 12 | 1.55 - 1.95 | 43 | - |  |  | 27.8 | 72 | 0.321 | 76 |  |  | 0.436 | 64 | [5 empty] | 24.1 | 48 | 0.436 | 64 | 504.3648 | 64 | 17.9 |  |  | 24 | 0.581 | 581 | 331.17 | 43 | 581 | 17.9 | 24 | 331.17 |  |  | 35 | 6 | 1.6 | 285.7143 | 40 | 86 | 40 | 285.7143 | 35 | 6 | 40 | 14 | 42.0168 | 9 | 67.5
18.5 |  |  | 27 | 0.46044 | 91 | 54 | - | - |  | 18 | 24 | 0.78 - 0.97 | 72 | - |  |  | 28.2 | 30 | 0.4712 | 95 |  |  | 0.4368 | 91 | [5 empty] | 28.5 | 30 | 0.4368 | 91 | 373.464 | 91 | 18.5 |  |  | 27 | 0.46044 | 518 | 238.28 | 54 | 518 | 18.5 | 27 | 238.28 |  |  | 25.1 | 24 | 0.669 | 297.2222 | 53.5 | 82 | 53.5 | 297.2222 | 25.1 | 24 | 53.5 | 17 | 86 | 9 | 68
18 |  |  | 12 | 1.55 - 1.95 | - | 43 | - | - |  | 18.5 | 27 | 0.46044 | 54 | - |  |  | 28.5 | 30 | 0.4368 | 90 |  |  | 0.46044 | 54 | [5 empty] | 18.5 | 27 | 0.46044 | 54 | 229.992 | 54 | 18 |  |  | 12 | 1.55 - 1.95 | 871.5 | 496.755 | 43 | 871.5 | 18 | 12 | 496.755 |  |  | 23.3 | 18 | 0.958 | 246.7681 | 64.9 | 73.7 | 64.9 | 246.7681 | 23.3 | 18 | 64.9 |  |  | 9 | 75.6
18 |  |  | 24 | 0.78 - 0.97 | - | 72 | - | - |  | 19 | 12.8 | 0.35063 | 67 | 10.9861 |  |  | 30 | 20 |  | 89 |  |  | 0.46195 | 70.1 | [5 empty] | 16.6 | 48 | 0.46195 | 70.1 | 368.0818 | 70.1 | 18 |  |  | 24 | 0.78 - 0.97 | 871.5 | 244.02 | 72 | 871.5 | 18 | 24 | 244.02 |  |  | 23 | 12 | 1.3 | 249.8305 | 73.7 | 70.5 | 73.7 | 249.8305 | 23 | 12 | 73.7 |  | -0.32418 | 9 | 79.7
16 | 5 | 0.012698 | 36 | 0.212 | - | 54.1045 | - | 8.7889 |  | 19 | 24 | 0.411 | 76 | - |  |  | 30 | 24 | 0.58 | 90 |  |  | 0.4712 | 88 | [5 empty] | 28.2 | 30 | 0.4712 | 88 | 398.6352 | 88 | 16 | 5 | 0.012698 | 36 | 0.212 | 268 | 123 | 54.1045 | 268 | 16 | 36 | 123 |  |  | 24 | 8 | 2.1 | 217.3633 | 67.6 | 68.9 | 67.6 | 217.3633 | 24 | 8 | 67.6 |  |  | 9 | 82
16 | 5 | 0.019048 | 24 | 0.318 | - | 58.5366 | - | 8.7889 |  | 20 | 48 | 0.1292 | 59 | 13.1833 |  |  | 35 | 6 | 1.6 | 86 |  |  | 0.49 | 75 | [5 empty] | 24 | 8.55 | 0.49 | 75 | 100.548 | 75 | 16 | 5 | 0.019048 | 24 | 0.318 | 246 | 102 | 58.5366 | 246 | 16 | 24 | 102 | [15 empty] | 10 | 27.2523
16 | 5 | 0.038095 | 12 | 0.636 | - | 56 | - | 8.7889 |  | 20 | 72 | 0.086133 | 64 | 13.1833 | [8 empty] | 0.58 | 90 | [5 empty] | 30 | 24 | 0.58 | 90 | 417.6 | 90 | 16 | 5 | 0.038095 | 12 | 0.636 | 325 | 143 | 56 | 325 | 16 | 12 | 143 | [10 empty] | Not suitable |  |  |  |  | 10 | 53.2578
10.5 | 2 | - | 55.2 |  | 71.1191 | 47.0067 | 0.0158 | 5.4931 |  | 20 | 96 | 0.0646 | 67 | 13.1833 | [8 empty] | 0.581 | 43 | [5 empty] | 17.9 | 24 | 0.581 | 43 | 249.5976 | 43 | 10.5 | 2 | - | 55.2 | 0.19609 | 451 | 239 | 47.0067 | 451 | 10.5 | 55.2 | 239 | [15 empty] | 10 | 66.4
10.5 | 6 |  | 55.2 |  | 67.148 | 45.6763 | 0.0087 | 9.8875 |  | 20 | 120 | 0.05168 | 68 | 13.1833 | [8 empty] | 0.636 | 56 | [5 empty] | 16 | 12 | 0.636 | 56 | 122.112 | 56 | 10.5 | 6 |  | 55.2 | 0.19609 | 451 | 245 | 45.6763 | 451 | 10.5 | 55.2 | 245 | [15 empty] | 12 | 50
30 | 2 |  | 24 | 0.58 | 90 | 90 | - | 8.7889 |  | 23 | 12 | 1.3 | 75.6 | 14.282 | [8 empty] | 0.669 | 82 | [5 empty] | 25.1 | 24 | 0.669 | 82 | 403.0056 | 82 | 30 | 2 |  | 24 | 0.58 | 580 | 70 | 90 | 580 | 30 | 24 | 70 | [15 empty] | 12 | 56
30 | 4 |  | 20 |  | 89 | 84 | - | 9.8875 |  | 23.3 | 18 | 0.958 | 79.7 | 14.282 | [8 empty] | 0.75 | 50 | [5 empty] | 15 | 12 | 0.75 | 50 | 135 | 50 | 26 | 1 |  | 24 | 0.411 | 411 | 44.1 | 88.6 | 411 | 26 | 24 | 44.1 | [15 empty] | 12 | 60
26 | 1 |  | 24 | 0.411 | 91.2 | 88.6 | - | 9.8875 |  | 23.4 | 10 | 1.0656 | 27.2523 | - | [8 empty] | 0.752 | 48 | [5 empty] | 15 | 12 | 0.752 | 48 | 135.36 | 48 | 28.5 | 13 |  | 30 | 0.4368 | 546 | 45 | 91 | 546 | 28.5 | 30 | 45 | [15 empty] | 13 | 88
28.5 | 13 |  | 30 | 0.4368 | 90 | 91 | - | 20.8736 |  | 23.4 | 10 | 0.8472 | 53.2578 | - | [8 empty] | 0.8472 | 53.2578 | [5 empty] | 23.4 | 10 | 0.8472 | 53.2578 | 198.2448 | 53.2578 | 28.2 | 13 |  | 30 | 0.4712 | 589 | 75 | 88 | 589 | 28.2 | 30 | 75 | [15 empty] | 13 | 91
28.2 | 13 |  | 30 | 0.4712 | 95 | 88 | - | 20.8736 |  | 24 | 8 | 2.1 | 67.5 | - | [8 empty] | 0.875 | 72 | [5 empty] | 27.2 | 24 | 0.885 | 57 | 577.728 | 57 | 23.4 | 10 | - | 10 | 1.0656 | 444 | 323 | 27.2523 | 444 | 23.4 | 10 | 323 | [15 empty] | 14 | 22.6006
23.4 | 10 | - | 10 | 1.0656 | - | 27.2523 | - | - |  | 24 | 8.55 | 0.49 | 75 | - | [8 empty] | 0.885 | 57 | [5 empty] | 23.3 | 18 | 0.958 | 79.7 | 401.7852 | 79.7 | 23.4 | 10 | - | 10 | 0.8472 | 353 | 165 | 53.2578 | 353 | 23.4 | 10 | 165 | [15 empty] | 14 | 24.8
23.4 | 10 | - | 10 | 0.8472 | - | 53.2578 | - | - |  | 24 | 11.1 | 0.40432 | 72 | 14.282 | [8 empty] | 0.958 | 79.7 | [5 empty] | 23.4 | 10 | 1.0656 | 27.2523 | 249.3504 | 27.2523 | 13.5 | 17 | - | 17.8 | 0.38 | 187 | 29.92 | 84 | 187 | 13.5 | 17.8 | 29.92 | [15 empty] | 17 | 63
30 | 10 | - | 10 | - | - | 66.4 | - | - |  | 24.1 | 48 | 0.436 | 64 | 7.6903 | [8 empty] | 1.0656 | 27.2523 | [5 empty] | 18 | 12 | 1.3 | 43 | 280.8 | 43 | 19 | 17 | - | 12.8 | 0.35063 | 187 | 61.71 | 67 | 187 | 19 | 12.8 | 61.71 | [15 empty] | 17 | 67
13.5 | 17 | - | 17.8 | 0.38 | - | 84 | - | - |  | 25.1 | 24 | 0.669 | 82 | 14.282 | [8 empty] | 1.3 | 43 | [5 empty] | 23 | 12 | 1.3 | 75.6 | 358.8 | 75.6 | 24 | 17 | - | 11.1 | 0.40432 | 187 | 52.36 | 72 | 187 | 24 | 11.1 | 52.36 | [15 empty] | 17 | 72
19 | 17 | - | 12.8 | 0.35063 | - | 67 | - | - |  | 26 | 24 | 0.411 | 88.6 | 9.8875 | [8 empty] | 1.3 | 75.6 | [5 empty] | 35 | 6 | 1.6 | 84 | 336 | 84 | 18 | 17 | - | 9.5 | 0.31 | 187 | 69.19 | 63 | 187 | 18 | 9.5 | 69.19 | [15 empty] | 17 | 75
24 | 17 | - | 11.1 | 0.40432 | - | 72 | - | - |  | 27.2 | 24 | 0.885 | 57 | 7.6903 | [8 empty] | 1.6 | 84 | [5 empty] | 24 | 8 | 2.1 | 67.5 | 403.2 | 67.5 | 24 | 17 | - | 8.55 | 0.49 | 187 | 46.75 | 75 | 187 | 24 | 8.55 | 46.75 | [15 empty] | 17 | 84
18 | 17 | - | 9.5 | 0.31 | - | 63 | - | - |  | 27.8 | 72 | 0.321 | 74 | 7.6903 | [8 empty] | 1.8 | 43 | [5 empty] | 18 | 24 | 0.9 | 72 | 388.8 | 72 | 35 | 17 | 0.22 | 6 | 1.6 | 400 | 44 | 84 | 400 | 35 | 6 | 44 | [15 empty] | 17 | 84
24 | 17 | - | 8.55 | 0.49 | - | 75 | - | - |  | 28.2 | 30 | 0.4712 | 88 | 20.8736 | [8 empty] | 2.1 | 67.5 | [5 empty] | 18 | 12 | 1.8 | 43 | 388.8 | 43 | 25.1 | 9 | - | 24 | 0.669 | 586.6667 | 105.6 | 82 | 586.6667 | 25.1 | 24 | 105.6
35 | 17 | 0.22 | 6 | 1.6 | 86 | 84 | - | 10.9861 |  | 28.5 | 30 | 0.4368 | 91 | 20.8736 | [21 empty] | 23.3 | 9 | - | 18 | 0.958 | 657.6355 | 133.5 | 79.7 | 657.6355 | 23.3 | 18 | 133.5 | [16 empty] | -0.054147
25.1 | 9 | - | 24 | 0.669 | 82 | 82 | 0.0296 | 14.282 |  | 30 | 10 | - | 66.4 | 8.7889 | [21 empty] | 23 | 9 | - | 12 | 1.3 | 633.1967 | 154.5 | 75.6 | 633.1967 | 23 | 12 | 154.5
23.3 | 9 | - | 18 | 0.958 | 73.7 | 79.7 | 0.0215 | 14.282 |  | 30 | 20 |  | 84 | 9.8875 | [21 empty] | 24 | 9 | - | 8 | 2.1 | 696.9231 | 226.5 | 67.5 | 696.9231 | 24 | 8 | 226.5
23 | 9 | - | 12 | 1.3 | 70.5 | 75.6 | 0.0158 | 14.282 |  | 30 | 24 | 0.58 | 90 | -
24 | 9 | - | 8 | 2.1 | 68.9 | 67.5 | 0.0046 | 14.282 |  | 35 | 6 | 1.6 | 84 | 10.9861
[9 empty] | Median | 18 | 24 | 0.40766 |  |  |  | Median | 18.25 |  | Median | 74.85 |  |  | 0.411
[9 empty] | 25 | 15 | 12 | 0.20587 |  |  |  | 25 | 15 |  | 25 | 63.287 |  |  | 0.22067
[9 empty] | 75 | 24 | 48 | 0.64425 |  |  |  | 75 | 25.775 |  | 75 | 85.4 |  |  | 0.72975
[9 empty] | min | 9 | 6 | 0.043067 |  |  |  | min | 10.5 |  | min | 40 |  |  | 0.043067
[9 empty] | max | 35 | 144 | 2.1 |  |  |  | max | 35 |  | max | 95 |  |  | 2.1
[9 empty] | 5% | [6 empty] | 5% | 12.345 |  | 5% | 40.765
[9 empty] | 95% | [6 empty] | 95% | 30 |  | 95% | 91.11
| Temp (oC) | Complexity | [6 empty] | n | 51 | 51 | 44 |  |  |  | n | 30 |  | n | 30 |  |  | 46
| 9 | 13.1833
| 9 | 13.1833
| 9 | 13.1833
| 9 | 13.1833
| 10.5 | 5.4931
| 10.5 | 9.8875
| 13.5 | -
| 14.6 | 18.6764 | [9 empty] | Median | 62
| 15 | 12.0847
| 15 | 12.0847 | [9 empty] | 25 | 53.1289
| 15 | 12.0847 | [9 empty] | 75 | 73
| 15 | 16.4792
| 15 | 16.4792 | [9 empty] | min | 22.6006
| 15 | 16.4792 | [9 empty] | max | 91
| 15.7 | 18.6764
| 16 | 8.7889 | [9 empty] | 5% | 35.1261
| 16 | 8.7889 | [9 empty] | 95% | 88.3
| 16 | 8.7889
| 16.5 | 6.5917 | [9 empty] | n | 51
| 16.6 | 8.7889
| 16.6 | 8.7889
| 17.9 | -
| 18 | 12.0847
| 18 | -
| 18 | -
| 18 | -
| 18.5 | -
| 19 | 10.9861
| 19 | -
| 20 | 13.1833
| 20 | 13.1833
| 20 | 13.1833
| 20 | 13.1833
| 23 | 14.282
| 23.3 | 14.282
| 23.4 | -
| 23.4 | -
| 24 | -
| 24 | -
| 24 | 14.282
| 24.1 | 7.6903
| 25.1 | 14.282
| 26 | 9.8875
| 27.2 | 7.6903
| 27.8 | 7.6903
| 28.2 | 20.8736
| 28.5 | 20.8736
| 30 | 8.7889
| 30 | 9.8875
| 30 | -
| 35 | 10.9861
[14 empty] | TSS R |  |  |  | TCOD R
| ST |  | - | 0.095 | 27.5 | 210 |  | 72 | 0.321 |  | 295 | 960 | 103 | 65.3 | - | - | 334 | 65.3 | - | - | - | 1.367 | - | 0.0136 |  |  | - | - | Nasr 13
| ST |  | - | 0.095 | 24 | 210 |  | 48 | 0.436 |  | 295 | 960 | 115 | 58.3 | - | - | 380 | 56 | - | - | - | 0.78195 | - | 0.0063 |  |  | - | -
| ST |  | - | 0.095 | 27.3 | 210 |  | 24 | 0.885 |  | 295 | 960 | 123 | 55 | - | - | 412 | 53.4 | - | - | - | 0.35088 | - | 0.0087 |  |  | - | -
| ABR |  | - | 0.095 | 27.8 | 210 | 2 | 0.016289 | 72 | 0.321 | 295 | 960 | 71 | 76 | - | - | 248 | 74 | - | - | - | 1.4721 | - | 0.0081 | - | - | - | - | Nasr 13
| ABR |  | - | 0.095 | 24.1 | 210 | 2 | 0.024434 | 48 | 0.436 | 295 | 960 | 77 | 72 | - | - | 314 | 64 | - | - | - | 0.95439 | - | 0.0045 | - | - | - | -
| ABR |  | - | 0.095 | 27.2 | 210 | 2 | 0.048868 | 24 | 0.885 | 295 | 960 | 87 | 68 |  | - | 380 | 57 |  | - | - | 0.8401 | - | 0.0025 | - | - | - | -
[14 empty] | 10.7 |  |  |  | 8.7
[14 empty] | 13.7 |  |  |  | 8
[14 empty] | 13 |  |  |  | 3.6
[14 empty] | 12.4667 |  |  |  | 6.7667

## Complexity
Inf TCOD | Complexity | Temp (oC) | HRT (h) | Eff TCOD (mg/l) | Inf TSS | Complexity | Temp (oC) | HRT (h) | Eff TSS (mg/l)
246 | 8.7889 | 16 | 24 | 144 | 119 | 18.6764 | 15.7 | 26 | 69
258.4 | 13.1833 | 20 | 48 | 152.456 | 139 | 18.6764 | 14.6 | 28 | 81
258.4 | 13.1833 | 20 | 72 | 165.376 | 177 | 12.0847 | 15 | 12 | 106.2
258.4 | 13.1833 | 20 | 96 | 173.128 | 177 | 16.4792 | 15 | 48 | 67.26
258.4 | 13.1833 | 20 | 120 | 175.712 | 177 | 16.4792 | 15 | 24 | 77.88
258.4 | 13.1833 | 9 | 72 | 131.784 | 178 | 12.0847 | 15 | 48 | 81.88
258.4 | 13.1833 | 9 | 96 | 142.12 | 178 | 16.4792 | 15 | 12 | 106.8
258.4 | 13.1833 | 9 | 120 | 157.624 | 179 | 12.0847 | 15 | 24 | 89.5
258.4 | 13.1833 | 9 | 144 | 160.208 | 217.3633 | 14.282 | 24 | 8 | 67.6
268 | 8.7889 | 16 | 36 | 145 | 242 | 9.8875 | 26 | 24 | 19.6
317.952 | 6.5917 | 16.5 | 73.6 | 166.6068 | 246.7681 | 14.282 | 23.3 | 18 | 64.9
323 | 18.6764 | 15.7 | 26 | 250 | 249.8305 | 14.282 | 23 | 12 | 73.7
325 | 8.7889 | 16 | 12 | 182 | 277 | 6.5917 | 16.5 | 73.6 | 64.541
375 | 12.0847 | 15 | 48 | 210 | 277 | 5.4931 | 10.5 | 55.2 | 80
375 | 16.4792 | 15 | 48 | 225 | 277 | 9.8875 | 10.5 | 55.2 | 91
375 | 16.4792 | 15 | 12 | 187.5 | 285.7143 | 10.9861 | 35 | 6 | 40
376 | 12.0847 | 15 | 24 | 199.28 | 295 | 7.6903 | 27.8 | 72 | 71
376 | 12.0847 | 15 | 12 | 180.48 | 295 | 7.6903 | 24.1 | 48 | 77
378 | 16.4792 | 15 | 24 | 211.68 | 295 | 7.6903 | 27.2 | 24 | 87
400 | 10.9861 | 35 | 6 | 44 | 297.2222 | 14.282 | 25.1 | 24 | 53.5
407 | 18.6764 | 14.6 | 28 | 306 | 303 | 8.7889 | 30 | 24 | 30
411 | 10.9861 | 19 | 24 | 312.36 | 310 | 8.7889 | 16.6 | 72 | 48.05
411 | 9.8875 | 26 | 24 | 44.1 | 310 | 8.7889 | 16.6 | 48 | 44.33
451 | 5.4931 | 10.5 | 55.2 | 239 | 325.7 | 20.8736 | 28.5 | 30 | 13.3
451 | 9.8875 | 10.5 | 55.2 | 245 | 329 | 10.9861 | 19 | 24 | 52.64
546 | 20.8736 | 28.5 | 30 | 45 | 498.6 | 20.8736 | 28.2 | 30 | 16.7
580 | 8.7889 | 30 | 24 | 70 | 510 | 12.0847 | 18 | 12 | 86.7
586.6667 | 14.282 | 25.1 | 24 | 105.6
589 | 20.8736 | 28.2 | 30 | 75
633.1967 | 14.282 | 23 | 12 | 154.5
657.6355 | 14.282 | 23.3 | 18 | 133.5
696.9231 | 14.282 | 24 | 8 | 226.5
740 | 8.7889 | 16.6 | 72 | 515.04
760 | 12.0847 | 18 | 12 | 326.8
923.9 | 8.7889 | 16.6 | 48 | 647.6539
960 | 7.6903 | 27.8 | 72 | 248
960 | 7.6903 | 24.1 | 48 | 314
960 | 7.6903 | 27.2 | 24 | 380

## Hydrolysis Calc
[18 empty] | Discharged Sludge |  | Tank Sludge
| Reactor Volume (m3) | Temp (oC) | Study Period | No of Baffles | Vup (m/h) | HRT (h) | OLR (kg COD m-3 d-1) | Inf TSS | Inf TCOD | Eff TSS (mg/l) | TSS R (%) | Eff VSS (mg/l) | VSS R (%) | Eff TCOD (mg/l) | TCOD R (%) | Eff PCOD (mg/l) | PCOD R (%) | m3 | kg TSS | m3 | kg TSS
Start up | 9.8 | 19.3 | 126 | 14 | 0.2 | 48 | 0.17 | [16 empty] | Schalk 19
Start up | 9.8 | 14.2 | 32 | 14 | 0.6 | 24 | 0.34
Operation | 9.8 | 10.5 | 161 | 14 |  | 17 | 0.42
Operation | 9.8 | 17.6 | 98 | 14 |  | 17 | 0.39
Operation | 9.8 | 16.9 | 37 | 14 |  | 17 | 0.53
|  |  | 460 |  |  | 26 |  | 119 | 323 | 69 | 42 |  |  | 250 | 23 |  |  | 32.6 | 259 |  | 22.1
9.0462
[11 empty] | 69.02 | mg/l | gm-3 | [7 empty] | 281.1 | 0.61109 | kg d-1
[11 empty] | 624.3655 | gd-1
| 12.5 | 11.6 |  | 14 |  | 30 | 0.38 |  |  |  | 0.62437 | kg d-1 | [9 empty] | 0.97873
| 12.5 | 18.8 |  | 14 |  | 27 | 0.33 | [14 empty] | 978.7327
|  |  | 540 |  |  | 28 |  | 283 | 407 | 81 | 42 |  |  | 306 | 25 |  |  |  | 0 |  | 181