## Legend
COLOUR CODED LEGEND
Cells coloured in blue |  |  | Floating WT
Cells coloured in grey |  |  | Projects in the same WF
Cells coloured in red |  |  | Sums
Cells written in red |  |  | Partially grid-connected WFs (characteristics not entered yet)
Cells coloured in green |  |  | Correct values from WindEurope 2017 report
ACRONYM as from (Zhang et al. 2011) and (Perez et al.,2013)
Drivetrain Configuration (Gearox stages) |  |  | MG - Multi-stage Gearbox SG - Single-stage Gearbox DI - Drive Indirect DD - Direct-Drive,
Grid connection and Converters |  |  | DG - Direct Grid connected (capacitor), PC - Partial-scale power Converter, FC - Full scale power Converter,
Speed Control |  |  | FS - Fixed Speed, SV - Semi-Variable, VS - Variable Speed AS - Active Stall, PR - Pitch Regulation
Generator |  |  | PSCIG - Pole-Change Squirrel Cage Induction Generator, DFIG - Doubly Fed Induction Generator, WRIG - Wound Rotor Induction Generator, WRSG - Wound Rotor Synchronous Generator, PMSG - Permanent Magnet Synchronous Generator, EESG - Electrically Excited Synchronous Generator
DRIVETRAIN TYPES classified as by (Perez et al.,2013)
Types |  |  | Speed | Control | Gearbox | Generator | Grid connection (Converter) | Notes
A | A0 |  | Fixed | Active Stall | Multi-stage | SCIG PSCIG | Capacitor | Only type A considered (no sub-types)
| A1 |  |  | Passive Stall
| A2 |  |  | Pitch
B |  |  | Semi Variable | Pitch | Multi-stage | WRIG1 | Capacitor | -
C |  |  | Variable | Pitch | Multi-stage | DFIG | Partial-scale power converter2 | -
D | DI | DImW | Variable | Pitch | Multi-stage | WRSG | Full scale power converter | Type D sub-types considered
|  | DImS | Variable | Pitch |  | SCIG
|  | DImP | Variable | Pitch |  | PMSG
|  | DI1P | Variable | Pitch | 1-stage | PMSG
| DD | DDP | Variable | Pitch | - | PMSG
|  | DDE | Variable | Pitch | - | EESG | Full scale power converter3
1 with a variable resistance in the rotor windings
2 Converter feed back to the generator
3 Double feed back to the generator

## EU WFs
Data Collected for European Offshore Wind Farms
Wind Farm | Capacity [MW] | Country | No. Turbine | Manufacturer/Turbine Name | Control | Gearbox | Generator | Converter | Year On Line | Distance from shore (computed from centre) [km] 4C Offshore (Accessed 12/01/2018) | Status
Alpha ventus | 30 | Germany | 6 | REpower 5M | VS/PR | MG | DFIG | PC | 2009 | 56 | Fully grid-connected
Alpha ventus | 30 | Germany | 6 | Areva Multibrid M5000 | VS/PR | SG | PMSG | FC | 2009 | 56 | Fully grid-connected
Amrumbank West | 288 | Germany | 80 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | 45 | Fully grid-connected
Anholt | 399.6 | Denmark | 111 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | 22.6 | Fully grid-connected
Arklow Bank 1 | 25.2 | Ireland | 7 | GE3.6s | VS/PR | MG | DFIG | PC | 2003 | 11.7 | Fully grid-connected
Avedøre Holme | 10.8 | Denmark | 3 | Siemens SWT 3.6-120 | VS/PR | MG | DFIG | PC | 2009 | 0.4 | Fully grid-connected
BARD Offshore 1 | 400 | Germany | 80 | BARD 5.0MW | VS/PR | MG | DFIG | PC | 2013 | 112 | Fully grid-connected
Barrow | 90 | UK (England) | 30 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2006 | 12.7 | Fully grid-connected
Beatrice | 10 | UK (Scottland) | 2 | REpower 5M | VS/PR | MG | DFIG | PC | 2007 | 23 | Fully grid-connected
Belwind | 165 | Belgium | 55 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2010 | 44.7 | Fully grid-connected
Belwind Alstom Haliade Demo | 6 | Belgium | 1 | Haliade 150-6.0MW (GE Energy) | VS/PR | DD | PMSG | FC | 2014 | 45.4 | Fully grid-connected
Belwind II (Nobelwind) | 165 | Belgium | 50 | Vestas V112-3.3MW | VS/PR | MG | SCIG | FC | 2017 | 43.7 | Fully grid-connected
Blyth | 4 | UK (England) | 2 | Vestas V66-2MW | VS/PR | MG | DFIG | PC | 2000 | 1.6 | Decommisioned
Blyth Demo Project (Array 2) | 41.5 | UK (England) | 5 | Vestas V164-8.0 | VS/PR | SG | PMSG | FC | 2018 | 6.4 | Fully grid-connected
Borkum Riffgrund 1 | 312 | Germany | 78 | Siemens SWT-4.0-120 | VS/PR | MG | SCIG | FC | 2015 | 55 | Fully grid-connected
Brelting | 2.5 | Germany | 1 | Nordex N90/2500 | VS/PR | MG | DFIG | PC | 2006 | 0.3 | Fully grid-connected
Burbo Bank | 90 | UK (England) | 25 | Siemens SWT 3.6-107 | VS/PR | MG | SCIG | FC | 2007 | 8 | Fully grid-connected
Burbo Bank Extension | 256 | UK (England) | 32 | Vestas V164-8.0 | VS/PR | SG | PMSG | FC | 2017 | 11.5 | Fully grid-connected
Butendiek | 288 | Germany | 80 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | 35.4 | Fully grid-connected
DanTysk | 288 | Germany | 80 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | 74.3 | Fully grid-connected
Dudgeon | 402 | UK (England) | 67 | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | 38.2 | Fully grid-connected
Egmond aan Zee | 108 | Netherlands | 36 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2007 | 13.7 | Fully grid-connected
Ems-Emden | 4.5 | Germany | 1 | Enercon E112 4.5MW | VS/PR | DD | EESG | FC | 2004 | 0.6 | Fully grid-connected
EnBW Baltic 2 | 288 | Germany | 80 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | 35.4 | Fully grid-connected
Floatgen | 2 | France | [8 empty] | (Floating)
Frederikshavn | 6 | Denmark | 2 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2003 | 3.1 | Fully grid-connected
Frederikshavn | 2.3 | Denmark | 1 | Nordex N90 2.3MW | VS/PR | MG | DFIG | PC | 2003 | 3.1 | Fully grid-connected
Frederikshavn | 2.3 | Denmark | 1 | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | 3.1 | Fully grid-connected
Galloper | 72 | UK (England) | [8 empty] | Partially grid-connected
Gasslingegrund (1&2 Vindpark Vänern) | 30 | Sweden | 10 | WinWind-3-100 | VS/PR | SG | PMSG | FC | 2009 | 10.1 | Fully grid-connected
Gemini Wind Farm | 600 | Netherlands | 150 | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | 70.2 | Fully grid-connected
Global Tech I | 400 | Germany | 80 | Areva Multibrid M5000 5.0MW | VS/PR | SG | PMSG | FC | 2015 | 109.5 | Fully grid-connected
Gode Wind (phases 1+2) | 582 | Germany | 97 | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | 44.3 | Fully grid-connected
Greater Gabbard | 504 | UK (England) | 140 | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2012 | 32.5 | Fully grid-connected
Gunfleet Sands 1 & 2 | 172.8 | UK (England) | 48 | Siemens SWP-3.6-107 | VS/PR | MG | SCIG | FC | 2010 | 7.4 | Fully grid-connected
Gunfleet Sands 3 - Demo Project | 12 | UK (England) | 2 | Siemens SWT-6.0-120 | VS/PR | DD | PMSG | FC | 2013 | 9.1 | Fully grid-connected
Gwynt y Môr | 576 | UK (Wales) | 160 | Siemens SWT-3.6 107 | VS/PR | MG | SCIG | FC | 2015 | 17.4 | Fully grid-connected
Hooksiel | 5 | Germany | 1 | BARD 5.0MW | VS/PR | MG | DFIG | FC | 2008 | 3 | Fully grid-connected
Horns Rev I | 160 | Denmark | 80 | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2002 | 17.8 | Fully grid-connected
Horns Rev II | 209.3 | Denmark | 91 | Siemens SWT 2.3-93 | VS/PR | MG | SCIG | FC | 2009 | 32.6 | Fully grid-connected
Humber Gateway | 219 | UK (England) | 73 | Vestas V112 3.0MW | VS/PR | SG | PMSG | FC | 2015 | 10.1 | Fully grid-connected
Hywind | 2.3 | Norway | [8 empty] | (Floating)
Inner Dowsing | 97.2 | UK (England) | 27 | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2007 | 6.2 | Fully grid-connected
Kemi Ajos I | 15 | Finland | 5 | WinWinD-3-100 | VS/PR | SG | PMSG | FC | 2008 | 5.1 | Decommisioned
Kemi Ajos II | 15 | Finland | 5 | WinWinD-3-100 | VS/PR | SG | PMSG | FC | 2008 | 6 | Decommisioned
Kemin Ajoksen 1&2 (Ajos) | 26.4 | Finland | 8 | Siemens SWT-3.3-130 (onshore?) | VS/PR | DD | PMSG | FC | 2017 | 5.2 | Fully grid-connected
Kentish Flats | 90 | UK (England) | 30 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2005 | 9.8 | Fully grid-connected
Lillgrund | 110.4 | Sweden | 48 | Siemens SWT 2.3-93 | VS/PR | MG | SCIG | FC | 2007 | 9.3 | Fully grid-connected
Lincs | 270 | UK (England) | 75 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | 9.1 | Fully grid-connected
London Array Phase 1 | 630 | UK (England) | 175 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | 27.6 | Fully grid-connected
Lynn | 97.2 | UK (England) | 27 | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2008 | 6.5 | Fully grid-connected
Meerwind Süd/Ost | 288 | Germany | 80 | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | 54.4 | Fully grid-connected
Methil | 7 | UK (Scottland) | 1 | Samsung 7.0 MW | VS/PR | SG | PMSG | FC | 2013 | 0.05 | Fully grid-connected
Middelgrunden | 40 | Denmark | 20 | Bonus B76-2MW | FS/AS | MG | PSCIG | DG | 2001 | 4.6 | Fully grid-connected
Nordergründe | 110.7 | Germany | 18 | Senvion 6.2M(6.15)126 | VS/PR | MG | DFIG | PC | 2017 | 17.4 | Fully grid-connected
Nordsee One | 332.1 | Germany | 54 | Senvion 6.2(6.15)M126 | VS/PR | MG | DFIG | PC | 2017 | 44.3 | Fully grid-connected
Nordsee Ost | 295.2 | Germany | 48 | Senvion 6.2(6.15)M126 | VS/PR | MG | DFIG | PC | 2015 | 51.4 | Fully grid-connected
North Hoyle | 60 | UK (Wales) | 30 | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2003 | 9.1 | Fully grid-connected
Northwind | 216 | Belgium | 72 | Vestas V112-3.0MW | VS/PR | MG | PMSG | FC | 2014 | 36.5 | Fully grid-connected
Ormonde | 150 | UK (England) | 30 | REpower 5 MW | VS/PR | MG | DFIG | PC | 2012 | 12.3 | Fully grid-connected
Pori Tahkoluoto 2 | 40 | Finland | 10 | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | 9.8 | Fully grid-connected
Princess Amalia | 120 | Netherlands | 60 | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2008 | 26.5 | Fully grid-connected
Race Bank | 573.3 | UK (England) | [8 empty] | Partially grid-connected
Rampion | 179 | UK (England) | [8 empty] | Partially grid-connected
Rhyl Flats | 90 | UK (Wales) | 25 | Siemens SWP 3.6-107 | VS/PR | MG | SCIG | FC | 2009 | 10.7 | Fully grid-connected
Robin Rigg | 90 | UK (Scottland) | 30 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2009 | 11.5 | Fully grid-connected
Rødsand I (Nysted) | 165.6 | Denmark | 72 | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | 10.7 | Fully grid-connected
Rødsand II | 207 | Denmark | 90 | Siemens SWT-2.3-93 | VS/PR | MG | SCIG | FC | 2010 | 9 | Fully grid-connected
Rønland | 9.2 | Denmark | 4 | Siemens SWT-2.3-93 | FS/AS | MG | PSCIG | DG | 2002 | 0.1 | Fully grid-connected
Rønland | 8 | Denmark | 4 | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2002 | 0.1 | Fully grid-connected
Samsø | 23 | Denmark | 10 | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | 3.9 | Fully grid-connected
Sandbank (Phase 1) | 288 | Germany | 72 | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | 95.7 | Fully grid-connected
Scroby Sands | 60 | UK (England) | 30 | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2004 | 3.5 | Fully grid-connected
Sheringham Shoal | 316.8 | UK (England) | 88 | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2012 | 21.4 | Fully grid-connected
Sprogø | 21 | Denmark | 7 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2009 | 9.3 | Fully grid-connected
Teesside | 62.1 | UK (England) | 27 | Siemens SWT-2.3-93 | VS/PR | MG | SCIG | FC | 2013 | 1.8 | Fully grid-connected
Thanet | 300 | UK (England) | 100 | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2010 | 11 | Fully grid-connected
Thornton Bank I | 30 | Belgium | 6 | REpower 5 MW | VS/PR | MG | DFIG | PC | 2008 | 27.9 | Fully grid-connected
Thornton Bank II | 184.5 | Belgium | 30 | Senvion 6.15MW | VS/PR | MG | DFIG | PC | 2013 | 28.2 | Fully grid-connected
Thornton Bank III | 110.7 | Belgium | 18 | Senvion 6.15MW | VS/PR | MG | DFIG | PC | 2013 | 21.8 | Fully grid-connected
Trianel Borkum I | 200 | Germany | 40 | Areva Multibrid M5000 5.0MW | VS/PR | SG | PMSG | FC | 2015 | 65.6 | Fully grid-connected
Utgrunden I | 10.5 | Sweden | 7 | Enron EW70-1.5MW | VS/PR | MG | DFIG | PC | 2001 | 7.3 | Fully grid-connected
Veja Mate | 402 | Germany | 67 | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | 114.1 | Fully grid-connected
Walney Phase 1 | 183.6 | UK (England) | 51 | Siemens SWP 3.6-107 | VS/PR | MG | SCIG | FC | 2010 | 19.3 | Fully grid-connected
Walney Phase 2 | 183.6 | UK (England) | 51 | Siemens SWP 3.6-120 | VS/PR | MG | DFIG | PC | 2010 | 22 | Fully grid-connected
Walney Phase 3 (ext.1) | 256 | UK (England) | [8 empty] | Partially grid-connected
West of Duddon Sands | 388.8 | UK (England) | 108 | Siemens SWP 3.6-120 | VS/PR | MG | DFIG | PC | 2014 | 20.1 | Fully grid-connected
Westermost Rough | 210 | UK (England) | 35 | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2015 | 11.2 | Fully grid-connected
Wikinger | 350 | Germany | 70 | AD 5-135 (Adwen) | VS/PR | SG | PMSG | FC | 2017 | 39.2 | Fully grid-connected
Yttre Stengrund | 10 | Sweden | 5 | NEG Micon NM72-2MW | FS/AS | MG | PSCIG | DG | 2002 | 3.7 | Fully grid-connected
TOTAL | 15184 |  | 3724
Statistics from WindEurope 2017 [MW] | 15780

## EU WFs (Fully-Grid Connected)
Data Collected for European Offshore Wind Farms (Fully-Connected) | [13 empty] | Capacity installed per types of drivetrain | [8 empty] | Capacity installed per types of drivetrain (types subdivision for pie chart) | [11 empty] | Top 5 countries share [MW] |  |  |  |  | Manufacturers' share [MW] | [13 empty] | Manufacturers' share (number of WTs)
Wind Farm | Project Name | Capacity (MW) | Country | No. Turbine | WT Capacity (MW) | Manufacturer | Turbine Name | Control | Gearbox | Generator | Converter | Year On Line | Drivetrain Type | A | B | C | DImW | DImS | DImP | DI1P | DDP | DDE | Type A/B | Type C | Type D (Indirect-drive, Multi-stage Gearbox, Induction Generator) | Type D (Indirect-drive, Multi/1-stage Gearbox, Permanent Magnet Generator) | Type D (Direct-drive, Permanent Magnet/Electrically Excited Syncronous Generator) | Drivetrain Types | [6 empty] | UK | Germany | Denmark | Netherlands | Belgium | Adwen and/or Areva Wind | BARD Holding | Bonus Energy | Enercon | Enron Wind Systems | GE Renewable Energy | General Electric | NEG Micon | Nordex | Samsung | Senvion (former Repower Group) | Siemens | Vestas | WinWinD | Adwen and/or Areva Wind | BARD Holding | Bonus Energy | Enercon | Enron Wind Systems | GE Renewable Energy | General Electric | NEG Micon | Nordex | Samsung | Senvion (former Repower Group) | Siemens | Vestas | WinWinD
Alpha ventus | Alpha ventus | 30 | Germany | 6 | 5 | REpower Group | REpower 5M | VS/PR | MG | DFIG | PC | 2009 | C | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | A | FS/AS | MG | PSCIG | DG | EUROPEAN FULLY-GRID CONNECTED WIND FARMS | Alpha ventus | 0 | 30 | 0 | 0 | 0 | [10 empty] | 30 | [13 empty] | 6
| Alpha ventus | 30 | Germany | 6 | 5 | Areva Wind | Areva Multibrid M5000 | VS/PR | SG | PMSG | FC | 2009 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | B | VS/PR | MG | WRIG | DG |  | Alpha ventus | 0 | 30 | 0 | 0 | 0 | 30 | [13 empty] | 6
Amrumbank West | Amrumbank West | 288 | Germany | 80 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | C | VS/PR | MG | DFIG | PC |  | Amrumbank West | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 80
Anholt | Anholt | 399.6 | Denmark | 111 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 399.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 399.6 | 0 | 0 | 0 | DImW | VS/PR | MG | WRSG | FC |  | Anholt | 0 | 0 | 399.6 | 0 | 0 | [11 empty] | 399.6 | [13 empty] | 111
Arklow Bank 1 | Arklow Bank 1 | 25.2 | Ireland | 7 | 3.6 | General Electric | GE3.6s | VS/PR | MG | DFIG | PC | 2003 | C | 0 | 0 | 25.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2 | 0 | 0 | 0 | DImS | VS/PR | MG | SCIG | FC |  | Arklow Bank 1 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 25.2 | [13 empty] | 7
Avedøre Holme | Avedøre Holme | 10.8 | Denmark | 3 | 3.6 | Siemens | Siemens SWT 3.6-120 | VS/PR | MG | DFIG | PC | 2009 | C | 0 | 0 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8 | 0 | 0 | 0 | DImP | VS/PR | MG | PMSG | FC |  | Avedøre Holme | 0 | 0 | 10.8 | 0 | 0 | [11 empty] | 10.8 | [13 empty] | 3
BARD Offshore 1 | BARD Offshore 1 | 400 | Germany | 80 | 5 | BARD Holding | BARD 5.0MW | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | DI1P | VS/PR | SG | PMSG | FC |  | BARD Offshore 1 | 0 | 400 | 0 | 0 | 0 |  | 400 | [13 empty] | 80
Barrow | Barrow | 90 | UK (England) | 30 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2006 | C | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | DDP | VS/PR | DD | PMSG | FC |  | Barrow | 90 | 0 | 0 | 0 | 0 | [12 empty] | 90 | [13 empty] | 30
Beatrice | Beatrice | 10 | UK (Scottland) | 2 | 5 | Repower Group | REpower 5M | VS/PR | MG | DFIG | PC | 2007 | C | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | DDE | VS/PR | DD | EESG | FC |  | Beatrice | 10 | 0 | 0 | 0 | 0 | [10 empty] | 10 | [13 empty] | 2
Belwind | Belwind | 165 | Belgium | 55 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2010 | C | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0 | 0 | [6 empty] | Belwind | 0 | 0 | 0 | 0 | 165 | [12 empty] | 165 | [13 empty] | 55
| Belwind Alstom Haliade Demo | 6 | Belgium | 1 | 6 | GE Renewable Energy | Haliade 150-6.0MW (GE Energy) | VS/PR | DD | PMSG | FC | 2014 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 6 | [6 empty] | Belwind Alstom Haliade Demo | 0 | 0 | 0 | 0 | 6 | [5 empty] | 6 | [13 empty] | 1
| Belwind II (Nobelwind) | 165 | Belgium | 50 | 3.3 | Vestas | Vestas V112-3.3MW | VS/PR | MG | SCIG | FC | 2017 | DImS | 0 | 0 | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0 | [6 empty] | Belwind II (Nobelwind) | 0 | 0 | 0 | 0 | 165 | [12 empty] | 165 | [13 empty] | 50
Blyth Demo Project (Array 2) | Blyth Demo Project (Array 2) | 41.5 | UK (England) | 5 | 8.3 | Vestas | Vestas V164-8.0 | VS/PR | SG | PMSG | FC | 2018 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 41.5 | 0 | 0 | 0 | 0 | 0 | 41.5 | 0 | [6 empty] | Blyth Demo Project (Array 2) | 41.5 | 0 | 0 | 0 | 0 | [12 empty] | 41.5 | [13 empty] | 5
Borkum Riffgrund 1 | Borkum Riffgrund 1 | 312 | Germany | 78 | 4 | Siemens | Siemens SWT-4.0-120 | VS/PR | MG | SCIG | FC | 2015 | DImS | 0 | 0 | 0 | 0 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 312 | 0 | 0 | [6 empty] | Borkum Riffgrund 1 | 0 | 312 | 0 | 0 | 0 | [11 empty] | 312 | [13 empty] | 78
Brelting | Brelting | 2.5 | Germany | 1 | 2.5 | Nordex | Nordex N90/2500 | VS/PR | MG | DFIG | PC | 2006 | C | 0 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | [6 empty] | Brelting | 0 | 2.5 | 0 | 0 | 0 | [8 empty] | 2.5 | [13 empty] | 1
Burbo Bank | Burbo Bank | 90 | UK (England) | 25 | 3.6 | Siemens | Siemens SWT 3.6-107 | VS/PR | MG | SCIG | FC | 2007 | DImS | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | [6 empty] | Burbo Bank | 90 | 0 | 0 | 0 | 0 | [11 empty] | 90 | [13 empty] | 25
| Burbo Bank Extension | 256 | UK (England) | 32 | 8 | Vestas | Vestas V164-8.0 | VS/PR | SG | PMSG | FC | 2017 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 256 | 0 | 0 | 0 | 0 | 0 | 256 | 0 | [6 empty] | Burbo Bank Extension | 256 | 0 | 0 | 0 | 0 | [12 empty] | 256 | [13 empty] | 32
Butendiek | Butendiek | 288 | Germany | 80 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | [6 empty] | Butendiek | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 80
DanTysk | DanTysk | 288 | Germany | 80 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | [6 empty] | DanTysk | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 80
Dudgeon | Dudgeon | 402 | UK (England) | 67 | 6 | Siemens | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 402 | [6 empty] | Dudgeon | 402 | 0 | 0 | 0 | 0 | [11 empty] | 402 | [13 empty] | 67
Egmond aan Zee | Egmond aan Zee | 108 | Netherlands | 36 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2007 | C | 0 | 0 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 0 | [6 empty] | Egmond aan Zee | 0 | 0 | 0 | 108 | 0 | [12 empty] | 108 | [13 empty] | 36
Ems-Emden | Ems-Emden | 4.5 | Germany | 1 | 4.5 | Enercon | Enercon E112 4.5MW | VS/PR | DD | EESG | FC | 2004 | DDE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5 | 0 | 0 | 0 | 0 | 4.5 | [6 empty] | Ems-Emden | 0 | 4.5 | 0 | 0 | 0 |  |  |  | 4.5 | [13 empty] | 1
EnBW Baltic 2 | EnBW Baltic 2 | 288 | Germany | 80 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | [6 empty] | EnBW Baltic 2 | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 80
Frederikshavn | Frederikshavn | 6 | Denmark | 2 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2003 | C | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | [6 empty] | Frederikshavn | 0 | 0 | 6 | 0 | 0 | [12 empty] | 6 | [13 empty] | 2
| Frederikshavn | 2.3 | Denmark | 1 | 2.3 | Nordex | Nordex N90 2.3MW | VS/PR | MG | DFIG | PC | 2003 | C | 0 | 0 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 0 | 0 | 0 | [6 empty] | Frederikshavn | 0 | 0 | 2.3 | 0 | 0 | [8 empty] | 2.3 | [13 empty] | 1
| Frederikshavn | 2.3 | Denmark | 1 | 2.3 | Siemens | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | A | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 0 | 0 | 0 | 0 | [6 empty] | Frederikshavn | 0 | 0 | 2.3 | 0 | 0 | [11 empty] | 2.3 | [13 empty] | 1
Gasslingegrund (1&2 Vindpark Vänern) | Gasslingegrund (1&2 Vindpark Vänern) | 30 | Sweden | 10 | 3 | WinWinD | WinWind-3-100 | VS/PR | SG | PMSG | FC | 2009 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | [6 empty] | Gasslingegrund (1&2 Vindpark Vänern) | 0 | 0 | 0 | 0 | 0 | [13 empty] | 30 | [13 empty] | 10
Gemini Wind Farm | Gemini Wind Farm | 600 | Netherlands | 150 | 4 | Siemens | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | DImS | 0 | 0 | 0 | 0 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 0 | [6 empty] | Gemini Wind Farm | 0 | 0 | 0 | 600 | 0 | [11 empty] | 600 | [13 empty] | 150
Global Tech I | Global Tech I | 400 | Germany | 80 | 5 | Areva Wind | Areva Multibrid M5000 5.0MW | VS/PR | SG | PMSG | FC | 2015 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | [6 empty] | Global Tech I | 0 | 400 | 0 | 0 | 0 | 400 | [13 empty] | 80
Gode Wind (phases 1+2) | Gode Wind (phases 1+2) | 582 | Germany | 97 | 6 | Siemens | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 582 | 0 | 0 | 0 | 0 | 0 | 582 | [6 empty] | Gode Wind (phases 1+2) | 0 | 582 | 0 | 0 | 0 | [11 empty] | 582 | [13 empty] | 97
Greater Gabbard | Greater Gabbard | 504 | UK (England) | 140 | 3.6 | Siemens | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2012 | DImS | 0 | 0 | 0 | 0 | 504 | 0 | 0 | 0 | 0 | 0 | 0 | 504 | 0 | 0 | [6 empty] | Greater Gabbard | 504 | 0 | 0 | 0 | 0 | [11 empty] | 504 | [13 empty] | 140
Gunfleet Sands | Gunfleet Sands 1 & 2 | 172.8 | UK (England) | 48 | 3.6 | Siemens | Siemens SWP-3.6-107 | VS/PR | MG | SCIG | FC | 2010 | DImS | 0 | 0 | 0 | 0 | 172.8 | 0 | 0 | 0 | 0 | 0 | 0 | 172.8 | 0 | 0 | [6 empty] | Gunfleet Sands 1 & 2 | 172.8 | 0 | 0 | 0 | 0 | [11 empty] | 172.8 | [13 empty] | 48
| Gunfleet Sands 3 - Demo Project | 12 | UK (England) | 2 | 6 | Siemens | Siemens SWT-6.0-120 | VS/PR | DD | PMSG | FC | 2013 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 12 | [6 empty] | Gunfleet Sands 3 - Demo Project | 12 | 0 | 0 | 0 | 0 | [11 empty] | 12 | [13 empty] | 2
Gwynt y Môr | Gwynt y Môr | 576 | UK (Wales) | 160 | 3.6 | Siemens | Siemens SWT-3.6 107 | VS/PR | MG | SCIG | FC | 2015 | DImS | 0 | 0 | 0 | 0 | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 576 | 0 | 0 | [6 empty] | Gwynt y Môr | 576 | 0 | 0 | 0 | 0 | [11 empty] | 576 | [13 empty] | 160
Hooksiel | Hooksiel | 5 | Germany | 1 | 5 | BARD Holding | BARD 5.0MW | VS/PR | MG | DFIG | FC | 2008 | C | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | [6 empty] | Hooksiel | 0 | 5 | 0 | 0 | 0 |  | 5 | [13 empty] | 1
Horns Rev | Horns Rev I | 160 | Denmark | 80 | 2 | Vestas | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2002 | C | 0 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0 | 0 | [6 empty] | Horns Rev I | 0 | 0 | 160 | 0 | 0 | [12 empty] | 160 | [13 empty] | 80
| Horns Rev II | 209.3 | Denmark | 91 | 2.3 | Siemens | Siemens SWT 2.3-93 | VS/PR | MG | SCIG | FC | 2009 | DImS | 0 | 0 | 0 | 0 | 209.3 | 0 | 0 | 0 | 0 | 0 | 0 | 209.3 | 0 | 0 | [6 empty] | Horns Rev II | 0 | 0 | 209.3 | 0 | 0 | [11 empty] | 209.3 | [13 empty] | 91
Humber Gateway | Humber Gateway | 219 | UK (England) | 73 | 3 | Vestas | Vestas V112 3.0MW | VS/PR | SG | PMSG | FC | 2015 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 219 | 0 | 0 | 0 | 0 | 0 | 219 | 0 | [6 empty] | Humber Gateway | 219 | 0 | 0 | 0 | 0 | [12 empty] | 219 | [13 empty] | 73
Inner Dowsing | Inner Dowsing | 97.2 | UK (England) | 27 | 3.6 | Siemens | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2007 | DImS | 0 | 0 | 0 | 0 | 97.2 | 0 | 0 | 0 | 0 | 0 | 0 | 97.2 | 0 | 0 | [6 empty] | Inner Dowsing | 97.2 | 0 | 0 | 0 | 0 | [11 empty] | 97.2 | [13 empty] | 27
Kemin Ajoksen 1&2 (Ajos) | Kemin Ajoksen 1&2 (Ajos) | 26.4 | Finland | 8 | 3.3 | Siemens | Siemens SWT-3.3-130 (onshore?) | VS/PR | DD | PMSG | FC | 2017 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.4 | 0 | 0 | 0 | 0 | 0 | 26.4 | [6 empty] | Kemin Ajoksen 1&2 (Ajos) | 0 | 0 | 0 | 0 | 0 | [11 empty] | 26.4 | [13 empty] | 8
Kentish Flats | Kentish Flats | 90 | UK (England) | 30 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2005 | C | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | [6 empty] | Kentish Flats | 90 | 0 | 0 | 0 | 0 | [12 empty] | 90 | [13 empty] | 30
Lillgrund | Lillgrund | 110.4 | Sweden | 48 | 2.3 | Siemens | Siemens SWT 2.3-93 | VS/PR | MG | SCIG | FC | 2007 | DImS | 0 | 0 | 0 | 0 | 110.4 | 0 | 0 | 0 | 0 | 0 | 0 | 110.4 | 0 | 0 | [6 empty] | Lillgrund | 0 | 0 | 0 | 0 | 0 | [11 empty] | 110.4 | [13 empty] | 48
Lincs | Lincs | 270 | UK (England) | 75 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270 | 0 | 0 | 0 | [6 empty] | Lincs | 270 | 0 | 0 | 0 | 0 | [11 empty] | 270 | [13 empty] | 75
London Array Phase 1 | London Array Phase 1 | 630 | UK (England) | 175 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 630 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 630 | 0 | 0 | 0 | [6 empty] | London Array Phase 1 | 630 | 0 | 0 | 0 | 0 | [11 empty] | 630 | [13 empty] | 175
Lynn | Lynn | 97.2 | UK (England) | 27 | 3.6 | Siemens | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2008 | DImS | 0 | 0 | 0 | 0 | 97.2 | 0 | 0 | 0 | 0 | 0 | 0 | 97.2 | 0 | 0 | [6 empty] | Lynn | 97.2 | 0 | 0 | 0 | 0 | [11 empty] | 97.2 | [13 empty] | 27
Meerwind Süd/Ost | Meerwind Süd/Ost | 288 | Germany | 80 | 3.6 | Siemens | Siemens SWT-3.6-120 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | [6 empty] | Meerwind Süd/Ost | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 80
Methil | Methil | 7 | UK (Scottland) | 1 | 7 | Samsung | Samsung 7.0 MW | VS/PR | SG | PMSG | FC | 2013 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | [6 empty] | Methil | 7 | 0 | 0 | 0 | 0 | [9 empty] | 7 | [13 empty] | 1
Middelgrunden | Middelgrunden | 40 | Denmark | 20 | 2 | Bonus Energy | Bonus B76-2MW | FS/AS | MG | PSCIG | DG | 2001 | A | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | [6 empty] | Middelgrunden | 0 | 0 | 40 | 0 | 0 |  |  | 40 | [13 empty] | 20
Nordergründe | Nordergründe | 110.7 | Germany | 18 | 6.15 | Senvion | Senvion 6.2M(6.15)126 | VS/PR | MG | DFIG | PC | 2017 | C | 0 | 0 | 110.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110.7 | 0 | 0 | 0 | [6 empty] | Nordergründe | 0 | 110.7 | 0 | 0 | 0 | [10 empty] | 110.7 | [13 empty] | 18
Nordsee One | Nordsee One | 332.1 | Germany | 54 | 6.15 | Senvion | Senvion 6.2(6.15)M126 | VS/PR | MG | DFIG | PC | 2017 | C | 0 | 0 | 332.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 332.1 | 0 | 0 | 0 | [6 empty] | Nordsee One | 0 | 332.1 | 0 | 0 | 0 | [10 empty] | 332.1 | [13 empty] | 54
Nordsee Ost | Nordsee Ost | 295.2 | Germany | 48 | 6.15 | Senvion | Senvion 6.2(6.15)M126 | VS/PR | MG | DFIG | PC | 2015 | C | 0 | 0 | 295.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 295.2 | 0 | 0 | 0 | [6 empty] | Nordsee Ost | 0 | 295.2 | 0 | 0 | 0 | [10 empty] | 295.2 | [13 empty] | 48
North Hoyle | North Hoyle | 60 | UK (Wales) | 30 | 2 | Vestas | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2003 | C | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | [6 empty] | North Hoyle | 60 | 0 | 0 | 0 | 0 | [12 empty] | 60 | [13 empty] | 30
Northwind | Northwind | 216 | Belgium | 72 | 3 | Vestas | Vestas V112-3.0MW | VS/PR | MG | PMSG | FC | 2014 | DImP | 0 | 0 | 0 | 0 | 0 | 216 | 0 | 0 | 0 | 0 | 0 | 0 | 216 | 0 | [6 empty] | Northwind | 0 | 0 | 0 | 0 | 216 | [12 empty] | 216 | [13 empty] | 72
Ormonde | Ormonde | 150 | UK (England) | 30 | 5 | REpower Group | REpower 5 MW | VS/PR | MG | DFIG | PC | 2012 | C | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | [6 empty] | Ormonde | 150 | 0 | 0 | 0 | 0 | [10 empty] | 150 | [13 empty] | 30
Pori Tahkoluoto 2 | Pori Tahkoluoto 2 | 40 | Finland | 10 | 4 | Siemens | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | DImS | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | [6 empty] | Pori Tahkoluoto 2 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 40 | [13 empty] | 10
Princess Amalia | Princess Amalia | 120 | Netherlands | 60 | 2 | Vestas | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2008 | C | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | [6 empty] | Princess Amalia | 0 | 0 | 0 | 120 | 0 | [12 empty] | 120 | [13 empty] | 60
Rhyl Flats | Rhyl Flats | 90 | UK (Wales) | 25 | 3.6 | Siemens | Siemens SWP 3.6-107 | VS/PR | MG | SCIG | FC | 2009 | DImS | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | [6 empty] | Rhyl Flats | 90 | 0 | 0 | 0 | 0 | [11 empty] | 90 | [13 empty] | 25
Robin Rigg | Robin Rigg | 90 | UK (Scottland) | 30 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2009 | C | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | [6 empty] | Robin Rigg | 90 | 0 | 0 | 0 | 0 | [12 empty] | 90 | [13 empty] | 30
Rødsand | Rødsand I (Nysted) | 165.6 | Denmark | 72 | 2.3 | Siemens | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | A | 165.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165.6 | 0 | 0 | 0 | 0 | [6 empty] | Rødsand I (Nysted) | 0 | 0 | 165.6 | 0 | 0 | [11 empty] | 165.6 | [13 empty] | 72
| Rødsand II | 207 | Denmark | 90 | 2.3 | Siemens | Siemens SWT-2.3-93 | VS/PR | MG | SCIG | FC | 2010 | DImS | 0 | 0 | 0 | 0 | 207 | 0 | 0 | 0 | 0 | 0 | 0 | 207 | 0 | 0 | [6 empty] | Rødsand II | 0 | 0 | 207 | 0 | 0 | [11 empty] | 207 | [13 empty] | 90
Rønland | Rønland | 9.2 | Denmark | 4 | 2.3 | Siemens | Siemens SWT-2.3-93 | FS/AS | MG | PSCIG | DG | 2002 | A | 9.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2 | 0 | 0 | 0 | 0 | [6 empty] | Rønland | 0 | 0 | 9.2 | 0 | 0 | [11 empty] | 9.2 | [13 empty] | 4
| Rønland | 8 | Denmark | 4 | 2 | Vestas | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2002 | C | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | [6 empty] | Rønland | 0 | 0 | 8 | 0 | 0 | [12 empty] | 8 | [13 empty] | 4
Samsø | Samsø | 23 | Denmark | 10 | 2.3 | Siemens | Siemens SWT-2.3-82 | FS/AS | MG | PSCIG | DG | 2003 | A | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | [6 empty] | Samsø | 0 | 0 | 23 | 0 | 0 | [11 empty] | 23 | [13 empty] | 10
Sandbank (Phase 1) | Sandbank (Phase 1) | 288 | Germany | 72 | 4 | Siemens | Siemens SWT-4.0-130 | VS/PR | MG | SCIG | FC | 2017 | DImS | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | [6 empty] | Sandbank (Phase 1) | 0 | 288 | 0 | 0 | 0 | [11 empty] | 288 | [13 empty] | 72
Scroby Sands | Scroby Sands | 60 | UK (England) | 30 | 2 | Vestas | Vestas V80-2MW | VS/PR | MG | DFIG | PC | 2004 | C | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | [6 empty] | Scroby Sands | 60 | 0 | 0 | 0 | 0 | [12 empty] | 60 | [13 empty] | 30
Sheringham Shoal | Sheringham Shoal | 316.8 | UK (England) | 88 | 3.6 | Siemens | Siemens SWT-3.6-107 | VS/PR | MG | SCIG | FC | 2012 | DImS | 0 | 0 | 0 | 0 | 316.8 | 0 | 0 | 0 | 0 | 0 | 0 | 316.8 | 0 | 0 | [6 empty] | Sheringham Shoal | 316.8 | 0 | 0 | 0 | 0 | [11 empty] | 316.8 | [13 empty] | 88
Sprogø | Sprogø | 21 | Denmark | 7 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2009 | C | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | [6 empty] | Sprogø | 0 | 0 | 21 | 0 | 0 | [12 empty] | 21 | [13 empty] | 7
Teesside | Teesside | 62.1 | UK (England) | 27 | 2.3 | Siemens | Siemens SWT-2.3-93 | VS/PR | MG | SCIG | FC | 2013 | DImS | 0 | 0 | 0 | 0 | 62.1 | 0 | 0 | 0 | 0 | 0 | 0 | 62.1 | 0 | 0 | [6 empty] | Teesside | 62.1 | 0 | 0 | 0 | 0 | [11 empty] | 62.1 | [13 empty] | 27
Thanet | Thanet | 300 | UK (England) | 100 | 3 | Vestas | Vestas V90-3MW | VS/PR | MG | DFIG | PC | 2010 | C | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | [6 empty] | Thanet | 300 | 0 | 0 | 0 | 0 | [12 empty] | 300 | [13 empty] | 100
Thornton Bank | Thornton Bank I | 30 | Belgium | 6 | 5 | REpower Group | REpower 5 MW | VS/PR | MG | DFIG | PC | 2008 | C | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | [6 empty] | Thornton Bank I | 0 | 0 | 0 | 0 | 30 | [10 empty] | 30 | [13 empty] | 6
| Thornton Bank II | 184.5 | Belgium | 30 | 6.15 | Senvion | Senvion 6.15MW | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 184.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 184.5 | 0 | 0 | 0 | [6 empty] | Thornton Bank II | 0 | 0 | 0 | 0 | 184.5 | [10 empty] | 184.5 | [13 empty] | 30
| Thornton Bank III | 110.7 | Belgium | 18 | 6.15 | Senvion | Senvion 6.15MW | VS/PR | MG | DFIG | PC | 2013 | C | 0 | 0 | 110.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110.7 | 0 | 0 | 0 | [6 empty] | Thornton Bank III | 0 | 0 | 0 | 0 | 110.7 | [10 empty] | 110.7 | [13 empty] | 18
Trianel Borkum I | Trianel Borkum I | 200 | Germany | 40 | 5 | Areva Wind | Areva Multibrid M5000 5.0MW | VS/PR | SG | PMSG | FC | 2015 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | [6 empty] | Trianel Borkum I | 0 | 200 | 0 | 0 | 0 | 200 | [13 empty] | 40
Utgrunden I | Utgrunden I | 10.5 | Sweden | 7 | 1.5 | Enron Wind Systems | Enron EW70-1.5MW | VS/PR | MG | DFIG | PC | 2001 | C | 0 | 0 | 10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.5 | 0 | 0 | 0 | [6 empty] | Utgrunden I | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 10.5 | [13 empty] | 7
Veja Mate | Veja Mate | 402 | Germany | 67 | 6 | Siemens | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2017 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 402 | [6 empty] | Veja Mate | 0 | 402 | 0 | 0 | 0 | [11 empty] | 402 | [13 empty] | 67
Walney | Walney Phase 1 | 183.6 | UK (England) | 51 | 3.6 | Siemens | Siemens SWP 3.6-107 | VS/PR | MG | SCIG | FC | 2010 | DImS | 0 | 0 | 0 | 0 | 183.6 | 0 | 0 | 0 | 0 | 0 | 0 | 183.6 | 0 | 0 | [6 empty] | Walney Phase 1 | 183.6 | 0 | 0 | 0 | 0 | [11 empty] | 183.6 | [13 empty] | 51
| Walney Phase 2 | 183.6 | UK (England) | 51 | 3.6 | Siemens | Siemens SWP 3.6-120 | VS/PR | MG | DFIG | PC | 2010 | C | 0 | 0 | 183.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 183.6 | 0 | 0 | 0 | [6 empty] | Walney Phase 2 | 183.6 | 0 | 0 | 0 | 0 | [11 empty] | 183.6 | [13 empty] | 51
West of Duddon Sands | West of Duddon Sands | 388.8 | UK (England) | 108 | 3.6 | Siemens | Siemens SWP 3.6-120 | VS/PR | MG | DFIG | PC | 2014 | C | 0 | 0 | 388.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 388.8 | 0 | 0 | 0 | [6 empty] | West of Duddon Sands | 388.8 | 0 | 0 | 0 | 0 | [11 empty] | 388.8 | [13 empty] | 108
Westermost Rough | Westermost Rough | 210 | UK (England) | 35 | 6 | Siemens | Siemens SWT-6.0-154 | VS/PR | DD | PMSG | FC | 2015 | DDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 0 | 0 | 0 | 0 | 0 | 210 | [6 empty] | Westermost Rough | 210 | 0 | 0 | 0 | 0 | [11 empty] | 210 | [13 empty] | 35
Wikinger | Wikinger | 350 | Germany | 70 | 5 | Adwen | AD 5-135 (Adwen) | VS/PR | SG | PMSG | FC | 2017 | DI1P | 0 | 0 | 0 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 0 | 350 | 0 | [6 empty] | Wikinger | 0 | 350 | 0 | 0 | 0 | 350 | [13 empty] | 70
Yttre Stengrund | Yttre Stengrund | 10 | Sweden | 5 | 2 | NEG Micon | NEG Micon NM72-2MW | FS/AS | MG | PSCIG | DG | 2002 | A | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | [6 empty] | Yttre Stengrund | 0 | 0 | 0 | 0 | 0 | [7 empty] | 10 | [13 empty] | 5
TOTAL |  | 14065.4 |  | 3712 | [9 empty] | 240.1 | 0 | 5421.4 | 0 | 3937.8 | 216 | 983.5 | 1028.4 | 4.5 | 240.1 | 5421.4 | 3937.8 | 1199.5 | 1032.9 | [5 empty] | TOTAL |  | 5659.6 | 5184 | 1264.1 | 828 | 877.2 | 980 | 405 | 40 | 4.5 | 10.5 | 6 | 25.2 | 10 | 4.8 | 7 | 1253.2 | 9113.7 | 2175.5 | 30 | 196 | 81 | 20 | 1 | 7 | 1 | 7 | 5 | 2 | 1 | 212 | 2443 | 726 | 10
[33 empty] | Statistics from WindEurope 2017 [MW] (partialy-grid connected not accounted) |  | 5830 | 5355 | 1266 | 1118 | 877 | 1000 | - | - | - | - | - | - | - | - | - | 1200 | 10000 | 2900 | - | 202 | - | - | - | - | - | - | - | - | - | 206 | 2647 | 918 | -
[33 empty] | % on the total MW for the data collected |  | 97.08% | 96.81% | 99.85% | 74.06% | 100% | 98% | - | - | - | - | - | - | - | - | - | 104.4% | 91.14% | 75.02% | - | 97.03% | - | - | - | - | - | - | - | - | - | 102.9% | 92.29% | 79.08% | -

## Strath. Stats (population info)
|  | Percentages for induction generators (in geared WTs) possibly accounted in Strathclyde Reliability Statistics (Carroll et al., 2016) | [22 empty] | Siemens | [5 empty] | Vestas
|  | Age of the installations (with respect of 2016) |  |  | Number of WTs between 3-5 years old |  |  | Number of WTs > 5 years old |  |  | Manufacturers' share (number of WTs) | [13 empty] | Number of WTs between 3-5 years old |  |  | Number of WTs > 5 years old |  |  | Number of WTs between 3-5 years old |  |  | Number of WTs > 5 years old
|  | SCIG | WRIG | DFIG | SCIG | WRIG | DFIG | SCIG | WRIG | DFIG | Adwen and/or Areva Wind | BARD Holding | Bonus Energy | Enercon | Enron Wind Systems | GE Renewable Energy | General Electric | NEG Micon | Nordex | Samsung | Senvion (former Repower Group) | Siemens | Vestas | WinWinD | SCIG | WRIG | DFIG | SCIG | WRIG | DFIG | SCIG | WRIG | DFIG | SCIG | WRIG | DFIG
EUROPEAN FULLY-GRID CONNECTED WIND FARMS | Alpha ventus
Alpha ventus
| Amrumbank West |  |  | 1
| Anholt |  |  | 3 |  |  | 111 | [14 empty] | 111 |  |  |  |  | 111
| Arklow Bank 1 |  |  | 13 | [5 empty] | 7 | [6 empty] | 7
| Avedøre Holme |  |  | 7 | [5 empty] | 3 | [11 empty] | 3 | [7 empty] | 3
BARD Offshore 1
| Barrow |  |  | 10 | [5 empty] | 30 | [12 empty] | 30 | [12 empty] | 30
Beatrice
| Belwind |  |  | 6 | [5 empty] | 55 | [12 empty] | 55 | [12 empty] | 55
Belwind Alstom Haliade Demo
| Belwind II (Nobelwind) | -1
Blyth Demo Project (Array 2)
| Borkum Riffgrund 1 | 1
| Brelting |  |  | 10 | [5 empty] | 1 | [8 empty] | 1
| Burbo Bank | 9 | [5 empty] | 25 | [13 empty] | 25 | [5 empty] | 25
Burbo Bank Extension
| Butendiek |  |  | 1
| DanTysk |  |  | 1
Dudgeon
| Egmond aan Zee |  |  | 9 | [5 empty] | 36 | [12 empty] | 36 | [12 empty] | 36
Ems-Emden
| EnBW Baltic 2 |  |  | 1
| Frederikshavn |  |  | 13 | [5 empty] | 2 | [12 empty] | 2 | [12 empty] | 2
| Frederikshavn |  |  | 13 | [5 empty] | 1 | [8 empty] | 1
Frederikshavn
Gasslingegrund (1&2 Vindpark Vänern)
| Gemini Wind Farm | -1
Global Tech I
Gode Wind (phases 1+2)
| Greater Gabbard | 4 |  |  | 140 | [16 empty] | 140 |  |  | 140
| Gunfleet Sands 1 & 2 | 6 | [5 empty] | 48 | [13 empty] | 48 | [5 empty] | 48
Gunfleet Sands 3 - Demo Project
| Gwynt y Môr | 1
Hooksiel
| Horns Rev I |  |  | 14 | [5 empty] | 80 | [12 empty] | 80 | [12 empty] | 80
| Horns Rev II | 7 | [5 empty] | 91 | [13 empty] | 91 | [5 empty] | 91
Humber Gateway
| Inner Dowsing | 9 | [5 empty] | 27 | [13 empty] | 27 | [5 empty] | 27
Kemin Ajoksen 1&2 (Ajos)
| Kentish Flats |  |  | 11 | [5 empty] | 30 | [12 empty] | 30 | [12 empty] | 30
| Lillgrund | 9 | [5 empty] | 48 | [13 empty] | 48 | [5 empty] | 48
| Lincs |  |  | 3 |  |  | 75 | [14 empty] | 75 |  |  |  |  | 75
| London Array Phase 1 |  |  | 3 |  |  | 175 | [14 empty] | 175 |  |  |  |  | 175
| Lynn | 8 | [5 empty] | 27 | [13 empty] | 27 | [5 empty] | 27
| Meerwind Süd/Ost |  |  | 1
Methil
Middelgrunden
Nordergründe
Nordsee One
Nordsee Ost
| North Hoyle |  |  | 13 | [5 empty] | 30 | [12 empty] | 30 | [12 empty] | 30
Northwind
Ormonde
| Pori Tahkoluoto 2 | -1
| Princess Amalia |  |  | 8 | [5 empty] | 60 | [12 empty] | 60 | [12 empty] | 60
| Rhyl Flats | 7 | [5 empty] | 25 | [13 empty] | 25 | [5 empty] | 25
| Robin Rigg |  |  | 7 | [5 empty] | 30 | [12 empty] | 30 | [12 empty] | 30
Rødsand I (Nysted)
| Rødsand II | 6 | [5 empty] | 90 | [13 empty] | 90 | [5 empty] | 90
Rønland
| Rønland |  |  | 14 | [5 empty] | 4 | [12 empty] | 4 | [12 empty] | 4
Samsø
| Sandbank (Phase 1) | -1
| Scroby Sands |  |  | 12 | [5 empty] | 30 | [12 empty] | 30 | [12 empty] | 30
| Sheringham Shoal | 4 |  |  | 88 | [16 empty] | 88 |  |  | 88
| Sprogø |  |  | 7 | [5 empty] | 7 | [12 empty] | 7 | [12 empty] | 7
| Teesside | 3 |  |  | 27 | [16 empty] | 27 |  |  | 27
| Thanet |  |  | 6 | [5 empty] | 100 | [12 empty] | 100 | [12 empty] | 100
Thornton Bank I
Thornton Bank II
Thornton Bank III
Trianel Borkum I
Utgrunden I
Veja Mate
| Walney Phase 1 | 6 | [5 empty] | 51 | [13 empty] | 51 | [5 empty] | 51
| Walney Phase 2 |  |  | 6 | [5 empty] | 51 | [11 empty] | 51 | [7 empty] | 51
| West of Duddon Sands |  |  | 2
Westermost Rough
Wikinger
Yttre Stengrund
Number of EU WTs possibly belonging to the population |  | TOTAL numb. per induction type |  |  | 255 | 0 | 361 | 432 | 0 | 557 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 0 | 0 | 1102 | 494 | 0 | 255 | 0 | 361 | 432 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 494
|  | TOTAL number per age group |  |  | 616 |  |  | 989 | [16 empty] | 616 |  |  | 486 |  |  | 0 |  |  | 494
|  | TOTAL |  |  | 1605 | [19 empty] | 1102 | [5 empty] | 494
Additional information from the reference:
It's likely WTs are from only a manufacturer*!
| Total number of WTs | 350
| 3-5 years old | 68% | 238
| <5 years old | 32% | 112
* Carroll et al. are not clear about that (only cite this in their flowchart), however Pfaffel et al. (2017) state it in their review