## Influent
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l) |  |  | BOD
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band | [10 empty] | NH4 | Sample Vol | Initial Do | Final DO |  |  | Blank Initial Do | Blank Final DO |  |  |  | BOD5
180220 | 1 | 8.3 | 1.53 | 13.2 | 3 | 0 | 67 | 67 | 3 | 0 | 0 | <25 | 0 | 67 | 0.1216 | 50 | 0.1245 | 58 | 0.1221 | 0.0005 | 48
180220 | 2 | 8.3 | 1.53 | 13.2 | 3 | 0 | 51 | 51 | 3 | 0 | 0 | <25 | 0 | 51
180220 | 3 | 8.3 | 1.53 | 13.2 | 3 | 0 | 54 | 54 | 3 | 0 | 0 | <25 | 0 | 54
180220 | Av. | 8.3 | 1.53 | 13.2 | 3 | 0 | 57.3333 | 57.3333 | 3 | 0 | 0 |  | 0 | 57.3333 | 0.1216 | 50 | 0.1245 | 58 |  | 0.0005 | 48
240220 | 1 | 10.6 | 1.43 | 13.2 | 3 | 0 | 144 | 144 | 3 | 0 | 142 | <25 | 142 | 2 | 0.1274 | 100 | 0.1358 | 84 |  | -0.1274 |  | 7.16
240220 | 2 | [13 empty] | 0.1279 | 100 | 0.1366 | 87 |  | -0.1279
240220 | 3
240220 | Av. | 10.6 | 1.43 | 13.2 | 3 | 0 | 144 | 144 | 3 | 0 | 142 |  | 142 | 2 | 0.12765 | 100 | 0.1362 | 85.5 |  | -0.12765 |  | 7.16
2020-07-23 | [6 empty] | 115 | [5 empty] | 55 |  | 0.1247 | 100 | 0.1277 | 30 |  |  |  |  | 18.5
119
117
2020-07-30 | [6 empty] | 120 | [5 empty] | 54 |  | 0.1273 | 100 | 0.1307 | 34 |  |  |  |  | 17.7
2020-07-30 | [6 empty] | 89 | [5 empty] | 51
108.6667
2020-08-06 | [6 empty] | 61
2020-08-06
2020-08-06
2020-09-07 | [6 empty] | 48
2020-09-07 | [6 empty] | 30
2020-09-07
39
2020-09-14 | [6 empty] | 67 | [5 empty] | 73 | [9 empty] | 15
2020-09-14 | [6 empty] | 56 | [5 empty] | 71
2020-09-14 | [6 empty] | 74
2020-09-14 | Av. | [6 empty] | 65.6667 |  |  |  |  | 72
2020-09-30 | [6 empty] | 83 | [7 empty] | 0.1304 | 50 | 0.1325 | 42 |  |  |  |  | 23
2020-09-30 | [6 empty] | 89 | [7 empty] | 0.1341 | 50 | 0.1365 | 48
2020-09-30
2020-09-30 | Av. | [5 empty] | 86 | [10 empty] | 58.5625
2020-10-08 | [14 empty] | 0.1278 | 100 | 0.1278 | 0 | [6 empty] | 5 | 9.54 | 9.25 | 0.29 |  | 9.74 | 9.56 | 0.18 |  | 0 | 0
2020-10-08 | [14 empty] | 0.1286 | 100 | 0.1286 | 0 | [6 empty] | 5 | 9.56 | 9.32 | 0.24 |  | 9.71 | 9.38 | 0.33 |  | -0.05 | -10
2020-10-08 | [14 empty] | 0.1308 | 100 | 0.133 | 22 | [6 empty] | 5 | 9.59 | 9.37 | 0.22 |  | 9.7 | 9.34 | 0.36 |  | -0.07 | -14
2020-10-22 | [6 empty] | 39 | [7 empty] | 0.1255 | 50 | 0.1281 | 52 | [6 empty] | 5 | 9.6 | 9.24 | 0.36 |  | 9.67 | 9.49 | 0.18 |  | -0.13 | -26
2020-10-22 | [6 empty] | 55 | [7 empty] | 0.1274 | 50 | 0.1298 | 48 | [6 empty] | 5 | 9.57 | 9.23 | 0.34 |  | 9.62 | 9.46 | 0.16 |  | -0.15 | -30
2020-10-22 | [6 empty] | 35 | [7 empty] | 0.1264 | 50 | 0.1288 | 48 | [6 empty] | 5 | 9.62 | 9.15 | 0.47 |  | 9.62 | 9.37 | 0.25 |  | -0.02 | -4
[7 empty] | 47 | [10 empty] | 49.3333
2020-10-29 | [6 empty] | 69 | [7 empty] | 0.1299 | 50 | 0.1312 | 26 | [6 empty] | 10 | 9.73 | 8.61 | 1.12 |  | 9.85 | 9.65 | 0.2 |  | 0.6 | 60
2020-10-29 | [6 empty] | 48 | [7 empty] | 0.1308 | 50 | 0.133 | 44 | [6 empty] | 10 | 9.82 | 7.78 | 2.04 |  | 9.87 | 9.65 | 0.22 |  | 1.52 | 152
2020-10-29 | [6 empty] | 55 | [7 empty] | 0.1292 | 50 | 0.1317 | 50 | [6 empty] | 10 | 9.81 | 7.46 | 2.35 |  | 9.86 | 9.59 | 0.27 |  | 1.83 | 183
[7 empty] | 58.5 | [10 empty] | 40 | [17 empty] | 167.5
2020-11-05 | [6 empty] | 42 | [17 empty] | 10 | 9.62 | 8.56 | 1.06 |  | 9.71 | 9 | 0.71 |  | 0.44333 | 44.3333
2020-11-05 | [6 empty] | 52 | [17 empty] | 10 | 9.63 | 7.56 | 2.07 |  | 9.75 | 9.13 | 0.62 |  | 1.4533 | 145.3333
2020-11-05 | [6 empty] | 56 | [17 empty] | 10 | 9.59 | 7.11 | 2.48 |  | 9.73 | 9.21 | 0.52 |  | 1.8633 | 186.3333
[7 empty] | 47 | [28 empty] | 165.8333
2020-11-12 | Sampling not possible as leak meant there was no wastewater ruunning in the pilot hall
2020-11-17
2020-11-17
2020-11-17
2020-11-26 | [6 empty] | 77 | [7 empty] | 0.1287 | 50 | 0.1329 | 84 | [6 empty] | 10 | 9.41 | 7.05 | 2.36 |  | 9.9 | 9.52 | 0.38 |  | 2.07 | 207
2020-11-26 | [6 empty] | 104 | [7 empty] | 0.1296 | 50 | 0.1349 | 106 | [6 empty] | 10 | 9.46 | 7.16 | 2.3 |  | 9.79 | 9.53 | 0.26 |  | 2.01 | 201
2020-11-26 | [6 empty] | 82 | [7 empty] | 0.1257 | 50 | 0.13 | 86 | [6 empty] | 10 | 9.5 | 7.19 | 2.31 |  | 9.82 | 9.59 | 0.23 |  | 2.02 | 202
[7 empty] | 90.5 | [10 empty] | 92 | [17 empty] | 203.3333
2021-03-23 | [14 empty] | 0.1252 | 50 | 0.1281 | 58 | [6 empty] | 5 | 8.53 | 7.12 | 1.41 |  | 8.51 | 7.94 | 0.57 | 0.46667 |  | 188.6667
2021-03-23 | [14 empty] | 0.1247 | 50 | 0.1291 | 88 | [6 empty] | 10 | 8.48 | 6.3 | 2.18 |  | 8.5 | 8.1 | 0.4 | 0.46667 |  | 171.3333
2021-03-23 | [14 empty] | 0.1264 | 50 | 0.1309 | 90 | [6 empty] | 25 | 8.54 | 4.12 | 4.42 |  | 8.49 | 8.06 | 0.43 | 0.46667 |  | 158.1333
2021-03-23 | [17 empty] | 78.6667 | [17 empty] | 172.7111
2021-03-23
2021-03-23
2021-03-23
2021-04-01 | [6 empty] | 251 | [17 empty] | 5 | 8.4 | 6.23 | 2.17 |  | 8.28 | 7.94 | 0.34 | 0.23 |  | 388
2021-04-01 | [6 empty] | 333 | [17 empty] | 5 | 8.26 | 6.47 | 1.79 |  | 8.26 | 8.19 | 0.07 | 0.23 |  | 312
2021-04-01 | [6 empty] | 337 | [17 empty] | 10 | 8.19 | 4.88 | 3.31 |  | 8.23 | 7.95 | 0.28 | 0.23 |  | 308
2021-04-01 | [6 empty] | 292 | [17 empty] | 25 | 8.04 | 1.11 | 6.93 |  |  |  |  | 0.23 |  | 268
2021-04-01 | [24 empty] | 50 | 7.76 | 0.49 | 7.27 |  |  |  |  | 0.23 |  |  | 319
2021-04-01 | [24 empty] | 100 | 7.06 | 0.49 | 6.57 |  |  |  |  | 0.23
2021-04-01 | [24 empty] | 100 | 6.91
2021-04-08 | [6 empty] | 91 | 91 | [6 empty] | 0.1261 | 50 | 0.1298 | 74
2021-04-08 | [6 empty] | 74 | 74 | [6 empty] | 0.125 | 50 | 0.1276 | 52
2021-04-08 | [6 empty] | 122 | 122 | [6 empty] | 0.1267 | 50 | 0.13 | 66
[7 empty] | 82.5 | [10 empty] | 64
2021-04-15 |  |  |  |  | 1 | 1 | 83 | 166 | [6 empty] | 0.1248 | 50 | 0.1292 | 88 | [6 empty] | 5 | 8.22 | 7.03 | 1.19 |  | 8.26 | 7.89 | 0.37 | 0.39333 |  | 159.3333
2021-04-15 |  |  |  |  | 1 | 1 | 81 | 162 | [6 empty] | 0.1253 | 50 | 0.1288 | 70 | [6 empty] | 10 | 8.22 | 6.58 | 1.64 |  | 8.26 | 7.89 | 0.37 | 0.39333 |  | 124.6667
2021-04-15 |  |  |  |  | 1 | 1 | 83 | 166 | [6 empty] | 0.1266 | 50 | 0.1305 | 78 | [6 empty] | 10 | 8.23 | 6.36 | 1.87 |  | 8.28 | 7.84 | 0.44 | 0.39333 |  | 147.6667
2021-04-15 | [6 empty] | 82 | [10 empty] | 78.6667 | [6 empty] | 25 | 8.21 | 4.71 | 3.5 |  |  |  |  | 0.39333 |  | 124.2667
2021-04-15 | [24 empty] | 50 | 8.15 | 1.66 | 6.49 |  |  |  |  | 0.39333 |  | 121.9333
2021-04-15 | [35 empty] | 135.5733
2021-04-29 |  |  |  |  | 1 | 1 | 83 | 166 | 1312 | [5 empty] | 1312 | 100 | 1370 | 58 | [6 empty] | 5 | 8.75 | 8.28 | 0.47 |  | 8.91 | 8.69 | 0.22 | 0.26 |  | 42
2021-04-29 |  |  |  |  | 1 | 1 | 80 | 160 | 1311 | [5 empty] | 1311 | 100 | 1367 | 56 | [6 empty] | 5 | 8.8 | 8.22 | 0.58 |  | 8.88 | 8.71 | 0.17 | 0.26 |  | 64
2021-04-29 |  |  |  |  | 1 | 1 | 86 | 172 | 1305 | [5 empty] | 1305 | 100 | 1361 | 56 | [6 empty] | 10 | 8.8 | 7.64 | 1.16 |  | 8.87 | 8.48 | 0.39 | 0.26 |  | 90
2021-04-29 | [6 empty] | 81.5 | [10 empty] | 56.6667 | [6 empty] | 25 | 8.7 | 6.22 | 2.48 |  |  |  |  | 0.26 |  | 88.8
2021-04-29 | [24 empty] | 50 | 8.51 | 4.54 | 3.97 |  |  |  |  | 0.26 |  | 74.2
71.8
2021-06-03 | [7 empty] | 187 | [6 empty] | 1305 | 100 | 1345 | 40 | [6 empty] | 5 | 9.23 | 7.89 | 1.34 |  | 9.27 | 7.49 | 1.78 | 1.57
2021-06-03 | [7 empty] | 196 | [6 empty] | 1314 | 100 | 1389 | 75 | [6 empty] | 5 | 9.13 | 7.94 | 1.19 |  | 9.21 | 7.78 | 1.43 | 1.57
2021-06-03 | [7 empty] | 191 | [6 empty] | 1290 | 50 | 1328 | 76 | [6 empty] | 10 | 9.21 | 6.84 | 2.37 |  | 9.15 | 7.65 | 1.5 | 1.57 |  | 80
2021-06-03 | [17 empty] | 63.6667 | [6 empty] | 20 | 9.09 | 4.92 | 4.17 |  |  |  |  | 1.57 |  | 130
2021-06-03 | [24 empty] | 20 | 9.15 | 4.46 | 4.69 |  |  |  |  | 1.57 |  | 156
2021-06-03 | [24 empty] | 50 | 8.95 | 0.5
122
2021-06-10 | [6 empty] | 242 | [7 empty] | 1307 | 50 | 1348 | 82
2021-06-10 | [6 empty] | 246 | [7 empty] | 1308 | 50 | 1398 | 180
2021-06-10 | [6 empty] | 247 | [7 empty] | 1302 | 50 | 1316 | 28
2021-06-10 | [6 empty] | 244 | [10 empty] | 96.6667
2021-06-29 | [6 empty] | 152 | [7 empty] | 1299 | 50 | 1352 | 106
2021-06-29 | [6 empty] | 84 | [7 empty] | 1285 | 50 | 1336 | 102
2021-06-29 | [6 empty] | 107 | [7 empty] | 1308 | 50 | 1357 | 98
[7 empty] | 118 | [10 empty] | 102
2021-07-01 | [6 empty] | 84
2021-07-01 | [6 empty] | 71
2021-07-01 | [6 empty] | 81
77.5
2021-07-08 | [24 empty] | 5 | 9.39 | 8.35 | 1.04 |  | 9.23 | 9.31 | -0.08 | 0.14333 |  | 179.3333
2021-07-08 | [24 empty] | 5 | 9.3 | 8.37 | 0.93 |  | 9.24 | 8.95 | 0.29 | 0.14333 |  | 157.3333
2021-07-08 | [24 empty] | 10 | 9.15 | 7.92 | 1.23 |  | 9.23 | 9.01 | 0.22 | 0.14333 |  | 108.6667
2021-07-08 | [24 empty] | 20 | 9.14 | 6.74 | 2.4 |  |  |  |  | 0.14333 |  | 112.8333
2021-07-08 | [24 empty] | 50 | 8.94 | 2.68 | 6.26 |  |  |  |  | 0.14333 |  | 122.3333
136.1
2022-02-25 | [24 empty] | 10 | 9.8 | 6.88 | 2.92 |  |  |  |  | 0.14333 |  | 277.6667
2022-02-25 | [24 empty] | 20 | 9.86 | 3.83 | 6.03 |  |  |  |  | 0.14333 |  | 294.3333
2022-02-25 | [35 empty] | 286
2022-03-07 | [6 empty] | 309 | [7 empty] | 887 | 50 | 1013 | 252
2022-03-07 | [6 empty] | 363 | [7 empty] | 901 | 20 | 1011
2022-03-07 | [6 empty] | 367 | [7 empty] | 882 | 10 | 913 | 310
[7 empty] | 336 | [10 empty] | 281
2022-04-27 | [6 empty] | 233 | [7 empty] | 888 | 50 | 926 | 76 |  |  |  |  | 33
2022-04-27 | [6 empty] | 227 | [7 empty] | 897 | 50 | 943 | [5 empty] | 32.8
2022-04-27 | [6 empty] | 231 | [7 empty] | 911 | 50 | 946 | 70 |  |  |  |  | 32.1
[7 empty] | 230 | [10 empty] | 73

## Midpoint 1 (hidden)
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l)
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band
170220 | 1
170220 | 2
170220 | 3
170220 | Av.

## Midpoint 2 (hidden)
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l)
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band
170220 | 1
170220 | 2
170220 | 3
170220 | Av.

## Effluent
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l) |  |  | BOD
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band | [10 empty] | NH4 | Sample Vol | Initial Do | Final DO |  | Blank Initial Do | Blank Final DO |  |  | BOD5
180220 | 1 | 7.1 | 7 | 58.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1207 | 100 | 0.1212 | 5 | 0.1209 | 0.0002 | 3
180220 | 2 | 7.1 | 7 | 58.6 | 3 | 0 | 58 | 58 | 3 | 0 | 0 | <25 | 0 | 58 | 0.122 | 100 | 0.1224 | 4 | 0.1223 | 0.0003 | 1
180220 | 3 | 7.1 | 7 | 58.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0
180220 | Av. | 7.1 | 7 | 58.6 | 3 | 0 | 19.3333 | 19.3333 | 3 | 0 | 0 |  | 0 | 58 | 0.12135 | 100 | 0.1218 | 4.5 | 0.1216 | 0.00025 | 2
240220 | 1 | 8.7 | 7.85 | 69.1 | 3 | 0 | 15 | 15 | 3 | 0 | 61 |  | 61 | -46 | 0.1274 | 200 | 0.128 | 3 |  | -0.1274 |  | 7.16
240220 | 2
240220 | 3
240220 | Av. | 8.7 | 7.85 | 69.1 | 3 | 0 | 15 | 15 | 3 | 0 | 61 |  | 61 | -46 | 0.1274 | 200 | 0.128 | 3 |  | -0.1274 |  | 7.16
30320 | 1 |  |  |  | 3 | 0 | 68 | 68 | 3 | 0 | 58 |  | 58 | 10 | 0.1264 | 200 | 0.1275 | 5.5 |  | -0.1264
30320 | 2
30320 | 3
30320 | Av. |  |  |  | 3 | 0 | 68 | 68 | 3 | 0 | 58 |  | 58 | 10 | 0.1264 | 200 | 0.1275 | 5.5 |  | -0.1264
2020-07-23 | [6 empty] | 13 | [7 empty] | 0.1272 | 300 | 0.128 | 2.6667 |  |  |  |  | 2.65
14
13
2020-07-30 | [6 empty] | 14 | [7 empty] | 0.1277 | 250 | 0.1291 | 5.6 |  |  |  |  | 0.03
2020-07-30 | [6 empty] | 17
13.5
2020-08-06 | [6 empty] | <10 | [7 empty] | 0.129 | 150 | 0.1297 | 4.6667
2020-08-06 | [6 empty] | <10 | [7 empty] | 0.1258 | 150 | 0.126 | 1.3333
2020-08-06 | [6 empty] | <10 | [7 empty] | 0.1288 | 150 | 0.1296 | 5.3333
3.7778
2020-08-27 | [6 empty] | 3 | [7 empty] | 0.1283 | 400 | 0.1304 | 5.25
2020-08-27 | [6 empty] | 17
2020-08-27 | [6 empty] | 6
8.6667
2020-09-07 | [6 empty] | 9
2020-09-07 | [6 empty] | 4
2020-09-07
6.5
2020-09-14 | [6 empty] | 6 | [15 empty] | 0.08
2020-09-14 | [6 empty] | 5 | [15 empty] | 0.04
2020-09-14
2020-09-14 | Av. | [5 empty] | 5.5
2020-09-30 | [6 empty] | 10 | [7 empty] | 0.1337 | 100 | 0.134 | 3 |  |  |  |  | 0.06
2020-09-30 | [6 empty] | 10 | [7 empty] | 0.1311 | 100 | 0.1324 | 13 |  |  |  |  | 0.05
2020-09-30
2020-09-30 | Av. | [5 empty] | 10 | [10 empty] | 8
2020-10-08 | [14 empty] | 0.1299 | 100 | 0.1305 | 6 | [5 empty] | 5 | 9.72 | 9.32 | 0.4 | 9.74 | 9.56 | 0.18 | 0.29 | 22
2020-10-08 | [14 empty] | 0.1289 | 100 | 0.1294 | 5 | [5 empty] | 5 | 9.69 | 9.33 | 0.36 | 9.71 | 9.38 | 0.33 | 0.29 | 14
2020-10-08 | [14 empty] | 0.1295 | 100 | 0.1303 | 8 | [5 empty] | 10 | 9.7 | 9.37 | 0.33 | 9.7 | 9.34 | 0.36 | 0.29 | 4 | 13.3333
6.3333
2020-10-22 | [6 empty] | 39 | [7 empty] | 0.1335 | 150 | 0.1343 | 5.3333 | [5 empty] | 10 | 9.76 | 9.3 | 0.46 | 9.67 | 9.49 | 0.18 | 0.19667 | 26.3333
2020-10-22 | [6 empty] | 15 | [7 empty] | 0.1255 | 150 | 0.1265 | 6.6667 | [5 empty] | 10 | 9.69 | 9.25 | 0.44 | 9.62 | 9.46 | 0.16 | 0.19667 | 24.3333
2020-10-22 | [6 empty] | 13 | [7 empty] | 0.1291 | 100 | 0.1302 | 11 | [5 empty] | 10 | 9.67 | 9.26 | 0.41 | 9.62 | 9.37 | 0.25 | 0.19667 | 21.3333 | 24
[7 empty] | 22.3333 | [10 empty] | 7.6667
2020-10-29 | [6 empty] | 11 | [7 empty] | 0.1279 | 100 | 0.1292 | 13 | [5 empty] | 20 | 9.86 | 9.35 | 0.51 | 9.85 | 9.65 | 0.2 | 0.23 | 14
2020-10-29 | [6 empty] | 11 | [7 empty] | 0.1281 | 100 | 0.1287 | 6 | [5 empty] | 20 | 9.85 | 9.4 | 0.45 | 9.87 | 9.65 | 0.22 | 0.23 | 11
2020-10-29 | [6 empty] | 14 | [7 empty] | 0.1281 | 100 | 0.129 | 9 | [5 empty] | 20 | 9.87 | 9.41 | 0.46 | 9.86 | 9.59 | 0.27 | 0.23 | 11.5 | 12.1667
[7 empty] | 12 | [10 empty] | 9.3333
2020-11-05 | [6 empty] | 10 | [16 empty] | 20 | 9.86 | 9.28 | 0.58 | 9.71 | 9 | 0.71 | 0.61667 | -1.8333
2020-11-05 | [6 empty] | 12 | [16 empty] | 20 | 9.79 | 9.32 | 0.47 | 9.75 | 9.13 | 0.62 | 0.61667 | -7.3333
2020-11-05 | [6 empty] | 7 | [16 empty] | 20 | 9.8 | 9.37 | 0.43 | 9.73 | 9.21 | 0.52 | 0.61667 | -9.3333
9.6667
2020-11-12 | Sampling not possible as leak meant there was no wastewater ruunning in the pilot hall
2020-11-17
2020-11-17
2020-11-17
2020-11-26 | [14 empty] | 0.1271 | 100 | 0.1285 | 14 | [5 empty] | 10 | 9.71 | 9.12 | 0.59 | 9.9 | 9.52 | 0.38 | 0.29 | 30
2020-11-26 | [6 empty] | 25 | [7 empty] | 0.1294 | 100 | 0.1308 | 14 | [5 empty] | 10 | 9.7 | 9.33 | 0.37 | 9.79 | 9.53 | 0.26 | 0.29 | 8
2020-11-26 | [6 empty] | 18 | [7 empty] | 0.1283 | 100 | 0.1301 | 18 | [5 empty] | 10 | 9.75 | 9.32 | 0.43 | 9.82 | 9.59 | 0.23 | 0.29 | 14
[18 empty] | 15.3333 | [14 empty] | 11
2021-03-23 | [6 empty] | 21.5 | [7 empty] | 0.1266 | 500 | 0.1279 | 2.6 | [5 empty] | 10 | 8.52 | 8.15 | 0.37 | 8.51 | 7.94 | 0.57 | 0.46667
2021-03-23 | [14 empty] | 0.1259 | 500 | 0.1268 | 1.8 | [5 empty] | 25 | 8.59 | 8.19 | 0.4 | 8.5 | 8.1 | 0.4 | 0.46667
2021-03-23 | [14 empty] | 0.1278 | 500 | 0.1287 | 1.8 | [5 empty] | 50 | 8.73 | 8.24 | 0.49 | 8.49 | 8.06 | 0.43 | 0.46667 | 0.46667
2021-03-23 | [17 empty] | 2.0667 | [5 empty] | 50 | 8.71 | 8.19 | 0.52 |  |  |  | 0.46667 | 1.0667
2021-03-23 | [23 empty] | 100 | 8.79 | 8.23 | 0.56 |  |  |  | 0.46667 | 0.93333
2021-03-23 | [23 empty] | 100 | 8.85 | 8.36 | 0.49 |  |  |  | 0.46667 | 0.23333
2021-03-23 | [23 empty] | 100 | 8.84 | 8.34 | 0.5 |  |  |  | 0.46667 | 0.33333
0.60667
2021-04-08 | [6 empty] | <10 | [7 empty] | 0.1245 | 750 | 0.1256 | 1.4667
[7 empty] | <10 | [7 empty] | 0.1251 | 500 | 0.1271 | 4
[7 empty] | <10 | [7 empty] | 0.1266 | 500 | 0.1274 | 1.6
[7 empty] | 10 | [10 empty] | 2.3556
2021-04-15 | [6 empty] | <10
<10
<10
10
2021-04-29
2021-04-29
2021-04-29
2021-04-29
2021-04-29
2021-06-03 | [6 empty] | <10 | [7 empty] | 1317 | 300 | 1324 | 2.3333 | [5 empty] | 400 | 9.03 | 7.74 | 1.29 | 9.27 | 7.49 | 1.78 | 1.57
2021-06-03 | [6 empty] | <10 | [7 empty] | 1290 | 300 | 1296 | 2 | [5 empty] | 400 | 8.99 | 7.58 | 1.41 | 9.21 | 7.78 | 1.43 | 1.57
2021-06-03 | [6 empty] | <10 | [7 empty] | 1313 | 300 | 1322 | 3 | [5 empty] | 300 | 8.92 | 5.5 | 3.42 | 9.15 | 7.65 | 1.5 | 1.57 | 6.1667
2021-06-03 | [6 empty] | 10 | [10 empty] | 2.4444 | [5 empty] | 300 | 8.64 | 7.78 | 0.86 |  |  |  | 1.57 |  | 6.1667
2021-06-10 | [6 empty] | <10 | [16 empty] | 300 | 9.14 | 8.4 | 0.74 | 9.4 | 8.97 | 0.43 | 0.48667 | 0.84444 | 0.84444
2021-06-10 | [6 empty] | <10 | [16 empty] | 300 | 9.07 | 8.66 | 0.41 | 9.36 | 8.91 | 0.45 | 0.48667 |  | 1.8111
2021-06-10 | [6 empty] | <10 | [16 empty] | 300 | 9.1 | 8.07 | 1.03 | 9.35 | 8.77 | 0.58 | 0.48667 | 1.8111
2021-06-10 | [6 empty] | 10
2021-06-29 | [6 empty] | <10 | [7 empty] | 1295 | 250 | 1298 | 1.2
2021-06-29 | [6 empty] | <10 | [7 empty] | 1310 | 250 | 1314 | 1.6
2021-06-29 | [6 empty] | <10 | [7 empty] | 1318 | 250 | 1324 | 2.4
[7 empty] | 10 | [10 empty] | 1.7333
2021-07-01 | [6 empty] | <10
2021-07-01 | [6 empty] | <10
2021-07-01 | [6 empty] | <10
10
2021-07-08 | [23 empty] | 400 | 8.65 | 7.46 | 1.19 | 9.23 | 9.31 | -0.08 | 0.14333 | 2.6167
2021-07-08 | [23 empty] | 400 | 8.59 |  |  | 9.24 | 8.95 | 0.29 | 0.14333
2021-07-08 | [23 empty] | 400 | 8.62 | 7.69 | 0.93 | 9.23 | 9.01 | 0.22 | 0.14333 | 1.9667
2021-07-08 | [30 empty] | 0.14333
2021-07-08 | [30 empty] | 0.14333
2022-02-25 | [23 empty] | 250 | 8.47 | 7.22
2022-02-25 | [23 empty] | 250 | 8.4 | 7.12
2022-02-25 | [23 empty] | 250 | 8.28 | 6.19
2022-03-07 | [6 empty] | 18 | [7 empty] | 897 | 250 | 914 | 6.8
2022-03-07 | [6 empty] | 20 | [7 empty] | 883 | 250 | 895 | 4.8
2022-03-07 | [6 empty] | 25 | [7 empty] | 871 | 250 | 894 | 9.2
[7 empty] | 21 | [10 empty] | 6.9333
2022-04-27 | [6 empty] | <10 | [7 empty] | 875 | 250 | 889 | 5.6 |  |  |  |  | 0.31
2022-04-27 | [6 empty] | <10 | [7 empty] | 891 | 250 | 903 | 4.8 |  |  |  |  | 0.31
2022-04-27 | [6 empty] | <10 | [7 empty] | 885 | 250 | 893 | 3.2 |  |  |  |  | 0.3
[7 empty] | 10 | [10 empty] | 4.5333

## Wetland Data Summary
Infleunt | Infleunt | VF eff | Removal | [5 empty] | Removal
VF eff | 58 | 4.5 | 92.2414 |  |  |  | 57.3333 | 19.3333 | 66.2791
AHF eff | 85.5 | 3 | 96.4912 |  |  |  | 144 | 15 | 89.5833
| 30 | 5.5 | 81.6667 |  |  |  | 117 | 68 | 41.8803 |  | 18.5 | 2.65 |  |  | 167.5 | 13.3333
| 34 | 2.6667 | 92.1569 |  |  |  | 108.6667 | 13 | 88.0368 |  | 17.7 | 0.03 |  |  | 165.8333 | 24
| 58.5625 | 5.6 | 90.4376 |  |  |  | 61 | 13.5 | 77.8689 |  | 15 | 0.08 |  |  | 203.3333 | 12.1667
| 22 | 3.7778 | 82.8283 |  |  |  | 39 | 10 | 74.359 |  | 33 | 0.04 |  |  | 172.7111 | 11
| 49.3333 | 5.25 | 89.3581 |  |  |  | 65.6667 | 6.5 | 90.1015 |  | 32.8 | 0.06 |  |  | 319 | 13.3333
| 40 | 8 | 80 |  |  |  | 35 | 5.5 | 84.2857 |  | 32.1 | 0.05 |  |  | 135.5733 | 24
| 92 | 6.3333 | 93.1159 |  |  |  | 58.5 | 10 | 82.906 |  | 23 | 0.31 |  |  | 71.8 | 12.1667
| 78.6667 | 7.6667 | 90.2542 |  |  |  | 47 | 22.3333 | 52.4823 |  | 30.8 | 0.31 |  |  | 122 | 11
| 64 | 9.3333 | 85.4167 |  |  |  | 90.5 | 12 | 86.7403 |  | 30.3 | 0.3 |  |  | 136.1 | 0.60667
| 78.6667 | 15.3333 | 80.5085 |  |  |  | 292 | 9.6667 | 96.6895 |  | 39.4 |  |  |  | 286 | 6.1667
| 56.6667 | 2.0667 | 96.3529 |  |  |  | 82.5 | 21.5 | 73.9394 |  | 33.6 |  |  |  |  | 0.84444
| 63.6667 | 2.3556 | 96.3002 |  |  |  | 82 | 10 | 87.8049 |  | 32.9 |  |  |  |  | 1.8111
| 96.6667 | 2.4444 | 97.4713 |  |  |  | 81.5 | 10 | 87.7301 |  | 36.2
| 102 | 1.7333 | 98.3007 |  |  |  | 244 | 10 | 95.9016 |  | 34.2 |  |  |  |  | 24
| 281 | 6.9333 | 97.5326 |  |  |  | 118 | 10 | 91.5254 |  | 37.2
| 73 | 4.5333 | 93.79 |  |  |  | 77.5 | 10 | 87.0968 |  | 35.2
| 75.7627 | 5.3904 | 90.7902 |  |  |  | 336 | 21 | 80.845 |  | 35
| 54.5678 | 3.2431 |  |  |  |  | 230 | 10 | 81.6543 |  | 35.2
|  |  |  | 0.05 | 2.0167 | 0.05 | 118.3583 | 15.3667 | 80.8855 |  | 36.2
|  | 1.7333 |  | 0.1 | 2.2689 | 0.1 | 85.0429 | 12.9679 | [6 empty] | 177.9851 | 11.8791
|  | 2.0667 |  | 0.15 | 2.4044 | 0.15 |  |  |  |  | 30.9632 | 0.42556 |  |  | 71.0233 | 7.9881
|  | 2.3556 |  | 0.2 | 2.5333 | 0.2 |  |  |  |  | 6.8712 | 0.79511
|  | 2.4444 |  | 0.25 | 2.75 | 0.25
|  | 2.6667 |  | 0.3 | 3.0778 | 0.3
|  | 3 |  | 0.35 | 3.7389 | 0.35
|  | 3.7778 |  | 0.4 | 4.3556 | 0.4
|  | 4.5 |  | 0.45 | 4.5217 | 0.45
|  | 4.5333 |  | 0.5 | 4.8917 | 0.5
|  | 5.25 |  | 0.55 | 5.3375 | 0.55
|  | 5.5 |  | 0.6 | 5.52 | 0.6
|  | 5.6 |  | 0.65 | 5.6367 | 0.65
|  | 6.3333 |  | 0.7 | 6.26 | 0.7
|  | 6.9333 |  | 0.75 | 6.7833 | 0.75 | 19.3333 |  | 0.05 | 5.65
|  | 7.6667 |  | 0.8 | 7.3733 | 0.8 | 15 |  | 0.1 | 7.45 | 2.65 |  | 0.05 | 0.034
|  | 8 |  | 0.85 | 7.8167 | 0.85 | 68 |  | 0.15 | 9.8167 | 0.03 |  | 0.1 | 0.038
|  | 9.3333 |  | 0.9 | 8.4 | 0.9 | 13 |  | 0.2 | 10 | 0.08 |  | 0.15 | 0.042
|  | 15.3333 |  | 0.95 | 10.2333 | 1 | 13.5 |  | 0.25 | 10 | 0.04 |  | 0.2 | 0.046
|  |  |  | 1 | 15.3333 |  | 10 |  | 0.3 | 10 | 0.06 |  | 0.25 | 0.05
[7 empty] | 6.5 |  | 0.35 | 10 | 0.05 |  | 0.3 | 0.054
[7 empty] | 5.5 |  | 0.4 | 10 | 0.31 |  | 0.35 | 0.058
[7 empty] | 10 |  | 0.45 | 10 | 0.31 |  | 0.4 | 0.064
[7 empty] | 22.3333 |  | 0.5 | 11 | 0.3 |  | 0.45 | 0.072
[7 empty] | 12 |  | 0.55 | 12.6291 |  |  | 0.5 | 0.08
[7 empty] | 9.6667 |  | 0.6 | 12.9936 |  |  | 0.55 | 0.168
[7 empty] | 21.5 |  | 0.65 | 13.475 |  |  | 0.6 | 0.256
[7 empty] | 10 |  | 0.7 | 15.0367 |  |  | 0.65 | 0.302
[7 empty] | 10 |  | 0.75 | 16.3583 |  |  | 0.7 | 0.306
[7 empty] | 10 |  | 0.8 | 20 |  |  | 0.75 | 0.31
[7 empty] | 10 |  | 0.85 | 21.275 |  |  | 0.8 | 0.31
[7 empty] | 10 |  | 0.9 | 22.0833 |  |  | 0.85 | 0.31
[7 empty] | 21 |  | 0.95 | 61.15 |  |  | 0.9 | 0.778
[7 empty] | 10 | [5 empty] | 0.95 | 1.714
15.3667
12.9679

## Total (hidden)
Location | Sample Date | Temperate (oC)
|  |  | DO | TCOD (mg/l) | SCOD (mg/l) | PCOD (mg/l) | TSS (mg/L) | VSS (mg/l)
Conc (mg/l)
Influent | 180220 | 8.3 | 1.53 | 57.3333 | 0 | 57.3333 | 58 | 48
| 240220 | 10.6 | 1.43 | 144 | 142 | 2 | 85.5
Effluent | 180220 | 7.1 | 7 | 19.3333 | 0 | 58 | 4.5 | 2
| 240220 | 8.7 | 7.85 | 15 | 61 | -46 | 3

## Sheet1 (hidden)
7.1 | 7 | 58.6
7.1 | 7 | 58.6
7.1 | 7 | 58.6
7.1 | 7 | 58.6

## post lamella measurements (hidden)
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l)
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band
30320 | post lamella1 |  |  |  | 3 | 0 | 214 | 214 | 3 | 0 | 113 |  | 113 | 101 | 0.1286 | 100 | 0.1428 | 142 |  | -0.1286
30320 | 2 | [13 empty] | 0.1269 | 100 | 0.1411 | 142 |  | -0.1269
30320 | 3
30320 | Av. |  |  |  | 3 | 0 | 214 | 214 | 3 | 0 | 113 |  | 113 | 101 | 0.12775 | 100 | 0.14195 | 142 |  | -0.12775
30320 | post lamella 2 |  |  |  | 3 | 0 | 187 | 187 | 3 | 0 | 116 |  | 116 | 71 | 0.1278 | 100 | 0.1411 | 133 |  | -0.1278
30320 | 2 | [13 empty] | 0.1273 | 100 | 0.1394 | 121 |  | -0.1273
30320 | 3
30320 | Av. |  |  |  | 3 | 0 | 187 | 187 | 3 | 0 | 116 |  | 116 | 71 | 0.12755 | 100 | 0.14025 | 127 |  | -0.12755