## Data information
From post-combustion carbon capture to sorption-enhanced hydrogen production:
A state-of-the-art review of carbonate looping process feasibility
Dawid P. Hanak*, Sebastian Michalski, Vasilije Manovic
Clean Power Engineering, Energy and Power, School of Water, Energy and Environment, Cranfield University,
Bedford, Bedfordshire, MK43 0AL, UK
Data sheet
Corresponding author: *Dawid P. Hanak, d.p.hanak@cranfield.ac.uk
Hanak, D.P., Michalski, S.S. and Manovic, V. (2018), "From post-combustion carbon capture to sorption-enhanced hydrogen production: A state-of-the-art review of carbonate looping process feasibility", Energy Conversion and Management

## Greenfield
Type | Plant type | Power generation cycle | Sorbent | Net efficiency (%) | Efficiency penalty (% points) | Levelised cost of electricity (€/MWh) | Cost of CO₂ avoided (€/tCO₂) | Specific capital cost (€/kW) | Reference
Greenfield | Oxy-fuel with CaL | Steam cycle (Ultra-supercitical, 270 bar/600°C/620°C) | Calcite | 36.5 | 8 | N/A | N/A | N/A | Romano [99]
|  |  |  | 36.7 | 7.7
|  |  |  | 37.1 | 7.3
|  |  |  | 37.4 | 7
|  |  |  | 36.4 | 8
Greenfield | Oxy-fuel with CaL | Steam cycle (Ultra-supercitical, 290 bar/600°C/620°C) | Calcite | 30.3 | 7.5 | N/A | N/A | N/A | Ortiz et al. [100]
|  |  |  | 29.1 | 8.7
|  |  |  | 28.8 | 9
|  |  |  | 28.6 | 9.2
Greenfield | CaLC | Steam cycle (Ultra-supercitical, 280 bar/600°C/600°C) | Calcite | 37.8 | N/A | N/A | N/A | N/A | Martínez et al. [41]
Greenfield | CaLC | Steam cycle (Ultra-supercitical, 275 bar/596°C/619°C) | Calcite | 40.2 | 4.4 | N/A | N/A | N/A | Strelow et al. [96]
CO2/H2O Brayton cycle
Greenfield | CaLC | Steam cycle (Supercitical, 242 bar/593°C/593°C) | Calcite | 35.6 | 2.4 | 61.7 | 33.96 | 1773 | Hanak and Manovic [36]
|  |  |  | 34.9 | 3.1 | 64.7 | 37.5 | 1837.1
Greenfield | SESR-NGCC | GE 9FB gas turbine (PR 18.3, TIT 1345°C) | Calcite | 48.9 | 9.9 | N/A | N/A | N/A | Marinez et al. [90]
|  | Steam cycle (Sub-critical,125 bar/565°C/556°C) |  | 50.7 | 8.1
|  |  |  | 49.1 | 9.7
|  |  |  | 50.7 | 8.1
|  |  |  | 49.2 | 9.6
|  |  |  | 50.9 | 7.9
|  |  |  | 49.3 | 9.5
|  |  |  | 51 | 7.8
|  |  |  | 49.4 | 9.5
|  |  |  | 51 | 7.8
Greenfield | SESR-NGCC | Gas turbine (PR 15, TIT 1350°C) | Calcite | 46.6 | N/A | N/A | N/A | 1072.64 | Zhu et al. [108]
|  | Steam cycle (Sub-critical,130 bar/600°C/600°C) |  | 46.2
Greenfield | SESR-SOFC-CC | Gas turbine (PR 10, TIT 1369°C) | Calcite | 60.6 | N/A | N/A | N/A | N/A | Wu et al.[86]
Steam cycle (Sub-critical,122 bar/623°C)
Solid-oxide fuel cell (T 930 °C, i 160A/cm2, U 77.6%, V=0.8 V
Greenfield | SESR-SOFC | Solid-oxide fuel cell (T 800 °C, U 85%) | Calcite | 42.3, 46 | N/A | N/A | N/A | N/A | Wiranarongkorn et al. [88]
46
Greenfield | SESR-SOFC | Solid-oxide fuel cell | Calcite | 51 | N/A | 78 | 36.8 | 5110 | Diglio et al. [91,123]
Greenfield | IGCC | Gas turbine (PR 18, TIT 1250°C) | Calcite | 41.7, 39.6 | N/A | N/A | N/A | N/A | Li et al. [101]
|  | Steam cycle (Sub-critical, 125 bar/535°C/535°C) | Modified Ca-based (acetic acid) | 43.1, 42.4
Greenfield | IGCC | M701G2 gas turbine | Calcite | 34.2 | 10.2 | 78.1 | 29.2 | 1834.7 | Cormos and Cormos [73]
|  | Steam cycle (Sub-critical, 118 bar/570°C/520°C) |  | 37 | 7.4 | 76.1 | 26.3 | 1825.9 | Cormos [72]
Greenfield | IGCC | F-class gas turbine (PR 17 TIT 1350°C) | Calcite | 41 | N/A | N/A | N/A | N/A | Wang et al. [105]
|  | Steam cycle (Sub-critical, 125 bar/565°C/565°C) |  | 42.7
45.4
Greenfield | IGCC | F-class gas turbine | Calcite | 33.1 | N/A | 72.6 | N/A | 2315.2 | Connel et al. [109]
Steam cycle (Sub-critical, 125 bar/534°C/536°C)
Greenfield | IGCC | Gas turbine (PR 19.2 TIT 1320°C) | Calcite | 43.2 | N/A | N/A | N/A | N/A | Kunze et al. [111]
Steam cycle (Supercritical, 250 bar/630°C/650°C)
Greenfield | IGCC | Gas turbine (PR 30, TIT 1416°C) | Calcite | 37.7 | 6.4 | n/a | n/a | 1911 | Zhu et al. [87]
Steam cycle (Sub-critical, 124 bar)
Greenfield | IGCC | F-class gas turbine Gas turbine (PR 15.3) | Calcite | 37.4,37.5,38.1 | 8.5, 8.4,7.8 | N/A | N/A | N/A | Chi et al. [114]
|  | Steam cycle (Sub-critical, 100 bar/565°C/565°C) | Na2CO3-MgO | 36.7,37.3 | 9.2, 8.6
Greenfield | IGFC | Gas turbine (PR 16.2 TIT 1327°C) | Calcite | 46.4 | N/A | N/A | N/A | 2031 | Siefert et al. [118]
|  | Steam cycle (Supercritical, 200 bar/625°C/625°C) |  | 60.2
Solid-oxide fuel cell (T 850 °C,I = 1a/cm2, U 80%)
Greenfield | IGCC - ZECOMIX | Gas turbine (PR 25 TIT 1400°C) | Calcite | 46.7 | N/A | N/A | N/A | N/A | Romano and Lozza [117]
|  | Steam cycle (Supercritical, 247 bar/600°C/600°C) |  | 44.8
Greenfield | IGCC - ZECOMAG | Gas turbine (PR 20 TIT 1500°C) | Calcite | 46.7 | N/A | N/A | N/A | N/A | Romano and Lozza [116]
Steam cycle (Supercritical, 247 bar/600°C/600°C)
Greenfield | BIGCC | Gas turbine (PR 10, TIT 1369°C) | Calcite | 45.7 | N/A | N/A | N/A | N/A | Kuo and Wu [121]
|  | Steam cycle (Supercritical, 240 bar) |  | 44.6
Solid-oxide fuel cell (T 900 °C, i 200 A/cm2, U 85%, V=0.69 V
Greenfield | BIGCC | Steam cycle (Sub-critical, 150 bar/541 °C), Solid-oxide fuel cell | Calcite | 50 | N/A | N/A | N/A | N/A | Yan and He[122]

## Retrofit
Type | Plant type | Power generation cycle | Sorbent | Net efficiency (%) | Efficiency penalty (% points) | Levelised cost of electricity (€/MWh) | Cost of CO₂ avoided (€/tCO₂) | Specific capital cost (€/kW) | Reference
Retrofit | CFPP | Primary steam cycle (Supercritical) | Calcite | 33.4 | N/A | N/A | N/A | N/A | Shimizu et al. [14]
Secondary steam cycle (Sub-critical, 172 bar/566°C/538°C)
Retrofit | CFPP | Primary steam cycle (Supercritical) | Calcite | 37 | 7.9 | 48.2 | 15.5 | 1604 | Romeo et al. [47]
Secondary steam cycle (Sub-critical, 172 bar/566°C/538°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Calcite | 30.5 | 7.5 | 74.8 | 57.3 | 2026.1 | Hanak et al. [48]
|  | Secondary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) |  |  |  | 64.1 | 41.6 | 1586.1
Retrofit | CFPP | Primary steam cycle (Supercritical, 285 bar/600°C/620°C) | Calcite | 39.2 | 6.3 | N/A | N/A | N/A | Hawthorne et al. [49]
Secondary steam cycle (Supercritical, 300 bar/600°C/600°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 300 bar/600°C/600°C) | Calcite | 42.9 | 2.7,3.2* | N/A | N/A | N/A | Strohle et al. [50,51]
Secondary steam cycle (Supercritical, 300 bar/600°C/600°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 285 bar/600°C/620°C) | Calcite | 42.7 | 2.9* | N/A | N/A | N/A | Lasheras et al. [52]
|  | Secondary steam cycle (Supercritical, 285 bar/600°C/620°C) |  |  | 0
Retrofit | CFPP | Primary steam cycle (Sub-critical) | Calcite | 30.7,31.9,33.4 | 8,9.1,10.4 | N/A | N/A | N/A | Martinez et al. [53]
Secondary steam cycle (Supercritical, 280 bar/600°C/600°C)
Retrofit | CFPP | Primary steam cycle (Supercritical) | Calcite | 34.8,37.5 | 7.5,10.1 | N/A | N/A | N/A | Martinez et al. [53]
Secondary steam cycle (Supercritical, 280 bar/600°C/600°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Calcite | 30.6,30.8,31.1,31.8 | 6.7,7.4,7.7,7.9 | N/A | N/A | N.A | Hanak et al. [31]
Secondary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 290 bar/600°C/620°C) | Calcite | 32 | 6.2 | N/A | N/A | N/A | Lara et al. [55]
Secondary steam cycle (Supercritical, 290 bar/600°C/620°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 290 bar/600°C/620°C) | Calcite | 33.1 | 5.2 | N/A | N/A | N/A | Lara et al. [56]
Secondary steam cycle (Supercritical, 290 bar/600°C/620°C)
|  |  | Lithium ortosilicate | 33.9 | 4.3 | N/A | N/A | N/A
Retrofit | CFPP | Primary steam cycle (Supercritical, 235.4 bar/540°C/540°C) | Calcite | 34.1 | 5 | N/A | N/A | N/A | Vorrias et al. [57]
Secondary steam cycle (Supercritical, 235.4 bar/540°C/540°C)
Retrofit | CFPP | Primary steam cycle (Subcritical) | Calcite | 27.9,28.1 | 5.4,5.6 | N/A | N/A | N/A | Ortiz et al. [59]
Secondary steam cycle (Supercritical, 235.4 bar/540°C/540°C)
Retrofit | CFPP | N/A | Calcite | N/A | N/A | N/A | N/A | N/A | Martinez et al. [60]
Retrofit | CFPP | N/A | Calcite | N/A | N/A | N/A | N/A | N/A | Martinez et al. [61]
Retrofit | CFPP | N/A | Calcite | 38.8 | 7.2 | N/A | N/A | N/A | Abanades et al. [42]
|  |  |  | 39.4 | 6.6
|  |  |  | 40 | 6
Retrofit | CFPP | Primary steam cycle (Supercritical, 300 bar/600°C/600°C) | Calcite | 42.8 | 2.8 | N/A | N/A | N/A | Junk et al. [44]
|  | Secondary steam cycle (Supercritical, 310 bar/600°C/620°C) |  | 42.3 | 3.3
|  |  |  | 43.8 | 1.8
|  |  |  | 43.3 | 2.3
Retrofit | CFPP | Primary steam cycle (Subcritical, 166.5 bar/566°C/566°C) | Calcite | 32.9 | 7.2 | N/A | N/A | N/A | Ozcan et al. [39]
|  | Secondary steam cycle (Subcritical, 166.5 bar/566°C/566°C) |  | 36.6 | 3.5
Retrofit | CFPP | Primary steam cycle (Supercritical, 241 bar/593°C/593°C) | Calcite | 31.2 | 8.1 | N/A | N/A | N/A | Duhoux et al. [38]
|  | Secondary steam cycle (Supercritical, 242 bar/593°C/593°C) |  | 33.5 | 5.8
|  |  |  | 34 | 5.3
Retrofit | CFPP | Primary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Calcite | 31.6 | 6.9 | N/A | N/A | N.A | Hanak et al. [63]
|  | Secondary power cycle (Supercritical CO2, 242 bar/593.3°C/593.3°C) |  | 32.2 | 6.3
|  | Secondary power cycle (Supercritical CO2, 300 bar/620°C/620°C) |  | 32.4 | 6.1
|  |  |  | 32.7 | 5.8
Retrofit | CFPP | Primary steam cycle (Subcritical) | Hydrated calcite | 26.9 | 6.6 | N/A | N/A | N/A | Wang et al. [34,35]
|  |  |  | 26.5 | 7
|  |  |  | 26.1 | 7.4
Retrofit | CFPP | Primary steam cycle (Supercritical) | Calcite | 32.3 | 5.8 | N/A | 15.8,16.7,17.5,19.0 | 1250,1600 | Lisbona et al. [68]
|  | Secondary steam cycle (Supercritical) | Dolomite | 23.9,32.4 | 5.7,14.2 | N/A | 18.6
|  |  | Lithium orthosilicate | N/A | N/A | N/A | 25, 300.2
|  |  | Alumina-doped limestone | N/A | N/A | N/A | 21.8, 23.5
Retrofit | CFPP | Primary steam cycle (Subcritical) | Calcite | 27.9 | 5.6 | N/A | N/A | N/A | Ortiz et al. [67]
|  | Secondary steam cycle (Subcritical, 140 bar/560°C/476°C ) | Dolomite | 27.6 | 5.9
|  |  | Steel slag | 27.7 | 5.8
Retrofit | CFPP | Primary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Calcite | 30.6,30.8,31.1,31.8 | 6.7,7.4,7.7,7.9 | 75115 | N/A | 2100,2300 | Hanak et al. [69]
Secondary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C)
Retrofit | CFPP | Primary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Calcite | 30.1 | 8.7 | 82.7 | 58.3 | 2981.6 | Hanak et al. [66]
|  | Secondary steam cycle (Supercritical, 242 bar/593.3°C/593.3°C) | Hydrated calcite | 30.4 | 8.4 | 74.2 | 47.8 | 2776.4
Retrofit | CFPP | Primary steam cycle (Supercritical | Calcite | 38.6 | 6.4 | 25 | 7 | 1250 | Abanades et al. [70]
|  | Secondary steam cycle (Supercritical) |  | 35.6 | 7.4 | 39 | 12.5 | 1450
|  |  |  | 31.5 | 8.5 | 71 | 29.3 | 1740
Retrofit | CFPP | Primary steam cycle (Subcritical, 170 bar/540°C/540°C) | Calcite | 32.1 | 5.1 | 73.8 | 28.2 | 1624.9 | Cormos [72]
Secondary steam cycle (Subcritical, 170 bar/540°C/540°C)
Primary steam cycle (Supercritical, 290 bar/582°C/580°C/580°C)
|  | Secondary steam cycle (Supercritical, 290 bar/582°C/580°C/580°C) |  | 35.9 | 7.4 | 68.4 | 31.3 | 1570.9
Retrofit | CFB-CFPP | Primary steam cycle (Subcritical, 180 bar/560°C/580°C) | Calcite | 33.7 | 4.8 | 66.9 | 20.6 | N/A | Cormos and Cormos [73]
Secondary steam cycle (Subcritical, 170 bar/540°C/540°C)
|  | Primary steam cycle (Supercritical, 275 bar/560°C/580°C) |  | 35.2 | 6.3 | 66.1 | 22.4 | N/A
Secondary steam cycle (Supercritical, 290 bar/582°C/580°C/580°C)
Retrofit | CFPP | Primary steam cycle (Ultrasupercritical, 290 bar/620°C/600°C) | Calcite | N/A | N/A | 76,84 | N/A | N/A | Romano et al. [71]
Primary steam cycle (Ultrasupercritical, 290 bar/620°C/600°C)
Retrofit | CFPP | N/A | Calcite | 36 | 3* | 112 | 84 | 3723.9 | Mantripragada and Rubin [74]
Retrofit | NGCC | EBTF gas turbine (PR 18.1, TIT 1275°C) | Calcite | 45.6,46.6,47.3,47.3,47.7,48.1 | 10.0,11.5,10.8,10.8,10.4,12.5 | N/A | N/A | N/A | Berstad et al. [79]
Primary steam cycle (Sub-critical,121 bar/560°C/550°C)
Secondary steam cycle
(Sub-critical, 120 bar/560°C/560°C; Advanced, 120 bar/610°C/610°C; Super-critical,202 bar/610°C/610°C)
Retrofit | NGCC | EBTF gas turbine (PR 18.1, TIT 1275°C) | Calcite | 50.0,50.6,51.0 | 7.1,7.5,8.1 | N/A | N/A | N/A | Berstad et al. [80]
|  | Primary steam cycle (Sub-critical,121 bar/560°C/550°C) | Dolomite | 50.4,51.0,51.3 | 6.8,7.1,7.7
|  | Secondary steam cycle | Syntetic CaO | 52.3,52.5,53.1 | 5.0,5.6,5.8
(Sub-critical, 120 bar/560°C/560°C; Advanced, 120 bar/610°C/610°C; Super-critical,202 bar/610°C/610°C)
Retrofit | NGCC | F-class gas turbine (PR 18.5, TIT 1365°C) | Calcite | 47.2,48.8 | 8.4,10.0 | N/A | N/A | N/A | Hu and Ahn [46]
Primary steam cycle (Sub-critical,167 bar/560°C/560°C)
Secondary steam cycle (Sub-critical,167 bar/560°C/560°C)
Retrofit | NGCC | EBTF gas turbine (PR 18.1, TIT 1360°C) | Calcite | 45.2,49.1 | 8.6,12.0 | 44.1 | 29.3 | 802.5 | Erans et al. [84]
Primary steam cycle (Sub-critical,120 bar/500°C/500°C)
Secondary steam cycle (Sub-critical,120 bar/500°C/500°C)
Retrofit | NGCC | M701G2 Gas turbine | Calcite | 49.2 | 9.4 | 56.9 | 33.8 | 925.2 | Cormos and Cormos [82,83]
Primary steam cycle (Sub-critical,120 bar)
Secondary steam cycle (Sub-critical,120 bar)
* No CCU considered

## CFPP-RETROFIT
Net efficiency (%) | Net efficiency penalty (%) | Levelised cost of electricity (€/MWh) | Cost of CO₂ avoided (€/tCO₂) | Specific capital cost (€/kW) | Net efficiency analysis
33.4 | 7.9 | 48.2 | 15.5 | 1604 | Count | 60 | 25
37 | 7.5 | 74.8 | 57.3 | 2026.1 | Sqrt(Count) | 5 | 27
30.5 | 6.3 | 64.1 | 41.6 | 1586.1 | Minimum | 23.9 | 29
39.2 | 2.7 | 75 | 15.8 | 1250 | Maximum | 43.8 | 31
42.9 | 3.2 | 115 | 16.7 | 1600 | Tolerance | 19.9 | 33
42.7 | 2.9 | 82.7 | 17.5 | 2100 | Bin size | 3.98 | 35
30.7 | 8 | 74.2 | 19 | 2300 |  |  | 37
31.9 | 9.1 | 25 | 18.6 | 2981.6 | Median | 32.4 | 39
33.4 | 10.4 | 39 | 25 | 2776.4 | Mean | 33.4933 | 41
34.8 | 7.5 | 71 | 21.8 | 1252.8 | Stand.Dev | 4.6492 | 43
37.5 | 10.1 | 73.8 | 23.5 | 1452.8 |  |  | 45
30.6 | 6.7 | 68.4 | 58.3 | 1740 | m-sigma | 28.8441
30.8 | 7.4 | 66.9 | 47.8 | 1624.9 | m+sigma | 38.1425
31.1 | 7.7 | 66.1 | 8.3 | 1570.9
31.8 | 7.9 | 76 | 7 | 3723.9
32 | 6.2 | 84 | 12.5
33.1 | 5.2 | 112 | 29.3
33.9 | 4.3 | 44.1 | 28.2
34.1 | 5 |  | 31.3 |  | Net efficiency penalty analysis
27.9 | 5.4 |  | 20.6 |  | Count | 60
28.1 | 5.6 |  | 22.4 |  | Sqrt(Count) | 5
38.8 | 7.2 |  | 84 |  | Minimum | 1.8 | 2
39.4 | 6.6 |  |  |  | Maximum | 14.2 | 4.5
40 | 6 |  |  |  | Tolerance | 12.4 | 7
42.8 | 2.8 |  |  |  | Bin size | 2.48 | 9.5
42.3 | 3.3 | [5 empty] | 12
43.8 | 1.8 |  |  |  | Median | 6.35 | 14.5
43.3 | 2.3 |  |  |  | Mean | 6.3617
32.9 | 7.2 |  |  |  | Stand.Dev | 2.1445
36.6 | 3.5
31.2 | 8.1 |  |  |  | m-sigma | 4.2172
33.5 | 5.8 |  |  |  | m+sigma | 8.5061
34 | 5.3
31.6 | 6.9
32.2 | 6.3
32.4 | 6.1
32.7 | 5.8
26.9 | 6.6
26.5 | 7 |  |  |  | Levelised cost of electriciry analysis
26.1 | 7.4 |  |  |  | Count | 18
32.3 | 5.8 |  |  |  | Sqrt(Count) | 4.2426
23.9 | 5.7 |  |  |  | Minimum | 25
32.4 | 14.2 |  |  |  | Maximum | 115 | 25
27.9 | 5.6 |  |  |  | Tolerance | 90 | 50
27.6 | 5.9 |  |  |  | Bin size | 21.2132 | 75
27.7 | 5.8 | [5 empty] | 100
30.6 | 6.7 |  |  |  | Median | 72.4 | 125
30.8 | 7.4 |  |  |  | Mean | 70.0167
31.1 | 7.7 |  |  |  | Stand.Dev | 22.3049
31.8 | 7.9
30.1 | 8.7 |  |  |  | m-sigma | 47.7118
30.4 | 8.4 |  |  |  | m+sigma | 92.3216
38.6 | 6.4
35.6 | 7.4
31.5 | 8.5
32.1 | 5.1
35.9 | 7.4
33.7 | 4.8 |  |  |  | Cost of CO₂ avoided analysis
35.2 | 6.3 |  |  |  | Count | 22
36 | 3 |  |  |  | Sqrt(Count) | 4.6904
[5 empty] | Minimum | 7
[5 empty] | Maximum | 84 | 10
[5 empty] | Tolerance | 77 | 30
[5 empty] | Bin size | 16.4165 | 50
70
[5 empty] | Median | 22.1 | 90
[5 empty] | Mean | 28.2727
[5 empty] | Stand.Dev | 18.8175
[5 empty] | m-sigma | 9.4552
[5 empty] | m+sigma | 47.0903
Specific capital cost analysis
[5 empty] | Count | 15
[5 empty] | Sqrt(Count) | 3.873
[5 empty] | Minimum | 1250
[5 empty] | Maximum | 3723.9
[5 empty] | Tolerance | 2473.9 | 1250
[5 empty] | Bin size | 638.7582 | 2000
2750
[5 empty] | Median | 1624.9 | 3500
[5 empty] | Mean | 1972.6333 | 4250
[5 empty] | Stand.Dev | 703.4814
[5 empty] | m-sigma | 1269.1519
[5 empty] | m+sigma | 2676.1148

## NGCC-RETROFIT
Net efficiency (%) | Net efficiency penalty (%) | Levelised cost of electricity (€/MWh) | Cost of CO₂ avoided (€/tCO₂) | Specific capital cost (€/kW) | Net efficiency analysis
45.6 | 10 | 44.1 | 29.3 | 802.5 | Count | 20
46.6 | 11.5 | 56.9 | 33.8 | 925.2 | Sqrt(Count) | 5
47.3 | 10.8 |  |  |  | Minimum | 45.2
47.3 | 10.8 |  |  |  | Maximum | 53.1
47.7 | 10.4 |  |  |  | Tolerance | 7.9
48.1 | 12.5 |  |  |  | Bin size | 1.58
50 | 7.1
50.6 | 7.5 |  |  |  | Mode | 47.3
51 | 8.1 |  |  |  | Median | 49.15
50.4 | 6.8 |  |  |  | Mean | 49.215
51 | 7.1 |  |  |  | Stand.Dev | 2.3079
51.3 | 7.7
52.3 | 5 |  |  |  | m-sigma | 46.9071
52.5 | 5.6 |  |  |  | m+sigma | 51.5229
53.1 | 5.8
47.2 | 8.4
48.8 | 10
45.2 | 8.6
49.1 | 12
49.2 | 9.4 |  |  |  | Net efficiency penalty analysis
[5 empty] | Count | 20
[5 empty] | Sqrt(Count) | 5
[5 empty] | Minimum | 5
[5 empty] | Maximum | 12.5
[5 empty] | Tolerance | 7.5
[5 empty] | Bin size | 1.5
[5 empty] | Median | 8.5
[5 empty] | Mean | 8.755
[5 empty] | Stand.Dev | 2.2008
[5 empty] | m-sigma | 6.5542
[5 empty] | m+sigma | 10.9558
Levelised cost of electriciry analysis
[5 empty] | Count | 2
[5 empty] | Sqrt(Count) | 1.4142
[5 empty] | Minimum | 44.1
[5 empty] | Maximum | 56.9
[5 empty] | Tolerance | 12.8
[5 empty] | Bin size | 9.051
[5 empty] | Median | 50.5
[5 empty] | Mean | 50.5
[5 empty] | Stand.Dev | 9.051
[5 empty] | m-sigma | 41.449
[5 empty] | m+sigma | 59.551
Cost of CO₂ avoided analysis
[5 empty] | Count | 2
[5 empty] | Sqrt(Count) | 1.4142
[5 empty] | Minimum | 29.3
[5 empty] | Maximum | 33.8
[5 empty] | Tolerance | 4.5
[5 empty] | Bin size | 3.182
[5 empty] | Median | 31.55
[5 empty] | Mean | 31.55
[5 empty] | Stand.Dev | 3.182
[5 empty] | m-sigma | 28.368
[5 empty] | m+sigma | 34.732
Specific capital cost analysis
[5 empty] | Count | 2
[5 empty] | Sqrt(Count) | 1.4142
[5 empty] | Minimum | 802.5
[5 empty] | Maximum | 925.2
[5 empty] | Tolerance | 122.7
[5 empty] | Bin size | 86.762
[5 empty] | Median | 863.85
[5 empty] | Mean | 863.85
[5 empty] | Stand.Dev | 86.762
[5 empty] | m-sigma | 777.088
[5 empty] | m+sigma | 950.612

## NOVEL-RETROFIT
Net efficiency (%) | Net efficiency penalty (%) | Levelised cost of electricity (€/MWh) | Cost of CO₂ avoided (€/tCO₂) | Specific capital cost (€/kW) | Net efficiency analysis |  |  | Greenfield scenario | Retrofit scenario
36.5 | 8 | 61.7 | 33.9 | 1773 | Count | 54 | 25 | 0 | 1.25
36.7 | 7.7 | 64.7 | 37.5 | 1837.1 | Sqrt(Count) | 7.3485 | 30 | 5.5556 | 10
37.1 | 7.3 | 78 | 36 | 1072.64 | Minimum | 28.6 | 35 | 7.4074 | 41.25
37.4 | 7 | 72.6 | 29.2 | 5110 | Maximum | 60.6 | 40 | 27.7778 | 15
36.4 | 8 | 78.1 | 26.3 | 2315.2 | Tolerance | 32 | 45 | 18.5185 | 7.5
30.3 | 7.5 | 76.1 |  | 1911 | Bin size | 4.3546 | 50 | 25.9259 | 15
29.1 | 8.7 |  |  | 2031 |  |  | 55 | 11.1111 | 10
28.8 | 9 |  |  |  | Mode | 51 | 60 | 0 | 0
28.6 | 9.2 |  |  |  | Median | 42.55 | 65 | 3.7037 | 0
37.8 | 4.4 |  |  |  | Mean | 42.5093
40.2 | 2.4 |  |  |  | Stand.Dev | 7.2965
35.6 | 3.1
34.9 | 9.9 |  |  |  | m-sigma | 35.2127
48.9 | 8.1 |  |  |  | m+sigma | 49.8058
50.7 | 9.7
49.1 | 8.1
50.7 | 9.6 |  |  |  | Net efficiency penalty analysis |  |  | Greenfield scenario | Retrofit scenario
49.2 | 7.9 |  |  |  | Count | 30 | 2 | 0 | 1.25
50.9 | 9.5 |  |  |  | Sqrt(Count) | 5 | 4 | 6.6667 | 10
49.3 | 7.8 |  |  |  | Minimum | 2.4 | 6 | 3.3333 | 23.75
51 | 9.5 |  |  |  | Maximum | 10.2 | 8 | 40 | 40
49.4 | 7.8 |  |  |  | Tolerance | 7.8 | 10 | 46.6667 | 13.75
51 | 10.2 |  |  |  | Bin size | 1.56 | 12 | 3.3333 | 8.75
46.6 | 7.4 | [5 empty] | 14 | 0 | 1.25
46.2 | 6.4 |  |  |  | Median | 8.05 | 16 |  | 1.25
60.6 | 8.5 |  |  |  | Mean | 7.89
42.3 | 8.4 |  |  |  | Stand.Dev | 1.8233
46 | 7.8
51 | 9.2 |  |  |  | m-sigma | 6.0667
41.7 | 8.6 |  |  |  | m+sigma | 9.7133
39.6
43.1
42.4
34.2
37
41
42.7
45.4
33.1
43.2 |  |  |  |  | Levelised cost of electriciry analysis |  |  | Greenfield scenario | Retrofit scenario
37.7 |  |  |  |  | Count | 6 | 25 | 0 | 5
37.4 |  |  |  |  | Sqrt(Count) | 2.4495 | 50 | 0 | 20
37.5 |  |  |  |  | Minimum | 61.7 | 75 | 50 | 50
38.1 |  |  |  |  | Maximum | 78.1 | 100 | 50 | 15
36.7 |  |  |  |  | Tolerance | 16.4 | 125 | 0 | 10
37.3 |  |  |  |  | Bin size | 6.6953
46.4
60.2 |  |  |  |  | Median | 74.35
46.7 |  |  |  |  | Mean | 71.8667
44.8 |  |  |  |  | Stand.Dev | 7.0662
46.7
45.7 |  |  |  |  | m-sigma | 64.8005
44.6 |  |  |  |  | m+sigma | 78.9328
50
[5 empty] | Cost of CO₂ avoided analysis |  |  | Greenfield scenario | Retrofit scenario
[5 empty] | Count | 5 | 10 | 0 | 8.3333
[5 empty] | Sqrt(Count) | 2.2361 | 30 | 40 | 62.5
[5 empty] | Minimum | 26.3 | 50 | 60 | 16.6667
[5 empty] | Maximum | 37.5 | 70 | 0 | 8.3333
[5 empty] | Tolerance | 11.2 | 90 | 0 | 4.1667
[5 empty] | Bin size | 5.0088 |  | 0
[5 empty] | Median | 33.9
[5 empty] | Mean | 32.58
[5 empty] | Stand.Dev | 4.7039
[5 empty] | m-sigma | 27.8761
[5 empty] | m+sigma | 37.2839
[5 empty] | Specific capital cost analysis |  |  | Greenfield scenario | Retrofit scenario
[5 empty] | Count | 7 | 500 | 0 | 0
[5 empty] | Sqrt(Count) | 2.6458 | 1500 | 14.2857 | 29.4118
[5 empty] | Minimum | 1072.64 | 2500 | 71.4286 | 52.9412
[5 empty] | Maximum | 5110 | 3500 | 0 | 11.7647
[5 empty] | Tolerance | 4037.36 | 4500 | 0 | 5.8824
[5 empty] | Bin size | 1525.9786 | 5500 | 3.3333 | 0
[5 empty] | Median | 1911
[5 empty] | Mean | 2292.8486
[5 empty] | Stand.Dev | 1298.5937
[5 empty] | m-sigma | 994.2549
[5 empty] | m+sigma | 3591.4422