Table S1. Maximum concentrations of pathogenic viruses and indicators found in various types of raw and treated waters reported in multiple publications. Treated effluent include tertiary treated effluent from wastewater treatment plants, surface waters include lakes, reservoirs, watershed, catchment, dams, river, creek and stream, subsurface waters include groundwater and well water and treated potable waters include treated drinking water from drinking water treatment plants, distribution system and point of use supply from 70 published studies.

ΣnD+ – cumulative number of positive detects, ΣnD – cumulative number of sampling datapoints, ΣnS – cumulative number of sampling sites, nD+ /nD  – ratio of positive detects to total sampling  datapoints.

| Phage/Indicator | Matrix | Max range | Unit | ΣnD+ | ΣnD | ΣnS | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Aichi virus | Treated effluent | 3.85 - 5.826 | log 10 copies/L | 174 | 265 | 14 | (Azhdar et al., 2019; Betancourt et al., 2014; Kitajima et al., 2014, 2013; Prevost et al., 2015; Rachmadi et al., 2021; Tandukar et al., 2020a) |
| Aichi virus | Reclaimed water | 1.54 | log 10 copies/L | 5 | 10 | 1 | (Rachmadi et al., 2021) |
| Aichi virus | Surface waters | 2.03 - 8.919 | log 10 copies/L | 157 | 434 | 37 | (Rachmadi et al., 2021)(Canh et al., 2021)(Gu et al., 2018)(Hata et al., 2021)Azhdar et al. (2019)Prevost et al. (2015)Hata et al. (2014)Betancourt et al., 2014Haramoto and Kitajima, 2017(Prevost et al., 2016)Tandukar 2018 (Azhdar et al., 2019; Betancourt et al., 2014; Canh et al., 2021; Gu et al., 2018; Haramoto and Kitajima, 2017; Hata et al., 2021, 2014; Prevost et al., 2016, 2015; Rachmadi et al., 2021; Tandukar et al., 2018) |
| Aichi virus | Subsurface water | 4.18 - 6.3 | log 10 copies/L | 26 | 52 | 18 | Haramoto and Kitajima, 2017Betancourt et al., 2014 (Betancourt et al., 2014; Haramoto and Kitajima, 2017) |
| Aichi virus | Treated water | minus 1 - 2.037 | log 10 copies/L | 5 | 154 | 63 | (Canh et al., 2021)Haramoto and Kitajima (2017)(Prevost et al., 2016)(Malla et al., 2019) (Canh et al., 2021; Haramoto and Kitajima, 2017; Malla et al., 2019; Prevost et al., 2016) |
| Adenovirus | Treated effluent | 3.5-8.95 | log 10 copies/L | 277# | 353# | 33 | (Purnell et al., 2020)(Morrison et al., 2020)(Tandukar et al., 2020)(Farkas et al., 2018)Katayama et al., 2008Simmons and Xagoraraki, 2011Prevost et al. (2015)Betancourt et al., 2014(Wu et al., 2020)Hamza et al., 2011Kitajima et al., 2014Qiu 2018Schlindwein et al., 2010 (Betancourt et al., 2014; Farkas et al., 2018; Hamza et al., 2011; Katayama et al., 2008; Kitajima et al., 2014; Morrison et al., 2020; Prevost et al., 2015; Purnell et al., 2020; Qiu et al., 2018; Schlindwein et al., 2010; Simmons and Xagoraraki, 2011; Tandukar et al., 2020b; Wu et al., 2020) |
| Adenovirus | Reclaimed water | 1.29-4.35 | log 10 copies/L | 25 | 44 | 3 | (Rusiñol et al., 2020)(Bailey et al., 2018)(Rachmadi et al., 2021) (Bailey et al., 2018; Rachmadi et al., 2020; Rusiñol et al., 2020) |
| Adenovirus | Surface waters | 1.2 - 7.7 | log 10 copies/L | 1002# | 1527# | 133 | (Sylvestre et al., 2021)(Jamal et al., 2020)(Purnell et al., 2020)(Pang et al., 2019)(Farkas et al., 2018)(Merrett et al., 2013)(Rusiñol et al., 2020)(Rachmadi et al., 2021)Cooksey et al., 2019)(Schijven et al., 2019) (Gu et al., 2018)(Vergara et al., 2015)Hamza et al., 2011(Canh et al., 2021)(Jurado et al., 2019)Hamza et al., 2009Haramoto et al., 2007Dong et al., 2010Rezaeinejad et al., 2014Liang et al., 2015 Albinana-Gimenez et al., 2006Fong et al., 2010Hata et al. (2014)Prevost et al. (2015)Betancourt et al., 2014(Prevost et al., 2016)(Sedji et al., 2018)(Mackowiak et al., 2018)Wolf et al., 2010Haramoto et al., 2010Haramoto et al., 2012Tandukar 2018Fongaro 2013 (Albinana-Gimenez et al., 2006; Betancourt et al., 2014; Canh et al., 2021; Cooksey et al., 2019; Dong et al., 2010; Farkas et al., 2018; Fong et al., 2010; Fongaro et al., 2013; Gu et al., 2018; Hamza et al., 2009, 2011; Haramoto et al., 2012, 2010, 2007; Hata et al., 2014; Jamal et al., 2020; Jurado et al., 2019; Liang et al., 2015; Mackowiak et al., 2018; Merrett et al., 2013; Pang et al., 2019; Prevost et al., 2016, 2015; Purnell et al., 2020; Rachmadi et al., 2021; Rezaeinejad et al., 2014; Rusiñol et al., 2020; Schijven et al., 2019; Sedji et al., 2018; Sylvestre et al., 2021a; Tandukar et al., 2018; Vergara et al., 2015; Wolf et al., 2010) |
| Adenovirus | Subsurface water | minus 1.148 - 3.278 | log 10 copies/L | 203 | 2246 | 175 | (Morrison et al., 2020)(Rusiñol et al., 2020)(Sorensen et al., 2021)(Kauppinen et al., 2018)(Stokdyk et al., 2020)Betancourt et al., 2014Borchardt et al., 2012 (Betancourt et al., 2014; Borchardt et al., 2012; Kauppinen et al., 2018; Morrison et al., 2020; Rusiñol et al., 2020; Sorensen et al., 2021; Stokdyk et al., 2020) |
| Adenovirus | Treated water | 2.2-7.2 | log 10 copies/L | 39 | 218 | 83 | (Malla et al., 2019)(Kauppinen et al., 2018)(Prevost et al., 2016)(Canh et al., 2021)(Rusiñol et al., 2020)Fongaro 2013Lambertini et al., 2008Dong et al., 2010 (Canh et al., 2021; Dong et al., 2010; Fongaro et al., 2013; Kauppinen et al., 2018; Lambertini et al., 2008; Malla et al., 2019; Prevost et al., 2016; Rusiñol et al., 2020) |
| Astrovirus | Treated effluent | 4.04 - 6.19 | log 10 copies/L | 108 | 190 | 12 | Le Cann et al., 2004El-Senousy et al., 2007El-Senousy et al., 2007Prevost et al. (2015)Qiu 2018 (El-Senousy et al., 2007; Le Cann et al., 2004; Prevost et al., 2015; Qiu et al., 2018) |
| Astrovirus | Surface waters | 1.991 - 4.232 | log 10 copies/L | 197 | 622 | 29 | (Gu et al., 2018)(Vergara et al., 2015)(Pang et al., 2019)Rezaeinejad et al., 2014Liang et al., 2015Prevost et al. (2015)(Prevost et al., 2016)El-Senousy et al., 2007El-Senousy et al., 2007 (El-Senousy et al., 2007; Gu et al., 2018; Liang et al., 2015; Pang et al., 2019; Prevost et al., 2016, 2015; Rezaeinejad et al., 2014; Vergara et al., 2015) |
| Astrovirus | Treated water | 3.36 | log 10 copies/L | 1 | 73 | 6 | El-Senousy et al., 2007El-Senousy et al., 2007(Prevost et al., 2016) (El-Senousy et al., 2007; Prevost et al., 2016) |
| Enterovirus | Treated effluent | 2.97 - 5.477 | log 10 copies/L | 152 | 323 | 26 | (Tandukar et al., 2020)Katayama et al., 2008Ottoson et al., 2006Simmons and Xagoraraki, 2011Prevost et al. (2015)Betancourt et al., 2014(Morrison et al., 2020)Kitajima et al., 2014Qiu 2018 (Betancourt et al., 2014; Katayama et al., 2008; Kitajima et al., 2014; Morrison et al., 2020; Ottoson et al., 2006; Prevost et al., 2015; Qiu et al., 2018; Simmons and Xagoraraki, 2011; Tandukar et al., 2020a) |
| Enterovirus | Reclaimed water | 3.4 | log 10 copies/L | 4 | 22 | 2 | (Rachmadi et al., 2021)(Rusiñol et al., 2020) (Rachmadi et al., 2021; Rusiñol et al., 2020) |
| Enterovirus | Surface waters | 0.477 - 7.5 | log 10 copies/L | 144 | 713 | 86 | (Hata et al., 2021)(Rachmadi et al., 2021)(Gu et al., 2018)(Diston et al., 2018)(Salvador et al., 2020a) (Sylvestre et al., 2021)(Canh et al., 2021)(Pang et al., 2019)Rose et al., 2006Fuhrman et al., 2005Hata et al. (2014)Prevost et al. (2015)(Prevost et al., 2016)(Mackowiak et al., 2018)Betancourt et al., 2014(Rusiñol et al., 2020)Hamza et al., 2009Tandukar 2018 (Betancourt et al., 2014; Canh et al., 2021; Diston et al., 2018; Fuhrman et al., 2005; Gu et al., 2018; Hamza et al., 2009; Hata et al., 2021, 2014; Mackowiak et al., 2018; Pang et al., 2019; Prevost et al., 2016, 2015; Rachmadi et al., 2021; Rose et al., 2006; Rusiñol et al., 2020; Sylvestre et al., 2021a; Tandukar et al., 2018) |
| Enterovirus | Subsurface water | 0.36 - 2.929 | log 10 copies/L | 133 | 2213 | 166 | Betancourt et al., 2014Borchardt et al., 2012(Stokdyk et al., 2020)(Morrison et al., 2020)(Rusiñol et al., 2020) (Betancourt et al., 2014; Borchardt et al., 2021; Morrison et al., 2020; Rusiñol et al., 2020; Stokdyk et al., 2020) |
| Enterovirus | Treated water | minus 1 to 4.6 | log 10 copies/L | 28 | 210 | 81 | (Malla et al., 2019)(Prevost et al., 2016)(Canh et al., 2021)(Rusiñol et al., 2020)Lambertini et al., 2008(Salvador et al., 2020a) (Canh et al., 2021; Lambertini et al., 2008; Malla et al., 2019; Prevost et al., 2016; Rusiñol et al., 2020) |
| Hepatitis A virus | Treated effluent | 5.643 | log 10 copies/L | 3 | 37 | 7 | Simmons and Xagoraraki, 2011(Teixeira et al., 2020)Schlindwein et al., 2010 (Schlindwein et al., 2010; Simmons and Xagoraraki, 2011; Teixeira et al., 2020) |
| Hepatitis A virus | Surface waters | 2.86-4.278 | log 10 copies/L | 15 | 30 | 4 | Rose et al., 2006(Blanco et al., 2019) (Blanco et al., 2019; Rose et al., 2006) |
| Hepatitis A virus | Subsurface water | 0.6 - 2.1301 | log 10 copies/L | 15 | 1252 | 24 | (Sorensen et al., 2021)Borchardt et al., 2012(Teixeira et al., 2020) (Borchardt et al., 2012; Sorensen et al., 2021; Teixeira et al., 2020) |
| Hepatitis A virus | Treated water | -1 | log 10 copies/L | 1 | 47 | 4 | (Salvador et al., 2020a) (Teixeira et al., 2020) (Teixeira et al., 2020) |
| Hepatitis E virus | Surface waters | 1.94 - 5.04 | log 10 copies/L | 22 | 97 | 25 | (Gu et al., 2018)(Salvador et al., 2020b)(Rusiñol et al., 2020)Albinana-Gimenez et al., 2006 (Albinana-Gimenez et al., 2006; Gu et al., 2018; Rusiñol et al., 2020) |
| Hepatitis E virus | Subsurface water | 1.328 - 2.82 | log 10 copies/L | 3 | 41 | 9 | (Rusiñol et al., 2020)(Sorensen et al., 2021) (Rusiñol et al., 2020; Sorensen et al., 2021) |
| Hepatitis E virus | Treated water | 3.95 | log 10 copies/L | 24 | 42 | 4 | (Salvador et al., 2020b)(Rusiñol et al., 2020) (Rusiñol et al., 2020; Salvador et al., 2020b) |
| Norovirus | Treated effluent | 2.179 - 4 | log 10 copies/L | 48 | 58 | 8 | Jennings et al., 2020)Ottoson et al., 2006Lodder and de Roda Husman, 2005van den Berg et al., 2005 (Jennings et al., 2020; Lodder and De Roda Husman, 2005; Ottoson et al., 2006; Van Den Berg et al., 2005) |
| Norovirus | Surface waters | 2.7 - 4.8 | log 10 copies/L | 83 | 280 | 33 | (Jamal et al., 2020)(Pang et al., 2019)Jennings et al., 2020)(Merrett et al., 2013)Lodder and de Roda Husman, 2005 (Jamal et al., 2020; Jennings et al., 2020; Lodder and De Roda Husman, 2005; Merrett et al., 2013; Pang et al., 2019) |
| Norovirus GI | Treated effluent | 2.886 - 6.945 | log 10 copies/L | 249 | 437 | 30 | (Teixeira et al., 2020)(Farkas et al., 2018)da Silva et al., 2007Kitajima et al., 2012Haramoto et al., 2006Katayama et al., 2008Nordgren et al., 2009Kitajima et al., 2014Simmons and Xagoraraki, 2011Prevost et al. (2015)(Tandukar et al., 2020)Qiu 2018 (Da Silva et al., 2007; Haramoto et al., 2006; Katayama et al., 2008; Kitajima et al., 2014, 2012; Nordgren et al., 2009; Prevost et al., 2015; Qiu et al., 2018; Simmons and Xagoraraki, 2011; Teixeira et al., 2020) |
| Norovirus GI | Reclaimed water | 1.225 - 6.677 | log 10 copies/L | 8 | 67 | 6 | (Rachmadi et al., 2021)(Rusiñol et al., 2020)(Prado et al., 2019) (Prado et al., 2019; Rachmadi et al., 2021; Rusiñol et al., 2020) |
| Norovirus GI | Surface waters | 1.819 - 5 | log 10 copies/L | 322 | 951 | 85 | (Farkas et al., 2018)(Salvador et al., 2020a) (Gu et al., 2018)(Hata et al., 2021)(Rachmadi et al., 2021)(Vergara et al., 2015)Haramoto et al., 2005Haramoto et al., 2012Rezaeinejad et al., 2014Prevost et al. (2015)Liang et al., 2015(Prevost et al., 2016)(Sedji et al., 2018)(Rusiñol et al., 2020)Hamza et al., 2009Wolf et al., 2010(Mattioli et al., 2021)(Diston et al., 2018)(Teixeira et al., 2020)Tandukar 2018(Hartard et al., 2016) (Diston et al., 2018; Farkas et al., 2018; Gu et al., 2018; Hamza et al., 2009; Haramoto et al., 2005, 2012; Hartard et al., 2016; Hata et al., 2021; Liang et al., 2015; Prevost et al., 2015, 2016; Rachmadi et al., 2021; Rezaeinejad et al., 2014; Rusiñol et al., 2015; Salvador et al., 2020a; Sedji et al., 2018; Tandukar et al., 2018; Teixeira et al., 2020; Vergara et al., 2015; Wolf et al., 2010) |
| Norovirus GI | Subsurface water | 1.505 - 3.9852 | log 10 copies/L | 57 | 1278 | 35 | (Jurado et al., 2019)(Mattioli et al., 2021)(Sorensen et al., 2021)Borchardt et al., 2012(Rusiñol et al., 2020) (Teixeira et al., 2020) (Borchardt et al., 2012; Jurado et al., 2019; Rusiñol et al., 2020; Sorensen et al., 2021; Teixeira et al., 2020) |
| Norovirus GI | Treated water | -1.096 | log 10 copies/L | 4 | 208 | 69 | (Prevost et al., 2016)(Canh et al., 2021)(Rusiñol et al., 2020)(Teixeira et al., 2020)(Mattioli et al., 2021)(Malla et al., 2019)(Salvador et al., 2020a) (Canh et al., 2021; Malla et al., 2019; Prevost et al., 2016; Rusiñol et al., 2020; Salvador et al., 2020a; Teixeira et al., 2020) |
| Norovirus GII | Treated effluent | 1.54 - 6.986 | log 10 copies/L | 238 | 446 | 39 | (Tandukar et al., 2020)(Farkas et al., 2018)(Miura et al., 2021)(Teixeira et al., 2020)da Silva et al., 2007Kitajima et al., 2012Haramoto et al., 2006Katayama et al., 2008Nordgren et al., 2009Kitajima et al., 2014Simmons and Xagoraraki, 2011Prevost et al. (2015)Qiu 2018 (Da Silva et al., 2007; Farkas et al., 2018; Haramoto et al., 2006; Katayama et al., 2008; Kitajima et al., 2014, 2012; Miura et al., 2021; Nordgren et al., 2009; Prevost et al., 2015; Qiu et al., 2018; Simmons and Xagoraraki, 2011; Tandukar et al., 2020b; Teixeira et al., 2020) |
| Norovirus GII | Reclaimed water | 1.426 - 7.33 | log 10 copies/L | 18 | 89 | 7 | (Rachmadi et al., 2021)(Bailey et al., 2018)(Rusiñol et al., 2020)(Prado et al., 2019) (Bailey et al., 2018; Prado et al., 2019; Rachmadi et al., 2021; Rusiñol et al., 2020) |
| Norovirus GII | Surface waters | 1.4248 - 5.7 | log 10 copies/L | 492 | 1082 | 128 | (Sylvestre et al., 2021)(Rusiñol et al., 2020)(Farkas et al., 2018)(Rachmadi et al., 2021)(Salvador et al., 2020a) (Gu et al., 2018)(Vergara et al., 2015)(Hata et al., 2021)(Canh et al., 2021)(Miura et al., 2019)Haramoto et al., 2005Haramoto et al., 2012Wolf et al., 2010Rezaeinejad et al., 2014Liang et al., 2015Hata et al. (2014)Hata et al., 2011Prevost et al. (2015)(Prevost et al., 2016)(Sedji et al., 2018)(Hartard et al., 2016)(Mackowiak et al., 2018)Hamza et al., 2009(Mattioli et al., 2021)(Diston et al., 2018)(Teixeira et al., 2020)Tandukar 2018 (Canh et al., 2021; Diston et al., 2018; Farkas et al., 2018; Gu et al., 2018; Hamza et al., 2009; Haramoto et al., 2005, 2012; Hartard et al., 2016; Hata et al., 2011, 2014, 2021; Liang et al., 2015; Mackowiak et al., 2018; Miura et al., 2019; Prevost et al., 2015, 2016; Rachmadi et al., 2021; Rezaeinejad et al., 2014; Rusiñol et al., 2020; Salvador et al., 2020a; Sedji et al., 2018; Sylvestre et al., 2021a; Tandukar et al., 2018; Teixeira et al., 2020; Vergara et al., 2015; Wolf et al., 2010) |
| Norovirus GII | Subsurface water | 1.47 - 6.146 | log 10 copies/L | 11 | 2239 | 180 | (Jurado et al., 2019)(Stokdyk et al., 2020)(Mattioli et al., 2021)(Kauppinen et al., 2018)(Rusiñol et al., 2020)Borchardt et al., 2012) Teixeira et al., 2020)(Miura et al., 2021) (Borchardt et al., 2012; Jurado et al., 2019; Kauppinen et al., 2018; Mattioli et al., 2021; Miura et al., 2021; Rusiñol et al., 2020; Stokdyk et al., 2020; Teixeira et al., 2020) |
| Norovirus GII | Treated water | minus1.04 - 4.5 | log 10 copies/L | 47 | 225 | 70 | (Salvador et al., 2020a) (Malla et al., 2019)(Kauppinen et al., 2018)(Prevost et al., 2016)(Canh et al., 2021)(Rusiñol et al., 2020)(Mattioli et al., 2021)(Teixeira et al., 2020) (Canh et al., 2021; Kauppinen et al., 2018; Malla et al., 2019; Prevost et al., 2016; Rusiñol et al., 2020; Salvador et al., 2020a; Teixeira et al., 2020) |
| Polyomavirus | Treated effluent | 4.167-6.1 | log 10 copies/L | 95 | 186 | 14 | (Tandukar et al., 2020)(Wu et al., 2020)(Farkas et al., 2018)Hamza et al., 2011Kitajima et al., 2014Qiu 2018 (Betancourt et al., 2014; Farkas et al., 2018; Hamza et al., 2011; Qiu et al., 2018; Tandukar et al., 2020a; Wu et al., 2020) |
| Polyomavirus | Reclaimed water | 1.158 - 5.45 | log 10 copies/L | 6 | 22 | 2 | (Rachmadi et al., 2021)(Rusiñol et al., 2020) (Rachmadi et al., 2021; Rusiñol et al., 2020) |
| Polyomavirus | Surface waters | 1.819-7.1 | log 10 copies/L | 309 | 621 | 55 | (Rachmadi et al., 2021)Stachler et al., 2018)(Canh et al., 2021)Hamza et al., 2009Liang et al., 2015Albinana-Gimenez et al., 2006Haramoto et al., 2010Haramoto et al., 2012(Farkas et al., 2018)(Rusiñol et al., 2020)(Sylvestre et al., 2021)Hamza et al., 2011Tandukar 2018 (Albinana-Gimenez et al., 2006; Canh et al., 2021; Farkas et al., 2018; Hamza et al., 2011, 2009; Haramoto et al., 2012, 2010; Liang et al., 2015; Rachmadi et al., 2021; Rusiñol et al., 2020; Stachler et al., 2018; Sylvestre et al., 2021b; Tandukar et al., 2018) |
| Polyomavirus | Subsurface water | 0.204 | log 10 copies/L | 11 | 976 | 146 | (Stokdyk et al., 2020)(Rusiñol et al., 2020) (Rusiñol et al., 2020; Stokdyk et al., 2020) |
| Rotavirus | Treated effluent | 4.462-6.28 | log 10 copies/L | 91 | 164 | 15 | Lodder and de Roda Husman, 2005Prevost et al. (2015)(Miura et al., 2021)Qiu 2018 (Lodder and De Roda Husman, 2005; Miura et al., 2021; Prevost et al., 2015; Qiu et al., 2018) |
| Rotavirus | Reclaimed water | 2.8 | log 10 copies/L | 1 | 10 | 1 | (Rachmadi et al., 2021) (Rachmadi et al., 2021) |
| Rotavirus | Surface waters | 1.913 - 5.812 | log 10 copies/L | 458 | 990 | 82 | (Sylvestre et al., 2021)Bortagaray et al., 2020)(Pang et al., 2019)(Rachmadi et al., 2021)(Vergara et al., 2015)(Pisharody et al., 2021)(Hata et al., 2021)(Gu et al., 2018)(Miura et al., 2019)Rezaeinejad et al., 2014Liang et al., 2015Prevost et al. (2015)(Prevost et al., 2016)(Mackowiak et al., 2018)Hamza et al., 2009(Diston et al., 2018)Lodder and de Roda Husman, 2005Tandukar 2018 (Bortagaray et al., 2020; Diston et al., 2018; Gu et al., 2018; Hamza et al., 2009; Hata et al., 2021; Liang et al., 2015; Lodder and De Roda Husman, 2005; Mackowiak et al., 2018; Miura et al., 2019; Pang et al., 2019; Pisharody et al., 2021; Prevost et al., 2016, 2015; Rachmadi et al., 2021; Rezaeinejad et al., 2014; Sylvestre et al., 2021b; Tandukar et al., 2018; Vergara et al., 2015) |
| Rotavirus | Subsurface water | minus 1.522 -2.35 | log 10 copies/L | 16 | 2190 | 166 | (Stokdyk et al., 2020)(Miura et al., 2021)Borchardt et al., 2012 (Borchardt et al., 2012; Miura et al., 2021; Stokdyk et al., 2020) |
| Rotavirus | Treated water | 3.7 | log 10 copies/L | 5 | 110 | 51 | (Malla et al., 2019)(Prevost et al., 2016) (Malla et al., 2019; Prevost et al., 2016) |
| Sapovirus GI | Treated effluent | 2.716 - 5.04 | log 10 copies/L | 36 | 137 | 9 | (Farkas et al., 2018)Kitajima et al., 2011Haramoto et al., 2008bKitajima et al., 2014Qiu 2018 (Farkas et al., 2018; Haramoto et al., 2008; Kitajima et al., 2014, 2011; Qiu et al., 2018) |
| Sapovirus GI | Surface waters | 1 - 4.63 | log 10 copies/L | 69 | 304 | 31 | (Pang et al., 2019)(Farkas et al., 2018)Haramoto et al., 2008bHaramoto et al., 2012(Prevost et al., 2016) (Farkas et al., 2018; Haramoto et al., 2012, 2008; Pang et al., 2019; Prevost et al., 2016) |
| Phage/Indicator | Matrix | Max range | Unit | nD+ | nD | nS | References |
| Total coliphage | Treated effluent | 6.73 | log 10 (PFU)/L | 10 | 10 | 2 | (Nasser et al., 2021) (Nasser et al., 2021) |
| Total coliphage | Reclaimed water | 1.07 | log 10 (PFU)/L | 6 | 22 | 1 | (Bailey et al., 2018) (Bailey et al., 2018) |
| Total coliphage | Subsurface water | 2.96-3 | log 10 (PFU)/L | 10 | 134 | 3 | (Powell et al., 2003 (Powell et al., 2003) |
| Somatic Coliphage | Treated effluent | 1.79 - 6.577 | log 10 (PFU)/L | 47# | 57# | 27 | (Purnell et al., 2020)(Ballesté et al., 2019)(Wu et al., 2020)Hamza et al., 2011Lodder and de Roda Husman, 2005 (Ballesté et al., 2019; Hamza et al., 2011; Lodder and De Roda Husman, 2005; Purnell et al., 2020; Wu et al., 2020) |
| Somatic Coliphage | Reclaimed water | 0.778 - 3 | log 10 (PFU)/L | 12 | 67 | 4 | (Bailey et al., 2018)(Ryu et al., 2021) (Bailey et al., 2018; Ryu et al., 2021) |
| Somatic Coliphage | Surface waters | 1.679 - 5.615 | log 10 (PFU)/L | 614# | 659# | 43 | (Mattioli et al., 2021)(Purnell et al., 2020)(Ballesté et al., 2019)Stachler et al., 2018)Cooksey et al., 2019)(Vergara et al., 2015)(Pisharody et al., 2021)Hamza et al., 2009Rezaeinejad et al., 2014Liang et al., 2015(Mackowiak et al., 2018)Lodder and de Roda Husman, 2005Hamza et al., 2011 (Ballesté et al., 2019; Cooksey et al., 2019; Hamza et al., 2011, 2009; Liang et al., 2015; Lodder and De Roda Husman, 2005; Mackowiak et al., 2018; Pisharody et al., 2021; Purnell et al., 2020; Rezaeinejad et al., 2014; Stachler et al., 2018; Vergara et al., 2015) |
| Somatic Coliphage | Subsurface water | 0.739 - 2.8 | log 10 (PFU)/L | 69 | 126 | 62 | (Mattioli et al., 2021)(Stallard et al., 2021)(Kauppinen et al., 2018) (Kauppinen et al., 2018; Mattioli et al., 2021; Stallard et al., 2021) |
| F+ coliphage | Treated effluent | 5.0791 | log 10 (PFU)/L | 5 | 5 | 1 | Lodder and de Roda Husman, 2005 (Lodder and De Roda Husman, 2005) |
| F+ coliphage | Reclaimed water | 0.518 - 3.045 | log 10 (PFU)/L | 7 | 67 | 4 | (Ryu et al., 2021)(Bailey et al., 2018) (Bailey et al., 2018; Ryu et al., 2021) |
| F+ Coliphage | Surface waters | 2.3 - 5 | log 10 (PFU)/L | 385 | 525 | 36 | (Mattioli et al., 2021)(Merrett et al., 2013)(Hata et al., 2021)(Vergara et al., 2015)Cooksey et al., 2019)Rezaeinejad et al., 2014Liang et al., 2015Lodder and de Roda Husman, 2005 (Cooksey et al., 2019; Hata et al., 2021; Liang et al., 2015; Lodder and De Roda Husman, 2005; Merrett et al., 2013; Rezaeinejad et al., 2014; Vergara et al., 2015) |
| F+ coliphage | Subsurface water | 2.2 - 3.29 | log 10 (PFU)/L | 84 | 126 | 62 | (Stallard et al., 2021)(Mattioli et al., 2021) Kauppinen et al., 2018) (Kauppinen et al., 2018; Stallard et al., 2021) |
| FRNAPH Genogroup I | Treated effluent | 6.72 | log 10 (PFU)/L | u# | 4# | 1 | (Fauvel et al., 2016) (Fauvel et al., 2016) |
| FRNAPH Genogroup I | Surface waters | 1.94 - 6.75 | log 10 (PFU)/L | 205 | 468 | 31 | (Fauvel et al., 2016)(Hata et al., 2021)(Gu et al., 2018)(Vergara et al., 2015)(Pisharody et al., 2021)Wolf et al., 2010 (Fauvel et al., 2016; Gu et al., 2018; Hata et al., 2021; Pisharody et al., 2021; Vergara et al., 2015; Wolf et al., 2010) |
| FRNAPH Genogroup II | Treated effluent | 6.68 | log 10 (PFU)/L | u# | 4# | 1 | (Fauvel et al., 2016) (Fauvel et al., 2016) |
| FRNAPH Genogroup II | Surface waters | 2.79 - 6.38 | log 10 (PFU)/L | 224 | 459 | 29 | (Fauvel et al., 2016)(Hata et al., 2021)(Gu et al., 2018)(Vergara et al., 2015)Wolf et al., 2010 (Fauvel et al., 2016; Gu et al., 2018; Hata et al., 2021; Vergara et al., 2015; Wolf et al., 2010) |
| FRNAPH Genogroup III | Treated effluent | 5.49 | log 10 (PFU)/L | u# | 4# | 1 | (Fauvel et al., 2016) (Fauvel et al., 2016) |
| FRNAPH Genogroup III | Surface waters | 1.98 - 5.14 | log 10 (PFU)/L | 72 | 459 | 10 | (Fauvel et al., 2016)(Hata et al., 2021)(Gu et al., 2018)(Vergara et al., 2015)Wolf et al., 2010 (Fauvel et al., 2016; Gu et al., 2018; Hata et al., 2021; Vergara et al., 2015; Wolf et al., 2010) |
| FRNAPH Genogroup IV | Surface waters | 1.84 - 3.602 | log 10 (PFU)/L | 6 | 119 | 2 | (Gu et al., 2018)(Vergara et al., 2015)Wolf et al., 2010 (Gu et al., 2018; Vergara et al., 2015; Wolf et al., 2010) |
| Infectious FRNAPH | Treated effluent | 4.92 | log 10 (PFU)/L | u# | 6# | 1 | (Fauvel et al., 2016) (Fauvel et al., 2016) |
| Infectious FRNAPH | Surface waters | 3.02-4.857 | log 10 (PFU)/L | 292 | 308 | 6 | (Fauvel et al., 2016)(Hartard et al., 2016) (Fauvel et al., 2016; Hartard et al., 2016) |
| Crassphage | Treated effluent | 5.3 - 8.5 | log 10 copies/L | 69 | 108 | 28 | (Morrison et al., 2020)Kongprajug 2019Jennings et al., 2020)(Ballesté et al., 2019)(Tandukar et al., 2020)(Farkas et al., 2019)(Wu et al., 2020) (Ballesté et al., 2019; Farkas et al., 2019; Jennings et al., 2020; Kongprajug et al., 2019; Morrison et al., 2020; Tandukar et al., 2020a; Wu et al., 2020) |
| Crassphage | Surface waters | 5.69 - 8.291 | log 10 copies/L | 160 | 253 | 39 | (Ward et al., 2020)Jennings et al., 2020)(Ballesté et al., 2019)(Farkas et al., 2019)Kongprajug 2019Stachler et al., 2018)(Ahmed et al., 2019) (Ahmed et al., 2019; Ballesté et al., 2019; Farkas et al., 2019; Jennings et al., 2020; Kongprajug et al., 2019; Stachler et al., 2018; Ward et al., 2020) |
| Crassphage | Subsurface water | 1.16 | log 10 copies/L | 1 | 18 | 3 | (Morrison et al., 2020) (Morrison et al., 2020) |
| TMV | Treated effluent | 4.5 | log 10 copies/L | 12 | 13 | 1 | (Tandukar et al., 2020) (Tandukar et al., 2020a) |
| TMV | Surface waters | 9.000 | log 10 copies/L | 16 | 18 | 3 | Tandukar 2018 (Tandukar et al., 2018) |
| TMV | Treated water | 6.3 | log 10 copies/L | 57 | 61 | 47 | (Malla et al., 2019) (Malla et al., 2019) |
| PMMoV | Treated effluent | 2.27-9.84 | log 10 copies/L | 82 | 83 | 30 | (Morrison et al., 2020)(Tandukar et al., 2020)Rosario et al., 2009bKitajima et al., 2014Betancourt et al., 2014Kuroda et al., 2015(Miura et al., 2021)Hamza et al., 2011 (Betancourt et al., 2014; Hamza et al., 2011; Kitajima et al., 2014; Kuroda et al., 2015; Miura et al., 2021; Morrison et al., 2020; Rosario et al., 2009; Tandukar et al., 2020a) |
| PMMoV | Surface waters | 3.586 - 8 | log 10 copies/L | 396 | 474 | 87 | (Gu et al., 2018)(Hata et al., 2021)(Ahmed et al., 2019)(Canh et al., 2021)Haramoto et al., 2013Betancourt et al., 2014Kuroda et al., 2015Tandukar 2018Hamza et al., 2011 (Ahmed et al., 2019; Betancourt et al., 2014; Canh et al., 2021; Gu et al., 2018; Hamza et al., 2011; Haramoto et al., 2013; Hata et al., 2021; Kuroda et al., 2015; Tandukar et al., 2018) |
| PMMoV | Subsurface water | 1.27 - 6.146 | log 10 copies/L | 93 | 1029 | 162 | (Morrison et al., 2020)(Miura et al., 2021)(Stokdyk et al., 2020)Betancourt et al., 2014Kuroda et al., 2015 (Betancourt et al., 2014; Kuroda et al., 2015; Miura et al., 2021; Morrison et al., 2020; Stokdyk et al., 2020) |
| PMMoV | Treated water | 2.9 - 4.9 | log 10 copies/L | 48 | 114 | 60 | (Malla et al., 2019)(Canh et al., 2021)Kuroda et al., 2015 (Canh et al., 2021; Kuroda et al., 2015; Malla et al., 2019) |

- REFERENCES

- Ahmed, W., Payyappat, S., Cassidy, M., Besley, C., 2019. Enhanced insights from human and animal host-associated molecular marker genes in a freshwater lake receiving wet weather overflows. Sci. Rep. 9, 1–13. https://doi.org/10.1038/s41598-019-48682-4

- Albinana-Gimenez, N., Clemente-Casares, P., Bofill-Mas, S., Hundesa, A., Ribas, F., Girones, R., 2006. Distribution of human polyomaviruses, adenoviruses, and hepatitis E virus in the environment and in a drinking-water treatment plant. Environ. Sci. Technol. 40, 7416–7422. https://doi.org/10.1021/es060343i

- Azhdar, Z., Ghaderi, M., Mousavi-Nasab, S.D., 2019. Optimization of RT-qPCR for detection of aichi virus in sewage and river water samples in Karaj, Iran. Arch. Iran. Med. 22, 242–246.

- Bailey, E.S., Casanova, L.M., Simmons, O.D., Sobsey, M.D., 2018. Tertiary treatment and dual disinfection to improve microbial quality of reclaimed water for potable and non-potable reuse: A case study of facilities in North Carolina. Sci. Total Environ. 630, 379–388. https://doi.org/10.1016/j.scitotenv.2018.02.239

- Ballesté, E., Pascual-Benito, M., Martín-Díaz, J., Blanch, A.R., Lucena, F., Muniesa, M., Jofre, J., García-Aljaro, C., 2019. Dynamics of crAssphage as a human source tracking marker in potentially faecally polluted environments. Water Res. 155, 233–244. https://doi.org/10.1016/j.watres.2019.02.042

- Betancourt, W.Q., Kitajima, M., Wing, A.D., Regnery, J., Drewes, J.E., Pepper, I.L., Gerba, C.P., 2014. Assessment of virus removal by managed aquifer recharge at three full-scale operations. J. Environ. Sci. Heal. - Part A Toxic/Hazardous Subst. Environ. Eng. 49, 1685–1692. https://doi.org/10.1080/10934529.2014.951233

- Blanco, A., Abid, I., Al-Otaibi, N., Pérez-Rodríguez, F.J., Fuentes, C., Guix, S., Pintó, R.M., Bosch, A., 2019. Glass Wool Concentration Optimization for the Detection of Enveloped and Non-enveloped Waterborne Viruses. Food Environ. Virol. 11, 184–192. https://doi.org/10.1007/s12560-019-09378-0

- Borchardt, M.A., Boehm, A.B., Salit, M., Spencer, S.K., Wigginton, K.R., Noble, R.T., 2021. The Environmental Microbiology Minimum Information (EMMI) Guidelines: QPCR and dPCR Quality and Reporting for Environmental Microbiology. Environ. Sci. Technol. 55, 10210–10223. https://doi.org/10.1021/acs.est.1c01767

- Borchardt, M.A., Spencer, S.K., Kieke, B.A., Lambertini, E., Loge, F.J., 2012. Viruses in nondisinfected drinking water from municipal wells and community incidence of acute gastrointestinal illness. Environ. Health Perspect. 120, 1272–1279. https://doi.org/10.1289/ehp.1104499

- Bortagaray, V., Girardi, V., Pou, S., Lizasoain, A., Tort, L.F.L., Spilki, F.R., Colina, R., Victoria, M., 2020. Detection, Quantification, and Microbial Risk Assessment of Group A Rotavirus in Rivers from Uruguay. Food Environ. Virol. 12, 89–98. https://doi.org/10.1007/s12560-019-09416-x

- Canh, V.D., Torii, S., Furumai, H., Katayama, H., 2021. Application of Capsid Integrity (RT-)qPCR to Assessing Occurrence of Intact Viruses in Surface Water and Tap Water in Japan. Water Res. 189, 116674. https://doi.org/10.1016/j.watres.2020.116674

- Cooksey, E.M., Singh, G., Scott, L.C., Aw, T.G., 2019. Detection of coliphages and human adenoviruses in a subtropical estuarine lake. Sci. Total Environ. 649, 1514–1521. https://doi.org/10.1016/j.scitotenv.2018.08.322

- Da Silva, A.K., Le Saux, J.C., Parnaudeau, S., Pommepuy, M., Elimelech, M., Le Guyader, F.S., 2007. Evaluation of removal of noroviruses during wastewater treatment, using real-time reverse transcription-PCR: Different behaviors of genogroups I and II. Appl. Environ. Microbiol. 73, 7891–7897. https://doi.org/10.1128/AEM.01428-07

- Diston, D., Robbi, R., Baumgartner, A., Felleisen, R., 2018. Microbial source tracking in highly vulnerable karst drinking water resources. J. Water Health 16, 138–149. https://doi.org/10.2166/wh.2017.215

- Dong, Y., Kim, J., Lewis, G.D., 2010. Evaluation of methodology for detection of human adenoviruses in wastewater, drinking water, stream water and recreational waters. J. Appl. Microbiol. 108, 800–809. https://doi.org/10.1111/j.1365-2672.2009.04477.x

- El-Senousy, W.M., Guix, S., Abid, I., Pintó, R.M., Bosch, A., 2007. Removal of astrovirus from water and sewage treatment plants, evaluated by a competitive reverse transcription-PCR. Appl. Environ. Microbiol. 73, 164–167. https://doi.org/10.1128/AEM.01748-06

- Farkas, K., Adriaenssens, E.M., Walker, D.I., McDonald, J.E., Malham, S.K., Jones, D.L., 2019. Critical Evaluation of CrAssphage as a Molecular Marker for Human-Derived Wastewater Contamination in the Aquatic Environment. Food Environ. Virol. 11, 113–119. https://doi.org/10.1007/s12560-019-09369-1

- Farkas, K., Cooper, D.M., McDonald, J.E., Malham, S.K., de Rougemont, A., Jones, D.L., 2018. Seasonal and spatial dynamics of enteric viruses in wastewater and in riverine and estuarine receiving waters. Sci. Total Environ. 634, 1174–1183. https://doi.org/10.1016/j.scitotenv.2018.04.038

- Fauvel, B., Cauchie, H.M., Gantzer, C., Ogorzaly, L., 2016. Contribution of hydrological data to the understanding of the spatio-temporal dynamics of F-specific RNA bacteriophages in river water during rainfall-runoff events. Water Res. 94, 328–340. https://doi.org/10.1016/j.watres.2016.02.057

- Fong, T.T., Phanikumar, M.S., Xagoraraki, I., Rose, J.B., 2010. Quantitative detection of human adenoviruses in wastewater and combined sewer overflows influencing a Michigan river. Appl. Environ. Microbiol. 76, 715–723. https://doi.org/10.1128/AEM.01316-09

- Fongaro, G., Nascimento, M.A.D., Rigotto, C., Ritterbusch, G., Da Silva, A.D.A., Esteves, P.A., Barardi, C.R.M., 2013. Evaluation and molecular characterization of human adenovirus in drinking water supplies: Viral integrity and viability assays. Virol. J. 10, 1–9. https://doi.org/10.1186/1743-422X-10-166

- Fuhrman, J.A., Liang, X., Noble, R.T., 2005. Rapid detection of enteroviruses in small volumes of natural waters by real-time quantitative reverse transcriptase PCR. Appl. Environ. Microbiol. 71, 4523–4530. https://doi.org/10.1128/AEM.71.8.4523-4530.2005

- Gu, X., Tay, Q.X.M., Te, S.H., Saeidi, N., Goh, S.G., Kushmaro, A., Thompson, J.R., Gin, K.Y.H., 2018. Geospatial distribution of viromes in tropical freshwater ecosystems. Water Res. 137, 220–232. https://doi.org/10.1016/j.watres.2018.03.017

- Hamza, I.A., Jurzik, L., Stang, A., Sure, K., Überla, K., Wilhelm, M., 2009. Detection of human viruses in rivers of a densly-populated area in Germany using a virus adsorption elution method optimized for PCR analyses. Water Res. 43, 2657–2668. https://doi.org/10.1016/j.watres.2009.03.020

- Hamza, I.A., Jurzik, L., Überla, K., Wilhelm, M., 2011. Evaluation of pepper mild mottle virus, human picobirnavirus and Torque teno virus as indicators of fecal contamination in river water. Water Res. 45, 1358–1368. https://doi.org/10.1016/j.watres.2010.10.021

- Haramoto, E., Katayama, H., Oguma, K., Ohgaki, S., 2007. Quantitative analysis of human enteric adenoviruses in aquatic environments. J. Appl. Microbiol. 103, 2153–2159. https://doi.org/10.1111/j.1365-2672.2007.03453.x

- Haramoto, E., Katayama, H., Oguma, K., Ohgaki, S., 2005. Application of cation-coated filterHaramoto, E., Kitajima, M., Hata, A., Torrey, J. R., Masago, Y., Sano, D., & Katayama, H. (2018). A review on recent progress in the detection methods and prevalence of human enteric viruses in water. Water Research, 135. Appl. Environ. Microbiol. 71, 2403–2411. https://doi.org/10.1128/AEM.71.5.2403-2411.2005

- Haramoto, E., Katayama, H., Oguma, K., Yamashita, H., Tajima, A., Nakajima, H., Ohgaki, S., 2006. Seasonal profiles of human noroviruses and indicator bacteria in a wastewater treatment plant in Tokyo, Japan. Water Sci. Technol. 54, 301–308. https://doi.org/10.2166/wst.2006.888

- Haramoto, E., Katayama, H., Phanuwan, C., Ohgaki, S., 2008. Quantitative detection of sapoviruses in wastewater and river water in Japan. Lett. Appl. Microbiol. 46, 408–413. https://doi.org/10.1111/j.1472-765X.2008.02330.x

- Haramoto, E., Kitajima, M., 2017. Quantification and Genotyping of Aichi Virus 1 in Water Samples in the Kathmandu Valley, Nepal. Food Environ. Virol. 9, 350–353. https://doi.org/10.1007/s12560-017-9283-7

- Haramoto, E., Kitajima, M., Katayama, H., Ohgaki, S., 2010. Real-time PCR detection of adenoviruses, polyomaviruses, and torque teno viruses in river water in Japan. Water Res. 44, 1747–1752. https://doi.org/10.1016/j.watres.2009.11.043

- Haramoto, E., Kitajima, M., Kishida, N., Katayama, H., Asami, M., Akiba, M., 2012. Occurrence of Viruses and Protozoa in Drinking Water Sources of Japan and Their Relationship to Indicator Microorganisms. Food Environ. Virol. 4, 93–101. https://doi.org/10.1007/s12560-012-9082-0

- Haramoto, E., Kitajima, M., Kishida, N., Konno, Y., Katayama, H., Asami, M., Akiba, M., 2013. Occurrence of pepper mild mottle virus in drinking water sources in Japan. Appl. Environ. Microbiol. 79, 7413–7418. https://doi.org/10.1128/AEM.02354-13

- Hartard, C., Banas, S., Loutreul, J., Rincé, A., Benoit, F., Boudaud, N., Gantzera, C., 2016. Relevance of F-Specific RNA Bacteriophages in Assessing Human Norovirus Risk in Shellfish and Environmental Waters. Appl. Environ. Microbiol. 82, 5709–5719. https://doi.org/10.1128/AEM.01528-16

- Hata, A., Katayama, H., Kitajima, M., Visvanathan, C., Nol, C., Furumai, H., 2011. Validation of internal controls for extraction and amplification of nucleic acids from enteric viruses in water samples. Appl. Environ. Microbiol. 77, 4336–4343. https://doi.org/10.1128/AEM.00077-11

- Hata, A., Katayama, H., Kojima, K., Sano, S., Kasuga, I., Kitajima, M., Furumai, H., 2014. Effects of rainfall events on the occurrence and detection efficiency of viruses in river water impacted by combined sewer overflows. Sci. Total Environ. 468–469, 757–763. https://doi.org/10.1016/j.scitotenv.2013.08.093

- Hata, A., Shirasaka, Y., Ihara, M., Yamashita, N., Tanaka, H., 2021. Spatial and temporal distributions of enteric viruses and indicators in a lake receiving municipal wastewater treatment plant discharge. Sci. Total Environ. 780, 146607. https://doi.org/10.1016/j.scitotenv.2021.146607

- Jamal, R., Mubarak, S., Sahulka, S.Q., Kori, J.A., Tajammul, A., Ahmed, J., Mahar, R.B., Olsen, M.S., Goel, R., Weidhaas, J., 2020. Informing water distribution line rehabilitation through quantitative microbial risk assessment. Sci. Total Environ. 739, 140021. https://doi.org/10.1016/j.scitotenv.2020.140021

- Jennings, W.C., Gálvez-Arango, E., Prieto, A.L., Boehm, A.B., 2020. CrAssphage for fecal source tracking in Chile: Covariation with norovirus, HF183, and bacterial indicators. Water Res. X 9. https://doi.org/10.1016/j.wroa.2020.100071

- Jurado, A., Bofill-Mas, S., Vázquez-Suñé, E., Pujades, E., Girones, R., Rusiñol, M., 2019. Occurrence of pathogens in the river–groundwater interface in a losing river stretch (Besòs River Delta, Spain). Sci. Total Environ. 696, 1–8. https://doi.org/10.1016/j.scitotenv.2019.134028

- Katayama, H., Haramoto, E., Oguma, K., Yamashita, H., Tajima, A., Nakajima, H., Ohgaki, S., 2008. One-year monthly quantitative survey of noroviruses, enteroviruses, and adenoviruses in wastewater collected from six plants in Japan. Water Res. 42, 1441–1448. https://doi.org/10.1016/j.watres.2007.10.029

- Kauppinen, A., Pitkänen, T., Miettinen, I.T., 2018. Persistent Norovirus Contamination of Groundwater Supplies in Two Waterborne Outbreaks. Food Environ. Virol. 10, 39–50. https://doi.org/10.1007/s12560-017-9320-6

- Kitajima, M., Haramoto, E., Phanuwan, C., Katayama, H., 2011. Genotype distribution of human sapoviruses in wastewater in Japan. Appl. Environ. Microbiol. 77, 4226–4229. https://doi.org/10.1128/AEM.00088-11

- Kitajima, M., Haramoto, E., Phanuwan, C., Katayama, H., Furumai, H., 2012. Molecular detection and genotyping of human noroviruses in influent and effluent water at a wastewater treatment plant in Japan. J. Appl. Microbiol. 112, 605–613. https://doi.org/10.1111/j.1365-2672.2012.05231.x

- Kitajima, M., Hata, A., Yamashita, T., Haramoto, E., Minagawa, H., Katayama, H., 2013. Development of a reverse transcription-quantitative pcr system for detection and genotyping of aichi viruses in clinical and environmental samples. Appl. Environ. Microbiol. 79, 3952–3958. https://doi.org/10.1128/AEM.00820-13

- Kitajima, M., Iker, B.C., Pepper, I.L., Gerba, C.P., 2014. Relative abundance and treatment reduction of viruses during wastewater treatment processes - Identification of potential viral indicators. Sci. Total Environ. 488–489, 290–296. https://doi.org/10.1016/j.scitotenv.2014.04.087

- Kongprajug, A., Mongkolsuk, S., Sirikanchana, K., 2019. CrAssphage as a Potential Human Sewage Marker for Microbial Source Tracking in Southeast Asia. Environ. Sci. Technol. Lett. 6, 156–164. https://doi.org/10.1021/acs.estlett.9b00041

- Kuroda, K., Nakada, N., Hanamoto, S., Inaba, M., Katayama, H., Do, A.T., Nga, T.T.V., Oguma, K., Hayashi, T., Takizawa, S., 2015. Pepper mild mottle virus as an indicator and a tracer of fecal pollution in water environments: Comparative evaluation with wastewater-tracer pharmaceuticals in Hanoi, Vietnam. Sci. Total Environ. 506–507, 287–298. https://doi.org/10.1016/j.scitotenv.2014.11.021

- Lambertini, E., Spencer, S.K., Bertz, P.D., Loge, F.J., Kieke, B.A., Borchardt, M.A., 2008. Concentration of enteroviruses, adenoviruses, and noroviruses from drinking water by use of glass wool filters. Appl. Environ. Microbiol. 74, 2990–2996. https://doi.org/10.1128/AEM.02246-07

- Le Cann, P., Ranarijaona, S., Monpoeho, S., Le Guyader, F., Ferré, V., 2004. Quantification of human astroviruses in sewage using real-time RT-PCR. Res. Microbiol. 155, 11–15. https://doi.org/10.1016/j.resmic.2003.09.013

- Liang, L., Goh, S.G., Vergara, G.G.R.V., Fang, H.M., Rezaeinejad, S., Chang, S.Y., Bayen, S., Lee, W.A., Sobsey, M.D., Rose, J.B., Gin, K.Y.H., 2015. Alternative fecal indicators and their empirical relationships with enteric viruses, Salmonella enterica, and Pseudomonas aeruginosa in surface waters of a tropical urban catchment. Appl. Environ. Microbiol. 81, 850–860. https://doi.org/10.1128/AEM.02670-14

- Lodder, W.J., De Roda Husman, A.M., 2005. Presence of noroviruses and other enteric viruses in sewage and surface waters in The Netherlands. Appl. Environ. Microbiol. 71, 1453–1461. https://doi.org/10.1128/AEM.71.3.1453-1461.2005

- Mackowiak, M., Leifels, M., Hamza, I.A., Jurzik, L., Wingender, J., 2018. Distribution of Escherichia coli, coliphages and enteric viruses in water, epilithic biofilms and sediments of an urban river in Germany. Sci. Total Environ. 626, 650–659. https://doi.org/10.1016/j.scitotenv.2018.01.114

- Malla, B., Shrestha, R.G., Tandukar, S., Bhandari, D., 2019. Detection of Pathogenic Viruses , Pathogen Indicators , and Fecal-Source Markers within Tanker Water and. Pathogens 8, 1–13.

- Mattioli, M.C., Benedict, K.M., Murphy, J., Kahler, A., Kline, K.E., Longenberger, A., Mitchell, P.K., Watkins, S., Berger, P., Shanks, O.C., Barrett, C.E., Barclay, L., Hall, A.J., Hill, V., Weltman, A., 2021. Identifying septic pollution exposure routes during a waterborne norovirus outbreak - A new application for human-associated microbial source tracking qPCR. J. Microbiol. Methods 180, 106091. https://doi.org/10.1016/j.mimet.2020.106091

- Merrett, H., Porter, J., Jewell, K., Long, R., Lowther, J., 2013. Viruses in raw and partially treated water: targeted monitoring using the latest methods.

- Miura, T., Gima, A., Akiba, M., 2019. Detection of Norovirus and Rotavirus Present in Suspended and Dissolved Forms in Drinking Water Sources. Food Environ. Virol. 11, 9–19. https://doi.org/10.1007/s12560-018-9361-5

- Miura, T., Takino, H., Gima, A., Haramoto, E., Akiba, M., 2021. Recovery of Nucleic Acids of Enteric Viruses and Host-Specific Bacteroidales from Groundwater by Using an Adsorption-Direct Extraction Method. Appl. Environ. Microbiol. 87, 1–10.

- Morrison, C.M., Betancourt, W.Q., Quintanar, D.R., Lopez, G.U., Pepper, I.L., Gerba, C.P., 2020. Potential indicators of virus transport and removal during soil aquifer treatment of treated wastewater effluent. Water Res. 177, 115812. https://doi.org/10.1016/j.watres.2020.115812

- Nasser, A., sasi, S., Nitzan, Y., 2021. Coliphages as Indicators for the Microbial Quality of Treated Wastewater Effluents. Food Environ. Virol. 13, 170–178. https://doi.org/10.1007/s12560-020-09459-5

- Nordgren, J., Matussek, A., Mattsson, A., Svensson, L., Lindgren, P.E., 2009. Prevalence of norovirus and factors influencing virus concentrations during one year in a full-scale wastewater treatment plant. Water Res. 43, 1117–1125. https://doi.org/10.1016/j.watres.2008.11.053

- Ottoson, J., Hansen, A., Björlenius, B., Norder, H., Stenström, T.A., 2006. Removal of viruses, parasitic protozoa and microbial indicators in conventional and membrane processes in a wastewater pilot plant. Water Res. 40, 1449–1457. https://doi.org/10.1016/j.watres.2006.01.039

- Pang, X., Qiu, Y., Gao, T., Zurawell, R., Neumann, N.F., Craik, S., Lee, B.E., 2019. Prevalence, levels and seasonal variations of human enteric viruses in six major rivers in Alberta, Canada. Water Res. 153, 349–356. https://doi.org/10.1016/j.watres.2019.01.034

- Pisharody, L., Suresh, S., Mukherji, S., 2021. Development and evaluation of DEAE silica gel columns for simultaneous concentration of coliphages and rotavirus from natural water samples. Water Res. 203, 117508. https://doi.org/10.1016/j.watres.2021.117508

- Powell, K.L., Taylor, R.G., Cronin, A.A., Barrett, M.H., Pedley, S., Sellwood, J., Trowsdale, S.A., Lerner, D.N., 2003. Microbial contamination of two urban sandstone aquifers in the UK. Water Res. 37, 339–352. https://doi.org/10.1016/S0043-1354(02)00280-4

- Prado, T., de Castro Bruni, A., Barbosa, M.R.F., Garcia, S.C., Moreno, L.Z., Sato, M.I.Z., 2019. Noroviruses in raw sewage, secondary effluents and reclaimed water produced by sand-anthracite filters and membrane bioreactor/reverse osmosis system. Sci. Total Environ. 646, 427–437. https://doi.org/10.1016/j.scitotenv.2018.07.301

- Prevost, B., Goulet, M., Lucas, F.S., Joyeux, M., Moulin, L., Wurtzer, S., 2016. Viral persistence in surface and drinking water: Suitability of PCR pre-treatment with intercalating dyes. Water Res. 91, 68–76. https://doi.org/10.1016/j.watres.2015.12.049

- Prevost, B., Lucas, F.S., Goncalves, A., Richard, F., Moulin, L., Wurtzer, S., 2015. Large scale survey of enteric viruses in river and waste water underlines the health status of the local population. Environ. Int. 79, 42–50. https://doi.org/10.1016/j.envint.2015.03.004

- Purnell, S., Halliday, A., Newman, F., Sinclair, C., Ebdon, J., 2020. Pathogen infection risk to recreational water users, associated with surface waters impacted by de facto and indirect potable reuse activities. Sci. Total Environ. 722, 137799. https://doi.org/10.1016/j.scitotenv.2020.137799

- Qiu, Y., Li, Q., Lee, B.E., Ruecker, N.J., Neumann, N.F., Ashbolt, N.J., Pang, X., 2018. UV inactivation of human infectious viruses at two full-scale wastewater treatment plants in Canada. Water Res. 147, 73–81. https://doi.org/10.1016/j.watres.2018.09.057

- Rachmadi, A.T., Azizkhan, Z.M., Hong, P.Y., 2021. Enteric virus in reclaimed water from treatment plants with different multi-barrier strategies: Trade-off assessment in treatment extent and risks. Sci. Total Environ. 776, 146039. https://doi.org/10.1016/j.scitotenv.2021.146039

- Rachmadi, A.T., Kitajima, M., Kato, T., Kato, H., Okabe, S., Sano, D., 2020. Required Chlorination Doses to Fulfill the Credit Value for Disinfection of Enteric Viruses in Water: A Critical Review. Environ. Sci. Technol. 54, 2068–2077. https://doi.org/10.1021/acs.est.9b01685

- Rezaeinejad, S., Vergara, G.G.R.V., Woo, C.H., Lim, T.T., Sobsey, M.D., Gin, K.Y.H., 2014. Surveillance of enteric viruses and coliphages in a tropical urban catchment. Water Res. 58, 122–131. https://doi.org/10.1016/j.watres.2014.03.051

- Rosario, K., Symonds, E.M., Sinigalliano, C., Stewart, J., Breitbart, M., 2009. Pepper mild mottle virus as an indicator of fecal pollution. Appl. Environ. Microbiol. 75, 7261–7267. https://doi.org/10.1128/AEM.00410-09

- Rose, M.A., Dhar, A.K., Brooks, H.A., Zecchini, F., Gersberg, R.M., 2006. Quantitation of hepatitis A virus and enterovirus levels in the lagoon canals and Lido beach of Venice, Italy, using real-time RT-PCR. Water Res. 40, 2387–2396. https://doi.org/10.1016/j.watres.2006.03.030

- Rusiñol, M., Fernandez-Cassi, X., Timoneda, N., Carratalà, A., Abril, J.F., Silvera, C., Figueras, M.J., Gelati, E., Rodó, X., Kay, D., Wyn-Jones, P., Bofill-Mas, S., Girones, R., 2015. Evidence of viral dissemination and seasonality in a Mediterranean river catchment: Implications for water pollution management. J. Environ. Manage. 159, 58–67. https://doi.org/10.1016/j.jenvman.2015.05.019

- Rusiñol, M., Hundesa, A., Cárdenas-Youngs, Y., Fernández-Bravo, A., Pérez-Cataluña, A., Moreno-Mesonero, L., Moreno, Y., Calvo, M., Alonso, J.L., Figueras, M.J., Araujo, R., Bofill-Mas, S., Girones, R., 2020. Microbiological contamination of conventional and reclaimed irrigation water: Evaluation and management measures. Sci. Total Environ. 710. https://doi.org/10.1016/j.scitotenv.2019.136298

- Ryu, H., Addor, Y., Brinkman, N.E., Ware, M.W., Boczek, L., Hoelle, J., Mistry, J.H., Keely, S.P., Villegas, E.N., 2021. Understanding microbial loads in wastewater treatment works as source water for water reuse. Water (Switzerland) 13, 1–15. https://doi.org/10.3390/w13111452

- Salvador, D., Caeiro, M.F., Serejo, F., Nogueira, P., Carneiro, R.N., Neto, C., 2020a. Monitoring waterborne pathogens in surface and drinking waters. Are water treatment plants (wtps) simultaneously efficient in the elimination of enteric viruses and fecal indicator bacteria (fib)? Water (Switzerland) 12, 1–17. https://doi.org/10.3390/w12102824

- Salvador, D., Neto, C., Benoliel, M.J., Filomena Caeiro, M., 2020b. Assessment of the presence of hepatitis e virus in surface water and drinking water in Portugal. Microorganisms 8, 1–16. https://doi.org/10.3390/microorganisms8050761

- Schijven, J., Teunis, P., Suylen, T., Ketelaars, H., Hornstra, L., Rutjes, S., 2019. QMRA of adenovirus in drinking water at a drinking water treatment plant using UV and chlorine dioxide disinfection. Water Res. 158, 34–45. https://doi.org/10.1016/j.watres.2019.03.090

- Schlindwein, A.D., Rigotto, C., Simões, C.M.O., Barardi, C.R.M., 2010. Detection of enteric viruses in sewage sludge and treated wastewater effluent. Water Sci. Technol. 61, 537–544. https://doi.org/10.2166/wst.2010.845

- Sedji, M.I., Varbanov, M., Meo, M., Colin, M., Mathieu, L., Bertrand, I., 2018. Quantification of human adenovirus and norovirus in river water in the north-east of France. Environ. Sci. Pollut. Res. 25, 30497–30507. https://doi.org/10.1007/s11356-018-3045-4

- Simmons, F.J., Xagoraraki, I., 2011. Release of infectious human enteric viruses by full-scale wastewater utilities. Water Res. 45, 3590–3598. https://doi.org/10.1016/j.watres.2011.04.001

- Sorensen, J.P.R., Aldous, P., Bunting, S.Y., McNally, S., Townsend, B.R., Barnett, M.J., Harding, T., La Ragione, R.M., Stuart, M.E., Tipper, H.J., Pedley, S., 2021. Seasonality of enteric viruses in groundwater-derived public water sources. Water Res. 207, 117813. https://doi.org/10.1016/j.watres.2021.117813

- Stachler, E., Akyon, B., De Carvalho, N.A., Ference, C., Bibby, K., 2018. Correlation of crAssphage qPCR Markers with Culturable and Molecular Indicators of Human Fecal Pollution in an Impacted Urban Watershed. Environ. Sci. Technol. 52, 7505–7512. https://doi.org/10.1021/acs.est.8b00638

- Stallard, M.A., Mulhern, R., Greenwood, E., Franklin, T., Engel, L.S., Fisher, M.B., Sobsey, M.D., Zanib, H., Noble, R.T., Stewart, J.R., Sozzi, E., 2021. Occurrence of male-specific and somatic coliphages and relationship with rainfall in privately-owned wells from peri‑urban and rural households. Water Res. X 12, 100102. https://doi.org/10.1016/j.wroa.2021.100102

- Stokdyk, J.P., Firnstahl, A.D., Walsh, J.F., Spencer, S.K., de Lambert, J.R., Anderson, A.C., Rezania, L.I.W., Kieke, B.A., Borchardt, M.A., 2020. Viral, bacterial, and protozoan pathogens and fecal markers in wells supplying groundwater to public water systems in Minnesota, USA. Water Res. 178, 115814. https://doi.org/10.1016/j.watres.2020.115814

- Sylvestre, É., Prévost, M., Burnet, J.B., Pang, X., Qiu, Y., Smeets, P., Medema, G., Hachad, M., Dorner, S., 2021a. Demonstrating the reduction of enteric viruses by drinking water treatment during snowmelt episodes in urban areas. Water Res. X 11. https://doi.org/10.1016/j.wroa.2021.100091

- Sylvestre, É., Prévost, M., Burnet, J.B., Pang, X., Qiu, Y., Smeets, P., Medema, G., Hachad, M., Dorner, S., 2021b. Demonstrating the reduction of enteric viruses by drinking water treatment during snowmelt episodes in urban areas. Water Res. X 11. https://doi.org/10.1016/j.wroa.2021.100091

- Tandukar, S., Sherchan, S.P., Haramoto, E., 2020a. Applicability of crAssphage, pepper mild mottle virus, and tobacco mosaic virus as indicators of reduction of enteric viruses during wastewater treatment. Sci. Rep. 10, 1–8. https://doi.org/10.1038/s41598-020-60547-9

- Tandukar, S., Sherchan, S.P., Haramoto, E., 2020b. Reduction of Pathogenic and Indicator Viruses at a Drinking Water Treatment Plant in Southern Louisiana, USA. Food Environ. Virol. 12, 269–273. https://doi.org/10.1007/s12560-020-09436-y

- Tandukar, S., Sherchand, J.B., Bhandari, D., Sherchan, S.P., Malla, B., Shrestha, R.G., Haramoto, E., 2018. Presence of human enteric viruses, protozoa, and indicators of pathogens in the Bagmati river, Nepal. Pathogens 7, 1–11. https://doi.org/10.3390/pathogens7020038

- Teixeira, P., Costa, S., Brown, B., Silva, S., Rodrigues, R., Valério, E., 2020. Quantitative PCR detection of enteric viruses in wastewater and environmental water sources by the Lisbon municipality: A case study. Water (Switzerland) 12, 1–13. https://doi.org/10.3390/w12020544

- Van Den Berg, H., Lodder, W., Van Der Poel, W., Vennema, H., De Roda Husman, A.M., 2005. Genetic diversity of noroviruses in raw and treated sewage water. Res. Microbiol. 156, 532–540. https://doi.org/10.1016/j.resmic.2005.01.008

- Vergara, G.G.R.V., Goh, S.G., Rezaeinejad, S., Chang, S.Y., Sobsey, M.D., Gin, K.Y.H., 2015. Evaluation of FRNA coliphages as indicators of human enteric viruses in a tropical urban freshwater catchment. Water Res. 79, 39–47. https://doi.org/10.1016/j.watres.2015.04.022

- Ward, L.M., Ghaju Shrestha, R., Tandukar, S., Sherchand, J.B., Haramoto, E., Sherchan, S.P., 2020. Evaluation of CrAssphage Marker for Tracking Fecal Contamination in River Water in Nepal. Water. Air. Soil Pollut. 231, 4–10. https://doi.org/10.1007/s11270-020-04648-1

- Wolf, S., Hewitt, J., Greening, G.E., 2010. Viral multiplex quantitative PCR assays for tracking sources of fecal contamination. Appl. Environ. Microbiol. 76, 1388–1394. https://doi.org/10.1128/AEM.02249-09

- Wu, Z., Greaves, J., Arp, L., Stone, D., Bibby, K., 2020. Comparative fate of CrAssphage with culturable and molecular fecal pollution indicators during activated sludge wastewater treatment. Environ. Int. 136, 105452. https://doi.org/10.1016/j.envint.2019.105452