## Standards
SANDARDS
NTO standards | [6 empty] | RDX
[7 empty] | Stock | 2021-02-01 | Will
Stock | 2021-02-01 | [5 empty] | m (mg) | 19.9
m (mg) | 1398 | [5 empty] | V (L) | 1
V (1L) | 1 | [5 empty] | C (ppm) | 19.9
C (ppm) | 1398 | 39.144 | 40 ppm dissolution prepared for Kd |  |  |  | area | 219097
Standards | V final (mL) | V (stock) mL | C (ppm) | Area
Blank | 10 | 0 | 0 | 0 | slope | 5858.8304
1 | 10 | 1.25 | 4.893 | 26074 | inter | -873.2
2 | 10 | 2.5 | 9.786 | 57295
3 | 10 | 5 | 19.572 | 113809
DNAN standards
Stock | 2021-02-01
m (mg) | 0.1003
V (1L) | 1
C (ppm) | 0.1003 | 10.03 | 10 ppm dissolution prepared for Kd
Standards | V final (mL) | V (stock) mL | C (ppm) | Area
Blamk | 0.25 | 0 | 0 | 0 | slope | 16451.89
1 | 10 | 2.5 | 2.5075 | 32625 | inter | -8999.2
2 | 10 | 5 | 5.015 | 54952
3 | 10 | 10 | 10.03 | 165198

## Col. E
COLUMN E loam
|  |  | HPLC- AREA |  |  | Conc (ppm) |  |  | mass (mg)
Sample | Time (min) | Vol (ml) | NTO | DNAN | RDX | NTO | DNAN | RDX
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 20 | 640 | 88250.3955 | 0 | 0 | 15.2118 | 0 | 0 | 9.7356 | 0 | 0
2 | 40 | 750 | 110111.744 | 0 | 0 | 18.9432 | 0 | 0 | 14.2074 | 0 | 0
3 | 60 | 750 | 75638.0004 | 0 | 0 | 13.0591 | 0 | 0 | 9.7943 | 0 | 0
4 | 80 | 730 | 59834.1503 | 0 | 0 | 10.3617 | 0 | 0 | 7.564 | 0 | 0
5 | 100 | 740 | 54732.8324 | 0 | 0 | 9.491 | 0 | 0 | 7.0233 | 0 | 0
6 | 120 | 730 | 30119.3525 | 0 | 0 | 5.2899 | 0 | 0 | 3.8616 | 0 | 0
7 | 140 | 780 | 27174.2461 | 0 | 0 | 4.7872 | 0 | 0 | 3.734 | 0 | 0
8 | 180 | 1540 | 31101.9088 | 0 | 0 | 5.4576 | 0 | 0 | 8.4047 | 0 | 0
9 | 220 | 1550 | 22401.9984 | 0 | 0 | 3.9727 | 0 | 0 | 6.1576 | 0 | 0
10 | 260 | 1525 | 29429.6411 | 0 | 0 | 5.1722 | 0 | 0 | 7.8876 | 0 | 0
11 | 300 | 1547 | 36189.0596 | 0 | 0 | 6.3259 | 0 | 0 | 9.7861 | 0 | 0
Total |  | 11282 | [6 empty] | 88.1563 | 0 | 0
Flakes - Loam 2 |  |  |  | Standards | NTO | DNAN | RDX
Initial mass (g) |  | 0.285 |  | slope | 5858.8304 | 1 | 0 | C (ppm)
Grav: Final mass (g) |  | 0.1792 |  | interc | -873.2 | 0 | 1 | Area
% dissolved |  | 37.1228
% solid |  | 62.8772 |  | Rain water --> no signal
HPLC dissolved mass |  | 0.088156
HPLC finnal mass (g) |  | 0.19684
HPLC diss. mass (%) |  | 30.932
HPLC solid |  | 69.068

## Col F
COLUMN C - SAND
|  |  | HPLC- AREA |  |  | Conc (ppm) |  |  | mass (mg)
Sample | Time (min) | Vol (ml) | NTO | DNAN | RDX | NTO | DNAN | RDX
0 | 0 | 0 | 0 | 0 | 0 | 0.14904 | 0 | 0 | 0 | 0 | 0
1 | 20 | 690 | 43191.1748 | 0 | 0 | 7.521 | 0 | 0 | 5.1895 | 0 | 0
2 | 40 | 750 | 105614.6517 | 0 | 0 | 18.1756 | 0 | 0 | 13.6317 | 0 | 0
3 | 60 | 780 | 94981.2159 | 0 | 0 | 16.3607 | 0 | 0 | 12.7613 | 0 | 0
4 | 80 | 770 | 58496.1578 | 0 | 0 | 10.1333 | 0 | 0 | 7.8027 | 0 | 0
5 | 100 | 740 | 43392.242 | 0 | 0 | 7.5553 | 0 | 0 | 5.5909 | 0 | 0
6 | 120 | 710 | 52032.5307 | 0 | 0 | 9.0301 | 0 | 0 | 6.4114 | 0 | 0
7 | 140 | 720 | 51837.9768 | 0 | 0 | 8.9969 | 0 | 0 | 6.4778 | 0 | 0
8 | 180 | 1545 | 27224.233 | 0 | 0 | 4.7957 | 0 | 0 | 7.4094 | 0 | 0
9 | 220 | 1570 | 21253.9965 | 0 | 0 | 3.7767 | 0 | 0 | 5.9295 | 0 | 0
10 | 260 | 1500 | 40651.0473 | 0 | 0 | 7.0875 | 0 | 0 | 10.6312 | 0 | 0
11 | 300 | 1560 | 23246.5417 | 0 | 0 | 4.1168 | 0 | 0 | 6.4222 | 0 | 0
Total |  | 11335 | [6 empty] | 88.2576 | 0 | 0
Flakes - Loam 3 |  |  |  | Standards | NTO | DNAN | RDX
Initial mass (g) |  | 0.2696 |  | slope | 5858.8304 | 1 | 1 | C (ppm)
Grav: Final mass (g) |  | 0.1727 |  | interc | -873.2 | 0 | 1 | Area
% dissolved |  | 35.9421
% solid |  | 64.0579 |  | Rain water --> no signal
HPLC dissolved mass |  | 0.088258
HPLC finnal mass (g) |  | 0.18134
HPLC diss. mass (%) |  | 32.7365
HPLC solid |  | 67.2635

## Col. G
COLUMN G- LOAM
|  |  | HPLC- AREA |  |  | Conc (ppm) |  |  | mass (mg)
Sample | Time (min) | Vol (ml) | NTO | DNAN | RDX | NTO | DNAN | RDX
0 | 0 | 0 | 0 | 0 | 0 | 0.14904 | 0 | 0 | 0 | 0 | 0
1 | 20 | 680 | 42536 | 0 | 0 | 7.4092 | 0 | 0 | 5.0383 | 0 | 0
2 | 40 | 780 | 90431.8426 | 0 | 0 | 15.5842 | 0 | 0 | 12.1557 | 0 | 0
3 | 60 | 780 | 90639.0159 | 0 | 0 | 15.6195 | 0 | 0 | 12.1832 | 0 | 0
4 | 80 | 800 | 53366.9254 | 0 | 0 | 9.2578 | 0 | 0 | 7.4063 | 0 | 0
5 | 100 | 800 | 35531.1904 | 0 | 0 | 6.2136 | 0 | 0 | 4.9709 | 0 | 0
6 | 120 | 720 | 14727.7665 | 0 | 0 | 2.6628 | 0 | 0 | 1.9172 | 0 | 0
7 | 140 | 800 | 32709.1458 | 0 | 0 | 5.7319 | 0 | 0 | 4.5855 | 0 | 0
8 | 180 | 1620 | 18054.9983 | 0 | 0 | 3.2307 | 0 | 0 | 5.2338 | 0 | 0
9 | 220 | 1620 | 11591.1257 | 0 | 0 | 2.1274 | 0 | 0 | 3.4465 | 0 | 0
10 | 260 | 1578 | 21921.1239 | 0 | 0 | 3.8906 | 0 | 0 | 6.1394 | 0 | 0
11 | 300 | 1650 | 10627.1665 | 0 | 0 | 1.9629 | 0 | 0 | 3.2388 | 0 | 0
Total |  | 11828 | [6 empty] | 66.3154 | 0 | 0
Flakes - Loam 1 |  |  |  | Standards | NTO | DNAN | RDX
Initial mass (g) |  | 0.2198 |  | slope | 5858.8304 | 1 | 1 | C (ppm)
Grav: Final mass (g) |  | 0.1566 |  | interc | -873.2 | 0 | 1 | Area
% dissolved |  | 28.7534
% solid |  | 71.2466 |  | Rain water --> no signal
HPLC dissolved mass |  | 0.066315
HPLC finnal mass (g) |  | 0.15348
HPLC diss. mass (%) |  | 30.1708
HPLC solid |  | 69.8292

## Average
|  | Vol (mL) |  |  |  |  | NTO (mg/L) |  |  |  |  | DNAN (mg/L)
Sample | Time (min) | E | F | G | Average | SD | E | F | G | Average | SD | A | B | C | Average | SD
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14904 | 0.14904 | 0.09936 | 0.070258 | 0 | 0 | 0 | 0 | 0
1 | 20 | 640 | 690 | 680 | 670 | 21.6025 | 14.9769 | 7.521 | 7.4092 | 9.969 | 3.5414 | 0 | 0 | 0 | 0 | 0
2 | 40 | 750 | 750 | 780 | 760 | 14.1421 | 18.8233 | 18.1756 | 15.5842 | 17.5277 | 1.3995 | 0 | 0 | 0 | 0 | 0
3 | 60 | 750 | 780 | 780 | 770 | 14.1421 | 12.7579 | 16.3607 | 15.6195 | 14.9127 | 1.5534 | 0 | 0 | 0 | 0 | 0
4 | 80 | 730 | 770 | 800 | 766.6667 | 28.6744 | 9.9773 | 10.1333 | 9.2578 | 9.7895 | 0.38128 | 0 | 0 | 0 | 0 | 0
5 | 100 | 740 | 740 | 800 | 760 | 28.2843 | 9.0797 | 7.5553 | 6.2136 | 7.6162 | 1.1709 | 0 | 0 | 0 | 0 | 0
6 | 120 | 730 | 710 | 720 | 720 | 8.165 | 4.7492 | 9.0301 | 2.6628 | 5.4807 | 2.6504 | 0 | 0 | 0 | 0 | 0
7 | 140 | 780 | 720 | 800 | 766.6667 | 33.9935 | 4.231 | 8.9969 | 5.7319 | 6.3199 | 1.9896 | 0 | 0 | 0 | 0 | 0
8 | 180 | 1540 | 1545 | 1620 | 1568.3333 | 36.5908 | 4.922 | 4.7957 | 3.2307 | 4.3162 | 0.76926 | 0 | 0 | 0 | 0 | 0
9 | 220 | 1550 | 1570 | 1620 | 1580 | 29.4392 | 3.3913 | 3.7767 | 2.1274 | 3.0985 | 0.70444 | 0 | 0 | 0 | 0 | 0
10 | 260 | 1525 | 1500 | 1578 | 1534.3333 | 32.5201 | 4.6278 | 7.0875 | 3.8906 | 5.202 | 1.3668 | 0 | 0 | 0 | 0 | 0
11 | 300 | 1547 | 1560 | 1650 | 1585.6667 | 45.7991 | 5.8171 | 4.1168 | 1.9629 | 3.9656 | 1.5771 | 0 | 0 | 0 | 0 | 0
Total
Flakes (%)
|  | E | F | G | Average | SD
Grav | Dissolved | 37.1228 | 35.9421 | 28.7534 | 33.9395 | 3.6986
| Solid | 62.8772 | 64.0579 | 71.2466 | 66.0605 | 3.6986
HPLC | Dissolved | 30.932 | 32.7365 | 30.1708 | 31.2798 | 1.0759
| Solid | 69.068 | 67.2635 | 69.8292 | 68.7202 | 1.0759

## NTO- GS (2)
NTO: comparison between experimental breakthrough and GoldSim predictions
[11 empty] | Kd=0.98 l/kg |  |  | Kd=0.3 l/kg
Experimental |  | Vol (L) |  |  |  |  | NTO (ppm) |  | Goldsim |  | Conc (ppm)
Sample | Time (min) | Vol (mL) | Vol (L) | Cum | SD | SD (l) | Average | SD | Time | Vol | Mean | Max | Min | Mean | Max | Min
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09936 | 0.070258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 20 | 690 | 0.69 | 0.69 | 30.9121 | 0.030912 | 9.969 | 3.5414 | 20 | 0.8 | 2.423 | 2.908 | 1.908 | 10.37 | 12.43 | 8.154
2 | 40 | 750 | 0.75 | 1.44 | 35.5903 | 0.03559 | 19.6647 | 3.7231 | 40 | 1.6 | 10.81 | 12.75 | 8.543 | 20.13 | 25.06 | 15.98
3 | 60 | 780 | 0.78 | 2.22 | 26.2467 | 0.026247 | 14.9127 | 1.5534 | 60 | 2.4 | 15.72 | 20.49 | 11.28 | 17.32 | 25.76 | 8.998
4 | 80 | 770 | 0.77 | 2.99 | 8.165 | 0.008165 | 9.7895 | 0.38128 | 80 | 3.2 | 15.25 | 22.03 | 8.596 | 11.52 | 18.48 | 4.498
5 | 100 | 740 | 0.74 | 3.73 | 21.6025 | 0.021602 | 7.6162 | 1.1709 | 100 | 4 | 11.04 | 16.75 | 5.433 | 5.188 | 8.273 | 2.255
6 | 120 | 710 | 0.71 | 4.44 | 16.3299 | 0.01633 | 5.4807 | 2.6504 | 120 | 4.8 | 6.72 | 10.3 | 3.316 | 2.854 | 4.353 | 0.9232
7 | 140 | 720 | 0.72 | 5.16 | 24.9444 | 0.024944 | 6.3199 | 1.9896 | 140 | 5.6 | 4.11 | 6.219 | 1.811 | 2.26 | 3.743 | 0.5965
8 | 180 | 1545 | 1.545 | 6.705 | 23.6126 | 0.023613 | 4.3162 | 0.76926 | 160 | 6.4 | 2.886 | 4.421 | 1.022 | 2.114 | 3.622 | 0.532
9 | 220 | 1570 | 1.57 | 8.275 | 38.6896 | 0.03869 | 3.0985 | 0.70444 | 180 | 7.2 | 2.384 | 3.903 | 0.7044 | 2.094 | 3.6 | 0.5203
10 | 260 | 1500 | 1.5 | 9.775 | 14.0554 | 0.014055 | 5.202 | 1.3668 | 200 | 8 | 2.193 | 3.706 | 0.5847 | 2.092 | 3.596 | 0.5182
11 | 300 | 1560 | 1.56 | 11.335 | 24.9444 | 0.024944 | 3.9656 | 1.5771 | 220 | 8.8 | 2.124 | 3.634 | 0.5414 | 2.091 | 3.595 | 0.5179
Total | [8 empty] | 240 | 9.6 | 2.099 | 3.609 | 0.526 | 2.091 | 3.595 | 0.5178
[9 empty] | 260 | 10.4 | 2.09 | 3.6 | 0.5206 | 2.091 | 3.595 | 0.5178
[9 empty] | 280 | 11.2 | 2.087 | 3.597 | 0.5188 | 2.091 | 3.595 | 0.5178
[9 empty] | 300 | 12 | 2.086 | 3.595 | 0.5182 | 2.091 | 3.595 | 0.5178
1.664
1.664
1.664
1.664
1.664
1.664
1.664
1.664
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
1.424
Conclusions:
- Oveall GoldSim can predict the breakthorugh of NTOin sand.
- Although the leachate volume varies from columns, the average shows an insignificant error.
- It can representativel predict what is happening over the first 100 minutes, however, it experimental breakthrough is lower than what GoldSim simulates after 100 minutes.
Possible explanation: NTO dissolution rate depends on DNAN and RDX dissolution rates as ithe three chemicals are homogeneously mixed in the flake. Look at next spreadsheet for more info!

## DNAN- GS (2)
DNAN: comparison between experimental breakthrough and GoldSim predictions
Experimental |  | Vol (L) |  |  |  |  | DNAN (ppm) |  | Goldsim |  | Conc (ppm)
Sample | Time (min) | Vol (mL) | Vol (L) | Cum | SD | SD (l) | Average | SD | Time | Vol | Mean | Max | Min
0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 20 |  | 0 | 0 | 30.9121 | 0.030912 | 0 | 0 | 20 | 0.8 | 1.008e-06 | 1.686e-06 | 3.113e-07
2 | 40 |  | 0 | 0 | 35.5903 | 0.03559 | 0 | 0 | 40 | 1.6 | 3.308e-05 | 5.533e-05 | 1.022e-05
3 | 60 |  | 0 | 0 | 26.2467 | 0.026247 | 0 | 0 | 60 | 2.4 | 0.0002965 | 0.0004959 | 9.159e-05
4 | 80 |  | 0 | 0 | 8.165 | 0.008165 | 0 | 0 | 80 | 3.2 | 0.001389 | 0.002323 | 0.0004291
5 | 100 |  | 0 | 0 | 21.6025 | 0.021602 | 0 | 0 | 100 | 4 | 0.0044 | 0.007359 | 0.001359
6 | 120 |  | 0 | 0 | 16.3299 | 0.01633 | 0 | 0 | 120 | 4.8 | 0.01074 | 0.01796 | 0.003318
7 | 140 |  | 0 | 0 | 24.9444 | 0.024944 | 0 | 0 | 140 | 5.6 | 0.0218 | 0.03646 | 0.006734
8 | 180 |  | 0 | 0 | 23.6126 | 0.023613 | 0 | 0 | 160 | 6.4 | 0.03861 | 0.06458 | 0.01193
9 | 220 |  | 0 | 0 | 38.6896 | 0.03869 | 0 | 0 | 180 | 7.2 | 0.06166 | 0.1031 | 0.01905
10 | 260 |  | 0 | 0 | 14.0554 | 0.014055 | 0 | 0 | 200 | 8 | 0.09081 | 0.1519 | 0.02805
11 | 300 |  | 0 | 0 | 24.9444 | 0.024944 | 0 | 0 | 220 | 8.8 | 0.1254 | 0.2098 | 0.03875
Total | [8 empty] | 240 | 9.6 | 0.1645 | 0.2752 | 0.05083
[9 empty] | 260 | 10.4 | 0.2069 | 0.346 | 0.06391
[9 empty] | 280 | 11.2 | 0.2513 | 0.4203 | 0.07762
[9 empty] | 300 | 12 | 0.2965 | 0.4959 | 0.09159