## Contents
Transitioning through the vapour-liquid equilibrium for low energy thermal stripping of ammonia from wastewater: Enabling transformation of NH3 as a zero carbon fuel
B. Luqmania, A. Brookesb, A. Moorec, P. Valed, M. Pidoua, E.J. McAdama,*
aCranfield Water Science Institute, Vincent Building, Cranfield University, Bedfordshire, MK43 0AL, UK
bAnglian Water, Block C-Western House, Peterborough Business Park, Lynch Wood, Peterborough PE2 6FZ, UK
cNorthumbrian Water, Boldon House, Wheatlands Way, Durham DH1 5FA, UK
dSevern Trent Water, 2 St. Johns Street, Coventry CV1 2LZ, UK
*Corresponding Author: e.mcadam@cranfield.ac.uk
List of figures
1 | VLE for NH3-H2O
2 | VLE for NH3-H2O
3 | Experimental setup
4 | Literature summary of vacuum stripping conditions
5 | NH3 stripping at 65C and 0.25 bar
6 | Influence of temperature on water and ammonia vapour pressures
7 | Influence of temperature on NH3 stripping at 0.25 bar
8 | Influence of temperature on NH3 selectivity at 0.25 bar
9 | Overview of experimental data on VLE for NH3-H2O
10 | Influence of temperature on NH3 product quality and energy at 0.25 bar
11 | Influence of feed type on NH3 removal and selectivity at 65C and 0.25 bar
12 | Influence of feed type on pH and ammonia removal at 65C and 0.25 bar

## Fig 1,2 & 9
Source: | Patek & Klomfar, 1995 | Source: | Patek & Klomfar, 1995
1. Bubble point curve resolved at 0.25 bar |  | 2. Dew point curve resolved at 0.25 bar |  | 3. Literature summary data
|  |  |  | Feed | xNH3 | Pressure | Temperature | Reference
|  |  |  | - | mol frac | bar | ⁰C | -
|  |  |  | IEX brine | 0.00062631 | 0.25 | 65 | Guida et al. (2021)
|  |  |  | Dairy/municipal co-digestate | 0.0022677 | 0.27 | 65 | Han et al., 2022
|  |  |  | Hydrolysed urine | 0.010798 | 0.27 | 65 | Tao, 2019
Liquid NH3 fraction | Bubble point temperature | Gas NH3 fraction | Dew point temperature | Municipal digestate | 0.0010744 | 0.27 | 65 | Tao, 2018
xNH3 | C | xNH3 | C | Dairy digestate | 0.0020776 | 0.27 | 65 | Tao, 2018
0 | 65.3725 | 0 | 65.3168 | Dairy digestate | 0.0017494 | 0.25 | 65 | Ukwuani & Tao, 2016
1e-08 | 65.3725 | 1e-08 | 65.3168 | Digested municipal sludge | 0.0011803 | 0.25 | 65 | Ukwuani & Tao, 2016
1e-07 | 65.3725 | 1e-07 | 65.3168
1e-06 | 65.3721 | 1e-06 | 65.3168 | Synthetic wastewater | 0.0016198 | 0.25 | 65 | This study
1e-05 | 65.3684 | 1e-05 | 65.3165 | Centrate A | 0.0011122 | 0.25 | 65 | This study
0.0001 | 65.3312 | 0.0001 | 65.3139 | Centrate B | 0.0021705 | 0.25 | 65 | This study
0.000125 | 65.3208 | 0.000125 | 65.3132 | Synthetic wastewater | 0.0016198 | 0.25 | 63 | This study
0.00015625 | 65.3079 | 0.00015625 | 65.3123 | Synthetic wastewater | 0.0016198 | 0.25 | 61 | This study
0.00019531 | 65.2918 | 0.00019531 | 65.3111
0.00024414 | 65.2716 | 0.00024414 | 65.3097
0.00030518 | 65.2465 | 0.00030518 | 65.308
0.00038147 | 65.215 | 0.00038147 | 65.3058
0.00047684 | 65.1757 | 0.00047684 | 65.303
0.00059605 | 65.1266 | 0.00059605 | 65.2996
0.00074506 | 65.0653 | 0.00074506 | 65.2953
0.00093132 | 64.9888 | 0.00093132 | 65.2899
0.0011642 | 64.8933 | 0.0011642 | 65.2832
0.0014552 | 64.7743 | 0.0014552 | 65.2748
0.001819 | 64.6258 | 0.001819 | 65.2643
0.0022737 | 64.4408 | 0.0022737 | 65.2511
0.0028422 | 64.2105 | 0.0028422 | 65.2348
0.0035527 | 63.9241 | 0.0035527 | 65.2143
0.0044409 | 63.5684 | 0.0044409 | 65.1887
0.0055511 | 63.1272 | 0.0055511 | 65.1568
0.0069389 | 62.5812 | 0.0069389 | 65.117
0.0086736 | 61.907 | 0.0086736 | 65.0673
0.010842 | 61.0769 | 0.010842 | 65.0052
0.013553 | 60.0587 | 0.013553 | 64.9279
0.016941 | 58.8153 | 0.016941 | 64.8315
0.021176 | 57.305 | 0.021176 | 64.7116
0.02647 | 55.4824 | 0.02647 | 64.5624
0.033087 | 53.2997 | 0.033087 | 64.3769
0.041359 | 50.709 | 0.041359 | 64.1468
0.051699 | 47.6643 | 0.051699 | 63.8618
0.064623 | 44.1237 | 0.064623 | 63.5092
0.080779 | 40.0474 | 0.080779 | 63.0739
0.10097 | 35.3902 | 0.10097 | 62.5376
0.12622 | 30.0819 | 0.12622 | 61.8776
0.15777 | 23.9937 | 0.15777 | 61.0657
0.19722 | 16.895 | 0.19722 | 60.0644
0.24652 | 8.4262 | 0.24652 | 58.8193
0.30815 | -1.8467 | 0.30815 | 57.2422
0.38519 | -14.1831 | 0.38519 | 55.1691
0.48148 | -28.115 | 0.48148 | 52.2558
0.60185 | -41.7115 | 0.60185 | 47.6947
0.75232 | -51.6451 | 0.60787 | 47.4278
0.9404 | -56.4505 | 0.61395 | 47.1537
1 | -57.4287 | 0.62009 | 46.872
|  | 0.62629 | 46.5824
|  | 0.63255 | 46.2845
|  | 0.63888 | 45.978
|  | 0.64527 | 45.6626
|  | 0.65172 | 45.3377
|  | 0.65824 | 45.003
|  | 0.66482 | 44.658
|  | 0.67147 | 44.3023
|  | 0.67818 | 43.9352
|  | 0.68496 | 43.5564
|  | 0.69181 | 43.1652
|  | 0.69873 | 42.761
|  | 0.70572 | 42.3431
|  | 0.71278 | 41.9108
|  | 0.71991 | 41.4634
|  | 0.7271 | 41
|  | 0.73438 | 40.5199
|  | 0.74172 | 40.0219
|  | 0.74914 | 39.5052
|  | 0.75663 | 38.9686
|  | 0.76419 | 38.4108
|  | 0.77184 | 37.8307
|  | 0.77955 | 37.2267
|  | 0.78735 | 36.5973
|  | 0.79522 | 35.9407
|  | 0.80318 | 35.2549
|  | 0.81121 | 34.5379
|  | 0.81932 | 33.7871
|  | 0.82751 | 32.9999
|  | 0.83579 | 32.1731
|  | 0.84415 | 31.3031
|  | 0.85259 | 30.3858
|  | 0.86111 | 29.4164
|  | 0.86972 | 28.389
|  | 0.87842 | 27.2968
|  | 0.88721 | 26.1314
|  | 0.89608 | 24.8822
|  | 0.90504 | 23.5361
|  | 0.91409 | 22.0758
|  | 0.92323 | 20.4781
|  | 0.93246 | 18.7107
|  | 0.94179 | 16.727
|  | 0.9512 | 14.4545
|  | 0.96072 | 11.7727
|  | 0.97032 | 8.4569
|  | 0.98003 | 4.0088
|  | 0.99 | -3.2816
|  | 0.9999 | -38.1792

## Fig 4
Pure water boiling curve
Pressure | Pressure | Temperature
mbar | bar | C
15 | 0.015 | 13.1
50 | 0.05 | 32.5
100 | 0.1 | 45.6
200 | 0.2 | 60.5
300 | 0.3 | 69
400 | 0.4 | 75.6
500 | 0.5 | 81.5
600 | 0.6 | 86.4
700 | 0.7 | 90.1
800 | 0.8 | 93.3
900 | 0.9 | 96.7
1000 | 1 | 99.7

## Fig 5, 7, 8, 10
1
Feed | Synthetic NH3
Concentration | 1.5 | g/L
pH | 11 | -
Stripping T | 65 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0% | - | - | - | -
0.16667 | 37.65% | 2.0727 | 4.255% | 0.047051 | 17.8071
0.41667 | 61.64% | 2.139 | 2.738% | 0.029812 | 28.1182
0.75 | 78.16% | 2.0202 | 2.055% | 0.022213 | 37.7304
1.5 | 90.61% | 1.8974 | 1.281% | 0.013743 | 60.9407
2.25 | 95.53% | 2.0134 | 0.8513% | 0.0090916 | 92.419
2
Feed | Synthetic NH3
Concentration | 1.5 | g/L
pH | 11 | -
Stripping T | 63 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0% | - | - | - | -
0.16667 | 22.69% | 0.10019 | 37.81% | 0.66477 | 1.7664
0.41667 | 36.82% | 0.14569 | 22.23% | 0.30821 | 2.9502
0.75 | 48.55% | 0.32383 | 8.432% | 0.098258 | 9.3737
1.5 | 65.5% | 0.26932 | 6.534% | 0.074081 | 11.4483
2.25 | 77.34% | 0.29211 | 4.79% | 0.053274 | 15.7253
3 | 85.21% | 0.2874 | 4.072% | 0.044955 | 18.6963
3.75 | 90.17% | 0.28343 | 3.576% | 0.039287 | 21.7017
4.5 | 92.54% | 0.28226 | 3.12% | 0.034134 | 25.2528
5.25 | 93.99% | 0.29579 | 2.688% | 0.029296 | 30.3614
6 | 95.31% | 0.299 | 2.412% | 0.026213 | 34.5345
3
Feed | Synthetic NH3
Concentration | 1.5 | g/L
pH | 11 | -
Stripping T | 61 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0% | - | - | - | -
0.16667 | 7.446% | - | 100% | - | 0
0.41667 | 14.27% | - | 100% | - | 0
0.75 | 16.47% | 0.0053898 | 63.62% | 2.6245 | 0.54394
1.5 | 23.09% | 0.0064342 | 51.6% | 1.2018 | 0.7864
2.25 | 30.69% | 0.0090304 | 39.04% | 0.67867 | 1.2361
3 | 38.96% | 0.0074652 | 42.41% | 0.78415 | 1.0822
3.75 | 46.04% | 0.0058992 | 47.12% | 0.9508 | 0.89541
4.5 | 53.11% | 0.0048672 | 51.49% | 1.159 | 0.76739
5.25 | 57.76% | 0.0075017 | 42.07% | 0.85384 | 1.2619
6 | 61.73% | 0.0072091 | 43.1% | 0.94001 | 1.2956

## Fig 6
T | pNH3 | Total P | pH2O
C | bar | bar | bar
65 | 0.0080646 | 0.25622 | 0.24816
10 | 0.00072075 | 0.012663 | 0.011942
12 | 0.00079986 | 0.014465 | 0.013665
14 | 0.00088637 | 0.016488 | 0.015602
16 | 0.00098084 | 0.018755 | 0.017774
18 | 0.0010839 | 0.02129 | 0.020206
20 | 0.0011961 | 0.024119 | 0.022923
22 | 0.0013182 | 0.027271 | 0.025952
24 | 0.0014508 | 0.030775 | 0.029325
26 | 0.0015947 | 0.034666 | 0.033071
28 | 0.0017507 | 0.038976 | 0.037225
30 | 0.0019196 | 0.043745 | 0.041825
32 | 0.0021023 | 0.049011 | 0.046908
34 | 0.0022996 | 0.054817 | 0.052517
36 | 0.0025125 | 0.061209 | 0.058696
38 | 0.002742 | 0.068234 | 0.065492
40 | 0.0029892 | 0.075944 | 0.072954
42 | 0.003255 | 0.084392 | 0.081137
44 | 0.0035407 | 0.093637 | 0.090096
46 | 0.0038473 | 0.10374 | 0.099892
48 | 0.0041762 | 0.11476 | 0.11059
50 | 0.0045287 | 0.12677 | 0.12224
52 | 0.0049059 | 0.13985 | 0.13494
54 | 0.0053094 | 0.15405 | 0.14874
56 | 0.0057406 | 0.16947 | 0.16373
58 | 0.0062009 | 0.18619 | 0.17999
61 | 0.0069495 | 0.2139 | 0.20695
63 | 0.0074897 | 0.23425 | 0.22676
65 | 0.0080646 | 0.25622 | 0.24816
67 | 0.0086762 | 0.27992 | 0.27124
69 | 0.0093261 | 0.30544 | 0.29612
71 | 0.010016 | 0.33291 | 0.32289
73 | 0.010749 | 0.36243 | 0.35169
75 | 0.011525 | 0.39414 | 0.38261
77 | 0.012348 | 0.42815 | 0.4158
79 | 0.01322 | 0.46459 | 0.45137
81 | 0.014142 | 0.50361 | 0.48946

## Fig 11, 12
1
Feed | Centrate A
Concentration | 1 | g/L
Initial pH | 11 | -
Stripping T | 65 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0.01932% | - | - | - | -
0.16667 | 18.12% | 1.3544 | 2.092% | 0.022625 | 37.0454
0.41667 | 46.75% | 2.0135 | 1.497% | 0.016091 | 52.512
0.75 | 71.67% | 2.2264 | 1.164% | 0.012471 | 68.6766
1.5 | 88.31% | 2.1317 | 0.7438% | 0.0079357 | 107.7309
2
Feed | Centrate B
Concentration | 2 | g/L
Initial pH | 11 | -
Stripping T | 65 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0.02266% | - | - | - | -
0.16667 | 23.58% | 1.4822 | 5.512% | 0.06184 | 13.8599
0.41667 | 40.87% | 1.6014 | 3.53% | 0.038741 | 21.6205
0.75 | 62.94% | 1.6387 | 2.969% | 0.032398 | 25.8504
1.0833 | 76.62% | 1.6552 | 2.491% | 0.02705 | 31.0512
1.5 | 86.3% | 1.7343 | 1.948% | 0.021039 | 39.9145
3
Feed | Centrate A
Concentration | 1 | g/L
Initial pH | 7.8 | -
Stripping T | 65 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0.02269% | - | - | - | -
0.16667 | 10.9% | 2.5808 | 0.701% | 0.0074787 | -
0.41667 | 30.24% | 2.2318 | 0.9722% | 0.010404 | 88.2914
0.75 | 47.1% | 2.1553 | 0.8652% | 0.009241 | 90.768
1.0833 | 57.95% | 2.5974 | 0.7486% | 0.0079859 | 104.9149
1.5 | 68.67% | 2.0253 | 0.6726% | 0.00717 | 117.1095
4
Feed | Centrate B
Concentration | 2 | g/L
Initial pH | 8 | -
Stripping T | 65 | C
Time | NH3 removal | Water vapourisation rate | Vapour quality | NH3 selectivity | Specific thermal demand
h | %wt | mol/h | %wt NH3 | molNH3/molH2O | kWh/kgN
0 | 0.02341% | - | - | - | -
0.16667 | 8.666% | 1.3038 | 2.22% | 0.024043 | 34.9379
0.41667 | 19.32% | 1.4003 | 1.849% | 0.019956 | 42.5198
0.75 | 34.96% | 1.5995 | 1.642% | 0.017676 | 47.8518
1.0833 | 52.35% | 1.7162 | 1.593% | 0.017143 | 49.5632
1.5 | 64.64% | 1.698 | 1.437% | 0.015436 | 55.1004