## No foul
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014618 | 0.0014541 | 0.0014395 | 0.0014285
P22 Normal | 0.0017245 | 0.0017064 | 0.0016914 | 0.0016693
P12 Normal | 4.6743e-06 | 4.2367e-06 | 3.9254e-06 | 3.3239e-06
P21 Normal | 4.2291e-06 | 3.8233e-06 | 3.5419e-06 | 2.961e-06
P11 Source | 0.0014039 | 0.0013885 | 0.0013923 | 0.0013649
P12 Source | 4.4818e-06 | 4.0465e-06 | 3.7927e-06 | 3.1879e-06
Q(gas) Normal | 7.8418e-06 | 6.5281e-06 | 5.7105e-06 | 4.1274e-06
Q(gas) Source deg | 7.829e-06 | 6.5294e-06 | 5.7045e-06 | 4.1429e-06
Q(0) Normal | 7.8264e-06 | 7.7496e-06 | 7.6751e-06 | 7.437e-06
Q(0) Source deg | 7.8189e-06 | 7.7649e-06 | 7.646e-06 | 7.4398e-06
L* normal | 191 | 191 | 191 | 191
L* source | 191 | 191 | 191 | 191
α normal 0 | -1.0295e-05 | 0.00089802 | 0.001548 | 0.0030828
α source 0 | -6.815e-06 | 0.00090734 | 0.0015336 | 0.0030652

## Foul 1
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014654 | 0.0014613 | 0.00144 | 0.0014282
P22 Normal | 0.0017122 | 0.0016976 | 0.0016892 | 0.0016684
P12 Normal | 3.4833e-06 | 3.2411e-06 | 3.0353e-06 | 2.6682e-06
P21 Normal | 3.0785e-06 | 2.8926e-06 | 2.7146e-06 | 2.3556e-06
P11 Source | 0.0014042 | 0.0014055 | 0.0013947 | 0.0013672
P12 Source | 3.3358e-06 | 3.113e-06 | 2.9272e-06 | 2.562e-06
Q(gas) Normal | 4.2739e-06 | 3.7793e-06 | 3.3873e-06 | 2.6378e-06
Q(gas) Source deg | 4.2713e-06 | 3.7739e-06 | 3.3728e-06 | 2.6458e-06
Q(0) Normal | 4.2695e-06 | 4.2889e-06 | 4.2383e-06 | 4.1301e-06
Q(0) Source deg | 4.2758e-06 | 4.2875e-06 | 4.2171e-06 | 4.1301e-06
L* normal | 141.0725 | 141.0725 | 141.0725 | 141.0725
L* source | 141.1768 | 141.1768 | 141.1768 | 141.1768
α normal 1 | -7.2117e-06 | 0.00089657 | 0.0015888 | 0.0031782
α source 1 | 7.5276e-06 | 0.0009037 | 0.0015824 | 0.0031543

## Foul 2
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014714 | 0.0014559 | 0.0014464 | 0.0014241
P22 Normal | 0.0017115 | 0.0017026 | 0.0016922 | 0.0016709
P12 Normal | 2.8034e-06 | 2.6351e-06 | 2.5035e-06 | 2.2229e-06
P21 Normal | 2.5047e-06 | 2.3479e-06 | 2.2298e-06 | 1.9823e-06
P11 Source | 0.0014136 | 0.0013944 | 0.001394 | 0.0013648
P12 Source | 2.695e-06 | 2.5314e-06 | 2.4205e-06 | 2.1571e-06
Q(gas) Normal | 2.7882e-06 | 2.4959e-06 | 2.2807e-06 | 1.8519e-06
Q(gas) Source deg | 2.7901e-06 | 2.5033e-06 | 2.2881e-06 | 1.8751e-06
Q(0) Normal | 2.7954e-06 | 2.7626e-06 | 2.7241e-06 | 2.6778e-06
Q(0) Source deg | 2.7927e-06 | 2.7697e-06 | 2.7334e-06 | 2.6908e-06
L* normal | 114.1505 | 114.1505 | 114.1505 | 114.1505
L* source | 114.0949 | 114.0949 | 114.0949 | 114.0949
α normal 2 | 2.2803e-05 | 0.00088935 | 0.001556 | 0.0032307
α source 2 | 8.3225e-06 | 0.00088632 | 0.0015583 | 0.0031657

## Foul 3
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014607 | 0.0014559 | 0.0014416 | 0.00143
P22 Normal | 0.0017124 | 0.0017004 | 0.0016935 | 0.0016662
P12 Normal | 2.3364e-06 | 2.2093e-06 | 2.122e-06 | 1.9214e-06
P21 Normal | 2.0739e-06 | 1.9628e-06 | 1.8813e-06 | 1.6934e-06
P11 Source | 0.0014057 | 0.001393 | 0.0013901 | 0.0013709
P12 Source | 2.2468e-06 | 2.1252e-06 | 2.0522e-06 | 1.8518e-06
Q(gas) Normal | 1.9372e-06 | 1.7516e-06 | 1.6351e-06 | 1.3656e-06
Q(gas) Source deg | 1.9359e-06 | 1.7611e-06 | 1.64e-06 | 1.3728e-06
Q(0) Normal | 1.9472e-06 | 1.9107e-06 | 1.903e-06 | 1.8712e-06
Q(0) Source deg | 1.9401e-06 | 1.9214e-06 | 1.9043e-06 | 1.88e-06
L* normal | 95.2704 | 95.2704 | 95.2704 | 95.2704
L* source | 95.0961 | 95.0961 | 95.0961 | 95.0961
α normal 3 | 5.3967e-05 | 0.00091236 | 0.0015923 | 0.0033062
α source 3 | 2.2921e-05 | 0.00091635 | 0.0015709 | 0.0033057

## Foul 4
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014623 | 0.0014574 | 0.001438 | 0.0014331
P22 Normal | 0.0017146 | 0.0017011 | 0.0016957 | 0.0016678
P12 Normal | 2.0492e-06 | 1.9557e-06 | 1.8908e-06 | 1.719e-06
P21 Normal | 1.8205e-06 | 1.7381e-06 | 1.67e-06 | 1.5185e-06
P11 Source | 0.0014058 | 0.0013919 | 0.0013898 | 0.0013722
P12 Source | 1.9781e-06 | 1.8809e-06 | 1.8229e-06 | 1.6641e-06
Q(gas) Normal | 1.4879e-06 | 1.3711e-06 | 1.295e-06 | 1.0921e-06
Q(gas) Source deg | 1.494e-06 | 1.3807e-06 | 1.2917e-06 | 1.1042e-06
Q(0) Normal | 1.5003e-06 | 1.4808e-06 | 1.4808e-06 | 1.4361e-06
Q(0) Source deg | 1.5018e-06 | 1.4904e-06 | 1.4738e-06 | 1.4521e-06
L* normal | 83.6251 | 83.6251 | 83.6251 | 83.6251
L* source | 83.6674 | 83.6674 | 83.6674 | 83.6674
α normal 4 | 9.8899e-05 | 0.00092072 | 0.0016035 | 0.0032738
α source 4 | 6.2058e-05 | 0.00091407 | 0.0015769 | 0.0032737

## Foul 5
| 0 | 0.15 | 0.3125 | 0.625
P11 Normal | 0.0014654 | 0.0014571 | 0.0014405 | 0.0014319
P22 Normal | 0.0017156 | 0.001701 | 0.0016941 | 0.001668
P12 Normal | 1.7978e-06 | 1.7239e-06 | 1.676e-06 | 1.538e-06
P21 Normal | 1.5876e-06 | 1.5179e-06 | 1.4674e-06 | 1.3466e-06
P11 Source | 0.0014075 | 0.0013936 | 0.0013891 | 0.0013728
P12 Source | 1.7331e-06 | 1.6547e-06 | 1.6119e-06 | 1.4847e-06
Q(gas) Normal | 1.1353e-06 | 1.0557e-06 | 1.0078e-06 | 8.6713e-07
Q(gas) Source deg | 1.1395e-06 | 1.0595e-06 | 1.005e-06 | 8.7312e-07
Q(0) Normal | 1.1399e-06 | 1.1294e-06 | 1.1264e-06 | 1.107e-06
Q(0) Source deg | 1.1405e-06 | 1.1303e-06 | 1.1275e-06 | 1.115e-06
L* normal | 72.893 | 72.893 | 72.893 | 72.893
L* source | 72.9115 | 72.9115 | 72.9115 | 72.9115
α normal 5 | 5.4954e-05 | 0.00092481 | 0.0015267 | 0.0033504
α source 5 | 1.1685e-05 | 0.00088625 | 0.0015764 | 0.0033542

## All gas concs %error
Single uncompensated path absorption calculation
Gas measurement
Conc (%vol) | 0 | 0.15 | 0.3125 | 0.625
P12 Foul 0 | 4.6743e-06 | 4.2367e-06 | 3.9254e-06 | 3.3239e-06
P12 Foul 1 | 3.4833e-06 | 3.2411e-06 | 3.0353e-06 | 2.6682e-06
P12 Foul 2 | 2.8034e-06 | 2.6351e-06 | 2.5035e-06 | 2.2229e-06
P12 Foul 3 | 2.3364e-06 | 2.2093e-06 | 2.122e-06 | 1.9214e-06
P12 Foul 4 | 2.0492e-06 | 1.9557e-06 | 1.8908e-06 | 1.719e-06
P12 Foul 5 | 1.7978e-06 | 1.7239e-06 | 1.676e-06 | 1.538e-06
Baseline (zero) measurement
Conc (%vol) | 0 | 0.15 | 0.3125 | 0.625
P12 Foul 0 | 4.6312e-06 | 4.5969e-06 | 4.5542e-06 | 4.5149e-06
P12 Foul 1 | 3.4518e-06 | 3.4339e-06 | 3.3953e-06 | 3.3739e-06
P12 Foul 2 | 2.7874e-06 | 2.7645e-06 | 2.7385e-06 | 2.707e-06
P12 Foul 3 | 2.3267e-06 | 2.2999e-06 | 2.2882e-06 | 2.2739e-06
P12 Foul 4 | 2.0424e-06 | 2.0257e-06 | 2.0248e-06 | 1.9999e-06
P12 Foul 5 | 1.7892e-06 | 1.7733e-06 | 1.7658e-06 | 1.7554e-06
LongPath12 (cm) | 99 | 99 | 99 | 99
Single path uncompensated absorption coefficient
Conc (%vol) | 0 | 0.15 | 0.3125 | 0.625
α foul 0 | 9.3633e-05 | -0.00082412 | -0.0015008 | -0.0030934
α foul 1 | 9.1744e-05 | -0.00058354 | -0.0011322 | -0.0023704
α foul 2 | 5.7665e-05 | -0.0004845 | -0.00090636 | -0.00199
α foul 3 | 4.209e-05 | -0.00040629 | -0.00076174 | -0.0017012
α foul 4 | 3.3682e-05 | -0.00035482 | -0.00069134 | -0.0015286
α foul 5 | 4.7951e-05 | -0.00028489 | -0.00052712 | -0.0013353
Absorption coefficient values for compensated four beam and uncompensated single path (in terms of % error from expected unfouled)
Note: Four beam compensated absorption values acquired using equations 14-20 are calculated elsewhere
Gas concentration (ppm) - Uncompensated in green, compensated in purple
% sphere wall coverage | 0 | 0 | 1500 ppm Single Path | 1500 ppm Compensated | 3125ppm Single Path | 3125ppm Compensated | 6250ppm Single Path | 6250ppm Compensated
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.61673 | 0 | 0 | 29.1926 | 0.16178 | 24.5577 | 2.6337 | 23.3713 | 3.0925
1.2026 | 0 | 0 | 41.2094 | 0.96611 | 39.6064 | 0.51933 | 35.6687 | 4.7982
1.7299 | 0 | 0 | 50.6997 | 1.596 | 49.2429 | 2.8614 | 45.0048 | 7.246
2.3466 | 0 | 0 | 56.9456 | 2.5279 | 53.9336 | 3.5885 | 50.5851 | 6.1933
2.8739 | 0 | 0 | 65.4314 | 2.9828 | 64.8764 | 1.3764 | 56.8345 | 8.6811
|  |  |  | 1.3724 |  |  |  | 6.0022
| 0 | 0.15 | 0.3125 | 0.625
α normal 0 | -1.0295e-05 | 0.00089802 | 0.001548 | 0.0030828
α normal 1 | -7.2117e-06 | 0.00089657 | 0.0015888 | 0.0031782
α normal 2 | 2.2803e-05 | 0.00088935 | 0.001556 | 0.0032307
α normal 3 | 5.3967e-05 | 0.00091236 | 0.0015923 | 0.0033062
α normal 4 | 9.8899e-05 | 0.00092072 | 0.0016035 | 0.0032738
α normal 5 | 5.4954e-05 | 0.00092481 | 0.0015267 | 0.0033504
α normal 0 | 0 | 0 | 0 | 0
α normal 1 | -29.9507 | -0.16178 | 2.6337 | 3.0925
α normal 2 | -321.4948 | -0.96611 | 0.51933 | 4.7982
α normal 3 | -624.204 | 1.596 | 2.8614 | 7.246
α normal 4 | -1060.6388 | 2.5279 | 3.5885 | 6.1933
α normal 5 | -633.7899 | 2.9828 | -1.3764 | 8.6811
% sphere wall coverage | 0 | 0.61673 | 1.2026 | 1.7299 | 2.3466 | 2.8739
Error bars (Calculated in separate spreadsheet) | 1.3269 | 1.508 | 1.6001 | 1.3274 | 1.1011 | 1.8513
1.4525
Average random error = ±1.45%

## Figure8
Gas concentration (ppm)
% sphere wall coverage | 0 | 0 | 1500 ppm uncompensated | 1500 ppm Compensated | 3125ppm uncompensated | 3125ppm Compensated | 6250ppm uncompensated | 6250ppm Compensated
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.61673 | 0 | 0 | 29.1926 | 0.16178 | 24.5577 | 2.6337 | 23.3713 | 3.0925
1.2026 | 0 | 0 | 41.2094 | 0.96611 | 39.6064 | 0.51933 | 35.6687 | 4.7982
1.7299 | 0 | 0 | 50.6997 | 1.596 | 49.2429 | 2.8614 | 45.0048 | 7.246
2.3466 | 0 | 0 | 56.9456 | 2.5279 | 53.9336 | 3.5885 | 50.5851 | 6.1933
2.8739 | 0 | 0 | 65.4314 | 2.9828 | 64.8764 | 1.3764 | 56.8345 | 8.6811