## Tab1
Catchment | Number of households | Number of hospitals | Number of takeaways | Number of schools | Number of supermarkets | Number of hotels | Number of restaurants | Number of mobile caterers | Number of other catering premises | Number of pubs | Re-estimated number of hospitals | Re-estimated number of takeaways | Re-estimated number of schools | Re-estimated number of supermarkets | Re-estimated number of hotels | Re-estimated number of restaurants | Re-estimated number of other catering premises | Re-estimated number of pubs | STW flow (m3/d) | Domestic FOG (kg/y) | FSE FOG (kg/y) | STW FOG (kg/y)
1 | 478 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 162 | 1089.84 | 18836.6143 | 1887.6485
2 | 16568 | 11 | 20 | 24 | 11 | 4 | 44 | 5 | 22 | 28 | 6 | 10 | 24 | 5 | 3 | 38 | 11 | 16 | 10522 | 37775.04 | 279019.4321 | 171983.904
3 | 165 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 62 | 376.2 | 9168.5593 | 777.2016
4 | 16758 | 21 | 41 | 12 | 6 | 3 | 42 | 3 | 8 | 29 | 11 | 20 | 12 | 3 | 2 | 36 | 4 | 16 | 8519 | 38208.24 | 192398.4969 | 127742.2328
5 | 17796 | 18 | 16 | 17 | 6 | 9 | 37 | 7 | 7 | 42 | 9 | 8 | 17 | 3 | 7 | 32 | 3 | 24 | 9563 | 40574.88 | 211588.6029 | 146892.9325
6 | 1480 | 0 | 0 | 3 | 1 | 3 | 1 | 1 | 2 | 4 | 0 | 0 | 3 | 0 | 2 | 0 | 1 | 2 | 391 | 3374.4 | 29625.2561 | 3419.4568
7 | 635 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 156 | 1447.8 | 9168.5593 | 1214.854
8 | 2817 | 3 | 1 | 8 | 1 | 2 | 6 | 1 | 7 | 9 | 1 | 0 | 8 | 0 | 1 | 5 | 3 | 5 | 894 | 6422.76 | 79557.1532 | 9762.608
9 | 8031 | 21 | 2 | 7 | 0 | 0 | 11 | 1 | 5 | 10 | 11 | 1 | 7 | 0 | 0 | 9 | 2 | 5 | 3425 | 18310.68 | 77068.8208 | 22699.1135
10 | 11607 | 16 | 10 | 19 | 6 | 6 | 66 | 2 | 19 | 12 | 8 | 5 | 19 | 3 | 5 | 57 | 9 | 6 | 7041 | 26463.96 | 225479.7434 | 113295.0886
11 | 7617 | 6 | 5 | 5 | 3 | 0 | 3 | 1 | 4 | 4 | 3 | 2 | 5 | 1 | 0 | 2 | 2 | 2 | 5556 | 17366.76 | 54421.4378 | 94713.1782
12 | 109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 248.52 | 0 | 572.039
13 | 155 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 7 | 353.4 | 9168.5593 | 0
14 | 202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 460.56 | 0 | 531.6027
15 | 1223 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 558 | 2788.44 | 10446.2152 | 7924.9012
16 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 307.8 | 0 | 983.0521
17 | 359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 818.52 | 0 | 0
18 | 48032 | 80 | 55 | 45 | 21 | 11 | 106 | 2 | 35 | 85 | 43 | 27 | 45 | 10 | 9 | 92 | 17 | 49 | 19579 | 109512.96 | 574077.5555 | 210596.5313
19 | 1782 | 4 | 1 | 3 | 1 | 2 | 5 | 1 | 1 | 4 | 2 | 0 | 3 | 0 | 1 | 4 | 0 | 2 | 765 | 4062.96 | 31545.3219 | 10512.4995
20 | 26150 | 26 | 48 | 23 | 15 | 16 | 84 | 4 | 50 | 46 | 14 | 24 | 23 | 7 | 13 | 73 | 25 | 26 | 14890 | 59622 | 337707.7405 | 238198.7422
21 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 975.84 | 0 | 825.3087
22 | 495 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 80 | 1128.6 | 9668.055 | 36.8999
23 | 50701 | 64 | 46 | 46 | 22 | 8 | 146 | 5 | 8 | 47 | 34 | 23 | 46 | 11 | 6 | 128 | 4 | 27 | 23925 | 115598.28 | 574586.064 | 346235.2804
24 | 326 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 70 | 743.28 | 9168.5593 | 410.4798
25 | 216 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 47 | 492.48 | 9168.5593 | 288.2354
26 | 1439472 | 852 | 2051 | 891 | 731 | 684 | 10643 | 154 | 791 | 1953 | 464 | 1025 | 891 | 365 | 570 | 9335 | 395 | 1130 | 1090435 | 3281996.16 | 16595537.4478 | 18779545.5677
27 | 178799 | 326 | 378 | 109 | 52 | 42 | 565 | 55 | 216 | 154 | 177 | 189 | 109 | 26 | 35 | 495 | 108 | 89 | 98943 | 407661.72 | 1861870.7985 | 1520138.2613
28 | 358 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 77 | 816.24 | 9168.5593 | 433.8195
29 | 2968 | 0 | 3 | 2 | 0 | 0 | 1 | 0 | 13 | 2 | 0 | 1 | 2 | 0 | 0 | 0 | 6 | 1 | 1423 | 6767.04 | 22266.8926 | 20746.987
30 | 1581 | 3 | 1 | 2 | 0 | 2 | 2 | 0 | 1 | 6 | 1 | 0 | 2 | 0 | 1 | 1 | 0 | 3 | 516 | 3604.68 | 21099.1066 | 5788.026
31 | 11345 | 20 | 13 | 16 | 3 | 0 | 48 | 1 | 18 | 28 | 10 | 6 | 16 | 1 | 0 | 42 | 9 | 16 | 6949 | 25866.6 | 195371.7305 | 112198.9722
32 | 599 | 0 | 0 | 1 | 0 | 3 | 1 | 1 | 1 | 3 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 1 | 99 | 1365.72 | 10638.7363 | 87.3688
33 | 19169 | 8 | 28 | 23 | 9 | 9 | 43 | 5 | 24 | 20 | 4 | 14 | 23 | 4 | 7 | 37 | 12 | 11 | 11051 | 43705.32 | 278128.0545 | 174563.6849
34 | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 225.72 | 0 | 0
35 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 15.96 | 0 | 0
36 | 19302 | 17 | 25 | 26 | 5 | 22 | 92 | 6 | 10 | 38 | 9 | 12 | 26 | 2 | 18 | 80 | 5 | 22 | 16000 | 44008.56 | 332461.2156 | 281815.8316
37 | 581 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 23963 | 1324.68 | 9168.5593 | 519572.913
38 | 538 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 64 | 1226.64 | 9668.055 | 0
39 | 872 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 4 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 254 | 1988.16 | 9967.866 | 2527.1203
40 | 2657 | 3 | 2 | 5 | 1 | 0 | 4 | 2 | 3 | 7 | 1 | 1 | 5 | 0 | 0 | 3 | 1 | 4 | 691 | 6057.96 | 52298.6817 | 5897.9779
41 | 817 | 1 | 1 | 1 | 1 | 1 | 5 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 4 | 0 | 2 | 360 | 1862.76 | 12165.5337 | 5014.3685
42 | 363 | 0 | 0 | 2 | 0 | 3 | 0 | 0 | 2 | 4 | 0 | 0 | 2 | 0 | 2 | 0 | 1 | 2 | 154 | 827.64 | 20456.6968 | 2102.4978
43 | 20021 | 30 | 25 | 19 | 7 | 5 | 34 | 6 | 13 | 35 | 16 | 12 | 19 | 3 | 4 | 29 | 6 | 20 | 6982 | 45647.88 | 237496.978 | 83047.7737
44 | 133 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 87 | 303.24 | 9168.5593 | 1446.6351
45 | 3740 | 4 | 2 | 4 | 0 | 26 | 26 | 0 | 3 | 5 | 2 | 1 | 4 | 0 | 21 | 22 | 1 | 2 | 2677 | 8527.2 | 62092.3682 | 45401.4657
46 | 268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 611.04 | 0 | 209.3764
47 | 35020 | 117 | 52 | 94 | 26 | 30 | 154 | 4 | 76 | 94 | 63 | 26 | 94 | 13 | 25 | 135 | 38 | 54 | 17310 | 79845.6 | 1062418.1571 | 256223.6023
48 | 128 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 291.84 | 0 | 1018.6196
49 | 895 | 2 | 0 | 3 | 0 | 1 | 3 | 0 | 0 | 6 | 1 | 0 | 3 | 0 | 0 | 2 | 0 | 3 | 164 | 2040.6 | 30281.821 | 489.0379
50 | 459 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 144 | 1046.52 | 9668.055 | 1562.2487
51 | 15197 | 9 | 21 | 8 | 4 | 4 | 50 | 2 | 10 | 38 | 4 | 10 | 8 | 2 | 3 | 43 | 5 | 22 | 6290 | 34649.16 | 135210.6838 | 84597.0817
52 | 183 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 417.24 | 0 | 583.7699
53 | 1409 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 79 | 3212.52 | 9668.055 | 0
54 | 2260 | 3 | 2 | 2 | 1 | 12 | 14 | 1 | 1 | 9 | 1 | 1 | 2 | 0 | 10 | 12 | 0 | 5 | 932 | 5152.8 | 34491.4623 | 12506.8727
55 | 1286 | 1 | 0 | 3 | 0 | 2 | 2 | 0 | 2 | 7 | 0 | 0 | 3 | 0 | 1 | 1 | 1 | 4 | 452 | 2932.08 | 30638.4027 | 5411.8442
56 | 228 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 99 | 519.84 | 18836.6143 | 1363.1342
57 | 541 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 188 | 1233.48 | 9168.5593 | 2223.3655
58 | 2906 | 4 | 2 | 4 | 2 | 1 | 8 | 0 | 3 | 10 | 2 | 1 | 4 | 1 | 0 | 7 | 1 | 5 | 657 | 6625.68 | 46289.4293 | 4303.8424
59 | 1136 | 3 | 1 | 3 | 0 | 8 | 11 | 0 | 2 | 6 | 1 | 0 | 3 | 0 | 6 | 9 | 1 | 3 | 362 | 2590.08 | 36840.2406 | 3975.6763
60 | 3112 | 7 | 2 | 5 | 2 | 2 | 4 | 1 | 4 | 1 | 3 | 1 | 5 | 1 | 1 | 3 | 2 | 0 | 1505 | 7095.36 | 51876.4376 | 22044.2927
61 | 5449 | 8 | 0 | 3 | 1 | 1 | 2 | 0 | 0 | 9 | 4 | 0 | 3 | 0 | 0 | 1 | 0 | 5 | 2280 | 12423.72 | 31617.3102 | 30880.9561
62 | 92 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 33 | 209.76 | 998.9915 | 410.9132
63 | 2473 | 3 | 2 | 3 | 1 | 3 | 2 | 1 | 6 | 3 | 1 | 1 | 3 | 0 | 2 | 1 | 3 | 1 | 754 | 5638.44 | 32734.5768 | 7899.4337
64 | 2537 | 1 | 3 | 2 | 0 | 0 | 3 | 0 | 0 | 4 | 0 | 1 | 2 | 0 | 0 | 2 | 0 | 2 | 675 | 5784.36 | 22865.9467 | 5959.6546
65 | 47212 | 44 | 66 | 65 | 16 | 24 | 154 | 12 | 63 | 46 | 24 | 33 | 65 | 8 | 20 | 135 | 31 | 26 | 30728 | 107643.36 | 784000.1985 | 486299.8536
66 | 6701 | 9 | 10 | 7 | 3 | 2 | 9 | 2 | 12 | 8 | 4 | 5 | 7 | 1 | 1 | 7 | 6 | 4 | 2883 | 15278.28 | 85211.1893 | 39675.2697
67 | 6833 | 9 | 11 | 10 | 4 | 4 | 19 | 6 | 18 | 18 | 4 | 5 | 10 | 2 | 3 | 16 | 9 | 10 | 3087 | 15579.24 | 122012.8647 | 43662.9592
68 | 121 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 275.88 | 0 | 388.0224
69 | 288 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 0 | 4 | 0 | 0 | 0 | 1 | 1 | 90 | 656.64 | 37602.3028 | 967.636
70 | 455 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 153 | 1037.4 | 9597.1293 | 1755.3663
71 | 1156 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 544 | 2635.68 | 9618.2758 | 7857.1034
72 | 234 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 136 | 533.52 | 149.9055 | 2144.2955
73 | 318 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 52 | 725.04 | 10667.0465 | 34.5694
74 | 1444 | 4 | 0 | 1 | 2 | 2 | 5 | 1 | 3 | 5 | 2 | 0 | 1 | 1 | 1 | 4 | 1 | 2 | 430 | 3292.32 | 13741.2725 | 4389.097
75 | 526 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 216 | 1199.28 | 9668.055 | 2886.241
76 | 175 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 357 | 399 | 0 | 7173.9659
77 | 156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 355.68 | 0 | 116.0283
78 | 26 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 15 | 59.28 | 9168.5593 | 241.3444
79 | 109 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 31 | 248.52 | 149.9055 | 296.6761
80 | 37472 | 25 | 38 | 46 | 7 | 9 | 198 | 17 | 0 | 63 | 13 | 19 | 46 | 3 | 7 | 173 | 0 | 36 | 19615 | 85436.16 | 582403.9083 | 297958.4511
81 | 14566 | 10 | 13 | 10 | 3 | 4 | 25 | 3 | 55 | 16 | 5 | 6 | 10 | 1 | 3 | 21 | 27 | 9 | 10449 | 33210.48 | 129135.493 | 177287.7035
82 | 2426 | 4 | 1 | 8 | 1 | 1 | 3 | 0 | 7 | 7 | 2 | 0 | 8 | 0 | 0 | 2 | 3 | 4 | 871 | 5531.28 | 77352.4941 | 10607.7982
83 | 116 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 264.48 | 0 | 406.0666
84 | 232 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 90 | 528.96 | 9168.5593 | 1151.6789
85 | 3493 | 0 | 1 | 2 | 0 | 1 | 4 | 0 | 14 | 3 | 0 | 0 | 2 | 0 | 0 | 3 | 7 | 1 | 1413 | 7964.04 | 21384.4401 | 18735.5249
86 | 4263 | 13 | 6 | 5 | 2 | 5 | 19 | 2 | 11 | 9 | 7 | 3 | 5 | 1 | 4 | 16 | 5 | 5 | 1638 | 9719.64 | 68949.4477 | 20985.7967
87 | 805 | 3 | 0 | 2 | 0 | 0 | 4 | 0 | 5 | 4 | 1 | 0 | 2 | 0 | 0 | 3 | 2 | 2 | 224 | 1835.4 | 21413.0728 | 2105.6291
88 | 5240 | 3 | 3 | 7 | 3 | 1 | 12 | 3 | 15 | 5 | 1 | 1 | 7 | 1 | 0 | 10 | 7 | 2 | 1859 | 11947.2 | 74415.8757 | 22422.7435
89 | 6138 | 3 | 5 | 5 | 1 | 1 | 11 | 2 | 43 | 1 | 1 | 2 | 5 | 0 | 0 | 9 | 21 | 0 | 2675 | 13994.64 | 58826.6287 | 37100.8442
90 | 3004 | 11 | 2 | 3 | 1 | 6 | 2 | 0 | 8 | 7 | 6 | 1 | 3 | 0 | 5 | 1 | 4 | 4 | 1288 | 6849.12 | 37232.3139 | 17700.0526
91 | 14883 | 20 | 12 | 13 | 7 | 17 | 69 | 3 | 14 | 35 | 10 | 6 | 13 | 3 | 14 | 60 | 7 | 20 | 7605 | 33933.24 | 186116.2444 | 114306.346
92 | 421 | 1 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 344 | 959.88 | 10167.5508 | 6037.1369
93 | 1355 | 0 | 0 | 2 | 1 | 3 | 3 | 0 | 0 | 4 | 0 | 0 | 2 | 0 | 2 | 2 | 0 | 2 | 215 | 3089.4 | 21305.7828 | 12.7325
94 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 376.2 | 0 | 673.8002
95 | 116 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 53 | 264.48 | 499.4957 | 758.3442
96 | 1116 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 37 | 2544.48 | 9168.5593 | 0
97 | 1015 | 0 | 0 | 3 | 0 | 2 | 0 | 2 | 0 | 3 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 1 | 21 | 2314.2 | 28490.5142 | 0
98 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 198.36 | 0 | 401.2886
99 | 426 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 18 | 971.28 | 499.4957 | 0
100 | 330 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100 | 752.4 | 9168.5593 | 1036.3784
101 | 729 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 238 | 1662.12 | 10317.4563 | 2671.0671
102 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 139 | 649.8 | 0 | 2033.6007
103 | 8484 | 12 | 3 | 12 | 3 | 2 | 28 | 2 | 11 | 5 | 6 | 1 | 12 | 1 | 1 | 24 | 5 | 2 | 2828 | 19343.52 | 128830.4645 | 32352.0394
104 | 48951 | 7 | 4 | 4 | 1 | 10 | 477 | 0 | 4 | 4 | 3 | 2 | 4 | 0 | 8 | 418 | 2 | 2 | 25801 | 111608.28 | 256542.6683 | 428591.5754
105 | 2073 | 4 | 3 | 3 | 1 | 3 | 3 | 0 | 1 | 5 | 2 | 1 | 3 | 0 | 2 | 2 | 0 | 2 | 880 | 4726.44 | 33562.5162 | 12018.6983
106 | 820 | 2 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 2 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 332 | 1869.6 | 10446.2152 | 4403.8303
107 | 787 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 315 | 1794.36 | 9817.9605 | 4151.75
108 | 844691 | 883 | 1404 | 657 | 336 | 107 | 3230 | 146 | 647 | 855 | 481 | 702 | 657 | 168 | 89 | 2833 | 323 | 495 | 477977 | 1925895.48 | 9752742.4898 | 11140460.8236
109 | 1347 | 4 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 202 | 3071.16 | 37731.0618 | 0
110 | 211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 83 | 481.08 | 149.9055 | 1073.5726
111 | 545 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 122 | 1242.6 | 9817.9605 | 779.5588
112 | 1536 | 0 | 0 | 3 | 0 | 2 | 5 | 0 | 9 | 1 | 0 | 0 | 3 | 0 | 1 | 4 | 4 | 0 | 991 | 3502.08 | 30588.6235 | 16283.0238
113 | 411 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 91 | 937.08 | 19265.1843 | 563.8653
114 | 278 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 633.84 | 0 | 436.1459
115 | 484 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 185 | 1103.52 | 9668.055 | 2360.7601
116 | 390427 | 335 | 505 | 305 | 173 | 26 | 1090 | 69 | 408 | 411 | 182 | 252 | 305 | 86 | 21 | 956 | 204 | 237 | 203041 | 890173.56 | 4154523.8703 | 3140484.366
117 | 16094 | 7 | 21 | 11 | 0 | 6 | 25 | 1 | 58 | 10 | 3 | 10 | 11 | 0 | 5 | 21 | 29 | 5 | 8056 | 36694.32 | 146759.4496 | 119950.145
118 | 1005 | 0 | 0 | 1 | 0 | 5 | 1 | 1 | 6 | 0 | 0 | 0 | 1 | 0 | 4 | 0 | 3 | 0 | 396 | 2291.4 | 11559.6384 | 5149.8331
119 | 12755 | 11 | 12 | 22 | 6 | 12 | 63 | 4 | 14 | 28 | 6 | 6 | 22 | 3 | 10 | 55 | 7 | 16 | 5212 | 29081.4 | 261081.7956 | 69541.0208
120 | 79 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 43 | 180.12 | 9168.5593 | 663.8863
121 | 3199 | 3 | 0 | 3 | 1 | 1 | 3 | 1 | 6 | 12 | 1 | 0 | 3 | 0 | 0 | 2 | 3 | 6 | 1222 | 7293.72 | 32230.0248 | 15584.8889
122 | 6969 | 4 | 6 | 4 | 2 | 0 | 9 | 1 | 3 | 6 | 2 | 3 | 4 | 1 | 0 | 7 | 1 | 3 | 43 | 15889.32 | 50352.1282 | 0
123 | 465 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 118 | 1060.2 | 9668.055 | 978.5896
124 | 2889 | 0 | 4 | 2 | 2 | 2 | 5 | 0 | 9 | 8 | 0 | 2 | 2 | 1 | 1 | 4 | 4 | 4 | 1820 | 6586.92 | 28862.9012 | 29674.9951
125 | 2794 | 8 | 4 | 5 | 4 | 0 | 12 | 0 | 4 | 6 | 4 | 2 | 5 | 2 | 0 | 10 | 2 | 3 | 1340 | 6370.32 | 59578.7276 | 19549.2977
126 | 75 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 171 | 0 | 160.0544
127 | 39 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 25 | 88.92 | 9168.5593 | 419.2105
128 | 3412 | 4 | 1 | 8 | 0 | 3 | 8 | 0 | 10 | 9 | 2 | 0 | 8 | 0 | 2 | 7 | 5 | 5 | 1508 | 7779.36 | 81619.9609 | 21078.8188
129 | 631 | 2 | 0 | 1 | 0 | 3 | 1 | 0 | 3 | 1 | 1 | 0 | 1 | 0 | 2 | 0 | 1 | 0 | 327 | 1438.68 | 10567.8106 | 4945.5301
130 | 5791 | 4 | 6 | 7 | 2 | 2 | 30 | 7 | 3 | 15 | 2 | 3 | 7 | 1 | 1 | 26 | 1 | 8 | 3030 | 13203.48 | 90331.0444 | 46027.4693
131 | 49994 | 66 | 49 | 46 | 18 | 6 | 182 | 3 | 20 | 107 | 36 | 24 | 46 | 9 | 5 | 159 | 10 | 61 | 24512 | 113986.32 | 609789.2265 | 361445.2348
132 | 388 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 175 | 884.64 | 18337.1185 | 2473.5298
133 | 566 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 201 | 1290.48 | 9668.055 | 2435.2608
134 | 227 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 120 | 517.56 | 998.9915 | 1830.5674
135 | 2528 | 4 | 6 | 6 | 0 | 2 | 4 | 1 | 2 | 10 | 2 | 3 | 6 | 0 | 1 | 3 | 1 | 5 | 1354 | 5763.84 | 67792.4322 | 20759.7969
136 | 3795 | 5 | 5 | 5 | 3 | 3 | 11 | 2 | 1 | 11 | 2 | 2 | 5 | 1 | 2 | 9 | 0 | 6 | 1152 | 8652.6 | 60308.0967 | 12008.0558
137 | 136 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 310.08 | 0 | 1099.0289
138 | 19284 | 26 | 14 | 20 | 9 | 12 | 57 | 0 | 30 | 44 | 14 | 7 | 20 | 4 | 10 | 50 | 15 | 25 | 7749 | 43967.52 | 251085.2289 | 102282.072
139 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 321.48 | 0 | 47.7196
140 | 1781 | 4 | 0 | 2 | 0 | 1 | 2 | 0 | 3 | 4 | 2 | 0 | 2 | 0 | 0 | 1 | 1 | 2 | 431 | 4060.68 | 20542.8403 | 3245.593
141 | 20211 | 19 | 19 | 18 | 10 | 4 | 43 | 5 | 20 | 25 | 10 | 9 | 18 | 5 | 3 | 37 | 10 | 14 | 9974 | 46081.08 | 220943.4965 | 147526.3468
142 | 227 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 517.56 | 0 | 633.4512
143 | 354 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 11 | 807.12 | 9668.055 | 0
144 | 185 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 70 | 421.8 | 928.0657 | 886.8418
145 | 268 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 58 | 611.04 | 9168.5593 | 341.5688
146 | 1312 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 6 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 3 | 225 | 2991.36 | 11166.5422 | 381.4555
147 | 5824 | 1 | 6 | 1 | 3 | 0 | 3 | 0 | 40 | 1 | 0 | 3 | 1 | 1 | 0 | 2 | 20 | 0 | 2580 | 13278.72 | 21141.3603 | 36109.7202
148 | 17424 | 29 | 17 | 21 | 5 | 5 | 37 | 2 | 36 | 26 | 15 | 8 | 21 | 2 | 4 | 32 | 18 | 15 | 6130 | 39726.72 | 245848.7624 | 73451.5155
149 | 4112 | 1 | 2 | 2 | 0 | 0 | 4 | 0 | 31 | 2 | 0 | 1 | 2 | 0 | 0 | 3 | 15 | 1 | 1070 | 9375.36 | 25114.5294 | 9142.5847
150 | 791 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 188 | 1803.48 | 19614.7745 | 1359.9033
151 | 125 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 55 | 285 | 9668.055 | 766.8725
152 | 299 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 261 | 681.72 | 9768.1813 | 4651.7179
153 | 300 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 49 | 684 | 9168.5593 | 26.8847
154 | 415 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 170 | 946.2 | 1134.7419 | 2265.2387
155 | 448 | 4 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 167 | 1021.44 | 557.329 | 2099.4165
156 | 516 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 151 | 1176.48 | 998.9915 | 1510.5822
157 | 43791 | 26 | 38 | 41 | 17 | 18 | 42 | 5 | 85 | 43 | 14 | 19 | 41 | 8 | 15 | 36 | 42 | 24 | 25408 | 99843.48 | 474509.4864 | 402290.2759
158 | 342 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 54 | 779.76 | 1470.177 | 0
159 | 2281 | 3 | 1 | 3 | 0 | 1 | 7 | 0 | 1 | 4 | 1 | 0 | 3 | 0 | 0 | 6 | 0 | 2 | 1060 | 5200.68 | 31780.3082 | 15218.4313
160 | 650 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 130 | 1482 | 10167.5508 | 600.9864
161 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 164.16 | 0 | 0
162 | 203 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 462.84 | 0 | 438.268
163 | 345 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 102 | 786.6 | 9168.5593 | 1028.2807
164 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 362.52 | 0 | 0
165 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 259.92 | 0 | 431.5561
166 | 127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 289.56 | 0 | 459.984
167 | 15231 | 30 | 15 | 21 | 7 | 1 | 43 | 0 | 5 | 29 | 16 | 7 | 21 | 3 | 0 | 37 | 2 | 16 | 6924 | 34726.68 | 242636.869 | 98281.7179
168 | 9993 | 11 | 6 | 9 | 2 | 7 | 36 | 5 | 20 | 11 | 6 | 3 | 9 | 1 | 5 | 31 | 10 | 6 | 4036 | 22784.04 | 114571.8204 | 53450.2714
169 | 8645 | 12 | 6 | 8 | 3 | 4 | 20 | 0 | 9 | 6 | 6 | 3 | 8 | 1 | 3 | 17 | 4 | 3 | 3595 | 19710.6 | 95041.7191 | 48492.2163
170 | 8781 | 8 | 3 | 13 | 6 | 1 | 27 | 3 | 5 | 16 | 4 | 1 | 13 | 3 | 0 | 23 | 2 | 9 | 3876 | 20020.68 | 140269.9394 | 54133.2495
171 | 1592 | 1 | 5 | 2 | 1 | 2 | 6 | 0 | 1 | 5 | 0 | 2 | 2 | 0 | 1 | 5 | 0 | 2 | 725 | 3629.76 | 27380.6197 | 10293.17
172 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 50 | 383.04 | 499.4957 | 500.6488
173 | 6481 | 4 | 9 | 7 | 1 | 5 | 19 | 0 | 49 | 7 | 2 | 4 | 7 | 0 | 4 | 16 | 24 | 4 | 2358 | 14776.68 | 90389.6344 | 30900.7622
174 | 1149 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 1 | 4 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 571 | 2619.72 | 19336.11 | 8473.4431
175 | 3891 | 8 | 8 | 4 | 2 | 3 | 5 | 0 | 3 | 11 | 4 | 4 | 4 | 1 | 2 | 4 | 1 | 6 | 1379 | 8871.48 | 54410.9836 | 16622.8217
176 | 7660 | 5 | 0 | 5 | 2 | 2 | 0 | 5 | 12 | 22 | 2 | 0 | 5 | 1 | 1 | 0 | 6 | 12 | 3510 | 17464.8 | 54162.0116 | 50034.0734
177 | 169087 | 253 | 245 | 123 | 46 | 27 | 629 | 29 | 82 | 192 | 138 | 122 | 123 | 23 | 22 | 551 | 41 | 111 | 64365 | 385518.36 | 1831254.1655 | 818963.5492
178 | 3820 | 0 | 0 | 6 | 0 | 0 | 6 | 2 | 4 | 6 | 0 | 0 | 6 | 0 | 0 | 5 | 2 | 3 | 1057 | 8709.6 | 59307.1326 | 9859.8908
179 | 1193 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 283 | 2720.04 | 9817.9605 | 2062.1674
180 | 9600 | 38 | 12 | 9 | 7 | 32 | 53 | 3 | 9 | 10 | 20 | 6 | 9 | 3 | 26 | 46 | 4 | 5 | 55 | 21888 | 143117.647 | 0
181 | 163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5402 | 371.64 | 0 | 117012.2515
182 | 183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 74 | 417.24 | 149.9055 | 982.9653
183 | 251 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 572.28 | 0 | 711.2253
184 | 2972 | 5 | 5 | 3 | 1 | 2 | 1 | 1 | 13 | 9 | 2 | 2 | 3 | 0 | 1 | 0 | 6 | 5 | 1076 | 6776.16 | 37006.9496 | 13188.2959
185 | 1116 | 1 | 0 | 2 | 0 | 4 | 8 | 0 | 1 | 3 | 0 | 0 | 2 | 0 | 3 | 7 | 0 | 1 | 334 | 2544.48 | 23789.1064 | 3431.5627
186 | 89 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 24 | 202.92 | 18337.1185 | 225.1631
187 | 413 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 104 | 941.64 | 18337.1185 | 842.1127
188 | 3922 | 0 | 2 | 2 | 0 | 0 | 3 | 3 | 28 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 14 | 0 | 2832 | 8942.16 | 23965.6324 | 48133.4426
189 | 649 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 193 | 1479.72 | 1498.4872 | 1966.9644
190 | 1029 | 1 | 3 | 4 | 0 | 2 | 9 | 0 | 2 | 7 | 0 | 1 | 4 | 0 | 1 | 7 | 1 | 4 | 177 | 2346.12 | 45334.7816 | 310.7713
191 | 2033 | 0 | 2 | 4 | 2 | 5 | 4 | 2 | 12 | 5 | 0 | 1 | 4 | 1 | 4 | 3 | 6 | 2 | 633 | 4635.24 | 44926.5203 | 6776.8985
192 | 2296 | 4 | 0 | 3 | 1 | 0 | 8 | 1 | 1 | 6 | 2 | 0 | 3 | 0 | 0 | 7 | 0 | 3 | 731 | 5234.88 | 33057.9642 | 7998.2956
193 | 1649 | 2 | 1 | 6 | 0 | 1 | 2 | 3 | 1 | 5 | 1 | 0 | 6 | 0 | 0 | 1 | 0 | 2 | 577 | 3759.72 | 56788.5073 | 6889.5924
194 | 1639 | 2 | 0 | 2 | 0 | 1 | 0 | 0 | 3 | 6 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 3 | 437 | 3736.92 | 20264.1758 | 3874.5576
195 | 437 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 113 | 996.36 | 9668.055 | 959.5767
196 | 19820 | 22 | 20 | 28 | 6 | 3 | 63 | 4 | 23 | 21 | 12 | 10 | 28 | 3 | 2 | 55 | 11 | 12 | 7993 | 45189.6 | 322607.4327 | 105744.6853
197 | 1598 | 2 | 4 | 1 | 0 | 1 | 9 | 1 | 2 | 6 | 1 | 2 | 1 | 0 | 0 | 7 | 1 | 3 | 725 | 3643.44 | 19653.777 | 10279.9332
198 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 410.4 | 0 | 0
199 | 261 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 101 | 595.08 | 9318.4648 | 1299.9919
200 | 8907 | 5 | 14 | 9 | 2 | 1 | 26 | 4 | 17 | 15 | 2 | 7 | 9 | 1 | 0 | 22 | 8 | 8 | 4466 | 20307.96 | 117357.5586 | 66548.3943
201 | 188 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 51 | 428.64 | 778.1602 | 467.4456
202 | 274 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 76 | 624.72 | 18836.6143 | 711.1028
203 | 678 | 0 | 0 | 1 | 0 | 5 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 216 | 1545.84 | 11109.9219 | 2367.7601
204 | 75274 | 92 | 103 | 49 | 33 | 19 | 156 | 28 | 129 | 125 | 50 | 51 | 49 | 16 | 15 | 136 | 64 | 72 | 52410 | 171624.72 | 719165.5279 | 475428.4867
205 | 428 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 289 | 975.84 | 9168.5593 | 4819.4257
206 | 134 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 10 | 305.52 | 499.4957 | 0
207 | 1095 | 3 | 1 | 1 | 0 | 0 | 4 | 2 | 5 | 5 | 1 | 0 | 1 | 0 | 0 | 3 | 2 | 2 | 415 | 2496.6 | 12244.5135 | 5259.4982
208 | 365218 | 420 | 522 | 330 | 135 | 32 | 983 | 63 | 343 | 458 | 229 | 261 | 330 | 67 | 26 | 862 | 171 | 265 | 191500 | 832697.04 | 4376845.682 | 2163022.5799
209 | 256 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 583.68 | 18337.1185 | 0
210 | 406 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 176 | 925.68 | 9318.4648 | 2438.7529
211 | 414 | 0 | 0 | 2 | 0 | 1 | 1 | 0 | 2 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 87 | 943.92 | 18487.0241 | 468.653
212 | 145 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 330.6 | 0 | 69.1405
213 | 181 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 412.68 | 0 | 1629.7623
214 | 61973 | 54 | 135 | 48 | 19 | 12 | 170 | 16 | 35 | 44 | 29 | 67 | 48 | 9 | 10 | 149 | 17 | 25 | 28121 | 141298.44 | 715501.2737 | 746782.476
215 | 29992 | 42 | 36 | 31 | 13 | 18 | 102 | 4 | 51 | 41 | 22 | 18 | 31 | 6 | 15 | 89 | 25 | 23 | 20142 | 68381.76 | 405181.4218 | 335178.3283
216 | 470 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 135 | 1071.6 | 18337.1185 | 1312.6936
217 | 255755 | 265 | 310 | 256 | 98 | 48 | 811 | 27 | 349 | 322 | 144 | 155 | 256 | 49 | 40 | 711 | 174 | 186 | 125290 | 583121.4 | 3291879.7458 | 1846734.9928
218 | 2743 | 2 | 3 | 2 | 0 | 2 | 4 | 0 | 3 | 10 | 1 | 1 | 2 | 0 | 1 | 3 | 1 | 5 | 934 | 6254.04 | 25777.8403 | 10892.2955
219 | 5042 | 11 | 5 | 10 | 4 | 4 | 26 | 1 | 7 | 20 | 6 | 2 | 10 | 2 | 3 | 22 | 3 | 11 | 6160 | 11495.76 | 117574.6952 | 116722.7129
220 | 640 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 533 | 1459.2 | 9668.055 | 9398.2972
221 | 401 | 0 | 0 | 1 | 0 | 2 | 2 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 20 | 914.28 | 10652.8914 | 0
222 | 3913 | 7 | 6 | 5 | 1 | 0 | 9 | 0 | 3 | 8 | 3 | 3 | 5 | 0 | 0 | 7 | 1 | 4 | 1177 | 8921.64 | 59915.684 | 12139.0554
223 | 797 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 3 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 212 | 1817.16 | 10317.4563 | 1873.7169
224 | 1975 | 4 | 4 | 8 | 2 | 2 | 4 | 0 | 16 | 6 | 2 | 2 | 8 | 1 | 1 | 3 | 8 | 3 | 641 | 4503 | 84032.2164 | 7153.995
225 | 179 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 408.12 | 0 | 141.1214
226 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 307.8 | 0 | 0
227 | 2079 | 7 | 0 | 2 | 1 | 6 | 1 | 2 | 7 | 4 | 3 | 0 | 2 | 0 | 5 | 0 | 3 | 2 | 546 | 4740.12 | 23048.5233 | 4728.2859
228 | 714219 | 809 | 932 | 574 | 372 | 169 | 2612 | 82 | 535 | 821 | 441 | 466 | 574 | 186 | 140 | 2291 | 267 | 475 | 533556 | 1628419.32 | 8125864.0347 | 10249002.6186
229 | 303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 94 | 690.84 | 149.9055 | 998.658
230 | 336 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 109 | 766.08 | 9668.055 | 1219.1639
231 | 291 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 61 | 663.48 | 1456.0219 | 316.2652
232 | 8414 | 4 | 3 | 3 | 2 | 8 | 17 | 1 | 2 | 5 | 2 | 1 | 3 | 1 | 6 | 14 | 1 | 2 | 1115 | 19183.92 | 42030.8969 | 0
233 | 354 | 0 | 0 | 0 | 0 | 3 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 79 | 807.12 | 1969.6728 | 500.1741
234 | 576 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 84 | 1313.28 | 949.2123 | 0
235 | 29907 | 33 | 46 | 29 | 16 | 10 | 59 | 6 | 82 | 49 | 18 | 23 | 29 | 8 | 8 | 51 | 41 | 28 | 21255 | 68187.96 | 381667.9428 | 359692.6341
236 | 2246 | 1 | 1 | 4 | 1 | 1 | 2 | 0 | 4 | 7 | 0 | 0 | 4 | 0 | 0 | 1 | 2 | 4 | 851 | 5120.88 | 39471.5268 | 10792.0342
237 | 1175 | 3 | 1 | 1 | 0 | 2 | 5 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 1 | 4 | 0 | 1 | 141 | 2679 | 12430.0431 | 0
238 | 239 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 544.92 | 0 | 1179.823
239 | 92890 | 89 | 90 | 143 | 38 | 59 | 357 | 18 | 75 | 164 | 48 | 45 | 143 | 19 | 49 | 313 | 37 | 94 | 52486 | 211789.2 | 1678270.9757 | 1258137.7849
240 | 5115 | 2 | 2 | 7 | 2 | 2 | 3 | 0 | 12 | 7 | 1 | 1 | 7 | 1 | 1 | 2 | 6 | 4 | 1929 | 11662.2 | 71754.3364 | 24380.559
241 | 6010 | 9 | 4 | 4 | 2 | 0 | 18 | 1 | 12 | 19 | 4 | 2 | 4 | 1 | 0 | 15 | 6 | 11 | 3004 | 13702.8 | 57120.0714 | 44702.6796
242 | 946 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100 | 2156.88 | 9168.5593 | 0
243 | 1844 | 2 | 1 | 1 | 0 | 1 | 3 | 0 | 3 | 6 | 1 | 0 | 1 | 0 | 0 | 2 | 1 | 3 | 713 | 4204.32 | 12094.608 | 9172.0245
244 | 1683 | 3 | 0 | 2 | 1 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 765 | 3837.24 | 19614.7745 | 10857.9975
245 | 201 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 458.28 | 0 | 401.6263
246 | 86095 | 109 | 165 | 74 | 42 | 42 | 291 | 21 | 67 | 131 | 59 | 82 | 74 | 21 | 35 | 255 | 33 | 75 | 50633 | 196296.6 | 1097257.731 | 805724.0442
247 | 27187 | 51 | 23 | 27 | 9 | 6 | 92 | 5 | 30 | 35 | 27 | 11 | 27 | 4 | 5 | 80 | 15 | 20 | 12292 | 61986.36 | 339071.8531 | 173974.7711
248 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 410.4 | 0 | 0
249 | 8985 | 10 | 3 | 15 | 5 | 5 | 14 | 0 | 20 | 17 | 5 | 1 | 15 | 2 | 4 | 12 | 10 | 9 | 5245 | 20485.8 | 156148.7123 | 83233.1204
250 | 163573 | 198 | 248 | 115 | 58 | 10 | 512 | 16 | 15 | 120 | 108 | 124 | 115 | 29 | 8 | 449 | 7 | 69 | 87833 | 372946.44 | 1673087.4857 | 1348741.1008
251 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 136.8 | 0 | 434.9376
252 | 604 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 67 | 1377.12 | 9668.055 | 0
253 | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 214.32 | 0 | 32.1994
254 | 162441 | 177 | 219 | 200 | 54 | 44 | 425 | 26 | 120 | 291 | 96 | 109 | 200 | 27 | 36 | 372 | 60 | 168 | 73076 | 370365.48 | 2442865.4817 | 1136171.6843
255 | 153 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 348.84 | 0 | 488.295
256 | 21467 | 34 | 41 | 47 | 19 | 4 | 42 | 5 | 25 | 28 | 18 | 20 | 47 | 9 | 3 | 36 | 12 | 16 | 6942 | 48944.76 | 519232.2895 | 77207.3247
257 | 568 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 52 | 1295.04 | 10167.5508 | 0
258 | 77 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 175.56 | 0 | 452.8224
259 | 209 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 476.52 | 0 | 1522.5048
260 | 552 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 112 | 1258.56 | 9817.9605 | 537.8077
261 | 3214 | 5 | 1 | 8 | 0 | 1 | 5 | 0 | 2 | 6 | 2 | 0 | 8 | 0 | 0 | 4 | 1 | 3 | 1900 | 7327.92 | 77552.1788 | 30301.0967
262 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 172 | 228 | 9168.5593 | 3405.6924
263 | 1004 | 2 | 0 | 2 | 0 | 0 | 3 | 0 | 1 | 5 | 1 | 0 | 2 | 0 | 0 | 2 | 0 | 2 | 643 | 2289.12 | 20613.766 | 10548.1486
264 | 2477 | 4 | 0 | 1 | 0 | 0 | 4 | 0 | 1 | 7 | 2 | 0 | 1 | 0 | 0 | 3 | 0 | 4 | 1377 | 5647.56 | 13222.3584 | 21439.228
265 | 102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 232.56 | 0 | 160.3985
266 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 257.64 | 0 | 372.8609
267 | 2884 | 1 | 2 | 7 | 2 | 1 | 20 | 1 | 6 | 18 | 0 | 1 | 7 | 1 | 0 | 17 | 3 | 10 | 1478 | 6575.52 | 81030.0253 | 22243.7255
268 | 853 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 346 | 1944.84 | 1298.8025 | 4593.9072
269 | 7998 | 16 | 11 | 6 | 3 | 2 | 6 | 0 | 4 | 8 | 8 | 5 | 6 | 1 | 1 | 5 | 2 | 4 | 5615 | 18235.44 | 75558.6744 | 94685.9745
270 | 71397 | 48 | 95 | 67 | 22 | 23 | 166 | 20 | 172 | 34 | 26 | 47 | 67 | 11 | 19 | 145 | 86 | 19 | 48249 | 162785.16 | 848733.9194 | 804422.0989
271 | 2645 | 1 | 0 | 4 | 0 | 0 | 3 | 0 | 14 | 1 | 0 | 0 | 4 | 0 | 0 | 2 | 7 | 0 | 650 | 6030.6 | 38722.5672 | 5032.8974
272 | 173 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 394.44 | 0 | 1060.7858
273 | 516 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 3 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 184 | 1176.48 | 9318.4648 | 2238.1024
274 | 119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 271.32 | 0 | 0
275 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 216.6 | 0 | 1806.0583
276 | 489 | 0 | 0 | 1 | 0 | 1 | 2 | 0 | 3 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 214 | 1114.92 | 9817.9605 | 2966.5429
277 | 798 | 3 | 0 | 2 | 0 | 1 | 3 | 2 | 3 | 4 | 1 | 0 | 2 | 0 | 0 | 2 | 1 | 2 | 672 | 1819.44 | 20763.6715 | 11886.3511
278 | 1921 | 1 | 0 | 4 | 0 | 0 | 3 | 0 | 1 | 6 | 0 | 0 | 4 | 0 | 0 | 2 | 0 | 3 | 519 | 4379.88 | 39171.7158 | 4682.2621
279 | 1067 | 1 | 0 | 2 | 1 | 0 | 3 | 0 | 3 | 2 | 0 | 0 | 2 | 0 | 0 | 2 | 1 | 1 | 1715 | 2432.76 | 19985.5113 | 33655.7019
280 | 3996 | 3 | 6 | 4 | 2 | 0 | 20 | 4 | 4 | 9 | 1 | 3 | 4 | 1 | 0 | 17 | 2 | 5 | 400 | 9110.88 | 56217.3181 | 0
281 | 5297 | 3 | 6 | 7 | 5 | 2 | 22 | 0 | 0 | 10 | 1 | 3 | 7 | 2 | 1 | 19 | 0 | 5 | 1650 | 12077.16 | 85290.6807 | 17681.4796
282 | 515 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 485 | 1174.2 | 9168.5593 | 8783.7849
283 | 147 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 102 | 335.16 | 149.9055 | 1704.1277
284 | 652 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 260 | 1486.56 | 778.1602 | 3414.9438
285 | 1492 | 5 | 0 | 1 | 1 | 3 | 4 | 2 | 2 | 6 | 2 | 0 | 1 | 0 | 2 | 3 | 1 | 3 | 747 | 3401.76 | 13843.4495 | 11133.7838
286 | 2055 | 1 | 1 | 2 | 1 | 1 | 3 | 0 | 1 | 8 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 4 | 606 | 4685.4 | 21334.093 | 6110.308
287 | 137 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 312.36 | 0 | 0
288 | 458 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 90 | 1044.24 | 9168.5593 | 386.8576
289 | 953 | 1 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 4 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2 | 306 | 2172.84 | 37673.2286 | 3381.5779
290 | 123 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 280.44 | 0 | 0
291 | 93459 | 141 | 91 | 79 | 44 | 35 | 271 | 13 | 71 | 122 | 76 | 45 | 79 | 22 | 29 | 237 | 35 | 70 | 40827 | 213086.52 | 1040479.0811 | 657071.7362
292 | 236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 538.08 | 0 | 0
293 | 469 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 153 | 1069.32 | 9946.7195 | 1726.0427
294 | 753 | 1 | 3 | 1 | 1 | 2 | 3 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 2 | 0 | 0 | 564 | 1716.84 | 13183.7366 | 9677.6198
295 | 385 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 6 | 877.8 | 9668.055 | 0
296 | 484 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 201 | 1103.52 | 18337.1185 | 2709.0121
297 | 5310 | 1 | 5 | 6 | 2 | 3 | 5 | 2 | 32 | 4 | 0 | 2 | 6 | 1 | 2 | 4 | 16 | 2 | 1976 | 12106.8 | 66822.3536 | 24732.369
298 | 598 | 1 | 0 | 2 | 0 | 0 | 2 | 0 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 1 | 306 | 1363.44 | 19336.11 | 4598.0222
299 | 1882 | 2 | 1 | 1 | 1 | 0 | 5 | 3 | 2 | 5 | 1 | 0 | 1 | 0 | 0 | 4 | 1 | 2 | 899 | 4290.96 | 12594.1037 | 13089.66
300 | 442 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 206 | 1007.76 | 0 | 2962.4028
301 | 101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 34 | 230.28 | 499.4957 | 384.3785
302 | 352 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 185 | 802.56 | 18337.1185 | 2821.5983
303 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 160 | 435.48 | 149.9055 | 2825.1077
304 | 5337 | 7 | 11 | 6 | 3 | 0 | 19 | 1 | 4 | 16 | 3 | 5 | 6 | 1 | 0 | 16 | 2 | 9 | 1692 | 12168.36 | 81671.9432 | 18451.4334
305 | 427 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 122 | 973.56 | 9817.9605 | 1176.7415
306 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 127.68 | 0 | 245.5725
307 | 1433 | 4 | 1 | 3 | 0 | 0 | 5 | 1 | 4 | 4 | 2 | 0 | 3 | 0 | 0 | 4 | 2 | 2 | 433 | 3267.24 | 31359.7923 | 4490.2388
308 | 1063 | 3 | 0 | 1 | 0 | 0 | 2 | 2 | 0 | 7 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 4 | 482 | 2423.64 | 11944.7025 | 6830.4272
309 | 11666 | 12 | 12 | 17 | 4 | 9 | 26 | 3 | 21 | 28 | 6 | 6 | 17 | 2 | 7 | 22 | 10 | 16 | 5669 | 26598.48 | 197366.1707 | 83236.0493
310 | 47817 | 53 | 27 | 50 | 8 | 5 | 106 | 15 | 29 | 63 | 28 | 13 | 50 | 4 | 4 | 92 | 14 | 36 | 27875 | 109022.76 | 568639.7057 | 289789.355
311 | 118 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 49 | 269.04 | 149.9055 | 671.0949
312 | 65 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 148.2 | 0 | 19.7911
313 | 3774 | 4 | 1 | 8 | 0 | 0 | 7 | 1 | 2 | 7 | 2 | 0 | 8 | 0 | 0 | 6 | 1 | 4 | 1533 | 8604.72 | 79050.6661 | 20372.609
314 | 1552 | 0 | 0 | 2 | 0 | 0 | 2 | 1 | 14 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 7 | 1 | 963 | 3538.56 | 20385.4486 | 15608.0205
315 | 382 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 41 | 870.96 | 18636.9296 | 0
316 | 2370 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 4 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 138 | 5403.6 | 10446.2152 | 0
317 | 326 | 0 | 0 | 0 | 0 | 3 | 5 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 2 | 4 | 2 | 0 | 148 | 743.28 | 3268.4753 | 2097.0788
318 | 9610 | 14 | 9 | 9 | 7 | 7 | 59 | 0 | 3 | 18 | 7 | 4 | 9 | 3 | 5 | 51 | 1 | 10 | 6161 | 21910.8 | 128786.4055 | 101017.3704
319 | 2037 | 1 | 3 | 3 | 0 | 0 | 1 | 1 | 13 | 2 | 0 | 1 | 3 | 0 | 0 | 0 | 6 | 1 | 951 | 4644.36 | 31435.4518 | 13686.4677
320 | 721 | 0 | 0 | 1 | 0 | 0 | 3 | 1 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 3 | 0 | 212 | 1643.88 | 10617.2673 | 2132.6932
321 | 185 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 421.8 | 0 | 637.3303
322 | 3341 | 7 | 3 | 10 | 0 | 1 | 7 | 0 | 15 | 11 | 3 | 1 | 10 | 0 | 0 | 6 | 7 | 6 | 1888 | 7617.48 | 102095.7188 | 29598.4486
323 | 204 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 465.12 | 0 | 0
324 | 532 | 2 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 134 | 1212.96 | 9946.7195 | 1085.4352
325 | 163 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 80 | 371.64 | 9168.5593 | 1190.9285
326 | 2205 | 4 | 1 | 4 | 0 | 2 | 4 | 1 | 0 | 10 | 2 | 0 | 4 | 0 | 1 | 3 | 0 | 5 | 565 | 5027.4 | 41712.8726 | 4708.1494
327 | 616 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 205 | 1404.48 | 9817.9605 | 2348.2674
328 | 137 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 323 | 312.36 | 0 | 6553.9988
329 | 16749 | 19 | 22 | 25 | 9 | 16 | 136 | 3 | 25 | 37 | 10 | 11 | 25 | 4 | 13 | 119 | 12 | 21 | 8608 | 38187.72 | 339410.2765 | 129710.3622
330 | 643 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 2 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 256 | 1466.04 | 9817.9605 | 3357.1461
331 | 103 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 13 | 234.84 | 9168.5593 | 0
332 | 9896 | 9 | 14 | 12 | 4 | 2 | 39 | 4 | 25 | 15 | 4 | 7 | 12 | 2 | 1 | 34 | 12 | 8 | 5183 | 22562.88 | 152882.6407 | 78754.7022
333 | 265 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 37 | 604.2 | 9668.055 | 0
334 | 16303 | 26 | 31 | 16 | 12 | 13 | 46 | 3 | 27 | 30 | 14 | 15 | 16 | 6 | 10 | 40 | 13 | 17 | 10040 | 37170.84 | 226133.3462 | 162406.0607
335 | 32816 | 42 | 57 | 35 | 10 | 9 | 123 | 15 | 61 | 45 | 22 | 28 | 35 | 5 | 7 | 107 | 30 | 26 | 17925 | 74820.48 | 474137.1599 | 277198.8181
336 | 6165 | 3 | 11 | 7 | 3 | 0 | 15 | 1 | 4 | 7 | 1 | 5 | 7 | 1 | 0 | 13 | 2 | 4 | 2877 | 14056.2 | 86287.2075 | 41400.4432
337 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 164.16 | 0 | 0
338 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 148.2 | 0 | 0
339 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 88.92 | 0 | 269.176
340 | 2091 | 6 | 2 | 2 | 1 | 6 | 15 | 1 | 3 | 10 | 3 | 1 | 2 | 0 | 5 | 13 | 1 | 5 | 1146 | 4767.48 | 33271.4893 | 17740.353
341 | 887 | 2 | 0 | 3 | 0 | 1 | 1 | 0 | 1 | 3 | 1 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 424 | 2022.36 | 28283.838 | 6176.9166
342 | 1546 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 3 | 6 | 1 | 0 | 5 | 0 | 0 | 0 | 1 | 3 | 486 | 3524.88 | 47769.8536 | 5256.9002
343 | 164 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 27 | 373.92 | 9168.5593 | 23.1955

## Calcs
| tonnes/year | DS (%) | VS (%) | VS (%DS) | tDS/year | tVS/year | STP m3 CH4/tonVS | Biogas (GWh/year) | Biogas (MWh/kg VS) | LHV (MJ/kg) | LHV (MWh/kg) | LHV (MWh/kgVS) | Total energy (GWh/y)
Domestic | 14919.7477 | 98.75% | 98.77% | 99.98% | 14733.3833 | 14736.746 | 685.3677 | 30.3003 | 2.0561 | 36.9506 | 10.2641 | 10.2617 | 153.1373
FSE | 79809.4334 | 85.11% | 85.13% | 99.97% | 67925.9048 | 67943.9114 | 938.0849 | 191.2115 | 2.8143 | 29.1932 | 8.1092 | 8.1071 | 647.1918
SPS | 27448.6723 | 50.19% | 52.03% | 96.47% | 13776.8687 | 14280.7667 | 981.1165 | 42.0333 | 2.9433 | 13.6673 | 3.7965 | 3.6625 | 104.2082
Fatberg | 27448.6723 | 65.79% | 66.78% | 98.52% | 18057.7723 | 18329.5668 | 800.6337 | 44.0258 | 2.4019 | 18.4453 | 5.1237 | 5.0477 | 140.6382
STW | 67280.5088 | 47.61% | 50.13% | 94.98% | 32033.9975 | 33727.0923 | 829.0384 | 83.8832 | 2.4871 | 12.8963 | 3.5823 | 3.4025 | 241.0184
Sewage sludge | 306813.4363 |  |  | 75% | 306813.4363 | 230110.0772 | 381.8607 | 263.61 | 1.1456 | 17.6667 | 4.9074 | 3.6806 | 1505.6585
Floating scum |  | 9.489% | 9.965% | 95.22% |  |  | 290.7451 |  | 0.87224 | 18.5661 | 5.1573 | 4.9109
| Methane CV | (MJ/m3) | 36
| CHP efficiency | (%) | 30%
For graph:
|  | 100% | 50% | 25%
| 0 | 0 | 0 | 0
| 5 | 5 | 2.5 | 1.25
| 12 | 12 | 6 | 3
20