## Supporting Information
Economic feasibility of calcium looping under uncertainty
Dawid P. Hanak*, Vasilije Manovic
Combustion and CCS Centre, Cranfield University,
Bedford, Bedfordshire, MK43 0AL, UK
Supporting Information
Corresponding author: *Dawid P. Hanak, d.p.hanak@cranfield.ac.uk
Hanak, D.P. and Manovic, V. (2017), "Economic feasibility of calcium looping under uncertainty", Applied Energy, 208, 691-702, doi: 10.1016/j.apenergy.2017.09.078

## DesignMatrix
|  |  |  | Aspen Plus Output | [7 empty] | Artificial Neural Network 4 10 8 Output | [7 empty] | Multi-variable quadratic polynomial
Relative make-up rate | Oxygen content | Oxygen excess | CO2 capture level | Gross power output of the CaL steam cycle (MW) | Net power output of the entire system (MW) | CO2 emission rate (kg/s) | CO2 transport and storage rate (kg/s) | Fuel consumption rate in calciner (kg/s) | Sorbent make up rate in calciner (kg/s) | Volumetric flow rate of fluidising gas to calcner (m3/s) | Volumetric flow rate of flue gas to carbonator (m3/s) | Gross power output of the CaL steam cycle (MW) | Net power output of the entire system (MW) | CO2 emission rate (kg/s) | CO2 transport and storage rate (kg/s) | Fuel consumption rate in calciner (kg/s) | Sorbent make up rate in calciner (kg/s) | Volumetric flow rate of fluidising gas to calcner (m3/s) | Volumetric flow rate of flue gas to carbonator (m3/s) | Gross power output of the CaL steam cycle (MW) | Net power output of the entire system (MW) | CO2 emission rate (kg/s) | CO2 transport and storage rate (kg/s) | Fuel consumption rate in calciner (kg/s) | Sorbent make up rate in calciner (kg/s) | Volumetric flow rate of fluidising gas to calcner (m3/s) | Volumetric flow rate of flue gas to carbonator (m3/s)
|  |  |  | Aspen Plus | Aspen Plus | Aspen Plus | Aspen Plus | Aspen Plus | Aspen Plus | Aspen Plus | Aspen Plus | ANN | ANN | ANN | ANN | ANN | ANN | ANN | ANN | MVR | MVR | MVR | MVR | MVR | MVR | MVR | MVR
0.02 | 0.3 | 0.025 | 0.9 | 715.2966 | 996.5538 | 12.1691 | 298.6366 | 64.8736 | 43.08 | 498.3177 | 629.619 | 715.3235 | 996.5833 | 12.2041 | 298.5777 | 64.9168 | 43.1164 | 498.2953 | 629.5977 | 692.235 | 979.0883 | 12.1632 | 293.3158 | 63.1505 | 43.8345 | 480.0844 | 627.5914
0.03 | 0.3 | 0.025 | 0.9 | 618.9359 | 920.9707 | 12.1539 | 282.8665 | 58.2026 | 54.4174 | 431.5453 | 623.1779 | 618.8236 | 921.0302 | 12.1878 | 282.9555 | 58.1568 | 54.3516 | 431.5247 | 623.2155 | 645.2773 | 940.4978 | 12.1633 | 289.1749 | 60.1996 | 53.9453 | 464.7542 | 625.5647
0.04 | 0.3 | 0.025 | 0.9 | 578.5563 | 888.1168 | 12.1722 | 280.3863 | 55.5915 | 63.9356 | 413.0376 | 621.7701 | 578.7092 | 888.127 | 12.1923 | 280.3488 | 55.6276 | 63.9227 | 412.9577 | 621.7675 | 605.9334 | 907.8016 | 12.1634 | 286.419 | 57.8115 | 63.435 | 451.0366 | 624.0919
0.05 | 0.3 | 0.025 | 0.9 | 556.8779 | 869.0149 | 12.1654 | 281.3444 | 54.514 | 72.3831 | 405.4807 | 621.7403 | 556.9162 | 869.0262 | 12.1801 | 281.3091 | 54.5135 | 72.4191 | 405.572 | 621.7286 | 574.2032 | 880.9997 | 12.1636 | 285.048 | 55.9861 | 72.3035 | 438.9315 | 623.1731
0.06 | 0.3 | 0.025 | 0.9 | 543.5632 | 856.1638 | 12.1593 | 283.7234 | 54.0894 | 80.2823 | 402.6582 | 622.2863 | 543.665 | 856.2981 | 12.1719 | 283.6729 | 54.0795 | 80.2386 | 402.8025 | 622.2705 | 550.0868 | 860.0921 | 12.1638 | 285.0621 | 54.7233 | 80.551 | 428.439 | 622.8083
0.07 | 0.3 | 0.025 | 0.9 | 535.2105 | 847.1139 | 12.1573 | 286.774 | 54.0346 | 87.6603 | 402.7548 | 623.1185 | 535.1387 | 847.0934 | 12.181 | 286.7387 | 54.0232 | 87.6223 | 402.6791 | 623.1103 | 533.5841 | 845.0787 | 12.1641 | 286.4611 | 54.0233 | 88.1774 | 419.559 | 622.9974
0.08 | 0.3 | 0.025 | 0.9 | 529.3384 | 839.9631 | 12.1708 | 290.1324 | 54.1771 | 94.6219 | 403.879 | 624.0912 | 529.3695 | 839.9835 | 12.2022 | 290.1616 | 54.1811 | 94.6757 | 403.9488 | 624.106 | 524.6952 | 835.9597 | 12.1644 | 289.2451 | 53.8861 | 95.1826 | 412.2915 | 623.7404
0.09 | 0.3 | 0.025 | 0.9 | 525.6948 | 834.5215 | 12.1692 | 293.8038 | 54.4832 | 101.3524 | 406.4472 | 625.1949 | 525.6556 | 834.4752 | 12.2161 | 293.8271 | 54.4905 | 101.427 | 406.4043 | 625.2085 | 523.42 | 832.735 | 12.1647 | 293.4141 | 54.3115 | 101.5667 | 406.6366 | 625.0374
0.1 | 0.3 | 0.025 | 0.9 | 523.637 | 830.2807 | 12.1607 | 297.7412 | 54.9044 | 107.9384 | 409.7331 | 626.4059 | 523.6106 | 830.3203 | 12.1949 | 297.6696 | 54.9126 | 107.8709 | 409.6935 | 626.3899 | 529.7585 | 835.4047 | 12.1652 | 298.9681 | 55.2996 | 107.3297 | 402.5941 | 626.8883
0.05 | 0.2 | 0.025 | 0.9 | 780.6163 | 1022.7464 | 12.1616 | 329.6538 | 73.6138 | 72.3831 | 867.0758 | 640.3954 | 780.5997 | 1022.7042 | 12.1976 | 329.706 | 73.5971 | 72.3999 | 867.0981 | 640.4005 | 671.948 | 948.3817 | 12.1615 | 306.0829 | 64.3047 | 72.2756 | 636.6587 | 631.3075
0.05 | 0.3 | 0.025 | 0.9 | 556.8779 | 869.0149 | 12.1654 | 281.3444 | 54.514 | 72.3831 | 405.4807 | 621.7403 | 556.9162 | 869.0262 | 12.1801 | 281.3091 | 54.5135 | 72.4191 | 405.572 | 621.7286 | 574.2032 | 880.9997 | 12.1636 | 285.048 | 55.9861 | 72.3035 | 438.9315 | 623.1731
0.05 | 0.4 | 0.025 | 0.9 | 484.9903 | 819.3936 | 12.172 | 265.9261 | 48.4188 | 72.3831 | 258.6528 | 615.7744 | 485.0616 | 819.455 | 12.1752 | 265.9334 | 48.3951 | 72.4264 | 258.6507 | 615.7626 | 496.369 | 827.3505 | 12.1653 | 268.2979 | 49.3617 | 72.3274 | 280.9372 | 616.6949
0.05 | 0.5 | 0.025 | 0.9 | 449.9655 | 795.272 | 12.166 | 258.3741 | 45.4329 | 72.3831 | 186.486 | 612.8496 | 449.9339 | 795.2433 | 12.1903 | 258.4015 | 45.4005 | 72.3884 | 186.5439 | 612.8375 | 438.4453 | 787.4343 | 12.1668 | 255.8326 | 44.4316 | 72.3472 | 162.6756 | 611.8726
0.05 | 0.6 | 0.025 | 0.9 | 429.2273 | 781.0089 | 12.1598 | 253.8906 | 43.6588 | 72.3831 | 143.282 | 611.1119 | 429.1718 | 781.0077 | 12.208 | 253.9157 | 43.6246 | 72.3618 | 143.3375 | 611.1005 | 400.4322 | 761.2509 | 12.1679 | 247.6521 | 41.1957 | 72.3629 | 84.1467 | 608.7064
0.05 | 0.7 | 0.025 | 0.9 | 415.4837 | 771.5781 | 12.1667 | 250.9041 | 42.4797 | 72.3831 | 114.3185 | 609.9554 | 415.5692 | 771.7065 | 12.2063 | 250.9575 | 42.4631 | 72.3647 | 114.201 | 609.9596 | 382.3297 | 748.8005 | 12.1688 | 243.7564 | 39.6541 | 72.3746 | 45.3506 | 607.1963
0.05 | 0.8 | 0.025 | 0.9 | 405.7535 | 764.9076 | 12.1695 | 248.788 | 41.6437 | 72.3831 | 93.4777 | 609.1354 | 405.7835 | 764.8685 | 12.2046 | 248.7472 | 41.6604 | 72.4264 | 93.528 | 609.1187 | 384.1378 | 750.083 | 12.1694 | 244.1455 | 39.8067 | 72.3823 | 46.2872 | 607.3423
0.05 | 0.9 | 0.025 | 0.9 | 398.504 | 759.9488 | 12.1662 | 247.2124 | 41.0196 | 72.3831 | 77.5801 | 608.5244 | 398.704 | 759.7546 | 12.2446 | 247.0303 | 41.1195 | 72.5208 | 77.559 | 608.4784 | 405.8565 | 765.0983 | 12.1697 | 248.8193 | 41.6536 | 72.3859 | 86.9566 | 609.1443
0.05 | 0.95 | 0.025 | 0.9 | 395.5781 | 758.217 | 12.1655 | 246.6056 | 40.7793 | 72.3831 | 56.3582 | 608.289 | 395.5187 | 758.2646 | 12.1834 | 246.6868 | 40.7344 | 72.3464 | 56.4118 | 608.3029 | 424.1823 | 777.7559 | 12.1697 | 252.763 | 43.2125 | 72.3861 | 122.1911 | 610.6663
0.05 | 0.3 | 0.005 | 0.9 | 536.6648 | 860.3808 | 12.1686 | 272.659 | 52.8045 | 72.3831 | 363.1634 | 618.8905 | 536.641 | 860.5842 | 12.2669 | 272.7958 | 52.7985 | 72.3845 | 363.1458 | 618.9223 | 530.5926 | 856.443 | 12.1668 | 271.3679 | 52.2873 | 72.4072 | 351.3926 | 618.3887
0.05 | 0.3 | 0.01 | 0.9 | 541.5214 | 862.9769 | 12.1555 | 274.774 | 53.2158 | 72.3831 | 373.1634 | 619.5835 | 541.5364 | 862.7591 | 12.2202 | 274.7711 | 53.2138 | 72.3988 | 373.3073 | 619.5781 | 545.5564 | 865.4894 | 12.1664 | 275.6236 | 53.5573 | 72.3619 | 381.0476 | 619.9123
0.05 | 0.3 | 0.015 | 0.9 | 546.4595 | 864.896 | 12.1575 | 276.9047 | 53.6331 | 72.3831 | 383.5768 | 620.2818 | 546.4822 | 864.8364 | 12.1903 | 276.8418 | 53.6324 | 72.4093 | 383.6196 | 620.261 | 557.8127 | 872.5977 | 12.1657 | 279.3222 | 54.597 | 72.3295 | 405.5225 | 621.2175
0.05 | 0.3 | 0.02 | 0.9 | 551.6299 | 866.9462 | 12.1667 | 279.1009 | 54.0704 | 72.3831 | 394.4898 | 621.0038 | 551.588 | 866.9037 | 12.1775 | 279.0218 | 54.0638 | 72.4161 | 394.3323 | 620.9776 | 567.3617 | 877.7678 | 12.1648 | 282.4636 | 55.4066 | 72.31 | 424.8171 | 622.3045
0.05 | 0.3 | 0.025 | 0.9 | 556.8779 | 869.0149 | 12.1654 | 281.3444 | 54.514 | 72.3831 | 405.4807 | 621.7403 | 556.9162 | 869.0262 | 12.1801 | 281.3091 | 54.5135 | 72.4191 | 405.572 | 621.7286 | 574.2032 | 880.9997 | 12.1636 | 285.048 | 55.9861 | 72.3035 | 438.9315 | 623.1731
0.05 | 0.3 | 0.03 | 0.9 | 562.616 | 871.393 | 12.1532 | 283.7231 | 54.999 | 72.3831 | 417.4991 | 622.5251 | 562.4875 | 871.2499 | 12.1943 | 283.6876 | 54.9834 | 72.4179 | 417.3548 | 622.5103 | 578.3373 | 882.2934 | 12.1621 | 287.0753 | 56.3353 | 72.31 | 447.8658 | 623.8235
0.05 | 0.3 | 0.035 | 0.9 | 568.3006 | 873.6941 | 12.1542 | 286.1184 | 55.4784 | 72.3831 | 429.4181 | 623.3148 | 568.2985 | 873.6112 | 12.2148 | 286.1322 | 55.4734 | 72.4121 | 429.6318 | 623.3157 | 579.7641 | 881.649 | 12.1604 | 288.5455 | 56.4544 | 72.3295 | 451.6198 | 624.2555
0.05 | 0.3 | 0.04 | 0.9 | 574.316 | 876.1931 | 12.1619 | 288.5636 | 55.9873 | 72.3831 | 442.152 | 624.1234 | 574.3504 | 876.1526 | 12.2355 | 288.6172 | 55.9837 | 72.4017 | 442.3589 | 624.1378 | 578.4834 | 879.0664 | 12.1584 | 289.4586 | 56.3433 | 72.3619 | 450.1936 | 624.4693
0.05 | 0.3 | 0.045 | 0.9 | 580.7117 | 878.9143 | 12.1634 | 291.1428 | 56.5268 | 72.3831 | 455.6086 | 624.9785 | 580.6767 | 878.9373 | 12.2509 | 291.1251 | 56.5173 | 72.3873 | 455.566 | 624.9725 | 574.4953 | 874.5457 | 12.1561 | 289.8146 | 56.002 | 72.4072 | 443.5872 | 624.4647
0.05 | 0.3 | 0.025 | 0.7 | 427.0067 | 790.5356 | 36.4922 | 218.9099 | 42.411 | 56.3826 | 315.4955 | 601.0152 | 427.0058 | 790.496 | 36.4947 | 218.8882 | 42.4044 | 56.3992 | 315.4991 | 601.003 | 428.6545 | 791.6873 | 36.4938 | 219.2441 | 42.5479 | 56.353 | 318.6754 | 601.1498
0.05 | 0.3 | 0.025 | 0.75 | 459.4065 | 810.1592 | 30.4192 | 234.4183 | 45.422 | 60.2985 | 337.8447 | 606.1706 | 459.401 | 810.1964 | 30.4183 | 234.4122 | 45.4037 | 60.3144 | 337.7996 | 606.1916 | 456.6692 | 808.2338 | 30.4124 | 233.8844 | 45.1928 | 60.3757 | 332.5523 | 605.9617
0.05 | 0.3 | 0.025 | 0.8 | 491.9061 | 829.7429 | 24.3325 | 250.1343 | 48.462 | 64.4379 | 360.411 | 611.3883 | 491.8907 | 829.7081 | 24.2701 | 250.097 | 48.4825 | 64.3768 | 360.4023 | 611.4115 | 490.2655 | 828.6347 | 24.3302 | 249.7319 | 48.3141 | 64.375 | 357.2206 | 611.2362
0.05 | 0.3 | 0.025 | 0.85 | 524.5085 | 849.4919 | 18.2438 | 265.7203 | 51.4907 | 68.3401 | 383.1363 | 616.5621 | 524.4828 | 849.5212 | 18.2461 | 265.7317 | 51.5103 | 68.3125 | 383.0983 | 616.5806 | 529.4435 | 852.89 | 18.2473 | 266.7864 | 51.9118 | 68.351 | 392.6803 | 616.9734
0.05 | 0.3 | 0.025 | 0.9 | 556.8779 | 869.0149 | 12.1654 | 281.3444 | 54.514 | 72.3831 | 405.4807 | 621.7403 | 556.9162 | 869.0262 | 12.1801 | 281.3091 | 54.5135 | 72.4191 | 405.572 | 621.7286 | 574.2032 | 880.9997 | 12.1636 | 285.048 | 55.9861 | 72.3035 | 438.9315 | 623.1731