## NSGAII results
Pareto Front Results for all sites
Offshore wind farm site | Layout selected | Turbine size [MW] | NWT | CP&A [£] | CI&C [£] | TIC [MW] | CP&C [£] | CO&M (OPEX)[£] | P [MW] | CD&D [£] | CAPEX [£] | Total Cost [£]
Moray Firth Eastern Development Area 1 | layout 1 | 10 | 122 | 2905999330.98 | 868105567.734 | 1220 | 542349117.826 | 307322672.757 | 713.5334 | 365371991.611 | 4316454016.54 | 4989148680.908
Seagreen Alpha | layout 2 | 6 | 70 | 906984637.768 | 685723660.071 | 420 | 229154117.492 | 115563086.063 | 305.0229 | 365329300.846 | 1821862415.331 | 2302754802.24
Norfolk Boreas | layout 2 | 6 | 521 | 12977035463 | 1098706594.27 | 3126 | 1958751772.21 | 3612087515.38 | 2012.8702 | 383807107.83 | 16034493829.48 | 20030388452.69
Seagreen Alpha | layout 1 | 7 | 59 | 883599740.779 | 696018045.657 | 413 | 227201029.111 | 97590070.7355 | 325.3804 | 363801519.177 | 1806818815.547 | 2268210405.4595
Seagreen Alpha | layout 2 | 7 | 259 | 4582124596.78 | 948200189.239 | 1813 | 792789704.775 | 996944713.869 | 1428.3649 | 373550029.676 | 6323114490.794 | 7693609234.339
East Anglia One | layout 2 | 7 | 57 | 803065011.227 | 693496224.221 | 399 | 215827095.501 | 93654614.6459 | 276.0896 | 364474208.675 | 1712388330.949 | 2170517154.2699
Hornsea Project One | layout 3 | 7 | 50 | 750187670.388 | 684669849.196 | 350 | 206085267.976 | 81096384.8333 | 257.0075 | 371523572.37 | 1640942787.56 | 2093562744.7633

## MCDM
Criteria | Exerts
| Expert 1 | Expert 2 | Expert 3 | Expert 4 | Expert 5 | Expert 6 | Expert 7 | Expert 8 | Expert 9 | Expert 10 | Expert 11 | Expert 12 | Expert 13
1. Accessibility | 3 | 4 | 5 | 4 | 3 | 3 | 3 | 3 | 5 | 5 | 4 | 4 | 2
2. Operational environmental conditions | 5 | 2 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 3 | 5
3. Environmental Impact | 5 | 2 | 3 | 5 | 5 | 2 | 2 | 2 | 3 | 4 | 3 | 2 | 4
4. Extreme environmental conditions | 5 | 3 | 5 | 5 | 3 | 4 | 4 | 2 | 3 | 3 | 5 | 3 | 3
5. Grid Connection | 4 | 3 | 5 | 3 | 4 | 5 | 4 | 5 | 4 | 2 | 5 | 4 | 4
6. Geotechnical conditions | 4 | 3 | 5 | 4 | 3 | 4 | 3 | 4 | 3 | 3 | 4 | 4 | 4
7. NPV | 5 | 4 | 3 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 5 | 2
Level of expertise | 5 | 4 | 4 | 2 | 4 | 4 | 5 | 3 | 4 | 5 | 3 | 4 | 3
Criteria | Not at all important | slightly important | moderately important | Very important | Extremely important |  | total
1. Accessibility | 0 | 1 | 5 | 4 | 3 |  | 13
2. Operational environmental conditions | 0 | 1 | 1 | 7 | 4 |  | 13
3. Environmental Impact | 0 | 5 | 3 | 2 | 3 |  | 13
4. Extreme environmental conditions | 0 | 1 | 6 | 2 | 4 |  | 13
5. Grid Connection | 0 | 1 | 2 | 6 | 4 |  | 13
6. Geotechnical conditions | 0 | 0 | 5 | 7 | 1 |  | 13
7. NPV | 0 | 1 | 1 | 4 | 7 |  | 13
TOPSIS
| Zone | Wind farm site name | C* | score
1 | Moray Firth | Moray Firth Eastern Development Area 1 | 0.73368 | 2
2 | Firth of Forth | Seagreen Alpha | 0.81636 | 1
3 | Hornsea | Hornsea Project One | 0.18124 | 5
4 | East Anglia (Norfolk Bank) | East Anglia One | 0.7122 | 3
5 | East Anglia (Norfolk Bank) | Norfolk Boreas | 0.6609 | 4
STOCHASTIC TOPSIS
| Zone | Wind farm site name | % OF RiskXtoP | score
1 | Moray Firth | Moray Firth Eastern Development Area 1 | 21.88% | 2
2 | Firth of Forth | Seagreen Alpha | 64.44% | 1
3 | Hornsea | Hornsea Project One | 0% | 5
4 | East Anglia (Norfolk Bank) | East Anglia One | 10.21% | 3
5 | East Anglia (Norfolk Bank) | Norfolk Boreas | 3.495% | 4