## Sheet3
8 mm radius test piece
Fibre index (curved array) | Depth values/pixels |  | Depth (zero-pad | Reference surface | Actual depth/ | Actual depth/ | Convert to |  | Fibre angle/ | Relative to 1st | Segment | Theoretical depth | Polynomial | Calculated |  | Residuals
| Repeat 1 | Repeat 2 | corrected)/pixels | depth/pixels | pixels | microns | Cartesian coordinates |  | degrees | segment vertex/ | index | from trigonometry/ | representing | fit to depth
[7 empty] | X value | Y value |  | degrees |  | mm | x/y offsets/mm | data/ microns
1 | 377 | 375 | 94 | 41.9 | 52.1 | 349.07 | 246.0925 | 7995.2836 | 0 | 6.5 | 0 | 7.9565 | 378.316 | 359.7941 |  | 10.7241
2 | 386 | 389 | 96.875 | 43 | 53.875 | 360.9625 | 492.6835 | 7995.7978 | 1.763 | 8.263 | 0 | 7.9624 | 377.564 | 364.949 |  | 3.9865
3 | 415 | 414 | 103.625 | 46 | 57.625 | 386.0875 | 740.7582 | 8001.8735 | 3.526 | 10.026 | 0 | 7.9759 | 376.744 | 377.6012 |  | -8.4863
4 | 428 | 432 | 107.5 | 48.4 | 59.1 | 395.97 | 987.7996 | 7985.104 | 5.289 | 11.789 | 0 | 7.997 | 375.856 | 397.8149 |  | 1.8449
5 | 391 | 402 | 99.125 | 42.5 | 56.625 | 379.3875 | 1230.4537 | 7934.5477 | 7.052 | 13.552 | 1 | 7.9802 | 374.9 | 380.1105 |  | 0.72302
6 | 515 | 523 | 129.75 | 74.8 | 54.95 | 368.165 | 1471.9186 | 7881.9049 | 8.815 | 15.315 | 1 | 7.9649 | 373.876 | 363.7953 |  | -4.3697
7 | 397 | 408 | 100.625 | 44.3 | 56.325 | 377.3775 | 1715.6788 | 7841.8898 | 10.578 | 17.078 | 1 | 7.9572 | 372.784 | 354.9894 |  | -22.3881
8 | 395 | 403 | 99.75 | 46.4 | 53.35 | 357.445 | 1951.2664 | 7766.063 | 12.341 | 18.841 | 1 | 7.957 | 371.624 | 353.6563 |  | -3.7887
9 | 457 | 468 | 115.625 | 59.8 | 55.825 | 374.0275 | 2193.8005 | 7718.3066 | 14.104 | 20.604 | 1 | 7.9644 | 370.396 | 359.7952 |  | -14.2323
10 | 432 | 447 | 109.875 | 53.6 | 56.275 | 377.0425 | 2431.13 | 7650.0339 | 15.867 | 22.367 | 1 | 7.9793 | 369.1 | 373.441 |  | -3.6015
11 | 476 | 490 | 120.75 | 66.5 | 54.25 | 363.475 | 2660.8286 | 7558.8209 | 17.63 | 24.13 | 2 | 7.9981 | 367.736 | 390.8492 |  | 27.3742
12 | 535 | 542 | 134.625 | 78.1 | 56.525 | 378.7175 | 2897.6184 | 7487.5972 | 19.393 | 25.893 | 2 | 7.9767 | 366.304 | 367.9629 |  | -10.7546
13 | 437 | 443 | 110 | 53.5 | 56.5 | 378.55 | 3126.5386 | 7394.753 | 21.156 | 27.656 | 2 | 7.9628 | 364.804 | 352.6418 |  | -25.9082
14 | 517 | 527 | 130.5 | 74.3 | 56.2 | 376.54 | 3351.7199 | 7293.2378 | 22.919 | 29.419 | 2 | 7.9566 | 363.236 | 344.8202 |  | -31.7198
15 | 507 | 515 | 127.75 | 70.9 | 56.85 | 380.895 | 3576.4503 | 7190.5687 | 24.682 | 31.182 | 2 | 7.9579 | 361.6 | 344.4685 |  | -36.4265
16 |  |  |  |  | 0 |  |  |  | 26.445 | 32.945 | 2 | 7.9667 | 359.896 | 351.5927
17 | 491 | 498 | 123.625 | 69 | 54.625 | 365.9875 | 4004.4613 | 6944.0871 | 28.208 | 34.708 | 2 | 7.9831 | 358.124 | 366.2347 |  | 0.24719
18 | 492 | 501 | 124.125 | 67.3 | 56.825 | 380.7275 | 4223.9544 | 6830.1386 | 29.971 | 36.471 | 3 | 7.9934 | 356.284 | 374.6478 |  | -6.0797
19 |  |  |  |  | 0 |  |  |  | 31.734 | 38.234 | 3 | 7.9734 | 354.376 | 352.7687
20 | 483 | 491 | 121.75 | 67 | 54.75 | 366.825 | 4627.9943 | 6546.0791 | 33.497 | 39.997 | 3 | 7.961 | 352.4 | 338.4394 |  | -28.3856
21 | 469 | 477 | 118.25 | 68.1 | 50.15 | 336.005 | 4808.6369 | 6375.993 | 35.26 | 41.76 | 3 | 7.9562 | 350.356 | 331.601 |  | -4.404
22 |  |  |  |  | 0 |  |  |  | 37.023 | 43.523 | 3 | 7.959 | 348.244 | 332.2308
23 | 434 | 441 | 109.375 | 61 | 48.375 | 324.1125 | 5183.934 | 6059.15 | 38.786 | 45.286 | 3 | 7.9693 | 346.064 | 340.3418 |  | 16.2293
24 | 444 | 454 | 112.25 | 62.1 | 50.15 | 336.005 | 5375.8963 | 5905.5918 | 40.549 | 47.049 | 3 | 7.9872 | 343.816 | 355.983 |  | 19.978
25 | 441 | 456 | 112.125 | 62.5 | 49.625 | 332.4875 | 5552.5912 | 5734.879 | 42.312 | 48.812 | 4 | 7.9889 | 341.5 | 355.4028 |  | 22.9153
26 | 466 | 480 | 118.25 | 67.4 | 50.85 | 340.695 | 5732.2851 | 5567.0562 | 44.075 | 50.575 | 4 | 7.9704 | 339.116 | 334.5275 |  | -6.1675
27 | 498 | 520 | 127.25 | 79.3 | 47.95 | 321.265 | 5886.4946 | 5374.9649 | 45.838 | 52.338 | 4 | 7.9595 | 336.664 | 321.1876 |  | -0.07739
28 | 618 | 639 | 157.125 | 111.9 | 45.225 | 303.0075 | 6035.2148 | 5179.4314 | 47.601 | 54.101 | 4 | 7.9562 | 334.144 | 315.3315 |  | 12.324
29 | 508 | 520 | 128.5 | 80 | 48.5 | 324.95 | 6208.787 | 5005.0766 | 49.364 | 55.864 | 4 | 7.9604 | 331.556 | 316.9434 |  | -8.0066
30 | 436 | 455 | 111.375 | 61.3 | 50.075 | 335.5025 | 6368.2453 | 4818.06 | 51.127 | 57.627 | 4 | 7.9721 | 328.9 | 326.0431 |  | -9.4594
31 |  |  |  |  | 0 |  |  |  | 52.89 | 59.39 | 4 | 7.9915 | 326.176 | 342.6866
32 | 471 | 490 | 120.125 | 69.5 | 50.625 | 339.1875 | 6655.5764 | 4419.3234 | 54.653 | 61.153 | 5 | 7.9847 | 323.384 | 333.1135 |  | -6.074
33 | 538 | 548 | 135.75 | 89.8 | 45.95 | 307.865 | 6761.7725 | 4195.9562 | 56.416 | 62.916 | 5 | 7.9677 | 320.524 | 313.2385 |  | 5.3735
34 | 458 | 469 | 115.875 | 67.3 | 48.575 | 325.4525 | 6902.8832 | 3994.7524 | 58.179 | 64.679 | 5 | 7.9583 | 317.596 | 300.8863 |  | -24.5662
35 | 467 | 481 | 118.5 | 72.5 | 46 | 308.2 | 7007.3237 | 3772.3152 | 59.942 | 66.442 | 5 | 7.9564 | 314.6 | 296.0119 |  | -12.1881
36 | 627 | 637 | 158 | 112 | 46 | 308.2 | 7120.0625 | 3554.9483 | 61.705 | 68.205 | 5 | 7.9621 | 311.536 | 298.6066 |  | -9.5934
37 | 498 | 512 | 126.25 | 79.4 | 46.85 | 313.895 | 7231.2317 | 3336.6017 | 63.468 | 69.968 | 5 | 7.9753 | 308.404 | 308.6971 |  | -5.1979
38 | 576 | 588 | 145.5 | 97.1 | 48.4 | 324.28 | 7340.0188 | 3116.6112 | 65.231 | 71.731 | 5 | 7.9961 | 305.204 | 326.3464 |  | 2.0664
39 | 546 | 553 | 137.375 | 92.8 | 44.575 | 298.6525 | 7408.5412 | 2880.0336 | 66.994 | 73.494 | 6 | 7.9808 | 301.936 | 307.7791 |  | 9.1266
40 | 509 | 521 | 128.75 | 85.3 | 43.45 | 291.115 | 7486.5329 | 2648.2319 | 68.757 | 75.257 | 6 | 7.9653 | 298.6 | 288.9015 |  | -2.2135
41 | 575 | 590 | 145.625 | 103.8 | 41.825 | 280.2275 | 7554.0913 | 2413.3407 | 70.52 | 77.02 | 6 | 7.9573 | 295.196 | 277.5351 |  | -2.6924
42 | 581 | 597 | 147.25 | 105.5 | 41.75 | 279.725 | 7624.2791 | 2179.6575 | 72.283 | 78.783 | 6 | 7.9569 | 291.724 | 273.6422 |  | -6.0828
43 | 508 | 522 | 128.75 | 84.9 | 43.85 | 293.795 | 7701.3682 | 1947.5131 | 74.046 | 80.546 | 6 | 7.964 | 288.184 | 277.2206 |  | -16.5744
44 | 521 | 534 | 131.875 | 85 | 46.875 | 314.0625 | 7777.4307 | 1714.0195 | 75.809 | 82.309 | 6 | 7.9787 | 284.576 | 288.3043 |  | -25.7582
45 | 676 | 695 | 171.375 | 126.9 | 44.475 | 297.9825 | 7810.6791 | 1470.9584 | 77.572 | 84.072 | 7 | 7.9989 | 280.9 | 304.8498 |  | 6.8673
46 | 541 | 554 | 136.875 | 96.5 | 40.375 | 270.5125 | 7825.097 | 1225.7144 | 79.335 | 85.835 | 7 | 7.9772 | 277.156 | 279.3988 |  | 8.8863
47 | 491 | 507 | 124.75 | 83.6 | 41.15 | 275.705 | 7864.2544 | 985.0393 | 81.098 | 87.598 | 7 | 7.9632 | 273.344 | 261.5159 |  | -14.1891
48 |  |  |  |  | 0 |  |  |  | 82.861 | 89.361 | 7 | 7.9567 | 269.464 | 251.134
49 | 498 | 505 | 125.375 | 86.8 | 38.575 | 258.4525 | 7892.7303 | 498.4265 | 84.624 | 91.124 | 7 | 7.9577 | 265.516 | 248.2224 |  | -10.2301
| 1 pixel in depth = 6.7 microns | [13 empty] | SD= | 14.0228
In x and y value columns, 0.03077 is the angle in radians between successive fibres of arc.
Angle per segment 12 degrees.
Angle added in column O is adjusted for best fit.

## Sheet4
12.5 mm radius test piece
Fibre index (curved array) | Depth values/pixels |  | Depth (zero-pad | Reference surface | Actual depth/ | Actual depth/ | Convert to |  | Fibre angle/ | Relative to 1st | Segment | Theoretical depth | Polynomial | Calculated |  | Residuals
| Repeat 1 | Repeat 2 | corrected)/pixels | depth/pixels | pixels | microns | Cartesian coordinates |  | degrees | segment vertex/ | index | from trigonometry/ | representing | fit to depth
[7 empty] | X value | Y value |  | degrees |  | mm | x/y offsets/mm | data/ microns
1 | 392 | 374 | 95.75 | 41.9 | 53.85 | 360.795 | 384.8964 | 12504.8729 | 0 | 7.5 | 0 | 12.4358 | 420.385 | 356.1701 |  | -4.6249
2 | 399 | 399 | 99.75 | 43 | 56.75 | 380.225 | 770.6234 | 12506.5054 | 1.763 | 9.263 | 0 | 12.4517 | 422.54 | 374.2506 |  | -5.9744
3 | 418 | 411 | 103.625 | 46 | 57.625 | 386.0875 | 1155.5635 | 12482.7146 | 3.526 | 11.026 | 0 | 12.4795 | 424.465 | 403.9718 |  | 17.8843
4 | 435 | 435 | 108.75 | 48.4 | 60.35 | 404.345 | 1541.2905 | 12459.3741 | 5.289 | 12.789 | 1 | 12.4831 | 426.16 | 409.2767 |  | 4.9317
5 | 404 | 411 | 101.875 | 42.5 | 59.375 | 397.8125 | 1922.8743 | 12399.6029 | 7.052 | 14.552 | 1 | 12.4541 | 427.625 | 381.6931 |  | -16.1194
6 | 517 | 531 | 131 | 74.8 | 56.2 | 376.54 | 2299.5346 | 12313.665 | 8.815 | 16.315 | 1 | 12.4369 | 428.86 | 365.7615 |  | -10.7785
7 | 405 | 421 | 103.25 | 44.3 | 58.95 | 394.965 | 2681.2157 | 12255.0899 | 10.578 | 18.078 | 1 | 12.4315 | 429.865 | 361.4002 |  | -33.5648
8 | 397 | 419 | 102 | 46.4 | 55.6 | 372.52 | 3051.5067 | 12145.0325 | 12.341 | 19.841 | 1 | 12.4379 | 430.64 | 368.5838 |  | -3.9362
9 | 460 | 480 | 117.5 | 59.8 | 57.7 | 386.59 | 3427.5527 | 12058.9374 | 14.104 | 21.604 | 1 | 12.4562 | 431.185 | 387.3427 |  | 0.75271
10 | 432 | 453 | 110.625 | 53.6 | 57.025 | 382.0675 | 3795.5555 | 11943.4699 | 15.867 | 23.367 | 1 | 12.4863 | 431.5 | 417.7634 |  | 35.6959
11 | 482 | 503 | 123.125 | 66.5 | 56.625 | 379.3875 | 4160.3115 | 11818.5176 | 17.63 | 25.13 | 2 | 12.4766 | 431.585 | 408.1505 |  | 28.763
12 | 545 | 560 | 138.125 | 78.1 | 60.025 | 402.1675 | 4530.1621 | 11706.1753 | 19.393 | 26.893 | 2 | 12.4498 | 431.44 | 381.2642 |  | -20.9033
13 | 443 | 462 | 113.125 | 53.5 | 59.625 | 399.4875 | 4887.1162 | 11558.7946 | 21.156 | 28.656 | 2 | 12.4349 | 431.065 | 366.0096 |  | -33.4779
14 | 527 | 541 | 133.5 | 74.3 | 59.2 | 396.64 | 5239.2218 | 11400.3829 | 22.919 | 30.419 | 2 | 12.4319 | 430.46 | 362.3161 |  | -34.3239
15 | 505 | 531 | 129.5 | 70.9 | 58.6 | 392.62 | 5585.6859 | 11230.2017 | 24.682 | 32.182 | 2 | 12.4405 | 429.625 | 370.169 |  | -22.451
16 | [8 empty] | 26.445 | 33.945 | 2 | 12.461 | 428.56 | 389.6095
17 | 510 | 530 | 130 | 69 | 61 | 408.7 | 6273.8157 | 10879.3466 | 28.208 | 35.708 | 2 | 12.4935 | 427.265 | 420.7352 |  | 12.0352
18 | 511 | 525 | 129.5 | 67.3 | 62.2 | 416.74 | 6609.7794 | 10688.02 | 29.971 | 37.471 | 3 | 12.4705 | 425.74 | 396.2028 |  | -20.5372
19 | [8 empty] | 31.734 | 39.234 | 3 | 12.446 | 423.985 | 370.0089
20 | 481 | 509 | 122.375 | 67 | 55.375 | 371.0125 | 7228.195 | 10223.9401 | 33.497 | 40.997 | 3 | 12.4334 | 422 | 355.4287 |  | -15.5838
21 | 478 | 501 | 122.375 | 68.1 | 54.275 | 363.6425 | 7534.8768 | 9990.8398 | 35.26 | 42.76 | 3 | 12.4326 | 419.785 | 352.4024 |  | -11.2401
22 | [8 empty] | 37.023 | 44.523 | 3 | 12.4436 | 417.34 | 360.9261
23 | 463 | 486 | 118.625 | 61 | 57.625 | 386.0875 | 8149.653 | 9525.5785 | 38.786 | 46.286 | 3 | 12.4664 | 414.665 | 381.0519 |  | -5.0356
24 | 483 | 508 | 123.875 | 62.1 | 61.775 | 413.8925 | 8457.5684 | 9290.9058 | 40.549 | 48.049 | 4 | 12.4989 | 411.76 | 410.6411 |  | -3.2514
25 | 460 | 490 | 118.75 | 62.5 | 56.25 | 376.875 | 8713.6518 | 8999.715 | 42.312 | 49.812 | 4 | 12.4648 | 408.625 | 373.4323 |  | -3.4427
26 | 476 | 512 | 123.5 | 67.4 | 56.1 | 375.87 | 8985.6837 | 8726.678 | 44.075 | 51.575 | 4 | 12.4427 | 405.26 | 347.9266 |  | -27.9434
27 | 510 | 542 | 131.5 | 79.3 | 52.2 | 349.74 | 9230.6117 | 8428.482 | 45.838 | 53.338 | 4 | 12.4324 | 401.665 | 334.0185 |  | -15.7215
28 | 637 | 661 | 162.25 | 111.9 | 50.35 | 337.345 | 9476.1397 | 8132.4389 | 47.601 | 55.101 | 4 | 12.4338 | 397.84 | 331.6593 |  | -5.6857
29 | 517 | 543 | 132.5 | 80 | 52.5 | 351.75 | 9733.0645 | 7846.0951 | 49.364 | 56.864 | 4 | 12.4471 | 393.785 | 340.8557 |  | -10.8943
30 | 458 | 484 | 117.75 | 61.3 | 56.45 | 378.215 | 9990.9487 | 7558.9096 | 51.127 | 58.627 | 4 | 12.4722 | 389.5 | 361.6708 |  | -16.5442
31 | [8 empty] | 52.89 | 60.39 | 5 | 12.4914 | 384.985 | 376.3379
32 | 475 | 509 | 123 | 69.5 | 53.5 | 358.45 | 10420.452 | 6919.2124 | 54.653 | 62.153 | 5 | 12.4596 | 380.24 | 339.8381 |  | -18.6119
33 | 534 | 563 | 137.125 | 89.8 | 47.325 | 317.0775 | 10593.2359 | 6573.5359 | 56.416 | 63.916 | 5 | 12.4398 | 375.265 | 315.0165 |  | -2.061
34 | 455 | 480 | 116.875 | 67.3 | 49.575 | 332.1525 | 10803.5049 | 6252.0726 | 58.179 | 65.679 | 5 | 12.4317 | 370.06 | 301.7788 |  | -30.3737
35 | 458 | 487 | 118.125 | 72.5 | 45.625 | 305.6875 | 10967.4341 | 5904.1969 | 59.942 | 67.442 | 5 | 12.4355 | 364.625 | 300.0869 |  | -5.6006
36 | 624 | 646 | 158.75 | 112 | 46.75 | 313.225 | 11150.6297 | 5567.3544 | 61.705 | 69.205 | 5 | 12.451 | 358.96 | 309.9584 |  | -3.2666
37 | 504 | 526 | 128.75 | 79.4 | 49.35 | 330.645 | 11332.4493 | 5228.9667 | 63.468 | 70.968 | 5 | 12.4784 | 353.065 | 331.4673 |  | 0.82231
38 | 564 | 584 | 143.5 | 97.1 | 46.4 | 310.88 | 11469.762 | 4870.1223 | 65.231 | 72.731 | 6 | 12.4843 | 346.94 | 331.2156 |  | 20.3356
39 | 522 | 547 | 133.625 | 92.8 | 40.825 | 273.5275 | 11579.3483 | 4501.4141 | 66.994 | 74.494 | 6 | 12.4548 | 340.585 | 295.4192 |  | 21.8917
40 | 481 | 501 | 122.75 | 85.3 | 37.45 | 250.915 | 11691.0357 | 4135.5021 | 68.757 | 76.257 | 6 | 12.4373 | 334 | 271.2782 |  | 20.3632
41 | 551 | 571 | 140.25 | 103.8 | 36.45 | 244.215 | 11806.3487 | 3771.8292 | 70.52 | 78.02 | 6 | 12.4315 | 327.185 | 258.7094 |  | 14.4944
42 | 561 | 580 | 142.625 | 105.5 | 37.125 | 248.7375 | 11921.1492 | 3408.0629 | 72.283 | 79.783 | 6 | 12.4375 | 320.14 | 257.6855 |  | 8.948
43 | 489 | 507 | 124.5 | 84.9 | 39.6 | 265.32 | 12036.4322 | 3043.7591 | 74.046 | 81.546 | 6 | 12.4554 | 312.865 | 268.2349 |  | 2.9149
44 | 512 | 532 | 130.5 | 85 | 45.5 | 304.85 | 12162.98 | 2680.5234 | 75.809 | 83.309 | 6 | 12.4851 | 305.36 | 290.4425 |  | -14.4075
45 | 677 | 687 | 170.5 | 126.9 | 43.6 | 292.12 | 12227.1792 | 2302.7027 | 77.572 | 85.072 | 7 | 12.4776 | 297.625 | 275.2731 |  | -16.8469
46 | 531 | 544 | 134.375 | 96.5 | 37.875 | 253.7625 | 12254.3389 | 1919.5059 | 79.335 | 86.835 | 7 | 12.4505 | 289.66 | 240.1747 |  | -13.5878
47 | 481 | 497 | 122.25 | 83.6 | 38.65 | 258.955 | 12312.7443 | 1542.2361 | 81.098 | 88.598 | 7 | 12.4352 | 281.465 | 216.7114 |  | -42.2436
48 | [8 empty] | 82.861 | 90.361 | 7 | 12.4318 | 273.04 | 204.8104
49 | 488 | 503 | 123.875 | 86.8 | 37.075 | 248.4025 | 12373.7542 | 781.4035 | 84.624 | 92.124 | 7 | 12.4401 | 264.385 | 204.4556 |  | -43.9469
1 pixel in depth = 6.7 microns | [14 empty] | SD= | 18.2397
In x and y value columns, 0.03077 is the angle in radians between successive fibres of arc.
Angle per segment 12 degrees.
Angle added in column O is adjusted for best fit.

## Sheet2
18 mm radius test piece
Fibre index (curved array) | Depth values/pixels |  | Depth (zero-pad | Reference surface | Actual depth/ | Actual depth/ | Convert to |  | Fibre angle/ | Relative to 1st | Segment | Theoretical depth | Polynomial | Calculated |  | Residuals of fit
| Repeat 1 | Repeat 2 | corrected)/pixels | depth/pixels | pixels | microns | Cartesian coordinates |  | degrees | segment vertex/ | index | from trigonometry/ | representing | fit to depth
[7 empty] | X value | Y value |  | degrees |  | mm | x/y offsets/mm | data/ microns
1 | 477 | 484 | 120.125 | 41.9 | 78.225 | 524.1075 | -12.3468 | 13.131 | 0 | 2.8 | 0 | 17.9294 | 599.1 | 528.4502 |  | 4.3427
2 | 468 | 468 | 117 | 43 | 74 | 495.8 | -11.9183 | 13.4835 | 1.763 | 4.563 | 0 | 17.907 | 593.2 | 500.2258 |  | 4.4258
3 | 468 | 466 | 116.75 | 46 | 70.75 | 474.025 | -11.4839 | 13.827 | 3.526 | 6.326 | 0 | 17.9017 | 587.3 | 488.9839 |  | 14.9589
4 | 485 | 488 | 121.625 | 48.4 | 73.225 | 490.6075 | -11.0633 | 14.1868 | 5.289 | 8.089 | 0 | 17.9133 | 581.4 | 494.6991 |  | 4.0916
5 | 464 | 465 | 116.125 | 42.5 | 73.625 | 493.2875 | -10.6231 | 14.5226 | 7.052 | 9.852 | 0 | 17.9419 | 575.5 | 517.4266 |  | 24.1391
6 | 605 | 605 | 151.25 | 74.8 | 76.45 | 512.215 | -10.182 | 14.8582 | 8.815 | 11.615 | 0 | 17.9877 | 569.6 | 557.3024 |  | 45.0874
7 | 500 | 501 | 125.125 | 44.3 | 80.825 | 541.5275 | -9.7359 | 15.1891 | 10.578 | 13.378 | 1 | 17.9598 | 563.7 | 523.4992 |  | -18.0283
8 | 469 | 472 | 117.625 | 46.4 | 71.225 | 477.2075 | -9.231 | 15.4262 | 12.341 | 15.141 | 1 | 17.9237 | 557.8 | 481.5037 |  | 4.2962
9 | 512 | 505 | 127.125 | 59.8 | 67.325 | 451.0775 | -8.7393 | 15.6801 | 14.104 | 16.904 | 1 | 17.9047 | 551.9 | 456.5698 |  | 5.4923
10 | 484 | 482 | 120.75 | 53.6 | 67.15 | 449.905 | -8.2522 | 15.9405 | 15.867 | 18.667 | 1 | 17.9026 | 546 | 448.6072 |  | -1.2978
11 | 529 | 529 | 132.25 | 66.5 | 65.75 | 440.525 | -7.7538 | 16.1784 | 17.63 | 20.43 | 1 | 17.9175 | 540.1 | 457.6061 |  | 17.0811
12 | 603 | 603 | 150.75 | 78.1 | 72.65 | 486.755 | -7.2711 | 16.4516 | 19.393 | 22.193 | 1 | 17.9494 | 534.2 | 483.6373 |  | -3.1177
13 | 540 | 545 | 135.625 | 53.5 | 82.125 | 550.2375 | -6.7854 | 16.7263 | 21.156 | 23.956 | 1 | 17.9986 | 528.3 | 526.8526 |  | -23.3849
14 | 593 | 598 | 148.875 | 74.3 | 74.575 | 499.6525 | -6.2501 | 16.8797 | 22.919 | 25.719 | 2 | 17.9515 | 522.4 | 473.8798 |  | -25.7727
15 | 562 | 561 | 140.375 | 70.9 | 69.475 | 465.4825 | -5.7169 | 17.0316 | 24.682 | 27.482 | 2 | 17.9187 | 516.5 | 435.1952 |  | -30.2873
16 | [8 empty] | 26.445 | 29.245 | 2 | 17.9029 | 510.6 | 413.5484
17 | 522 | 518 | 130 | 69 | 61 | 408.7 | -4.6439 | 17.2961 | 28.208 | 31.008 | 2 | 17.9042 | 504.7 | 408.8648 |  | 0.16481
18 | 532 | 533 | 133.125 | 67.3 | 65.825 | 441.0275 | -4.117 | 17.4623 | 29.971 | 32.771 | 2 | 17.9224 | 498.8 | 421.1501 |  | -19.8774
19 | [8 empty] | 31.734 | 34.534 | 2 | 17.9576 | 492.9 | 450.4906
20 | 570 | 564 | 141.75 | 67 | 74.75 | 500.825 | -3.0454 | 17.7413 | 33.497 | 36.297 | 2 | 18.0101 | 487 | 497.0542 |  | -3.7708
21 | 538 | 531 | 133.625 | 68.1 | 65.525 | 439.0175 | -2.4896 | 17.7654 | 35.26 | 38.06 | 3 | 17.9438 | 481.1 | 424.9034 |  | -14.1141
22 | [8 empty] | 37.023 | 39.823 | 3 | 17.9143 | 475.2 | 389.5239
23 | 467 | 471 | 117.25 | 61 | 56.25 | 376.875 | -1.3874 | 17.823 | 38.786 | 41.586 | 3 | 17.9019 | 469.3 | 371.1614 |  | -5.7136
24 | 485 | 482 | 120.875 | 62.1 | 58.775 | 393.7925 | -0.83924 | 17.8741 | 40.549 | 43.349 | 3 | 17.9064 | 463.4 | 369.757 |  | -24.0355
25 | 485 | 489 | 121.75 | 62.5 | 59.25 | 396.975 | -0.28899 | 17.8946 | 42.312 | 45.112 | 3 | 17.9278 | 457.5 | 385.3319 |  | -11.6431
26 | 536 | 527 | 132.875 | 67.4 | 65.475 | 438.6825 | 0.26229 | 17.9368 | 44.075 | 46.875 | 3 | 17.9664 | 451.6 | 417.988 |  | -20.6945
27 | 574 | 574 | 143.5 | 79.3 | 64.2 | 430.14 | 0.8136 | 17.9117 | 45.838 | 48.638 | 4 | 17.9801 | 445.7 | 425.772 |  | -4.368
28 | 676 | 677 | 169.125 | 111.9 | 57.225 | 383.4075 | 1.3607 | 17.8316 | 47.601 | 50.401 | 4 | 17.9368 | 439.8 | 376.5686 |  | -6.8389
29 | 533 | 528 | 132.625 | 80 | 52.625 | 352.5875 | 1.9054 | 17.7506 | 49.364 | 52.164 | 4 | 17.9106 | 433.9 | 344.4889 |  | -8.0986
30 | 457 | 453 | 113.75 | 61.3 | 52.45 | 351.415 | 2.4504 | 17.6824 | 51.127 | 53.927 | 4 | 17.9014 | 428 | 329.4086 |  | -22.0064
31 | [8 empty] | 52.89 | 55.69 | 4 | 17.9092 | 422.1 | 331.2842
32 | 513 | 509 | 127.75 | 69.5 | 58.25 | 390.275 | 3.541 | 17.5364 | 54.653 | 57.453 | 4 | 17.934 | 416.2 | 350.1525 |  | -40.1225
33 | 591 | 587 | 147.25 | 89.8 | 57.45 | 384.915 | 4.0776 | 17.4139 | 56.416 | 59.216 | 4 | 17.9758 | 410.3 | 386.1311 |  | 1.2161
34 | 517 | 519 | 129.5 | 67.3 | 62.2 | 416.74 | 4.6196 | 17.311 | 58.179 | 60.979 | 5 | 17.9704 | 404.4 | 374.752 |  | -41.988
35 | 495 | 491 | 123.25 | 72.5 | 50.75 | 340.025 | 5.1279 | 17.0872 | 59.942 | 62.742 | 5 | 17.9304 | 398.5 | 328.8742 |  | -11.1508
36 | 628 | 627 | 156.875 | 112 | 44.875 | 300.6625 | 5.6387 | 16.884 | 61.705 | 64.505 | 5 | 17.9075 | 392.6 | 300.0897 |  | -0.57277
37 | 509 | 504 | 126.625 | 79.4 | 47.225 | 316.4075 | 6.1609 | 16.7173 | 63.468 | 66.268 | 5 | 17.9016 | 386.7 | 288.2899 |  | -28.1176
38 | 572 | 573 | 143.125 | 97.1 | 46.025 | 308.3675 | 6.6693 | 16.5124 | 65.231 | 68.031 | 5 | 17.9126 | 380.8 | 293.4469 |  | -14.9206
39 | 549 | 544 | 136.625 | 92.8 | 43.825 | 293.6275 | 7.1682 | 16.2859 | 66.994 | 69.794 | 5 | 17.9407 | 374.9 | 315.6129 |  | 21.9854
40 | 536 | 534 | 133.75 | 85.3 | 48.45 | 324.615 | 7.6792 | 16.0856 | 68.757 | 71.557 | 5 | 17.9859 | 369 | 354.9216 |  | 30.3066
41 | 593 | 589 | 147.75 | 103.8 | 43.95 | 294.465 | 8.1566 | 15.8149 | 70.52 | 73.32 | 6 | 17.9613 | 363.1 | 324.3783 |  | 29.9133
42 | 578 | 578 | 144.5 | 105.5 | 39 | 261.3 | 8.6232 | 15.5275 | 72.283 | 75.083 | 6 | 17.9246 | 357.2 | 281.819 |  | 20.519
43 | 489 | 489 | 122.25 | 84.9 | 37.35 | 250.245 | 9.0912 | 15.2454 | 74.046 | 76.846 | 6 | 17.905 | 351.3 | 256.3257 |  | 6.0807
44 | 483 | 492 | 121.875 | 85 | 36.875 | 247.0625 | 9.5542 | 14.9558 | 75.809 | 78.609 | 6 | 17.9024 | 345.4 | 247.8054 |  | 0.74289
45 | 676 | 677 | 169.125 | 126.9 | 42.225 | 282.9075 | 10.03 | 14.6844 | 77.572 | 80.372 | 6 | 17.9167 | 339.5 | 256.2456 |  | -26.6619
46 | 549 | 547 | 137 | 96.5 | 40.5 | 271.35 | 10.4702 | 14.3595 | 79.335 | 82.135 | 6 | 17.9481 | 333.6 | 281.7145 |  | 10.3645
47 | 515 | 511 | 128.25 | 83.6 | 44.65 | 299.155 | 10.9241 | 14.0525 | 81.098 | 83.898 | 6 | 17.9967 | 327.7 | 324.3612 |  | 25.2062
48 | [8 empty] | 82.861 | 85.661 | 7 | 17.9528 | 321.8 | 274.6494
49 | 510 | 508 | 127.25 | 86.8 | 40.45 | 271.015 | 11.7491 | 13.333 | 84.624 | 87.424 | 7 | 17.9195 | 315.9 | 235.4021 |  | -35.6129
1 pixel in depth = 6.7 microns | [14 empty] | SD= | 19.8957
In x and y value columns, 0.03077 is the angle in radians between successive fibres of arc.
Angle per segment 12 degrees.
Angle added in column O is adjusted for best fit.

## Sheet6
25 mm radius test piece | [8 empty] | More segments now, so in columns below I have interpolated points to smooth the fit.
Fibre index (curved array) | Depth values/pixels |  | Depth (zero-pad | Reference surface | Actual depth/ | Actual depth/ | Convert to |  | Interpolated | Fibre angle/ | Relative to 1st | Segment | Theoretical depth | Polynomial | Calculated |  | Residuals
| Repeat 1 | Repeat 2 | corrected)/pixels | depth/pixels | pixels | microns | Cartesian coordinates |  | index | degrees | segment vertex/ | index | from trigonometry/ | representing | fit to depth
[7 empty] | X value | Y value |  |  | degrees |  | mm | x/y offsets/mm | data/ microns
1 | 215 | 205 | 52.5 | 41.9 | 10.6 | 71.02 | 768.237 | 24959.1997 | 1 | 0 | -0.2 | 0 | 25.0064 | 93.818 | 100.212 |  | 29.192
2 | 222 | 205 | 53.375 | 43 | 10.375 | 69.5125 | 1535.6541 | 24922.2455 | 1.5 | 0.8815 | 0.6815 | 0 | 24.9805 | 93.203 | 73.7242
3 | 219 | 194 | 51.625 | 46 | 5.625 | 37.6875 | 2298.7301 | 24831.5142 | 2 | 1.763 | 1.563 | 0 | 24.9606 | 92.588 | 53.192 |  | -16.3205
4 | 242 | 207 | 56.125 | 48.4 | 7.725 | 51.7575 | 3063.3144 | 24763.0028 | 2.5 | 2.6445 | 2.4445 | 0 | 24.9466 | 91.973 | 38.5915
5 | 209 |  | 52.25 | 42.5 | 9.75 | 65.325 | 3825.7809 | 24670.4449 | 3 | 3.526 | 3.326 | 0 | 24.9385 | 91.358 | 29.9062 |  | -7.7813
6 | 333 |  | 83.25 | 74.8 | 8.45 | 56.615 | 4581.3608 | 24532.5043 | 3.5 | 4.4075 | 4.2075 | 0 | 24.9364 | 90.743 | 27.1266
7 | 210 | 205 | 51.875 | 44.3 | 7.575 | 50.7525 | 5332.6852 | 24374.2183 | 4 | 5.289 | 5.089 | 0 | 24.9401 | 90.128 | 30.2501 |  | -21.5074
8 | 202 | 187 | 48.625 | 46.4 | 2.225 | 14.9075 | 6071.3025 | 24163.8553 | 4.5 | 6.1705 | 5.9705 | 0 | 24.9498 | 89.513 | 39.2811
9 | 267 | 250 | 64.625 | 59.8 | 4.825 | 32.3275 | 6816.5958 | 23982.3889 | 5 | 7.052 | 6.852 | 0 | 24.9653 | 88.898 | 54.231 |  | -11.094
10 | 243 | 238 | 60.125 | 53.6 | 6.525 | 43.7175 | 7554.6405 | 23772.1781 | 5.5 | 7.9335 | 7.7335 | 0 | 24.9868 | 88.283 | 75.1183
11 | 287 | 288 | 71.875 | 66.5 | 5.375 | 36.0125 | 8279.8605 | 23521.2378 | 6 | 8.815 | 8.615 | 1 | 24.9872 | 87.668 | 74.8232 |  | 18.2082
12 | 332 | 337 | 83.625 | 78.1 | 5.525 | 37.0175 | 8999.9382 | 23256.31 | 6.5 | 9.6965 | 9.4965 | 1 | 24.9656 | 87.053 | 52.6282
13 | 233 | 233 | 58.25 | 53.5 | 4.75 | 31.825 | 9709.1396 | 22963.6344 | 7 | 10.578 | 10.378 | 1 | 24.9499 | 86.438 | 36.371 |  | -14.3815
14 | 312 | 317 | 78.625 | 74.3 | 4.325 | 28.9775 | 10409.8342 | 22651.4739 | 7.5 | 11.4595 | 11.2595 | 1 | 24.9402 | 85.823 | 26.0329
15 | 320 | 294 | 76.75 | 70.9 | 5.85 | 39.195 | 11106.3327 | 22329.64 | 8 | 12.341 | 12.141 | 1 | 24.9364 | 85.208 | 21.6024 |  | 6.6949
16 | [8 empty] | 8.5 | 13.2225 | 13.0225 | 1 | 24.9385 | 84.593 | 23.075
17 | 285 | 289 | 71.75 | 69 | 2.75 | 18.425 | 12448.2315 | 21586.3252 | 9 | 14.104 | 13.904 | 1 | 24.9465 | 83.978 | 30.4531 |  | -1.8744
18 | 292 | 296 | 73.5 | 67.3 | 6.2 | 41.54 | 13118.6033 | 21212.7948 | 9.5 | 14.9855 | 14.7855 | 1 | 24.9604 | 83.363 | 43.7464
19 | [8 empty] | 10 | 15.867 | 15.667 | 1 | 24.9802 | 82.748 | 62.9711 |  | -13.2644
20 | 311 | 319 | 78.75 | 67 | 11.75 | 78.725 | 14419.8479 | 20396.193 | 10.5 | 16.7485 | 16.5485 | 2 | 24.9943 | 82.133 | 76.3884
21 | 277 | 301 | 72.25 | 68.1 | 4.15 | 27.805 | 15009.8533 | 19902.2553 | 11 | 17.63 | 17.43 | 2 | 24.971 | 81.518 | 52.5288 |  | 16.5163
22 | [8 empty] | 11.5 | 18.5115 | 18.3115 | 2 | 24.9537 | 80.903 | 34.6133
23 | 248 | 256 | 63 | 61 | 2 | 13.4 | 16196.0871 | 18930.5114 | 12 | 19.393 | 19.193 | 2 | 24.9423 | 80.288 | 22.6214 |  | -14.3961
24 | 262 | 282 | 68 | 62.1 | 5.9 | 39.53 | 16788.4103 | 18442.5985 | 12.5 | 20.2745 | 20.0745 | 2 | 24.9369 | 79.673 | 16.5397
25 | 263 | 281 | 68 | 62.5 | 5.5 | 36.85 | 17345.9883 | 17915.4452 | 13 | 21.156 | 20.956 | 2 | 24.9373 | 79.058 | 16.3616 |  | -15.4634
26 | 279 | 295 | 71.75 | 67.4 | 4.35 | 29.145 | 17883.4214 | 17367.9449 | 13.5 | 22.0375 | 21.8375 | 2 | 24.9436 | 78.443 | 22.0877
27 | 310 | 330 | 80 | 79.3 | 0.7 | 4.69 | 18391.2243 | 16793.0478 | 14 | 22.919 | 22.719 | 2 | 24.9559 | 77.828 | 33.7255 |  | 4.748
28 | 441 | 463 | 113 | 111.9 | 1.1 | 7.37 | 18901.1929 | 16221.0353 | 14.5 | 23.8005 | 23.6005 | 2 | 24.9741 | 77.213 | 51.2895
29 | 331 | 360 | 86.375 | 80 | 6.375 | 42.7125 | 19418.8038 | 15654.0399 | 15 | 24.682 | 24.482 | 3 | 25.0018 | 76.598 | 78.4206 |  | 39.2256
30 | 256 | 271 | 65.875 | 61.3 | 4.575 | 30.6525 | 19881.593 | 15041.9312 | 15.5 | 25.5635 | 25.3635 | 3 | 24.9769 | 75.983 | 52.8941
31 | [8 empty] | 16 | 26.445 | 26.245 | 3 | 24.958 | 75.368 | 33.3188
32 | 275 | 302 | 72.125 | 69.5 | 2.625 | 17.5875 | 20758.1695 | 13783.4889 | 16.5 | 27.3265 | 27.1265 | 3 | 24.9449 | 74.753 | 19.6721
33 | 361 | 389 | 93.75 | 89.8 | 3.95 | 26.465 | 21179.9377 | 13143.0171 | 17 | 28.208 | 28.008 | 3 | 24.9378 | 74.138 | 11.9386 |  | -6.4864
34 | 285 | 320 | 75.625 | 67.3 | 8.325 | 55.7775 | 21599.6292 | 12499.8739 | 17.5 | 29.0895 | 28.8895 | 3 | 24.9366 | 73.523 | 10.1099
35 | 287 | 317 | 75.5 | 72.5 | 3 | 20.1 | 21942.5506 | 11812.5296 | 18 | 29.971 | 29.771 | 3 | 24.9413 | 72.908 | 14.1845 |  | -27.3555
36 | 427 | 460 | 110.875 | 112 | -1.125 | -7.5375 | 22270.8513 | 11119.5265 | 18.5 | 30.8525 | 30.6525 | 3 | 24.9519 | 72.293 | 24.1681
37 | 310 | 344 | 81.75 | 79.4 | 2.35 | 15.745 | 22623.5436 | 10438.8516 | 19 | 31.734 | 31.534 | 3 | 24.9684 | 71.678 | 40.073
38 | 398 | 437 | 104.375 | 97.1 | 7.275 | 48.7425 | 22964.3603 | 9750.7902 | 19.5 | 32.6155 | 32.4155 | 4 | 25.0099 | 71.063 | 80.9203
39 | 354 | 394 | 93.5 | 92.8 | 0.7 | 4.69 | 23212.4152 | 9023.7112 | 20 | 33.497 | 33.297 | 4 | 24.9833 | 70.448 | 53.7247 |  | -25.0003
40 | 310 | 352 | 82.75 | 85.3 | -2.55 | -17.085 | 23458.5147 | 8298.0448 | 20.5 | 34.3785 | 34.1785 | 4 | 24.9627 | 69.833 | 32.4878
41 | 380 | 420 | 100 | 103.8 | -3.8 | -25.46 | 23694.7232 | 7569.8635 | 21 | 35.26 | 35.06 | 4 | 24.948 | 69.218 | 17.1851 |  | -10.6199
42 | 403 | 440 | 105.375 | 105.5 | -0.125 | -0.8375 | 23940.0691 | 6844.0767 | 21.5 | 36.1415 | 35.9415 | 4 | 24.9392 | 68.603 | 7.7993
43 | 336 | 368 | 88 | 84.9 | 3.1 | 20.77 | 24160.2439 | 6109.6147 | 22 | 37.023 | 36.823 | 4 | 24.9363 | 67.988 | 4.3198
44 | 304 | 349 | 81.625 | 85 | -3.375 | -22.6125 | 24294.4048 | 5354.0925 | 22.5 | 37.9045 | 37.7045 | 4 | 24.9394 | 67.373 | 6.7434
45 | 478 | 514 | 124 | 126.9 | -2.9 | -19.43 | 24450.7517 | 4604.7262 | 23 | 38.786 | 38.586 | 4 | 24.9483 | 66.758 | 15.0736 |  | 1.6736
46 | 353 | 395 | 93.5 | 96.5 | -3 | -20.1 | 24580.1809 | 3850.2119 | 23.5 | 39.6675 | 39.4675 | 4 | 24.9632 | 66.143 | 29.321
47 | 327 | 365 | 86.5 | 83.6 | 2.9 | 19.43 | 24726.2215 | 3097.0895 | 24 | 40.549 | 40.349 | 4 | 24.984 | 65.528 | 49.5033 |  | 9.9733
48 | [8 empty] | 24.5 | 41.4305 | 41.2305 | 5 | 24.9901 | 64.913 | 55.0212
49 |  | 358 | 89.5 | 86.8 | 2.7 | 18.09 | 24868.5523 | 1570.4509 | 25 | 42.312 | 42.112 | 5 | 24.9678 | 64.298 | 32.1208 |  | -4.7292
[9 empty] | 25.5 | 43.1935 | 42.9935 | 5 | 24.9515 | 63.683 | 15.1608
1 pixel in depth = 6.7 microns | [8 empty] | 26 | 44.075 | 43.875 | 5 | 24.9411 | 63.068 | 4.1217 |  | -25.0233
In x and y value columns, 0.03077 is the angle in radians between successive fibres of arc. | [8 empty] | 26.5 | 44.9565 | 44.7565 | 5 | 24.9365 | 62.453 | -1.0088
Angle per segment 8.18 degrees. | [8 empty] | 27 | 45.838 | 45.638 | 5 | 24.9379 | 61.838 | -0.23595 |  | -4.926
Angle added in column O is adjusted for best fit. | [8 empty] | 27.5 | 46.7195 | 46.5195 | 5 | 24.9452 | 61.223 | 6.4418
[9 empty] | 28 | 47.601 | 47.401 | 5 | 24.9584 | 60.608 | 19.0331 |  | 11.6631
[9 empty] | 28.5 | 48.4825 | 48.2825 | 5 | 24.9776 | 59.993 | 37.5535
[9 empty] | 29 | 49.364 | 49.164 | 6 | 24.9974 | 59.378 | 56.7843 |  | 14.0718
[9 empty] | 29.5 | 50.2455 | 50.0455 | 6 | 24.9735 | 58.763 | 32.2183
[9 empty] | 30 | 51.127 | 50.927 | 6 | 24.9555 | 58.148 | 13.5994 |  | -17.0531
[9 empty] | 30.5 | 52.0085 | 51.8085 | 6 | 24.9434 | 57.533 | 0.90614
[9 empty] | 31 | 52.89 | 52.69 | 6 | 24.9372 | 56.918 | -5.8758
[9 empty] | 31.5 | 53.7715 | 53.5715 | 6 | 24.9369 | 56.303 | -6.7536
[9 empty] | 32 | 54.653 | 54.453 | 6 | 24.9426 | 55.688 | -1.7277 |  | -19.3152
[9 empty] | 32.5 | 55.5345 | 55.3345 | 6 | 24.9541 | 55.073 | 9.2087
[9 empty] | 33 | 56.416 | 56.216 | 6 | 24.9716 | 54.458 | 26.0692 |  | -0.39582
[9 empty] | 33.5 | 57.2975 | 57.0975 | 7 | 25.0052 | 53.843 | 59.0146
[9 empty] | 34 | 58.179 | 57.979 | 7 | 24.9796 | 53.228 | 32.7808 |  | -22.9967
[9 empty] | 34.5 | 59.0605 | 58.8605 | 7 | 24.9599 | 52.613 | 12.5013
[9 empty] | 35 | 59.942 | 59.742 | 7 | 24.9462 | 51.998 | -1.8472 |  | -21.9472
[9 empty] | 35.5 | 60.8235 | 60.6235 | 7 | 24.9383 | 51.383 | -10.2811
[9 empty] | 36 | 61.705 | 61.505 | 7 | 24.9364 | 50.768 | -12.8096 |  | -5.2721
[9 empty] | 36.5 | 62.5865 | 62.3865 | 7 | 24.9404 | 50.153 | -9.4349
[9 empty] | 37 | 63.468 | 63.268 | 7 | 24.9503 | 49.538 | -0.15244 |  | -15.8974
[9 empty] | 37.5 | 64.3495 | 64.1495 | 7 | 24.9661 | 48.923 | 15.0496
[9 empty] | 38 | 65.231 | 65.031 | 7 | 24.9879 | 48.308 | 36.1901 |  | -12.5524
[9 empty] | 38.5 | 66.1125 | 65.9125 | 8 | 24.9861 | 47.693 | 33.8089
[9 empty] | 39 | 66.994 | 66.794 | 8 | 24.9648 | 47.078 | 11.867 |  | 7.177
[9 empty] | 39.5 | 67.8755 | 67.6755 | 8 | 24.9494 | 46.463 | -4.1381
[9 empty] | 40 | 68.757 | 68.557 | 8 | 24.9399 | 45.848 | -14.2247 |  | 2.8603
[9 empty] | 40.5 | 69.6385 | 69.4385 | 8 | 24.9364 | 45.233 | -18.404
[9 empty] | 41 | 70.52 | 70.32 | 8 | 24.9387 | 44.618 | -16.6803 |  | 8.7797
[9 empty] | 41.5 | 71.4015 | 71.2015 | 8 | 24.9469 | 44.003 | -9.0507
[9 empty] | 42 | 72.283 | 72.083 | 8 | 24.9611 | 43.388 | 4.4944 |  | 5.3319
[9 empty] | 42.5 | 73.1645 | 72.9645 | 8 | 24.9812 | 42.773 | 23.972
[9 empty] | 43 | 74.046 | 73.846 | 9 | 24.9931 | 42.158 | 35.3031 |  | 14.5331
[9 empty] | 43.5 | 74.9275 | 74.7275 | 9 | 24.9702 | 41.543 | 11.6969
[9 empty] | 44 | 75.809 | 75.609 | 9 | 24.9531 | 40.928 | -5.9662 |  | 16.6463
[9 empty] | 44.5 | 76.6905 | 76.4905 | 9 | 24.942 | 40.313 | -17.7064
[9 empty] | 45 | 77.572 | 77.372 | 9 | 24.9368 | 39.698 | -23.5369 |  | -4.1069
[9 empty] | 45.5 | 78.4535 | 78.2535 | 9 | 24.9375 | 39.083 | -23.4639
[9 empty] | 46 | 79.335 | 79.135 | 9 | 24.944 | 38.468 | -17.4865 |  | 2.6135
[9 empty] | 46.5 | 80.2165 | 80.0165 | 9 | 24.9566 | 37.853 | -5.5969
[9 empty] | 47 | 81.098 | 80.898 | 9 | 24.975 | 37.238 | 12.2196 |  | -7.2104
[9 empty] | 47.5 | 81.9795 | 81.7795 | 10 | 25.0006 | 36.623 | 37.2642
[9 empty] | 48 | 82.861 | 82.661 | 10 | 24.976 | 36.008 | 11.9915
[9 empty] | 48.5 | 83.7425 | 83.5425 | 10 | 24.9573 | 35.393 | -7.3312
[9 empty] | 49 | 84.624 | 84.424 | 10 | 24.9445 | 34.778 | -20.7261 |  | -38.8161
[9 empty] | 49.5 | 85.5055 | 85.3055 | 10 | 24.9376 | 34.163 | -28.2082
[16 empty] | SD= | 15.8763