## Model
|  |  | Current Scenario | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | Scenario Names |  |  | 2023 effctive energy price | No government subsidy other inputs same as Scenario 1 | Working out the gas price when the LCOHs of heat pump and gas boiler are the same, other inputs same as Scenario 1 | Use actual Year 1 usage and effective electricity unit rate, other inputs same as Scenario 1 | Use actual Year 1 usage (Scenario 4) and 2023 effective energy price (Scenario 1) | Working out the gas price when the LCOHs of heat pump and boiler are the same, other inputs same as Scenario 4 | Use standard electricity unit rate, other inputs the same as Scenario 4
1 | Inputs
| Heat demand | Heating | kWh | 17464.4049 |  | 22517 | 22517 | 22517 | 17464.4049 | 17464.4049 | 17464.4049 | 17464.4049
|  | Water | kWh | 2837.3234 |  | 4795 | 4795 | 4795 | 2837.3234 | 2837.3234 | 2837.3234 | 2837.3234
|  |  | kWh | 20301.7283 |  | 27312 | 27312 | 27312 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283
| Heat pump | Capex | £ | 17700 |  | 17700 | 17700 | 17700 | 17700 | 17700 | 17700 | 17700
|  | Grant | £ | -7500 |  | -7500 | 0 | -7500 | -7500 | -7500 | -7500 | -7500
|  |  | £ | 10200 |  | 10200 | 17700 | 10200 | 10200 | 10200 | 10200 | 10200
|  | Savings in underfloor heating VAT | £ | -756 |  | -756 | 0 | -756 | -756 | -756 | -756 | -756
|  | Final investment | £ | 9444 |  | 9444 | 17700 | 9444 | 9444 | 9444 | 9444 | 9444
|  | Annual services | £ | 330 |  | 330 | 330 | 330 | 330 | 330 | 330 | 330
|  | Consumption-space | kWh | 5438.3467 |  | 6152 | 6152 | 6152 | 5438.3467 | 5438.3467 | 5438.3467 | 5438.3467
|  | Consumption-water | kWh | 870.6036 |  | 2740 | 2740 | 2740 | 870.6036 | 870.6036 | 870.6036 | 870.6036
|  | Consumption-heater | kWh | 78 |  | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  |  |  | 6386.9503 |  | 8970 | 8970 | 8970 | 6386.9503 | 6386.9503 | 6386.9503 | 6386.9503
| Gas boiler | Capex | £ | 4000 |  | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000
|  | Annual services | £ | 100 |  | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | Efficiency | % | 94% |  | 94% | 94% | 94% | 94% | 94% | 94% | 94%
|  | Consumption | kWh | 21597.5833 |  | 29055.3191 | 29055.3191 | 29055.3191 | 21597.5833 | 21597.5833 | 21597.5833 | 21597.5833
| Energy prices | Electricity | pence | 25.1 |  | 28 | 28 | 18.6843 | 22.0074 | 28 | 13.9972 | 25.1
|  | Gas | pence | 6.2 |  | 7.3 | 7.3 | 7.3 | 6.2 | 7.3 | 6.2 | 6.2
|  | Multiples | % | 404.8% |  | 383.6% | 383.6% | 255.9% | 355% | 383.6% | 225.8% | 404.8%
|  | Electricity-standing | pence | 54.8 |  | 48.7 | 48.7 | 27.5 | 45.32 | 48.7 | 29.4 | 54.8
|  | Gas-standing | pence | 29.4 |  | 27.5 | 27.5 | 27.5 | 29.4 | 27.5 | 29.4 | 29.4
|  | Multiples | % | 186.4% |  | 177.1% | 177.1% | 100% | 154.1% | 177.1% | 100% | 186.4%
|  | Interest rate | % | 3.5% |  | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | 3.5% | 3.5%
|  | Inflation | % | 0% | bar: 1 to 7
2 | Outputs
|  | Annual Electricity | £ | 1803.1445 |  | 2689.355 | 2689.355 | 1776.3591 | 1571.0227 | 1966.1011 | 1001.3059 | 1803.1445
|  | Savings (negative) |  | 11396.0535 |  | 12975.8665 | 21231.8665 | 0 | 8097.0447 | 10434.1317 | 0 | 11396.0535
|  | Heat pump lifetime costs | £ | 39761.1103 |  | 52356.291 | 60612.291 | 39380.4245 | 36462.1015 | 42077.1146 | 28365.0568 | 39761.1103
|  | Heat pump LCOH | p/kWh | 9.7925 |  | 9.5849 | 11.0963 | 7.2094 | 8.98 | 10.3629 | 6.9859 | 9.7925
|  | Gas boiler lifetime costs | £ | 28365.0568 |  | 39380.4245 | 39380.4245 | 39380.4245 | 28365.0568 | 31642.983 | 28365.0568 | 28365.0568
|  | Gas boiler LOCH | p/kWh | 6.9859 |  | 7.2094 | 7.2094 | 7.2094 | 6.9859 | 7.7932 | 6.9859 | 6.9859
|  | LCOH (HP vs G) | % | 140.2% |  | 133% | 153.9% | 100% | 128.5% | 133% | 100% | 140.2%
3 | Calculation
| End of year |  |  | 2024 | 2025 | 2026 | 2027 | 2030 | 2028 | 2029 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
|  |  |  | 0 | 1 | 2 | 3 | 6 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Heat pump | Capex |  | 2024 0: 9444
|  | Annual Service |  |  | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330
|  | Electricity costs |  |  | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445 | 1803.1445
|  |  |  | 9444 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445 | 2133.1445
|  | PV |  | 9444 | 2061.0092 | 1991.3132 | 1923.9741 | 1735.3144 | 1858.9122 | 1796.0505 | 1676.6323 | 1619.9346 | 1565.1542 | 1512.2263 | 1461.0882 | 1411.6794 | 1363.9415 | 1317.8178 | 1273.254 | 1230.1971 | 1188.5962 | 1148.4021 | 1109.5673 | 1072.0457
|  | Demand |  |  | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283
|  | Total Costs |  | 2024 0: 52106.8905
|  | Total costs (PV) |  | 2024 0: 39761.1103
|  | Total Demand |  | 2024 0: 406034.566
|  | LCOH (p/kWh) |  | 2024 0: 9.7925
| Gas | Capex | £ | 2024 0: 4000; 2039 15: 4000
|  | Annual Service |  |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | Gas costs |  |  | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602 | 1446.3602
|  |  |  | 4000 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 5546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602 | 1546.3602
|  | PV |  | 4000 | 1494.0678 | 1443.5438 | 1394.7283 | 1257.965 | 1347.5635 | 1301.9938 | 1215.4251 | 1174.3238 | 1134.6123 | 1096.2438 | 1059.1728 | 1023.3553 | 988.7491 | 955.3132 | 3310.5703 | 891.795 | 861.6377 | 832.5002 | 804.348 | 777.1479
Heat Pump
Service
Electricity costs
|  | Demand |  |  | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283 | 20301.7283
|  | Total Costs |  | 2024 0: 38927.2033
|  | Total costs (PV) |  | 2024 0: 28365.0568
|  | Total Demand |  | 2024 0: 406034.566
|  | LCOH (p/kWh) |  | 2024 0: 6.9859