## Influent
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l) |  |  | BOD
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band | [10 empty] | NH4 | Sample Vol | Initial Do | Final DO |  |  | Blank Initial Do | Blank Final DO |  |  |  | BOD5
180220 | 1 | 8.3 | 1.53 | 13.2 | 3 | 0 | 67 | 67 | 3 | 0 | 0 | <25 | 0 | 67 | 0.1216 | 50 | 0.1245 | 58 | 0.1221 | 0.0005 | 48
180220 | 2 | 8.3 | 1.53 | 13.2 | 3 | 0 | 51 | 51 | 3 | 0 | 0 | <25 | 0 | 51
180220 | 3 | 8.3 | 1.53 | 13.2 | 3 | 0 | 54 | 54 | 3 | 0 | 0 | <25 | 0 | 54
180220 | Av. | 8.3 | 1.53 | 13.2 | 3 | 0 | 57.3333 | 57.3333 | 3 | 0 | 0 |  | 0 | 57.3333 | 0.1216 | 50 | 0.1245 | 58 |  | 0.0005 | 48
240220 | 1 | 10.6 | 1.43 | 13.2 | 3 | 0 | 144 | 144 | 3 | 0 | 142 | <25 | 142 | 2 | 0.1274 | 100 | 0.1358 | 84 |  | -0.1274 |  | 7.16
240220 | 2 | [13 empty] | 0.1279 | 100 | 0.1366 | 87 |  | -0.1279
240220 | 3
240220 | Av. | 10.6 | 1.43 | 13.2 | 3 | 0 | 144 | 144 | 3 | 0 | 142 |  | 142 | 2 | 0.12765 | 100 | 0.1362 | 85.5 |  | -0.12765 |  | 7.16
2020-07-23 | [6 empty] | 115 | [5 empty] | 55 |  | 0.1247 | 100 | 0.1277 | 30 |  |  |  |  | 18.5
119
2020-07-30 | [6 empty] | 120 | [5 empty] | 54 |  | 0.1273 | 100 | 0.1307 | 34 |  |  |  |  | 17.7
2020-07-30 | [6 empty] | 89 | [5 empty] | 51
2020-08-06 | [6 empty] | 61
2020-08-06
2020-08-06
2020-09-07 | [6 empty] | 48
2020-09-07 | [6 empty] | 30
2020-09-07
2020-09-14 | [6 empty] | 67 | [5 empty] | 73 | [9 empty] | 15
2020-09-14 | [6 empty] | 56 | [5 empty] | 71
2020-09-14 | [6 empty] | 74
2020-09-14 | Av. | [6 empty] | 65.6667 |  |  |  |  | 72
2020-09-30 | [6 empty] | 83 | [7 empty] | 0.1304 | 50 | 0.1325 | 42 |  |  |  |  | 23
2020-09-30 | [6 empty] | 89 | [7 empty] | 0.1341 | 50 | 0.1365 | 48
2020-09-30
2020-09-30 | Av. | [16 empty] | 58.5625
2020-10-08 | [14 empty] | 0.1278 | 100 | 0.1278 | 0 | [6 empty] | 5 | 9.54 | 9.25 | 0.29 |  | 9.74 | 9.56 | 0.18 |  | 0 | 0
2020-10-08 | [14 empty] | 0.1286 | 100 | 0.1286 | 0 | [6 empty] | 5 | 9.56 | 9.32 | 0.24 |  | 9.71 | 9.38 | 0.33 |  | -0.05 | -10
2020-10-08 | [14 empty] | 0.1308 | 100 | 0.133 | 22 | [6 empty] | 5 | 9.59 | 9.37 | 0.22 |  | 9.7 | 9.34 | 0.36 |  | -0.07 | -14
2020-10-22 | [6 empty] | 39 | [7 empty] | 0.1255 | 50 | 0.1281 | 52 | [6 empty] | 5 | 9.6 | 9.24 | 0.36 |  | 9.67 | 9.49 | 0.18 |  | -0.13 | -26
2020-10-22 | [6 empty] | 55 | [7 empty] | 0.1274 | 50 | 0.1298 | 48 | [6 empty] | 5 | 9.57 | 9.23 | 0.34 |  | 9.62 | 9.46 | 0.16 |  | -0.15 | -30
2020-10-22 | [6 empty] | 35 | [7 empty] | 0.1264 | 50 | 0.1288 | 48 | [6 empty] | 5 | 9.62 | 9.15 | 0.47 |  | 9.62 | 9.37 | 0.25 |  | -0.02 | -4
2020-10-29 | [6 empty] | 69 | [7 empty] | 0.1299 | 50 | 0.1312 | 26 | [6 empty] | 10 | 9.73 | 8.61 | 1.12 |  | 9.85 | 9.65 | 0.2 |  | 0.6 | 60
2020-10-29 | [6 empty] | 48 | [7 empty] | 0.1308 | 50 | 0.133 | 44 | [6 empty] | 10 | 9.82 | 7.78 | 2.04 |  | 9.87 | 9.65 | 0.22 |  | 1.52 | 152
2020-10-29 | [6 empty] | 55 | [7 empty] | 0.1292 | 50 | 0.1317 | 50 | [6 empty] | 10 | 9.81 | 7.46 | 2.35 |  | 9.86 | 9.59 | 0.27 |  | 1.83 | 183
2020-11-05 | [6 empty] | 42 | [17 empty] | 10 | 9.62 | 8.56 | 1.06 |  | 9.71 | 9 | 0.71 |  | 0.44333 | 44.3333
2020-11-05 | [6 empty] | 52 | [17 empty] | 10 | 9.63 | 7.56 | 2.07 |  | 9.75 | 9.13 | 0.62 |  | 1.4533 | 145.3333
2020-11-05 | [6 empty] | 56 | [17 empty] | 10 | 9.59 | 7.11 | 2.48 |  | 9.73 | 9.21 | 0.52 |  | 1.8633 | 186.3333
2020-11-12 | Sampling not possible as leak meant there was no wastewater ruunning in the pilot hall
2020-11-17
2020-11-17
2020-11-17
2020-11-26 | [6 empty] | 77 | [7 empty] | 0.1287 | 50 | 0.1329 | 84 | [6 empty] | 10 | 9.41 | 7.05 | 2.36 |  | 9.9 | 9.52 | 0.38 |  | 2.07 | 207
2020-11-26 | [6 empty] | 104 | [7 empty] | 0.1296 | 50 | 0.1349 | 106 | [6 empty] | 10 | 9.46 | 7.16 | 2.3 |  | 9.79 | 9.53 | 0.26 |  | 2.01 | 201
2020-11-26 | [6 empty] | 82 | [7 empty] | 0.1257 | 50 | 0.13 | 86 | [6 empty] | 10 | 9.5 | 7.19 | 2.31 |  | 9.82 | 9.59 | 0.23 |  | 2.02 | 202
2021-03-23 | [14 empty] | 0.1252 | 50 | 0.1281 | 58 | [6 empty] | 5 | 8.53 | 7.12 | 1.41 |  | 8.51 | 7.94 | 0.57 | 0.46667 |  | 188.6667
2021-03-23 | [14 empty] | 0.1247 | 50 | 0.1291 | 88 | [6 empty] | 10 | 8.48 | 6.3 | 2.18 |  | 8.5 | 8.1 | 0.4 | 0.46667 |  | 171.3333
2021-03-23 | [14 empty] | 0.1264 | 50 | 0.1309 | 90 | [6 empty] | 25 | 8.54 | 4.12 | 4.42 |  | 8.49 | 8.06 | 0.43 | 0.46667 |  | 158.1333
2021-03-23
2021-03-23
2021-03-23
2021-03-23
2021-04-01 | [6 empty] | 251 | [17 empty] | 5 | 8.4 | 6.23 | 2.17 |  | 8.28 | 7.94 | 0.34 | 0.23 |  | 388
2021-04-01 | [6 empty] | 333 | [17 empty] | 5 | 8.26 | 6.47 | 1.79 |  | 8.26 | 8.19 | 0.07 | 0.23 |  | 312
2021-04-01 | [6 empty] | 337 | [17 empty] | 10 | 8.19 | 4.88 | 3.31 |  | 8.23 | 7.95 | 0.28 | 0.23 |  | 308
2021-04-01 | [24 empty] | 25 | 8.04 | 1.11 | 6.93 |  |  |  |  | 0.23 |  | 268
2021-04-01 | [24 empty] | 50 | 7.76 | 0.49 | 7.27 |  |  |  |  | 0.23
2021-04-01 | [24 empty] | 100 | 7.06 | 0.49 | 6.57 |  |  |  |  | 0.23
2021-04-01 | [24 empty] | 100 | 6.91
2021-04-08 | [6 empty] | 91 | 91 | [6 empty] | 0.1261 | 50 | 0.1298 | 74
2021-04-08 | [6 empty] | 74 | 74 | [6 empty] | 0.125 | 50 | 0.1276 | 52
2021-04-08 | [6 empty] | 122 | 122 | [6 empty] | 0.1267 | 50 | 0.13 | 66
2021-04-15 |  |  |  |  | 1 | 1 | 83 | 166 | [6 empty] | 0.1248 | 50 | 0.1292 | 88 | [6 empty] | 5 | 8.22 | 7.03 | 1.19 |  | 8.26 | 7.89 | 0.37 | 0.39333 |  | 159.3333
2021-04-15 |  |  |  |  | 1 | 1 | 81 | 162 | [6 empty] | 0.1253 | 50 | 0.1288 | 70 | [6 empty] | 10 | 8.22 | 6.58 | 1.64 |  | 8.26 | 7.89 | 0.37 | 0.39333 |  | 124.6667
2021-04-15 |  |  |  |  | 1 | 1 | 83 | 166 | [6 empty] | 0.1266 | 50 | 0.1305 | 78 | [6 empty] | 10 | 8.23 | 6.36 | 1.87 |  | 8.28 | 7.84 | 0.44 | 0.39333 |  | 147.6667
2021-04-15 | [24 empty] | 25 | 8.21 | 4.71 | 3.5 |  |  |  |  | 0.39333 |  | 124.2667
2021-04-15 | [24 empty] | 50 | 8.15 | 1.66 | 6.49 |  |  |  |  | 0.39333 |  | 121.9333
2021-04-15
2021-04-29 |  |  |  |  | 1 | 1 | 83 | 166 | 1312 | [5 empty] | 1312 | 100 | 1370 | 58 | [6 empty] | 5 | 8.75 | 8.28 | 0.47 |  | 8.91 | 8.69 | 0.22 | 0.26 |  | 42
2021-04-29 |  |  |  |  | 1 | 1 | 80 | 160 | 1311 | [5 empty] | 1311 | 100 | 1367 | 56 | [6 empty] | 5 | 8.8 | 8.22 | 0.58 |  | 8.88 | 8.71 | 0.17 | 0.26 |  | 64
2021-04-29 |  |  |  |  | 1 | 1 | 86 | 172 | 1305 | [5 empty] | 1305 | 100 | 1361 | 56 | [6 empty] | 10 | 8.8 | 7.64 | 1.16 |  | 8.87 | 8.48 | 0.39 | 0.26 |  | 90
2021-04-29 | [24 empty] | 25 | 8.7 | 6.22 | 2.48 |  |  |  |  | 0.26 |  | 88.8
2021-04-29 | [24 empty] | 50 | 8.51 | 4.54 | 3.97 |  |  |  |  | 0.26 |  | 74.2
2021-05-12 |  |  |  |  | 1 | 1 | 70 | 140 | [6 empty] | 1297 | 100 | 1339 | 42
2021-05-12 |  |  |  |  | 1 | 1 | 65 | 130 | [6 empty] | 1308 | 100 | 1361 | 53
2021-05-12 |  |  |  |  | 1 | 1 | 64 | 128 | [6 empty] | 1307 | 95 | 1357 | 52.6316
2021-06-03 | [7 empty] | 187 | [6 empty] | 1305 | 100 | 1345 | 40 | [6 empty] | 5 | 9.23 | 7.89 | 1.34 |  | 9.27 | 7.49 | 1.78 | 1.57
2021-06-03 | [7 empty] | 196 | [6 empty] | 1314 | 100 | 1389 | 75 | [6 empty] | 5 | 9.13 | 7.94 | 1.19 |  | 9.21 | 7.78 | 1.43 | 1.57
2021-06-03 | [7 empty] | 191 | [6 empty] | 1290 | 50 | 1328 | 76 | [6 empty] | 10 | 9.21 | 6.84 | 2.37 |  | 9.15 | 7.65 | 1.5 | 1.57 |  | 80
2021-06-03 | [24 empty] | 20 | 9.09 | 4.92 | 4.17 |  |  |  |  | 1.57 |  | 130
2021-06-03 | [24 empty] | 20 | 9.15 | 4.46 | 4.69 |  |  |  |  | 1.57 |  | 156
2021-06-03 | [24 empty] | 50 | 8.95 | 0.5
2021-06-10 | [6 empty] | 242 | [7 empty] | 1307 | 50 | 1348 | 82 | [6 empty] | 5 | 9.39 | 8.16 | 1.23 |  | 9.4 | 8.97 | 0.43 | 0.48667 |  | 148.6667
2021-06-10 | [6 empty] | 246 | [7 empty] | 1308 | 50 | 1398 | 180 | [6 empty] | 10 | 9.3 | 7.25 | 2.05 |  | 9.36 | 8.91 | 0.45 | 0.48667 |  | 156.3333
2021-06-10 | [6 empty] | 247 | [7 empty] | 1302 | 50 | 1316 | 28 | [6 empty] | 20 | 9.18 | 4.32 | 4.86 |  | 9.35 | 8.77 | 0.58 | 0.48667
2021-06-10 | [24 empty] | 50 | 9.02 | 0.67 | 8.35 |  |  |  |  | 0.48667 |  | 157.2667
2021-06-29 | [6 empty] | 152 | [7 empty] | 1299 | 50 | 1352 | 106
2021-06-29 | [6 empty] | 84 | [7 empty] | 1285 | 50 | 1336 | 102
2021-06-29 | [6 empty] | 107 | [7 empty] | 1308 | 50 | 1357 | 98
2021-07-01 | [6 empty] | 84
2021-07-01 | [6 empty] | 71
2021-07-01 | [6 empty] | 81
2021-07-08 | [24 empty] | 5 | 9.39 | 8.35 | 1.04 |  | 9.23 | 9.31 | -0.08 | 0.14333 |  | 179.3333
2021-07-08 | [24 empty] | 5 | 9.3 | 8.37 | 0.93 |  | 9.24 | 8.95 | 0.29 | 0.14333 |  | 157.3333
2021-07-08 | [24 empty] | 10 | 9.15 | 7.92 | 1.23 |  | 9.23 | 9.01 | 0.22 | 0.14333 |  | 108.6667
2021-07-08 | [24 empty] | 20 | 9.14 | 6.74 | 2.4 |  |  |  |  | 0.14333 |  | 112.8333
2021-07-08 | [24 empty] | 50 | 8.94 | 2.68 | 6.26 |  |  |  |  | 0.14333 |  | 122.3333
2022-02-25 | [24 empty] | 5 | 9.8 | 6.88 | 2.92
2022-02-25 | [24 empty] | 10 | 9.86 | 3.83 | 6.03
2022-02-25
2022-03-07 | [6 empty] | 309 | [7 empty] | 887 | 50 | 1013 | 252
2022-03-07 | [6 empty] | 363 | [7 empty] | 901 | 20 | 1011
2022-03-07 | [6 empty] | 367 | [7 empty] | 882 | 10 | 913 | 310
2022-04-27 | [6 empty] | 233 | [7 empty] | 888 | 50 | 926 | 76 |  |  |  |  | 33
2022-04-27 | [6 empty] | 227 | [7 empty] | 897 | 50 | 943 | [5 empty] | 32.8
2022-04-27 | [6 empty] | 231 | [7 empty] | 911 | 50 | 946 | 70 |  |  |  |  | 32.1
Intensive Sampling | [22 empty] | 30.8
30.3
39.4
33.6
32.9
36.2
34.2
37.2
35.2
35
35.2
36.2
2020-07-01
2022-05-01
669
22.3

## Midpoint 1 (hidden)
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l)
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band
180220 | 1 | 7 | 2.32 | 19.3 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1232 | 100 | 0.1238 | 6 | 0.1235 | 0.0003 | 3
180220 | 2 | 7 | 2.32 | 19.3 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1239 | 100 | 0.1256 | 17 | 0.1246 | 0.0007 | 10
180220 | 3 | 7 | 2.32 | 19.3 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0
180220 | Av. | 7 | 2.32 | 19.3 | 3 | 0 | 0 | 0 | 3 | 0 | 0 |  | 0 |  | 0.12355 | 100 | 0.1247 | 11.5 |  | 0.0005 | 6.5
240220 | 1 | 8.6 | 1.94 |  | 3 | 0 | 99 | 99 | 3 | 0 | 101 | <25 | 101 | -2 | 0.1256 | 100 | 0.1287 | 31 |  | -0.1256
240220 | 2 | [13 empty] | 0.1255 | 100 | 0.1288 | 33 |  | -0.1255
240220 | 3
240220 | Av. |  | 1.94 |  | 3 | 0 | 99 | 99 | 3 | 0 | 101 |  | 101 | -2 | 0.12555 | 100 | 0.12875 | 32 |  | -0.12555
30320 | 1 |  |  |  | 3 | 0 | 102 | 102 | 3 | 0 | 79 |  | 79 | 23 | 0.1259 | 100 | 0.1279 | 20 |  | -0.1259
30320 | 2
30320 | 3
30320 | Av. | [6 empty] | 102 |  |  |  |  | 79 | 23 |  |  |  | 20 |  | -0.1259

## Midpoint 2 (hidden)
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l)
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band
180220 | 1 | 6.5 | 10.7 | 88.4 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1229 | 100 | 0.1234 | 5 | 0.1238 | 0.0009 | -4
180220 | 2 | 6.5 | 10.7 | 88.4 | 3 | 0 | 0 | 0 | 3 | 0 | 25 | <10 | 25 | -25 | 0.1242 | 100 | 0.1247 | 5 | 0.1247 | 0.0005 | 0
180220 | 3 | 6.5 | 10.7 | 88.4 | 3 | 0 | 0 | 0 | 3 | 0 | 24 | <10 | 24 | -24
180220 | Av. | 6.5 | 10.7 | 88.4 | 3 | 0 | 0 | 0 | 3 | 0 | 16.3333 |  | 16.3333 | -24.5 | 0.12355 | 100 | 0.12405 | 5 |  | 0.0007 | -2
240220 | 1 | 8.4 | 2.77 |  | 3 | 0 | 48 | 48 | 3 | 0 | 72 |  | 72 | -24 | 0.127 | 200 | 0.1297 | 13.5 |  | -0.127
240220 | 2 | [13 empty] | 0.1258 | 200 | 0.1282 | 12 |  | -0.1258
240220 | 3
240220 | Av. | 8.4 | 2.77 |  | 3 | 0 | 48 | 48 | 3 | 0 | 72 |  | 72 | -24 | 0.1264 | 200 | 0.12895 | 12.75 |  | -0.1264
30320 | 1 |  |  |  | 3 | 0 | 10 | 10 | 3 | 0 | 72 |  | 72 | -62 | 0.1257 | 200 | 0.1275 | 9 |  | -0.1257
30320 | 2
30320 | 3
30320 | Av. | [6 empty] | 10 |  |  |  |  | 72 | -62 |  |  |  | 9 |  | -0.1257

## Effluent
Sample Date |  | Temperate (oC) | DO |  | TCOD |  |  |  | SCOD |  |  |  |  | PCOD | Solids
[5 empty] | Dilution |  | Cell Test | TCOD (mg/l) | Dilution |  | Cell Test |  | SCOD (mg/l) | PCOD (mg/l) | Filter Mass (g) | Sample Volume (mL) | Dry Mass (g) | TSS (mg/L) | Post Ignition Mass (g) | Ash (g) | VSS (mg/l) |  | BOD
|  |  | Conc (mg/l) | Percentage (%) | Sample | DI |  |  | Sample | DI |  | Band | [9 empty] | NH4 | Sample Vol | Initial Do | Final DO |  | Blank Initial Do | Blank Final DO |  |  |  | BOD5
180220 | 1 | 6.3 | 3.24 | 22.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1227 | 100 | 0.1236 | 9 | 0.1233 | 0.0006 | 3
180220 | 2 | 6.3 | 3.24 | 22.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0 |  | 0.1232 | 100 | 0.1245 | 13 | 0.124 |  | 13
180220 | 3 | 6.3 | 3.24 | 22.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | <25 | 0
180220 | Av. | 6.3 | 3.24 | 22.6 | 3 | 0 | 0 | 0 | 3 | 0 | 0 |  | 0 |  | 0.12295 | 100 | 0.12405 | 11 |  | 0.0006 | 8
240220 | 1 | 8.9 | 2.89 |  | 3 | 0 | 81 | 81 | 3 | 0 | 84 |  | 84 | -3 | 0.1253 | 100 | 0.1283 | 30 |  | -0.1253 | 1283
240220 | 2
240220 | 3
240220 | Av. | 8.9 | 2.89 |  | 3 | 0 | 81 | 81 | 3 | 0 | 84 |  | 84 | -3 | 0.1253 | 100 | 0.1283 | 30 |  | -0.1253 | 1283
20.5
30320 | 1 |  |  |  | 3 | 0 | 147 | 147 | 3 | 0 | 84 |  | 84 | 63 | 0.1258 | 100 | 0.1292 | 34 |  | -0.1258 | 1292
30320 | 2
30320 | 3
30320 | Av. | [6 empty] | 147 |  |  |  |  | 84 | 63 |  |  |  | 34 |  | -0.1258 | 1292
2020-07-23 | 1 | [5 empty] | 50 | [5 empty] | 28 |  | 0.1284 | 200 | 0.1316 | 16 |  |  |  | 7.15
2020-07-23 | 2 | [5 empty] | 52
2020-07-23 | Av. | [6 empty] | 51
0.03
2020-07-30 | 1 | [5 empty] | 16 | [5 empty] | 24 |  | 0.1275 | 250 | 0.1287 | 4.8
2020-07-30 | 2 | [5 empty] | 13 | [5 empty] | 19
2020-07-30 | 3
2020-07-30 | Av. | [6 empty] | 13
2020-08-06 | [12 empty] | 17 |  | 0.1262 | 150 | 0.1265 | 2
2020-08-06 | [6 empty] | 5 | [5 empty] | 15 |  | 0.1278 | 150 | 0.1285 | 4.6667
2020-08-06 | [6 empty] | 8 | [5 empty] | 16 |  | 0.1257 | 150 | 0.1266 | 6
[8 empty] | 6.5 | [9 empty] | 4.2222
2020-08-27 | [6 empty] | 7 | [5 empty] | 7 |  | 0.1275 | 400 | 0.1298 | 5.75 |  |  |  | 0
2020-08-27 | [6 empty] | 12 | [5 empty] | 7 | [8 empty] | 0.02
2020-08-27 | [6 empty] | 5
[8 empty] | 8 | [9 empty] | 5.75
2020-09-07 | [6 empty] | 11
2020-09-07 | [6 empty] | 9
10
2020-09-14 | [6 empty] | 12 | [5 empty] | 20
2020-09-14 | [6 empty] | 7 | [5 empty] | 18
2020-09-14 | [6 empty] | 6
2020-09-14 | Av. | [6 empty] | 8.3333
2020-09-30 | [6 empty] | 10 | [7 empty] | 0.1313 | 100 | 0.1314 | 1 |  |  |  | 0
2020-09-30 | [6 empty] | 15 | [7 empty] | 0.1329 | 100 | 0.1334 | 5 |  |  |  | 0
2020-09-30 | [7 empty] | 12.5
2020-09-30 | Av. | [16 empty] | 3
2020-10-08 | [14 empty] | 0.1299 | 100 | 0.1301 | 2 |  |  |  |  | 5 | 9.76 | 9.38 | 0.38 | 9.74 | 9.56 | 0.18 |  | 0.09 | 18
2020-10-08 | [14 empty] | 0.1279 | 100 | 0.1279 | 0 |  |  |  |  | 5 | 9.72 | 9.34 | 0.38 | 9.71 | 9.38 | 0.33 |  | 0.09 | 18
2020-10-08 | [14 empty] | 0.1291 | 100 | 0.1292 | 1 |  |  |  |  | 10 | 9.69 | 9.34 | 0.35 | 9.7 | 9.34 | 0.36 |  | 0.06 | 6
14
2020-10-22 | [6 empty] | 17 | [7 empty] | 0.1305 | 150 | 0.1313 | 5.3333 |  |  |  |  | 10 | 9.65 | 9.33 | 0.32 | 9.67 | 9.49 | 0.18 |  | 0.12333 | 12.3333
2020-10-22 | [6 empty] | 19 | [7 empty] | 0.1335 | 150 | 0.1347 | 8 |  |  |  |  | 10 | 9.61 | 9.32 | 0.29 | 9.62 | 9.46 | 0.16 |  | 0.093333 | 9.3333
2020-10-22 | [6 empty] | 16 | [7 empty] | 0.1266 | 150 | 0.1282 | 10.6667 |  |  |  |  | 10 | 9.59 | 9.3 | 0.29 | 9.62 | 9.37 | 0.25 |  | 0.093333 | 9.3333
[8 empty] | 17.3333 | [9 empty] | 8 | [14 empty] | 10.3333
2020-10-29 | [6 empty] | 23 | [7 empty] | 0.1319 | 100 | 0.1326 | 7 |  |  |  |  | 20 | 9.34 | 9.33 | 0.01 | 9.85 | 9.65 | 0.2 |  | -0.22 | -11
2020-10-29 | [6 empty] | 23 | [7 empty] | 0.1282 | 100 | 0.129 | 8 |  |  |  |  | 20 | 9.64 | 9.38 | 0.26 | 9.87 | 9.65 | 0.22 |  | 0.03 | 1.5
2020-10-29 | [6 empty] | 20 | [7 empty] | 0.1281 | 100 | 0.1287 | 6 |  |  |  |  | 20 | 9.66 | 9.18 | 0.48 | 9.86 | 9.59 | 0.27 |  | 0.25 | 12.5
[8 empty] | 22 | [9 empty] | 7 | [14 empty] | 12
2020-11-05 | [6 empty] | 20 | [7 empty] | 0.1288 | 100 | 0.1287 | -1 |  |  |  |  | 20 | 9.7 | 9.24 | 0.46 | 9.71 | 9 | 0.71 |  | -0.15667 | -7.8333
2020-11-05 | [6 empty] | 19 | [7 empty] | 0.1314 | 100 | 0.1318 | 4 |  |  |  |  | 20 | 9.64 | 8.93 | 0.71 | 9.75 | 9.13 | 0.62 |  | 0.093333 | 4.6667
2020-11-05 | [6 empty] | 15 | [7 empty] | 0.1305 | 100 | 0.1308 | 3 |  |  |  |  | 20 | 9.63 | 9.21 | 0.42 | 9.73 | 9.21 | 0.52 |  | -0.19667 | -9.8333
[8 empty] | 18 | [9 empty] | 2 | [14 empty] | 4.6667
2020-11-12 | Sampling not possible as leak meant there was no wastewater ruunning in the pilot hall
2020-11-17
2020-11-17
2020-11-17
2020-11-26 | [14 empty] | 0.1292 | 100 | 0.1316 | 24 |  |  |  |  | 10 | 9.63 | 9.19 | 0.44 | 9.9 | 9.52 | 0.38 |  | 0.15 | 15
2020-11-26 | [14 empty] | 0.1287 | 100 | 0.1307 | 20 |  |  |  |  | 10 | 9.69 | 9.26 | 0.43 | 9.79 | 9.53 | 0.26 |  | 0.14 | 14
2020-11-26 | [14 empty] | 0.1296 | 100 | 0.1304 | 8 |  |  |  |  | 10 | 9.68 | 9.3 | 0.38 | 9.82 | 9.59 | 0.23 |  | 0.09 | 9
[18 empty] | 17.3333 | [14 empty] | 12.6667
2021-03-23 | [14 empty] | 0.1278 | 300 | 0.1295 | 5.6667 |  |  |  |  | 10 | 8.5 | 8.02 | 0.48 | 8.51 | 7.94 | 0.57 | 0.46667
2021-03-23 | [14 empty] | 0.1281 | 250 | 0.1298 | 6.8 |  |  |  |  | 25 | 8.41 | 7.81 | 0.6 | 8.5 | 8.1 | 0.4 | 0.46667
2021-03-23 | [14 empty] | 0.1273 | 250 | 0.1293 | 8 |  |  |  |  | 50 | 8.27 | 7.33 | 0.94 | 8.49 | 8.06 | 0.43 | 0.46667
2021-03-23 | [17 empty] | 6.8222 |  |  |  |  | 50 | 8.33 | 7.32 | 1.01 |  |  |  | 0.46667 |  | 10.8667
2021-03-23 | [22 empty] | 100 | 8.16 | 6.48 | 1.68 |  |  |  | 0.46667 |  | 12.1333
2021-03-23 | [22 empty] | 100 | 8.05 | 6.41 | 1.64 |  |  |  | 0.46667 |  | 11.7333
2021-03-23 | [22 empty] | 100 | 8.03 | 6.39 | 1.64 |  |  |  | 0.46667 |  | 11.7333
11.8667
2021-04-01 | [6 empty] | 23 | [15 empty] | 50 | 8.32 | 7.32 | 1 | 8.28 | 7.94 | 0.34 | 0.23 |  | 15.4
2021-04-01 | [6 empty] | 19 | [15 empty] | 100 | 8.27 | 6.51 | 1.76 | 8.26 | 8.19 | 0.07 | 0.23 |  | 15.3
2021-04-01 | [6 empty] | 18 | [15 empty] | 100 | 8.19 | 6.83 | 1.36 | 8.23 | 7.95 | 0.28 | 0.23 |  | 11.3
2021-04-01 | [7 empty] | 20 | [14 empty] | 150 | 8.23 | 5.55 | 2.68 |  |  |  | 0.23 |  | 16.3333
2021-04-01 | [22 empty] | 200 | 8.05 | 4.74 | 3.31 |  |  |  | 0.23 |  | 15.4
2021-04-01 | [32 empty] | 14.3444
2021-04-01
2021-04-08 | [6 empty] | 20 | [7 empty] | 0.1269 | 200 | 0.1291 | 11
2021-04-08 | [6 empty] | 11 | [7 empty] | 0.1258 | 200 | 0.1281 | 11.5
2021-04-08 | [6 empty] | 12 | [7 empty] | 0.1254 | 200 | 0.1283 | 14.5
[8 empty] | 14.3333 | [9 empty] | 12.3333
2021-04-15 | [6 empty] | 10 | [15 empty] | 150 | 8.33 | 6.07 | 2.26 | 8.26 | 7.89 | 0.37 | 0.39333 |  | 12.4444
2021-04-15 | [6 empty] | 14 | [15 empty] | 150 | 8.37 | 7.66 | 0.71 | 8.26 | 7.89 | 0.37 | 0.39333 |  | 2.1111
2021-04-15 | [6 empty] | 4 | [19 empty] | 8.28 | 7.84 | 0.44 | 0.39333
2021-04-15 | [7 empty] | 9.3333 | [24 empty] | 7.2778
2021-04-15
2021-04-15
2021-04-29 | [6 empty] | 7 | [7 empty] | 1287 | 250 | 1313 | 10.4 |  |  |  |  | 200 | 8.93 | 8.84 | 0.09 | 8.91 | 8.69 | 0.22 | 0.26
2021-04-29 | [6 empty] | 9 | [7 empty] | 1285 | 250 | 1315 | 12 |  |  |  |  | 200 | 8.99 | 8.49 | 0.5 | 8.88 | 8.71 | 0.17 | 0.26 |  | 1.2
2021-04-29 | [6 empty] | 11 | [7 empty] | 1279 | 250 | 1301 | 8.8 |  |  |  |  | 300 | 9.06 | 7.72 | 1.34 | 8.87 | 8.48 | 0.39 | 0.26 |  | 3.6
2021-04-29 | [7 empty] | 9 | [9 empty] | 10.4 |  |  |  |  | 300 | 9.02 | 8.49 | 0.53 |  |  |  | 0.26 |  | 0.9
2021-04-29 | [29 empty] | 0.26 |  |  | 1.9
2021-05-12 | [6 empty] | 17 |  | 1283 | [5 empty] | 1283 | 250 | 1285 | 0.8
2021-05-12 | [6 empty] | 11 |  | 1329 | [5 empty] | 1329 | 250 | 1337 | 3.2
2021-05-12 | [6 empty] | 8 |  | 1288 | [5 empty] | 1288 | 500 | 1301 | 2.6
[8 empty] | 12 | [9 empty] | 2.2
[7 empty] | <10 | [7 empty] | 1306 | 300 | 1317 | 3.6667
2021-06-03 | [6 empty] | <10 | [15 empty] | 400 | 7.69 | 5.1 | 2.59 | 9.27 | 7.49 | 1.78 | 1.57 |  | 2.55
2021-06-03 | [6 empty] | <10 | [15 empty] | 400 | 7.58 | 5.3 | 2.28 | 9.21 | 7.78 | 1.43 | 1.57 |  | 1.775
2021-06-03 | [7 empty] | 10 | [14 empty] | 300 | 8.39 | 5.7 | 2.69 | 9.15 | 7.65 | 1.5 | 1.57 |  | 3.7333
2021-06-03 | [22 empty] | 300 | 8.92 | 7.7 | 1.22 | [6 empty] | 2.6861
2021-06-10 | [6 empty] | 11 | [7 empty] | 1322 | 250 | 1324 | 0.8 |  |  |  |  | 300 | 9.29 | 7.61 | 1.68 | 9.4 | 8.97 | 0.43 | 0.48667 |  | 3.9778
2021-06-10 | [6 empty] | 10 | [7 empty] | 1305 | 250 | 1310 | 2 |  |  |  |  | 300 | 9.19 | 7.37 | 1.82 | 9.36 | 8.91 | 0.45 | 0.48667 |  | 4.4444
2021-06-10 | [6 empty] | 11 | [7 empty] | 1281 | 250 | 1288 | 2.8 |  |  |  |  | 300 | 9.19 | 7.18 | 2.01 | 9.35 | 8.77 | 0.58 | 0.48667 |  | 5.0778
[8 empty] | 10 | [9 empty] | 1.8667 | [14 empty] | 4.5
2021-06-29 | [6 empty] | 7 | [7 empty] | 1309 | 250 | 1373 | 25.6
2021-06-29 | [6 empty] | <10 | [7 empty] | 1294 | 250 | 1356 | 24.8
2021-06-29 | [6 empty] | <10 | [7 empty] | 1306 | 250 | 1368 | 24.8
[8 empty] | 10 | [9 empty] | 25.0667
2021-07-01 | [6 empty] | <10
2021-07-01 | [6 empty] | <10
2021-07-01 | [6 empty] | <10
10
2021-07-08 | [22 empty] | 400 | 8.51 | 7.32 | 1.19 | 9.23 | 9.31 | -0.08 | 0.14333 |  | 2.6167
2021-07-08 | [22 empty] | 400 | 8.52 | 7.15 | 1.37 | 9.24 | 8.95 | 0.29 | 0.14333 |  | 3.0667
2021-07-08 | [22 empty] | 400 | 8.56 | 7.44 | 1.12 | 9.23 | 9.01 | 0.22 | 0.14333 |  | 2.4417
2021-07-08 | [32 empty] | 2.7083
2021-07-08
2022-02-25 | [22 empty] | 250 | 10.22 | 8.43
2022-02-25 | [22 empty] | 250 | 10.13 | 8.44
2022-02-25 | [22 empty] | 250 | 10.16 | 6.19
2022-03-07 | [6 empty] | 12 | [7 empty] | 896 | 250 | 913
2022-03-07 | [6 empty] | 16 | [7 empty] | 880 | 250 | 932 | 20.8
2022-03-07 | [6 empty] | 20 | [7 empty] | 890 | 250 | 938 | 19.2
[8 empty] | 16 | [9 empty] | 20
2022-04-27 | [6 empty] | 19 | [7 empty] | 883 | 250 | 1019 | 54.4
2022-04-27 | [6 empty] | 12 | [7 empty] | 885 | 250 | 1011 | 50.4
2022-04-27 | [6 empty] | 12 | [7 empty] | 883 | 250 | 963 | 32
[8 empty] | 14.3333 | [9 empty] | 45.6

## Wetland Data Sumary
58 | 11 |  | 57.3333 | 0 |  |  | 18.5 | 7.15
85.5 | 30 |  | 144 | 81 |  |  | 17.7 | 0.03 |  |  | 167.5 | 14
30 | 34 |  | 117 | 51 |  |  | 15 | 0 |  |  | 165.8333 | 10.3333
34 | 16 |  | 108.6667 | 15 |  |  | 33 | 0.02 |  |  | 203.3333 | 12
58.5625 | 4.8 |  | 61 | 6.5 |  |  | 32.8 | 0 |  |  | 172.7111 | 4.6667
22 | 4.2222 |  | 39 | 8 |  |  | 32.1 | 0 |  |  | 319 | 12.6667
49.3333 | 5.75 |  | 65.6667 | 10 |  |  | 23 | 3.95 |  |  | 135.5733 | 11.8667
40 | 3 |  | 35 | 8.3333 |  |  | 30.8 | 4.01 |  |  | 71.8 | 14.3444
92 | 8 |  | 58.5 | 12.5 |  |  | 30.3 | 2.74 |  |  | 122 | 7.2778
78.6667 | 7 |  | 47 | 17.3333 |  |  | 39.4 | 3.61 |  |  | 136.1 | 1.9
64 | 1 |  | 90.5 | 22 |  |  | 33.6 | 5.35 |  |  | 286 | 2.6861
78.6667 | 2 |  | 292 | 18 |  |  | 32.9 | 4.99 |  |  |  | 4.5
56.6667 | 17.3333 |  | 82.5 | 20 |  |  | 36.2 | 4.86 |  |  |  | 2.7083
63.6667 | 6.8222 |  | 82 | 14.3333 |  |  | 34.2 | 3.88
96.6667 | 12.3333 |  | 81.5 | 9.3333 |  |  | 37.2 | 5.01
102 | 10.4 |  | 244 | 9 |  |  | 35.2 | 3.46
281 | 2.2 |  | 118 | 12 |  |  | 35 | 2.32
73 | 3.6667 |  | 77.5 | 10 |  |  | 35.2 | 2.69
75.7627 | 1.8667 |  | 336 | 10 |  |  | 36.2
54.5678 | 25.0667 |  | 230 | 10
| 20 |  | 118.3583 | 10
| 45.6 |  | 85.0429 | 16
14.3333
74.703 | 12.3664
| 11.6896 |  |  | 16.7246 |  |  |  | 3.0039 |  |  |  | 8.2458
|  |  |  | 16.5148 |  |  |  | 2.1449 |  |  |  | 4.5738
[14 empty] | 14 | 0.05 | 2.3324
[14 empty] | 10.3333 | 0.1 | 2.6883
[14 empty] | 12 | 0.15 | 2.7006
[14 empty] | 4.6667 | 0.2 | 3.0667
[14 empty] | 12.6667 | 0.25 | 4.0521
[14 empty] | 11.8667 | 0.3 | 4.55
[14 empty] | 14.3444 | 0.35 | 4.6417
[14 empty] | 7.2778 | 0.4 | 5.7111
[14 empty] | 1.9 | 0.45 | 7.1472
[14 empty] | 2.6861 | 0.5 | 8.8056
[14 empty] | 4.5 | 0.55 | 10.41
[14 empty] | 2.7083 | 0.6 | 11.2533
[9 empty] | 0.05 | 0.034 |  |  |  |  | 0.65 | 11.8867
[9 empty] | 0.1 | 0.038 |  |  |  |  | 0.7 | 11.96
| 11 | 0.05 | 1.8733 |  | 0.05 | 1.7333 | 1.8733 |  | 0.15 | 0.042 |  |  |  |  | 0.75 | 12.1667
| 30 | 0.1 | 2.02 |  | 0.1 | 2.0333 | 2.02 |  | 0.2 | 0.046 |  |  |  |  | 0.8 | 12.5333
| 34 | 0.15 | 2.32 |  | 0.15 | 2.3122 | 2.32 |  | 0.25 | 0.05 |  |  |  |  | 0.85 | 13.1333
| 16 | 0.2 | 3.1333 |  | 0.2 | 2.4267 | 3.1333 |  | 0.3 | 0.054 |  |  |  |  | 0.9 | 13.8667
| 4.8 | 0.25 | 3.8056 |  | 0.25 | 2.6111 | 3.8056 |  | 0.35 | 0.058 |  |  |  |  | 0.95 | 14.155
| 4.2222 | 0.3 | 4.3956 |  | 0.3 | 2.9 | 4.3956 |  | 0.4 | 0.064
| 5.75 | 0.35 | 5.1325 |  | 0.35 | 3.5056 | 5.1325 |  | 0.45 | 0.072
| 3 | 0.4 | 6.1789 |  | 0.4 | 4.2111 | 6.1789 |  | 0.5 | 0.08
| 8 | 0.45 | 6.9022 |  | 0.45 | 4.5183 | 6.9022 |  | 0.55 | 0.168
| 7 | 0.5 | 7.5 |  | 0.5 | 4.8917 | 7.5 |  | 0.6 | 0.256
| 1 | 0.55 | 9.32 |  | 0.55 | 5.3625 | 9.32 |  | 0.65 | 0.302
| 2 | 0.6 | 10.76 |  | 0.6 | 5.54 | 10.76 |  | 0.7 | 0.306
| 17.3333 | 0.65 | 11.8667 |  | 0.65 | 5.8567 | 11.8667 |  | 0.75 | 0.31
| 6.8222 | 0.7 | 14.9 |  | 0.7 | 6.5133 | 14.9 |  | 0.8 | 0.31
| 12.3333 | 0.75 | 17 |  | 0.75 | 7.1167 | 17 |  | 0.85 | 0.31
| 10.4 | 0.8 | 19.4667 |  | 0.8 | 7.7333 | 19.4667 |  | 0.9 | 0.778
| 2.2 | 0.85 | 24.3067 |  | 0.85 | 8.2 | 24.3067 |  | 0.95 | 1.714
| 3.6667 | 0.9 | 29.5067 |  | 0.9 | 9.9333 | 29.5067
| 1.8667 | 0.95 | 33.8 |  | 0.95 | 15.3333 | 33.8
| 25.0667 | 1 | 45.6 |  | 1 |  | 45.6
| 20 | [8 empty] | 0.034 | 0.05
| 45.6 |  |  |  |  | VF | AHF |  |  | 0.038 | 0.1
|  |  |  | 2.0167 | 2.0167 | 0.05 |  |  |  | 0.042 | 0.15
|  |  |  | 2.2689 | 2.2689 | 0.1 |  |  |  | 0.046 | 0.2
|  |  |  | 2.4044 | 2.4044 | 0.15 |  |  |  | 0.05 | 0.25
|  |  |  | 2.5333 | 2.5333 | 0.2 |  |  |  | 0.054 | 0.3
|  |  |  | 2.75 | 2.75 | 0.25 |  |  |  | 0.058 | 0.35
|  |  |  | 3.0778 | 3.0778 | 0.3 |  |  |  | 0.064 | 0.4
|  |  |  | 3.7389 | 3.7389 | 0.35 |  |  |  | 0.072 | 0.45
|  |  |  | 4.3556 | 4.3556 | 0.4 |  |  |  | 0.08 | 0.5
|  |  |  | 4.5217 | 4.5217 | 0.45 |  |  |  | 0.168 | 0.55
|  |  |  | 4.8917 | 4.8917 | 0.5 |  |  |  | 0.256 | 0.6
|  |  |  | 5.3375 | 5.3375 | 0.55 |  |  |  | 0.302 | 0.65
|  |  |  | 5.52 | 5.52 | 0.6 |  |  |  | 0.306 | 0.7
|  |  |  | 5.6367 | 5.6367 | 0.65 |  |  |  | 0.31 | 0.75
|  |  |  | 6.26 | 6.26 | 0.7 |  |  |  | 0.31 | 0.8
|  |  |  | 6.7833 | 6.7833 | 0.75 |  |  |  | 0.31 | 0.85
|  |  |  | 7.3733 | 7.3733 | 0.8 |  |  |  | 0.778 | 0.9
|  |  |  | 7.8167 | 7.8167 | 0.85 |  |  |  | 1.714 | 0.95
|  |  |  | 8.4 | 8.4 | 0.9 |  |  |  | 0.01 |  |  | 0.05
|  |  |  | 10.2333 | 10.2333 | 0.95 |  |  |  | 0.01 |  |  | 0.1
|  |  |  | 15.3333 | 15.3333 | 1 |  |  |  | 0.011 |  |  | 0.15
[5 empty] | 1.8733 |  | 0.05 |  |  | 0.024 |  |  | 0.2
[5 empty] | 2.02 |  | 0.1 |  |  | 0.6025 |  |  | 0.25
[5 empty] | 2.32 |  | 0.15 |  |  | 2.357 |  |  | 0.3
[5 empty] | 3.1333 |  | 0.2 |  |  | 2.6715 |  |  | 0.35
[5 empty] | 3.8056 |  | 0.25 |  |  | 2.73 |  |  | 0.4
[5 empty] | 4.3956 |  | 0.3 |  |  | 3.208 |  |  | 0.45
[5 empty] | 5.1325 |  | 0.35 |  |  | 3.535 |  |  | 0.5
[5 empty] | 6.1789 |  | 0.4 |  |  | 3.7045 |  |  | 0.55
[5 empty] | 6.9022 |  | 0.45 |  |  | 3.894 |  |  | 0.6
[5 empty] | 7.5 |  | 0.5 |  |  | 3.953 |  |  | 0.65
[5 empty] | 9.32 |  | 0.55 |  |  | 4.004 |  |  | 0.7
[5 empty] | 10.76 |  | 0.6 |  |  | 4.6475 |  |  | 0.75
[5 empty] | 11.8667 |  | 0.65 |  |  | 4.938 |  |  | 0.8
[5 empty] | 14.9 |  | 0.7 |  |  | 4.999 |  |  | 0.85
[5 empty] | 17 |  | 0.75 |  |  | 5.112 |  |  | 0.9
[5 empty] | 19.4667 |  | 0.8 |  |  | 5.62 |  |  | 0.95
[5 empty] | 24.3067 |  | 0.85
[5 empty] | 29.5067 |  | 0.9
[5 empty] | 33.8 |  | 0.95
[5 empty] | 45.6 |  | 1